|  |  |  |  |
| --- | --- | --- | --- |
| SCR Number | [806](http://www.ercot.com/mktrules/issues/SCR806) | SCR Title | Adding QSE and DME Information to Disclosure Reports |
| Impact Analysis Date | | October 29, 2019 | |
| Estimated Cost/Budgetary Impact | | Between $65k and $95k | |
| Estimated Time Requirements | | The timeline for implementing this System Change Request (SCR) is dependent upon ERCOT Board prioritization and approval. Please see the Project Priority List ([PPL](http://www.ercot.com/services/projects)) for additional information.  Estimated project duration: 4 to 6 months | |
| ERCOT Staffing Impacts (across all areas) | | Implementation Labor: 100% ERCOT; 0% Vendor  Ongoing Requirements: No impacts to ERCOT staffing. | |
| ERCOT Computer System Impacts | | The following ERCOT systems would be impacted:  Data and Information Products (DAIP) 100% | |
| ERCOT Business Function Impacts | | No impacts to ERCOT business functions. | |
| Grid Operations & Practices Impacts | | No impacts to ERCOT grid operations and practices. | |

|  |
| --- |
| Evaluation of Interim Solutions or Alternatives for a More Efficient Implementation |
| None offered. |

|  |
| --- |
| Comments |
| None. |