| Title | RTC Out of Scope and Post-RTC Review Items |  |
| --- | --- | --- |
| Executive Summary | This document captures design concepts that were considered during the development of Real-Time Co-Optimization (RTC) Principles, but deemed to be outside the scope of the initial implementation of RTC. This document will be maintained by ERCOT to record decisions/actions taken by the Public Utility Commission of Texas (PUCT) and/or Technical Advisory Committee (TAC), and included in the final package of RTC Principles that will eventually be presented to TAC and the ERCOT Board. |  |
| RTC Out of Scope and Post-RTC Review Items |  |  |
| Concept |  | History/Rationale for Deeming Concept Beyond the Scope of RTC |
| Day-Ahead Market (DAM) Enhancement to Introduce Willing Buyer, Willing Seller |  | July 18, 2019, PUCT Open Meeting - To avoid disruption to the RTC delivery timeline, Commissioners directed ERCOT and parties to consider DAM enhancements independently of RTC. - See: - July 17, 2019 ERCOT Letter on RTC Timeline: http://interchange.puc.texas.gov/Search/Documents?controlNumber=48540&itemNumber=62 - July 18, 2010 PUCT Open Meeting: http://www.adminmonitor.com/tx/puct/open_meeting/20190718/ (Item No. 24) |
| Maintaining Participation Factors for Regulation Deployments (KP1.5) |  | Alternative concept (re: deployment of Regulation Services) considered with respect to KP 1.5 July 24, 2019, TAC Meeting - TAC voted to not pursue this alternative concept. The vote was unanimous with the exception of one abstention (Independent Power Marketer segment). - See: - TAC Meeting materials and meeting minutes: http://www.ercot.com/calendar/2019/7/24/163996-TAC |
| Price Adjustments for Reg-Up, RRS, ECRS, and Non-Spin (KP 1.2) |  | ERCOT initially proposed and RTCTF discussed the AS price adjustment in KP 1.2 that “For instances in which the energy price, exclusive of congestion costs, has been reduced to ensure that the final value does not exceed VOLL, the MCPCs for Reg-Up, RRS, ECRS, and Non-Spin will be adjusted by the same $/MWh amount with a floor on the final MCPCs of $0/MWh the highest cleared offer price for that AS from a resource awarded that AS responsibility.” RTCTF also discussed the Crescent Power Inc. proposal to remove the AS price adjustment. At the October 9, 2019 RTCTF there was consensus to remove the AS price adjustment from KP 1.2, with some discussion regarding the infrequency of these events based on current market conditions and recognition that this could be revisited in the future if this becomes a pricing issue. At the October 23, 2019 TAC meeting: - TAC was informed that the RTCTF decided not to pursue this proposal. - Austin Energy recommended this proposal be captured in KP 8 with a commitment to reconsider following RTC operational experience to determine whether such pricing adjustments are necessary to ensure resource indifference to providing energy or ancillary services under prevailing market conditions. |