## Slide 1
Potential Price Correction for DAM: Operating Days Sept. 16-23, 2019
WMS
November 6, 2019

## Slide 2: Background
May 30, 2019 – Market Management System (MMS) system enhancement for modeling Outages in the Day-Ahead Market (DAM) and Reliability Unit Commitment (RUC)
  Enhancement intended to only model withdrawn Outages in DAM and RUC where out-of-service equipment was under restoration
  Software Implementation Error - MMS inadvertently modeled all withdrawn Outages for DAM and RUC; not just those undergoing restoration.
    Outages withdrawn before their planned outage start date were erroneously modeled in the DAM as out-of-service—i.e., some in-service Transmission Elements were identified as out-of-service in ERCOT’s network model when clearing the DAM.
  Prior to this system enhancement/software implementation error, when a transmission Outage status was withdrawn, the Outage would not be included in DAM and RUC models; DAM and RUC would not see the Outage.
September 24, 2019 – ERCOT became aware of the software implementation error and began investigating prices for Operating Days (ODs) May 30, 2019 through September 25, 2019.
September 25, 2019 – Emergency patch placed into production for OD September 26, 2019
October 3, 2019 – ERCOT issued Market Notice M-A100319-01
October 9, 2019 – ERCOT issued Market Notice M-A100319-02

## Slide 3: Current Status
The ERCOT Board of Directors (Board) will review prices for the ODs at issue to determine whether prices were significantly affected by the software implementation error.
At the October TAC meeting, it was requested that ERCOT:
  Provide additional information regarding the potential pricing impacts to WMS at its November meeting.
    Specifically, price changes themselves do not necessarily provide a sense of the impact—e.g., small price changes at HB_NORTH may move more dollars than large price changes at lightly traded nodes.
  Provide information regarding line outages for the ODs at issue, as related to this potential price correction.

## Slide 4: Settlement Impacts
ERCOT’s analysis used original settled quantities with corrected prices based on DAM reruns, with erroneous outages removed.
Note: The Settlement data provided herein is an estimate; final Settlement amounts may differ.
All Settlement amounts are net amounts due to/from ERCOT in $ thousands. Negative amounts are increased payments to Market Participants; positive amounts are increased charges.
The % amount is the absolute value of the % of impact to the previously settled net amount due to/from ERCOT.
In addition to the DAM impacts detailed herein:
  An increased payment to Load of approximately $300K due to the resettlement of the Congestion Revenue Right (CRR) Balancing Account.
  Minimal changes to Real-Time Settlements due to Ancillary Service charges that will be reconciled based on actual Load Ratio Shares.

## Slide 5: Settlement Impacts
 | 9/16 |  | 9/17 |  | 9/18 |  | 9/19 | 
Energy purchases | $94 | 0.4% | $56 | 0.3% | $918 | 5.0% | $152 | 0.8%
Energy sales | ($205) | 0.8% | ($92) | 0.5% | ($958) | 5.4% | ($211) | 1.2%
PTP purchases | $225 | 10.6% | ($25) | 1.3% | $125 | 7.5% | $418 | 24.1%
Make-whole payments | - | - | - | - | $7 | 57.3% | $2 | 100%
AS payments | ($114) | 9.3% | ($16) | 1.7% | ($71) | 8.7% | ($10) | 2.0%
CRR settlements | $7 | 0.2% | $51 | 2.2% | ($59) | 2.9% | ($117) | 5.3%
*$ Thousands

## Slide 6: Settlement Impacts
 | 9/20 |  | 9/21 |  | 9/22 |  | 9/23 | 
Energy purchases | ($58) | 0.3% | $48 | 0.3% | $20 | 0.1% | $406 | 1.1%
Energy sales | $40 | 0.2% | ($91) | 0.7% | ($26) | 0.1% | ($513) | 1.5%
PTP purchases | ($7) | 0.3% | ($25) | 1.0% | $8 | 0.5% | ($64) | 1.4%
Make-whole payments | $1 | 7.2% | $1 | 3.5% | - | - | - | -
AS payments | $1 | 0.3% | ($8) | 1.4% | - | - | ($49) | 2.0%
CRR settlements | $33 | 1.0% | $77 | 2.2% | - | - | $96 | 1.4%
*$ Thousands

## Slide 7: Impacted Transmission Lines
Line | From | To | 9/19-22 | 9/23
DOWSTP27A | DOW | STP | X | X
NAVO_OKPNTS11 | NAVO | OKPNTSS |  | X
NAVO_OKPNTS21 | NAVO | OKPNTSS |  | X
OAKPNTS_ARCO1 | OKPNTSS | ARCO |  | X
OKPNTS_KRGRV1 | OKPNTSS | KRGRV |  | X
Line | From | To | 9/16 | 9/17 | 9/18
6780_A | ESKSW | LONGWRTH | X |  | 
DOWSTP27A | DOW | STP | X | X | X
3700_E | RENSW | PRSTN | X | X | 
3280_E | RENSW | FRNKF | X | X | 
1870_D | VENSW | CWDTP | X |  | 
CRAN_XFMR1_L |  |  |  |  | X