## Instructions
ERCOT Confidential
RARF V 5.5
ERCOT Resource Asset Registration Form (RARF)
"Network Model / System Planning / Data Aggregation / Settlements - Asset Registration / Resource Data Form"
A RARF should be submitted for each Generation Resource site that contains all generation at the site.
The RARF has been provided for ERCOT Resource Entities to properly register and submit data needed to register the assets
of Generation Resources. The RARF is to also be completed for all active and mothballed generation resources inside ERCOT.
Your organization must have submitted a market participant application as a Resource Entity prior to submission of this form.
Please keep in mind the following as you complete this form:
1. Please submit a single RARF form for each 'Resource Site'. This form will accommodate Generation Resources located at a common site,
and will accommodate generation load splitting.
2. After completion of this form, please submit electronically attached to a SERVICE REQUEST through MARKET INFORMATION SYSTEM (MIS).
See explanation below for submitting form through MIS. See the MP User Security Administrator to obtain a digital certificate.
INSTRUCTIONS FOR SUBMITTING RARF THROUGH MARKET INFORMATION SYSTEM (MIS): |  | ERCOT MIS SECURE
1. ERCOT requests the Resource Entity attach the RARF to a Service Request through Market Information System (MIS) located at https://mis.ercot.com, by the Primary or Secondary
Authorized Representative of the Resource Entity.
2. Access to ERCOT MIS requires a user digital certificate with minimal role "MP_ASSETS" that allows access to "Create Service Request" on the
"APPLICATIONS" page. The "user digital certificate" is authorized by the Market Participant's User Security Administrator.
3. Upon accessing MIS go to the "APPLICATIONS" page and select "Create Service Request". Be advised that the Service Request
will display in a new window as a pop-up, which may be impacted by user's browser settings.
4. Complete the required fields on the "Service Request" screen (annotated by red asterisk).
The following Request Type and Sub-Type are essential to proper submittal.
Request Type: Select "MP Registration" from the drop-down list
Request Sub-Type: Select "Resource/Asset Registration" from the drop-down list
Short Description: Complete with a descriptive subject
Long Description: Complete with details regarding changes
Click "Submit" (you will add the RARF(XLS) file on the next screen)
From the "Activities and Attachments" screen
Click "Add" under the Attachments heading of the Service Request
Select "Browse" icon and find the completed RARF file on your computer
Click "Submit" (comments are optional)
5. An alternate email signature document is available for those that have technical problems submitting via the TML portal.
This form in both a portable document format (pdf) and Microsoft Excel spreadsheet (xls) format as well as the one-line diagram
would then be emailed along with the signature document to:
MPRegistration@ercot.com
NOTE: if you have PSSE model files they will need to be compressed (zipped) and added to the same service request as the RARF form.
If questions arise related to the completion of this form, please contact your designated ERCOT Account Manager or
email Wholesale Client Services at ClientServices@ercot.com with the subject "Resource Asset Registration Form".
PROTOCOL DISCLAIMER
This registration document describes ERCOT processes and is not intended to be a substitute for the ERCOT Nodal Protocols
(available at http://www.ercot.com/mktrules/nprotocols/ ), as amended from time to time.
If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.
Revisions to this document shall be approved by ERCOT.
ren
LINK

## Unit Info - RENEWABLE
ERCOT Confidential
Unit Information
This worksheet tab applies only to Renewable generation resources and should list aggregated WGR and PVGR whether consisting of single or multiple turbine/inverter types.
Must complete all applicable cells in this section.
Resource Site Code:
GENERATOR DETAILS | [6 empty] | SITE AND UNIT DATES |  |  |  |  | POINT OF INTERCONNECTION |  |  | FUEL INFORMATION |  |  | RATINGS AND DESIGNS | [10 empty] | METEOROLOGICAL TOWER AND INSTRUMENTATION INFORMATION | [9 empty] | PV Unit Capacity |  | WEATHER LIMITATIONS - WIND ONLY
UNIT NAME | Resource Name (Unit Code/Mnemonic) | Settlement Only Generator (SOG) | PUC Registration Number | ERCOT Interconnection Project Number - only new units | NERC Number | Qualifying Facility | Transmission Only MRD | Standard Generation Interconnection Agreement (SGIA) Signature Date | Unit Start Date (Model Ready Date) | Commercial Operations Date | Unit End Date | SubStation Code/SubStation Mnemonic | Voltage Level | PTI Bus Number | Renewable | Renewable/Offset | Resource Category | Physical Unit Type | Name Plate Rating | Real Power Rating | Reactive Power Rating | Unit Generating Voltage | Governor Droop Setting | Governor Dead-Band | Design Max Ambient Temperature | Design Min Ambient Temperature | Maximum Operating Temperature | Minimum Operating Temperature | Average Height Above Ground Of Turbine Hub | Latitude of Meteorological Tower | Longitude of Meteorological Tower | Height of Meteorological Instrumentation - Wind Speed | Height of Meteorological Instrumentation - Wind Direction | Height of Meteorological Instrumentation - Barometric Pressure | Height of Meteorological Instrumentation - Temperature | Height of Meteorological Instrumentation - Irradiance (PV Only) | Average Height above ground of Panel Center (PV Only) | Site Elevation above Sea Level (PV Only) | Nameplate DC Capacity (PV Only) | Nameplate AC Capacity (PV Only) | High Wind Speed Cut-Out | High Wind Speed Cut-Out Time | High Wind Speed Cut-Out Reset | High Wind Speed Cut-Out Reset Time
All Caps | Automated | Y/N |  |  |  | Y/N | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | All Caps | kV | # | Y/N | List | List | List | MVA | MW | MVAR | kV |  | Hz | Degree F | Degree F | Degrees F | Degrees F | Meters | Decimal Degrees (N) | Decimal Degrees (W) | Meters | Meters | Meters | Meters | Meters | Meters | Meters | MW | MW | m/s | minutes | m/s | minutes
Note on A5: Resource Site Code is a Required field.
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on C7: Refer to ERCOT Protocol Section 2.1, Definitions, for the definition of a Settlement Only Generator (SOG).
Note on D7: P.U.C. Subst. R. 25.109, Registration of Power Generation Companies (PGCs) and Self-Generators
Note on E7: INR #, Generation Interconnection Request - only needed for new interconnections
Note on F7: Enter NERC ID#.
Note on G7: A qualifying co-generation facility or qualifying small power production facility under regulatory qualification criteria as defined in PURPA, 16 USC §796(18)(B) and §796(17)(C).
Note on H7: Point of Interconnection (POI) commissioning date (Back Feed Date) in MM/DD/YYYY. This field is used only for new Resource(s) connecting to the ERCOT Grid
Note on J7: Date Resource added to ERCOT Network Operation Model (MM/DD/YYYY).
Note on K7: Date available for dispatch and all testing is complete MM/DD/YYYY.
Note on L7: Retirement Date in YYYY format. Leave blank if unknown.
Note on M7: Please consult your Standard Generation Interconnection Agreement (SGIA) to obtain your Point of Interconnection. If you need assistance in determining the corresponding ERCOT Substation Code\Substation Mnemonic, please work with your TSP or ERCOT.
Note on N7: If you need assistance in determining the corresponding Voltage Level, please work with your TSP or ERCOT.
Note on O7: If you need assistance in determining the corresponding PTI Bus Number, please work with your TSP or ERCOT.
Note on P7: Is the unit a certified renewable energy credit generator? See Protocol Section 14.9.
Note on Q7: REC offset generators that produce generation to cover offsets they have been approved to provide
Note on R7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.
Note on S7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.
Note on T7: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on U7: Maximum rated MW at rated Power Factor.
Note on V7: Maximum MVAR at rated Power Factor
Note on W7: Terminal voltage of generating unit
Note on X7: Meet Nodal protocols. If 100% enter as 1. If 50% enter in as .50.
Note on Y7: Meet Nodal protocols.
Note on Z7: This is the plant design maximum (high) air temperature.

## Wind Turbine Details
ERCOT Confidential
Turbine Information
This worksheet tab provides Wind Turbine information for creating WGR Groups and for aggregation of differernt turbine types and numbers in a WGR. | [40 empty] | PSSE MODELS : THE FOLLOWING FILES ARE REQUIRED TO BE SUBMITTED. PLEASE INCLUDE ALL PSSE FILES IN A ZIP OR COMPRESSED FOLDER IN THE DYNAMIC DATA TAB.
Must complete all applicable cells in this section.
WIND GENERATION GROUP DETAILS |  |  |  | TURBINE DETAILS |  |  |  | PLANNING DETAILS | [22 empty] | TURBINE STEP-UP TRANSFORMER DATA
Resource Name (Unit Code/Mnemonic) | WGR Group | Group Code | SITE_GROUP | Turbine Manufacturer/Model | MW Rating for this model of Turbine | Number of Turbine Manufacturer/Model | Turbine Type | What Is The Mva Base That The Following Data Is Based On? | What Is The Kv Base That The Following Data Is Based On? | Subtransient Reactance X'',(Instantaneous Fault Current Period) (unsaturated) | Transient Reactance, X' (First 2-3 cycles of the Fault) (unsaturated) | Positive Sequence Resistance (unsaturated) | Synchronous Reactance X (After 4 cycles of the fault) (unsaturated) | Negative Sequence Z (unsaturated) |  | Zero Sequence Z (unsaturated) |  | Subtransient Reactance X'',(Instantaneous Fault Current Period) (saturated) | Transient Reactance, X' (First 2-3 cycles of the Fault) (saturated) | Positive Sequence Resistance (saturated) | Synchronous Reactance X (After 4 cycles of the fault) (saturated) | Negative Sequence Z (saturated) |  | Zero Sequence Z (saturated) |  | Grounding Resistance For An Impedance Grounded Generator In P.U. (100 Mva Base) | Grounding Reactance For An Impedance Grounded Generator In P.U. (100 Mva Base) | Instantaneous Controlled Fault Current Magnitude (Multiple of full load current) for Turbine Types 3 & 4 | Controlled Fault Current Magnitude At 2 to 3 cycles after fault (Multiple of full load current) for Turbine Types 3 & 4 | Controlled Fault Current Magnitude At 4 plus cycles after fault (Multiple of full load current) for Turbine Types 3 & 4 | Continuous Rating | High Side Voltage Level (nominal) | Low Side Voltage Level (nominal) | High Side Voltage Connection | Low Side Voltage Connection | Impedance Z | X/R Ratio | Zero Sequence Z | Zero Sequence X/R Ratio | Base Mva For Transformer Data | PSSE Compatible Wind Generator Models | Dynamic Reactive Device Form
List | # | Automatic | Automatic | All Caps | MW | # | 1, 2,3,4,5 | MVA | kV | p.u. | p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | p.u. | p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | p.u. | p.u. | p.u. | p.u. | p.u. | MVA | kV | kV | List | List | p.u. |  | p.u. |  | MVA
Note on A6: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on B6: WGR Group # 1,2,3… only if Grouping Two or more WGRs. Leave Blank if not Grouping.
Note on H6: Types of Wind Turbine Generator Type 1 - Conventional induction generator Type 2 - Variable Rotor-Resistance induction generator Type 3 - Doubly-Fed asynchronous generator Type 4 - Full-Converter unit Type 5 - Variable Ratio Converter-Coupled Synchronous Generator

## Inverter Details - SOLAR
ERCOT Confidential
Inverter Information
This worksheet tab provides Skid Array Configuration detail information. | [37 empty] | PSSE MODELS : THE FOLLOWING FILES ARE REQUIRED TO BE SUBMITTED. PLEASE INCLUDE ALL PSSE FILES IN A ZIP OR COMPRESSED FOLDER IN THE DYNAMIC DATA TAB.
Must complete all applicable cells in this section.
| INVERTER DETAILS |  |  |  | PLANNING DETAILS | [23 empty] | SKID/ARRAY TRANSFORMER DATA
Skid/Array Configuration Identifier | Inverter Manufacturer | Inverter Model | MW Rating for this model of Inverter | Number of Inverters per Skid/Array Transformer | What Is The Mva Base That The Following Data Is Based On? | What Is The Kv Base That The Following Data Is Based On? | Subtransient Reactance X'',(Instantaneous Fault Current Period) (unsaturated) | Transient Reactance, X' (First 2-3 cycles of the Fault) (unsaturated) | Positive Sequence Resistance (unsaturated) | Synchronous Reactance X (After 4 cycles of the fault) (unsaturated) | Negative Sequence Z (unsaturated) |  | Zero Sequence Z (unsaturated) |  | Subtransient Reactance X'',(Instantaneous Fault Current Period) (saturated) | Transient Reactance, X' (First 2-3 cycles of the Fault) (saturated) | Positive Sequence Resistance (saturated) | Synchronous Reactance X (After 4 cycles of the fault) (saturated) | Negative Sequence Z (saturated) |  | Zero Sequence Z (saturated) |  | Grounding Resistance For An Impedance Grounded Generator In P.U. (100 Mva Base) | Grounding Reactance For An Impedance Grounded Generator In P.U. (100 Mva Base) | Instantaneous Controlled Fault Current Magnitude (Multiple of full load current) | Controlled Fault Current Magnitude At 2 to 3 cycles after fault (Multiple of full load current) | Controlled Fault Current Magnitude At 4 plus cycles after fault (Multiple of full load current) | Skid/Array Transformer Rating | High Side Voltage Level (nominal) | Low Side Voltage Level (nominal) | High Side Voltage Connection | Low Side Voltage Connection | Impedance Z | X/R Ratio | Zero Sequence Z | Zero Sequence X/R Ratio | Base Mva For Transformer Data | PSSE Compatible PV Generator Models | Dynamic Reactive Device Form
All Caps | All Caps | ALL CAPs | MW | # | MVA | kV | p.u. | p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | p.u. | p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | p.u. | p.u. | p.u. | p.u. | p.u. | MVA | kV | kV | List | List | p.u. |  | p.u. |  | MVA
FIRST1

## Panel Details - SOLAR
ERCOT Confidential
Panel Information
This worksheet tab provides Panel Details information for PV Units
Must complete all applicable cells in this section.
PANEL DETAILS
Panel Configuration Identifier | Panel Model | Panel Area | Tracking Type | Plane of Array - Azimuth | Plane of Array - Tilt | Panel Manufacturer | Panel Efficiency | Panel Temperature Coefficient of Power | Nominal Operating Cell Temperature | KW Rating for this Model of Panel
All Caps | All Caps | Meters Squared | List | Degrees | Degrees | Text | % | %/degrees C | Degrees C | kW

## PVGR Connectivity
ERCOT Confidential
PVGR connectivity information
This worksheet tab provides Solar Inverter information for creating PVGR Groups and for aggregation of differernt Inverters types and numbers in a PVGR.
Must complete all applicable cells in this section.
SOLAR GENERATION GROUP DETAILS
Resource Name (Unit Code/Mnemonic) | PVGR Group | Group Code | SITE_GROUP | Skid/Array Configuration identifier | Number of Skid/Arrays per Skid/Array Configuration Identifier | Panel Configuration Identifier | Number of Panels per Panel Configuration
List | # | Automatic | Automatic | List | # | List | #
Note on A6: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on B6: PVGR Group # 1,2,3… only if Grouping Two or more PVGRs. Leave Blank if not Grouping.
Note on F6: Enter the number of the unique Skid/Array configurations per unit
Note on G6: Enter the Panel configuration associated with this Skid/Array (separate line for unique combinations)
Note on H6: Enter the number of Panel configurations per skid/array

## Ownership - RENEWABLE
ERCOT Confidential
Representation of Facility Output
This worksheet tab applies to all Renewable Generation Resources. This tab identifies the Resource Entities that represent the output of the facility to ERCOT.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  | OWNERSHIP PERCENTAGES
Unit Name | Resource Name (Unit Code/Mnemonic) | Joint Ownership? | Resource Entity Name | Resource Duns Number | Fixed Ownership | Master Owner | Ownership Start Date | Ownership Stop Date
List | Automatic | Y/N |  |  |  | Y/N | mm/dd/yyyy | mm/dd/yyyy
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on F7: If 100% enter as 1. If 50% enter in as .50.
Note on H7: mm/dd/yyyy
Note on I7: mm/dd/yyyy

## Parameters - RENEWABLE
ERCOT Confidential
Resource Parameters
This worksheet tab provides resource parameters for Renewable generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  | REASONABILITY LIMITS |  |  |  | SEASONAL RATINGS - SPRING |  |  |  | SEASONAL RATINGS - SUMMER |  |  |  | SEASONAL RATINGS - FALL |  |  |  | SEASONAL RATINGS - WINTER
Unit Name | Resource Name (Unit Code/Mnemonic) | High Reasonability Limit | Low Reasonability Limit | High Reasonability Ramp Rate Limit | Low Reasonability Ramp Rate Limit | Seasonal Net Max Sustainable Rating - Spring | Seasonal Net Min Sustainable Rating - Spring | Seasonal Net Max Emergency Rating - Spring | Seasonal Net Min Emergency Rating - Spring | Seasonal Net Max Sustainable Rating - Summer | Seasonal Net Min Sustainable Rating - Summer | Seasonal Net Max Emergency Rating - Summer | Seasonal Net Min Emergency Rating - Summer | Seasonal Net Max Sustainable Rating - Fall | Seasonal Net Min Sustainable Rating - Fall | Seasonal Net Max Emergency Rating - Fall | Seasonal Net Min Emergency Rating - Fall | Seasonal Net Max Sustainable Rating - Winter | Seasonal Net Min Sustainable Rating - Winter | Seasonal Net Max Emergency Rating - Winter | Seasonal Net Min Emergency Rating - Winter
Automatic | Automatic | MW | MW | MW/min | MW/min | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on C7: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on D7: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data less than the value.
Note on E7: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on F7: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on G6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July and August ; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on K6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July and August ; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on O6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July and August ; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on S6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July and August ; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.

## Operational Parameters - RENEW
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource parameters for Renewable generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  | RESOURCE PARAMETERS
UNIT NAME | Resource Name (Unit Code/Mnemonic) | Minimum On Line Time | Minimum Off Line Time | Hot Start Time | Intermediate Start Time | Cold Start Time | Max Weekly Starts | Max On Line Time | Max Daily Starts | Max Weekly Energy | Hot-to-Intermediate Time | Intermediate-to-Cold Time
Automatic | Automatic | Hours | Hours | Hours | Hours | Hours |  | Hours |  | MWh | Hours | hours
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on C7: The minimum number of consecutive hours the Resource must be On-Line before being shut down.
Note on D7: The minimum number of consecutive hours the Resource must be Off-Line before being restarted.
Note on E7: The time, in hours, from the ERCOT notice to LSL, for a Resource in its hot-temperature state. New nodal value from Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on F7: The time interval, in hours, from the ERCOT notice to LSL, for a Resource in its intermediate temperature state. New nodal value from Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on G7: The time interval, in hours, from the ERCOT notice to LSL, for a Resource in its cold-temperature state. New nodal value from Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on H7: The maximum number of times a Resource can be started in seven consecutive days under normal operating conditions. New nodal value from Protocols 3.7.1- Resource Parameter Criteria
Note on I7: The maximum number of consecutive hours a Resource can run before it needs to be shut down. New nodal value from Protocols 3.7.1- Resource Parameter Criteria
Note on J7: The maximum number of times a Resource can be started in a 24 hour period under normal operating conditions. New nodal value from Protocols 3.7.1- Resource Parameter Criteria
Note on K7: The maximum amount of energy, in MWh, a Resource can produce in seven consecutive days. New nodal value from Protocols 3.7.1- Resource Parameter Criteria
Note on L7: The time, in hours, after shutdown that a hot-temperature-state Resource takes to cool down to intermediate-temperature state. New nodal value from Protocols 3.7.1- Resource Parameter Criteria
Note on M7: The time, in hours, after shutdown that an intermediate-temperature-state Resource takes to cool down to cold-temperature state. New nodal value from Protocols 3.7.1- Resource Parameter Criteria

## Dropdowns (hidden)
Data Validations: | TSP | TDSPDUNS | RESCAAT | REP | REPDUNS |  | 0 | DESC | CONFIG TYPE
Yes No | AEP TEXAS CENTRAL COMPANY | 007924772 | Nuclear | 10K ENERGY LLC (LSE) | 8305623801100 |  | 0 | ADD | A
| AEP TEXAS NORTH COMPANY | 007923311 | Hydro | 10K ENERGY LLC DBA MISSION POWER (LSE) | 8305623801000 |  | 0 | CHANGE | X
CMZone | AEP TEXAS NORTH COMPANY SPP | 053693388 | Coal and Lignite | ACACIA ENERGY LLC (LSE) | 787476634 |  | 0 | DELETE
| BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | Combined Cycle <= 90 MW* | ACCENT ENERGY TEXAS LP DBA DYNOWATT POWERED BY ACCENT ENERGY | 133305370 |  | 0
Unit Type | BARTLETT ELECTRIC CO OP INC | 002781813 | Combined Cycle > 90 MW* | AEP TEXAS COMMERCIAL INDUSTRIAL RETAIL LP (LSE) | 038738451 |  | 0
| BIG COUNTRY ELECTRIC CO OP INC TXU (TDSP) | 0058630484100 | Gas Steam - Supercritical Boiler | AEP TEXAS COMMERCIAL INDUSTRIAL RETAIL LP DBA AEP RETAIL ENERGY | 0387384511000 |  | 0
FUELTYPE | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | Gas Steam - Reheat Boiler | AFFORDABLE POWER LP (LSE) | 171841633 | MM/DD/YYYY | 0
| BRAZOS ELECTRIC POWER CO OP INC (TDSP) | 0037722904000 | Gas Steam - Non-reheat or Boiler without air-preheater | ALLIANCE POWER COMPANY LLC | 136249187 |  | 0
TRANSPTYPE | BROWNSVILLE PUBLIC UTILITIES BOARD (TDSP) | 6063470374000 | Simple Cycle <= 90 MW | AMBIT ENERGY LP (LSE) | 604792791 |  | 0
| BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | Simple Cycle > 90 MW | AMBIT TEXAS LLC (LSE) | 8290437071000 |  | 0
OFFSET | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | Reciprocating Engine | AMERIPOWER LLC | 140780003 |  | 0
| CAP ROCK ENERGY (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | Wind Generation Resource | ANDELER CORPORATION DBA ANDELER POWER (LSE) | 039471953 |  | 0
RESCAAT | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | Duration Limited Resources | ANDELER CORPORATION DBA ANDELER RETAIL | 0394719531000 |  | 0
| CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | Solar | APN STARFIRST LP | 141081328 |  | 0
WYE | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | Other | APNA HOLDINGS LLC | 784260866 |  | 0
| CHEROKEE COUNTY ELEC CO OP ASSOC (CORAL POWER AS QSE) | 0088626254000 |  | BANDERA ELECTRIC CO OP INC (LSE) | 0089451491000 |  | 0
TAPLOC | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 |  | BIG COUNTRY ELECTRIC CO OP INC (LSE) | 0058630481000 |  | 0
| CITY OF BARTLETT (TDSP) | 074618935 |  | BLU POWER OF TEXAS LLC | 604182134 |  | 0
SUBMITTAL | CITY OF BASTROP (TDSP) | 0851553724000 |  | BLUEBONNET ELECTRIC CO OP INC (LSE) | 0524834351000 |  | 0
| CITY OF BELLVILLE (TDSP) | 0935648704000 |  | BLUESTAR ENERGY SERVICES INC DBA BLUESTAR ENERGY SOLUTIONS (LSE) | 0777789541000
NWMODEL | CITY OF BOERNE (TDSP) | 0052470694000 |  | BOUNCE ENERGY INC (LSE) | 8263032781000
| CITY OF BOWIE (TDSP) | 8094182964000 |  | BP ENERGY COMPANY (LSE) | 6252757551000
| CITY OF BRADY (TDSP) | 070804877 |  | BP ENERGY COMPANY (SUB-LSE-CNE) | 8797234681100
| CITY OF BRENHAM (TDSP) | 0741649224000 |  | BRAZOS ELECTRIC POWER CO OP INC (LSE) | 0037722901000
| CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 |  | BRAZOS ELECTRIC POWER CO OP INC LCRA | 0037722901100
| CITY OF BURNET (TDSP) | 0746121514000 |  | BRAZOS ELECTRIC POWER CO OP INC-OAK GROVE | 0037722901200
| CITY OF CASTROVILLE (TDSP) | 797816378 |  | BRILLIANT ENERGY LLC | 800312048
| CITY OF COLEMAN (TDSP) | 1024920064000 |  | BROWNSVILLE PUBLIC UTILITIES BOARD (LSE) | 6063470371000
| CITY OF COLLEGE Station (TDSP) | 0403303004000 |  | BRYAN TEXAS UTILITIES (LSE) | 0793907791000
| CITY OF CUERO (TDSP) | 0526842144000 |  | CALPINE POWER AMERICA LP | 1127108761000
| CITY OF FARMERSVILLE (TDSP) | 1903494984000 |  | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (LSE) | 0079370971100
| CITY OF FLATONIA (TDSP) | 0626890134000 |  | CAP ROCK ENERGY (MCCULLOCH DIVISION) (LSE) | 0079370971000
| CITY OF FLORESVILLE DBA FLORESVILLE ELEC LIGHT AND PWR | 008948374 |  | CENTRAL TEXAS ELECTRIC CO OP INC (LSE) | 0079302741000
| CITY OF FREDERICKSBURG (TDSP) | 0769243074000 |  | CHAIN LAKES POWER LP DBA SIMPLE POWER (LSE) | 806949835
| CITY OF GARLAND (TDSP) | 6011012564000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES (LSE) | 1599884061000
| CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 |  | CHAMPION ENERGY INDUSTRIAL SERVICES I (LSE) | 1599884061100
| CITY OF GEORGETOWN (TDSP) | 0895923724000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES II (LSE) | 1599884061200
| CITY OF GIDDINGS (TDSP) | 0096899514000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES III (LSE) | 1599884061300
| CITY OF GOLDSMITH (TDSP) | 0888946704000 |  | CHAMPION ENERGY SERVICES LLC | 159988406
| CITY OF GOLDTHWAITE (TDSP) | 1558252764000 |  | CIRRO GROUP INC | 034441449
| CITY OF GONZALES (TDSP) | 0937385404000 |  | CITY OF AUSTIN DBA AUSTIN ENERGY (LSE) | 8008717661000
| CITY OF HALLETTSVILLE (TDSP) | 0090811834000 |  | CITY OF BASTROP (LSE) | 0851553721000
| CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 |  | CITY OF BELLVILLE (LSE) | 0935648701000
| CITY OF HEMPSTEAD (TDSP) | 1272175604000 |  | CITY OF BOERNE (LSE) | 0052470691000
| CITY OF HONDO (TDSP) | 091703843 |  | CITY OF BOWIE (LSE) | 8094182961000
| CITY OF LA GRANGE (TDSP) | 0607085184000 |  | CITY OF BRADY (LSE) | 0708048771000
| CITY OF LAMPASAS (TDSP) | 0203311204000 |  | CITY OF BRENHAM (LSE) | 0741649221000
| CITY OF LEXINGTON (TDSP) | 0081817324000 |  | CITY OF BRIDGEPORT MUN ELEC SYS (LSE) | 0842801711000
| CITY OF LLANO (TDSP) | 0916952054000 |  | CITY OF BURNET (LSE) | 0746121511000
| CITY OF LOCKHART (TDSP) | 0746168634000 |  | CITY OF COLEMAN (LSE) | 1024920061000
| CITY OF LULING (TDSP) | 0105539984000 |  | CITY OF COLLEGE Station (LSE) | 0403303001000
| CITY OF MASON (TDSP) | 1561267084000 |  | CITY OF CUERO (LSE) | 0526842141000
| CITY OF MOULTON (TDSP) | 0091871544000 |  | CITY OF FARMERSVILLE (LSE) | 1903494981000
| CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 |  | CITY OF FLATONIA (LSE) | 0626890131000
| CITY OF SAN MARCOS (TDSP) | 0694628694000 |  | CITY OF FREDERICKSBURG (LSE) | 0769243071000
| CITY OF SAN SABA (TDSP) | 0248592254000 |  | CITY OF GARLAND (LSE) | 6011012561000
| CITY OF SANGER | 058956020 |  | CITY OF GEORGETOWN (LSE) | 0895923721000
| CITY OF SCHULENBURG (TDSP) | 0532950364000 |  | CITY OF GIDDINGS (LSE) | 0096899511000
| CITY OF SEGUIN (TDSP) | 0862819794000 |  | CITY OF GOLDSMITH (LSE) | 0888946701000
| CITY OF SEYMOUR | 166319145 |  | CITY OF GOLDTHWAITE (LSE) | 1558252761000
| CITY OF SHINER (TDSP) | 1504533714000 |  | CITY OF GONZALES (LSE) | 0937385401000
| CITY OF SMITHVILLE (TDSP) | 0916978134000 |  | CITY OF HALLETTSVILLE (LSE) | 0090811831000
| CITY OF WAELDER (TDSP) | 0541779694000 |  | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (LSE) | 0897458891000
| CITY OF WEIMAR (TDSP) | 0214974584000 |  | CITY OF HEMPSTEAD (LSE) | 1272175601000
| CITY OF WHITESBORO | 134546522 |  | CITY OF LA GRANGE (LSE) | 0607085181000
| CITY OF YOAKUM (TDSP) | 0694557724000 |  | CITY OF LAMPASAS (LSE) | 0203311201000
| COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 |  | CITY OF LEXINGTON (LSE) | 0081817321000
| COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 |  | CITY OF LLANO (LSE) | 0916952051000
| COMISION FEDERAL | 8100082434000 |  | CITY OF LOCKHART (LSE) | 0746168631000
| CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 |  | CITY OF LULING (LSE) | 0105539981000
| CONCHO VALLEY ELECTRIC CO OP INC TXU (TDSP) | 0038666624100 |  | CITY OF MASON (LSE) | 1561267081000
| COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 |  | CITY OF MOULTON (LSE) | 0091871541000
| CPS ENERGY (TDSP) | 0079360734000 |  | CITY OF ROBSTOWN UTILITY SYSTEM (LSE) | 9387911421000
| CROSS TEXAS TRANSMISSION LLC (TSP) | 8296282914000 |  | CITY OF SAN MARCOS (LSE) | 0694628691000
| DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 |  | CITY OF SAN SABA (LSE) | 0248592251000
| DEEP EAST TEXAS ELECTRIC CO OP INC (BLT TDSP) | 0478456234000 |  | CITY OF SANGER TEXAS (LSE) | 0589560201000
| DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 |  | CITY OF SCHULENBURG (LSE) | 0532950361000
| DENTON MUNICIPAL ELECTRIC (TDSP) | 0713801904000 |  | CITY OF SEGUIN (LSE) | 0862819791000
| EAST TEXAS ELECTRIC CO OP (TDSP) | 948535265 |  | CITY OF SEYMOUR (LSE) | 1663191451000
| ELECTRIC TRANSMISSION TEXAS LLC (TDSP) | 808160514 |  | CITY OF SHINER (LSE) | 1504533711000
| FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 |  | CITY OF SMITHVILLE (LSE) | 0916978131000
| FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 |  | CITY OF WAELDER (LSE) | 0541779691000
| FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 |  | CITY OF WEIMAR (LSE) | 0214974581000
| FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 |  | CITY OF YOAKUM (LSE) | 0694557721000
| GEUS (TDSP) | 8062449354000 |  | CLEARVIEW ELECTRIC INC | 785129219
| GOLDEN SPREAD ELECTRIC COOPERATIVE INC (TSP) | 1864707794000 |  | COLEMAN COUNTY ELECTRIC CO OP INC (LSE) | 0079246731000
| GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 |  | COMISION FEDERAL DE ELECTRICIDAD | 810008243
| GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 |  | CONCHO VALLEY ELECTRIC CO OP INC (LSE) | 0038666621000
| GRAYSON COLLIN ELECTRIC CO OP INC (AEP AS QSE) | 0089538124000 |  | CONOCOPHILLIPS COMPANY (LSE) | 001368265
| GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 |  | CONSOLIDATED EDISON SOLUTIONS INC | 809887904
| HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS (LSE) | 8098879041100
| HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 1 (LSE) | 8098879041200
| HEART OF TEXAS ELECTRIC COOPERATIVE INC (DSP) | 012074558 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 2 (LSE) | 8098879041300
| HILCO ELECTRIC CO OP INC (TDSP) | 008950545 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONEDISON SOLUTIONS (LSE) | 8098879041000
| HOUSTON COUNTY ELEC COOP INC (TDSP) | 005777206 |  | CONSTELLATION NEWENERGY INC (LSE) | 8797234681000
| HOUSTON COUNTY ELEC COOP INC TXU (TDSP) | 0057772064100 |  | CONSTELLATION NEWENERGY INC DBA NEWENERGY (LSE) | 8797234681200
| J A C ELECTRIC CO OP INC | 003890795 |  | CPL RETAIL ENERGY DBA 1300 | 0177405441300
| JACKSON ELECTRIC CO OP INC | 078423555 |  | CPL RETAIL ENERGY DBA 1400 | 0177405441400
| JASPER NEWTON ELECTRIC CO OP INC | 007933518 |  | CPL RETAIL ENERGY LP (LSE) | 017740544
| KARNES ELECTRIC CO OP INC | 006824106 |  | CPL RETAIL ENERGY LP 1100 | 0177405441100
| KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 |  | CPL RETAIL ENERGY LP DBA CPL | 0177405441200
| LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 |  | CPS ENERGY (LSE) | 0079360731000
| LAMAR COUNTY ELEC COOP DBA LEC RC HOUPL (TDSP) | 0048060974100 |  | DENTON MUNICIPAL ELECTRIC (LSE) | 0713801901000
| LCRA TRANSMISSION SERVICES CORPORATION | 0432268854000 |  | DEVONSHIRE ENERGY LLC (LSE) | 9624939901000
| LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 |  | DIRECT ENERGY BUSINESS LLC (LSE) | 800770810
| LIGHTHOUSE ELECTRIC CO OP TXU (TDSP) | 0028252894100 |  | DIRECT ENERGY BUSINESS LLC 1 (LSE) | 8007708101100
| LONE STAR TRANSMISSION LLC (TSP) | 8001203834000 |  | DIRECT ENERGY BUSINESS LLC 2 (LSE) | 8007708101200
| LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 |  | DIRECT ENERGY BUSINESS LLC DBA EXPERT ENERGY (LSE) | 8007708101000
| MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 |  | DIRECT ENERGY DBA 1300 | 0397133541300
| MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100 |  | DIRECT ENERGY DBA 1400 | 0397133541400
| MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 |  | DIRECT ENERGY LP DBA DIRECT ENERGY | 039713354
| MID SOUTH ELECTRIC CO OP ASSOC | 061278594 |  | DIRECT ENERGY LP DBA DIRECT ENERGY BUSINESS SERVICES | 0397133541000
| NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 |  | DIRECT ENERGY LP DBA DIRECT ENERGY MULTI FAMILY | 0397133541200
| NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 |  | DPI ENERGY LLC (LSE) | 785092292
| NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 |  | DTE ENERGY TRADING INC (LSE) | 383323526
| NUECES ELECTRIC CO OP INC | 008828857 |  | EDF INDUSTRIAL POWER SERVICES (TX) I LLC (LSE) | 7887078471100
| NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 |  | EDF INDUSTRIAL POWER SERVICES (TX) II LLC (LSE) | 7887078471200
| NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 |  | EDF INDUSTRIAL POWER SERVICES (TX) III LLC (LSE) | 7887078471300
| ONCOR ELECTRIC DELIVERY COMPANY LLC (TDSP) | 1039940674000 |  | EDF INDUSTRIAL POWER SERVICES (TX) LLC (LSE) | 788707847
| PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 |  | EDF INDUSTRIAL POWER SERVICES (TX) V LLC (LSE) | 7887078471500
| PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 |  | EDF INDUSTRIAL POWER SERVICES TX IV LLC (LSE) | 7887078471400
| RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP) | 6243686014000 |  | EN TOUCH SYSTEMS INC (LSE) | 155807808
| RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 |  | ENERGY PLUS HOLDINGS LLC | 8048918491000
| RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 |  | ENERGY TRANSFER RETAIL POWER LLC (LSE) | 8071242141000
| RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 |  | ENOW LP (LSE) | 144817595
| SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 |  | ENTERGY GULF STATES INC (BLT LSE) | 8274383831100
| SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 |  | ENTERGY TEXAS INC (LSE) | 8012610531000
| SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 |  | ENTRUST ENERGY INC (LSE) | 9640468611000
| SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 |  | ERCOT TEST LSE ACCOUNT 07212010 (LSE) | 8524567531000
| SHARYLAND UTILITIES LP (TDSP) | 105262336 |  | ERCOT TEST LSE ACCOUNT 07212010 PAST DATE (LSE) | 9639639631000
| SHARYLAND UTILITIES LP BRADY (TDSP) | 1052623364200 |  | ERCOTTEST_LSE_1 | 111111111
| SHARYLAND UTILITIES LP CELESTE (TDSP) | 1052623364300 |  | ERCOTTEST_LSE_2 | 111111112
| SHARYLAND UTILITIES NOIE (TDSP) | 1052623364100 |  | ERCOTTEST_LSE_2_POLR | 1111111121000
| SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 |  | ERCOTTEST_LSE_3 | 111111113
| SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 |  | ERCOTTEST_LSE_4 | 111111114
| SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 |  | ERCOTTEST_LSE_5 | 111111115
| SOUTHWESTERN ELECTRIC POWER COMPANY BLT (TDSP) | 0069487644000 |  | ESCO1 LLC (LSE) | 791327153
| SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 026763672 |  | EXTEX RETAIL SERVICES COMPANY LLC | 131494440
| TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 |  | FAYETTE ELECTRIC CO OP INC (LSE) | 0593309771000
| TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 |  | FIRST CHOICE POWER SPECIAL PURPOSE LIMITED PARTNERSHIP | 008613791
| TEXAS MUNICIPAL POWER AGENCY | 071374052 |  | FIRST CHOICE POWER SPECIAL PURPOSE LP DBA FIRST CHOICE POWER POL | 0086137911000
| TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 |  | FIRST CHOICE POWER SPECIAL PURPOSE LP DBA FIRST CHOICE POWER-AMS | 0086137911100
| TRI COUNTY ELECTRIC CO OP INC | 008945123 |  | FRONTIER UTILITIES INC (LSE) | 8094344211000
| TRINITY VALLEY ELEC CO OP | 009844564 |  | FRONTIER UTILITIES INC DBA RODEO ENERGY (LSE) | 8094344211100
| TRINITY VALLEY ELEC CO OP (AEP AS QSE) | 0098445644000 |  | FRONTIER UTILITIES INC DBA SOL ENERGY (LSE) | 8094344211200
| UNITED ELECTRIC CO OP SERVICES INC | 008945826 |  | FULCRUM RETAIL ENERGY LLC DBA AMIGO ENERGY (LSE) | 141047543
| VICTORIA ELECTRIC CO OP INC | 008953861 |  | FULCRUM RETAIL ENERGY LLC DBA TARA ENERGY RESOURCES (LSE) | 1410475431000
| VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 |  | GATEWAY ENERGY SERVICES CORP DBA GATEWAY POWER SERVICES (LSE) | 013876508
| WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 |  | GDF SUEZ ENERGY MARKETING NA INC (LSE) | 9689097391000
| WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 |  | GDF SUEZ ENERGY RESOURCES NA INC (LSE) | 099668332
| WHARTON COUNTY ELECTRIC CO OP INC | 118487958 |  | GDF SUEZ ENERGY RESOURCES NA INC DBA GSERNA POLR (LSE) | 0996683322222
| WIND ENERGY TRANSMISSION TEXAS LLC (TSP) | 8306765114000 |  | GEUS (LSE) | 8062449351000
| WISE ELECTRIC CO OP | 041405408 |  | GEXA ENERGY LP (LSE) | 108114542
| WOOD COUNTY ELECTRIC COOPERATIVE INC (TDSP) | 008952491 |  | GEXA ENERGY LP DBA GEXA ENERGY (LSE) | 1081145421000
| NOT LISTED |  |  | GEXA ENERGY LP III (LSE) | 1081145421100
|  |  |  | GEXA ENERGY LP IV (LSE) | 1081145421200
|  |  |  | GIM RETAIL ENERGY LLC (LSE) | 8269652091000
|  |  |  | GLACIAL ENERGY OF TEXAS INC | 605515472
|  |  |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC AEP AS QSE (LSE) | 1864707791000
|  |  |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC TXU AS QSE (LSE) | 186470779
|  |  |  | GRANBURY MUNICIPAL UTILITIES (LSE) | 0952141691000
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY (LSE) | 176871481
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY - COMMERCIAL | 1768714811200
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY CSA (LSE) | 1768714811500
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY RES 2 (LSE) | 1768714811400
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY-MULTIFAMILY (LSE) | 1768714811100
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY-POLR (LSE) | 1768714811300
|  |  |  | GUADALUPE VALLEY ELECTRIC CO OP INC (LSE) | 0079305891000
|  |  |  | HINO ELECTRIC POWER COMPANY (LSE) | 026533844
|  |  |  | HUDSON ENERGY JV LLC (LSE) | 8029612891000
|  |  |  | HUDSON ENERGY SERVICES LLC (LSE) | 121359595
|  |  |  | ILUMINAR ENERGY LLC (LSE) | 8292445521000
|  |  |  | ILUMINAR ENERGY LLC DBA ALLTEX POWER AND LIGHT (LSE) | 8292445521100
|  |  |  | ILUMINAR ENERGY LLC DBA PREMIUM POWER AND LIGHT (LSE) | 8292445521200
|  |  |  | INFINITE ELECTRIC LLC (LSE) | 9636606881000
|  |  |  | INFINITE ENERGY INC (LSE) | 9687867491000
|  |  |  | JPMORGAN VENTURES ENERGY CORPORATION (LSE) | 6026672011000
|  |  |  | JUST ENERGY TEXAS LP DBA JUST ENERGY (LSE) | 110569998
|  |  |  | JUST ENERGY TEXAS LP DBA JUST ENERGY TEXAS RGV | 1105699981000
|  |  |  | KERRVILLE PUBLIC UTILITY BOARD (LSE) | 1248248061000
|  |  |  | KINETIC ENERGY LLC | 792535846
|  |  |  | LEHMAN POWER SERVICES LLC (LSE) | 8263033511000
|  |  |  | LIBERTY POWER CORP. | 112361204
|  |  |  | LIBERTY POWER DELAWARE LLC | 625111021
|  |  |  | LIBERTY POWER HOLDINGS LLC | 784087293
|  |  |  | LIBERTY POWER TEXAS LLC | 785076246
|  |  |  | LIGHTHOUSE ELECTRIC CO OP (LSE) | 0028252891000
|  |  |  | LOWER COLORADO RIVER AUTHORITY (LSE) | 0432268851000
|  |  |  | LPT LLC DBA LPT SP LLC | 6116339131000
|  |  |  | LUMINANT ET SERVICES COMPANY (LSE) | 1733370281500
|  |  |  | LYNTEGAR ELECTRIC CO OP INC (LSE) | 0079371471000
|  |  |  | MAGIC VALLEY ELECTRIC CO OP INC (LSE) | 0089515011000
|  |  |  | MEGA ENERGY LP | 801176327
|  |  |  | MIDAMERICan ENERGY COMPANY (LSE) | 8847187681000
|  |  |  | MONONGAHELA COMMUNICATIONS LLC (LSE) | 8307007661000
|  |  |  | MP2 ENERGY TEXAS LLC (LSE) | 8281436311000
|  |  |  | MXENERGY ELECTRIC INC II (LSE) | 1480623541000
|  |  |  | MXENERGY ELECTRIC LSE | 148062354
|  |  |  | NATIONS POWER LLC (LSE) | 807179234
|  |  |  | NEUMIN PRODUCTION CO | 074606807
|  |  |  | NEW BRAUNFELS UTILITIES (LSE) | 0383461691000
|  |  |  | NEW MEXICO NATURAL GAS LP DBA TEXAS POWER | 807025689
|  |  |  | NEXTERA ENERGY POWER MARKETING LLC (LSE) | 0544813411000
|  |  |  | NEXTERA RETAIL OF TEXAS LP (LSE) | 784382017
|  |  |  | NOBLE AMERICAS ENERGY SOLUTIONS LLC (LSE) | 968254276
|  |  |  | NOORUDDIN INVESTMENTS LLC DBA DISCOUNT POWER (LSE) | 8254301971000
|  |  |  | NOVA POWER LLC (LSE) | 8306908761000
|  |  |  | NUECES ELECTRIC COOPERATIVE INC RETAIL DIVISION (NEC RD) | 0088288571000
|  |  |  | OCCIDENTAL POWER MARKETING LP (LSE) | 052298721
|  |  |  | OCCIDENTAL POWER SERVICES INC (LSE) | 1118490501000
|  |  |  | OUR ENERGY LLC (LSE) | 8273832461000
|  |  |  | PEDERNALES ELEC CO OP INC AEP (LSE) | 0079241111100
|  |  |  | PEDERNALES ELECTRIC CO OP INC (LSE) | 0079241111000
|  |  |  | PEGASUS ALLIANCE CORPORATION DBA ONPAC ENERGY (LSE) | 136387466
|  |  |  | PENNYWISE POWER LLC (LSE) | 8286293161000
|  |  |  | PENSTAR POWER LLC (LSE) | 144991671
|  |  |  | PENSTAR POWER LLC 1 (LSE) | 1449916711000
|  |  |  | PEPCO ENERGY SERVICES INC (LSE) | 106173672
|  |  |  | PILOT POWER GROUP INC. | 930453365
|  |  |  | POTENTIA ENERGY LLC (LSE) | 809047512
|  |  |  | PRELECTRIC ENERGY SERVICES LLC (LSE) | 159059315
|  |  |  | PREMIER POWER LLC (LSE) | 8330896621000
|  |  |  | PRIER ENERGY INC | 800805835
|  |  |  | PRIER ENERGY INC DBA BUBBA POWER (LSE) | 8008058351200
|  |  |  | PRIER ENERGY INC DBA GENERAL POWER AND LIGHT (LSE) | 8008058351000
|  |  |  | PRIER ENERGY INC DBA TODAYS ENERGY (LSE) | 8008058351100
|  |  |  | PROTON ENERGY INC (LSE) | 8305909511000
|  |  |  | PULSE ELECTRIC INC (LSE) | 8282993751000
|  |  |  | RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (LSE) | 6243686011000
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EPCO (LSE) | 6243686011200
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EXP (LSE) | 6243686011100
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC HOUPL (LSE) | 6243686011400
|  |  |  | REACH ENERGY LLC | 791894152
|  |  |  | RELIABLE POWER LLC (LSE) | 8330897461000
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC | 799530915
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC DBA RELIANT ENERGY SOLUTIONS | 616498114
|  |  |  | RELIANT ENERGY TEXAS RETAIL LLC (LSE) | 8286294561000
|  |  |  | REPUBLIC POWER DBA ENERGY AMERICA II (TEST) | 0397133541100
|  |  |  | RIO GRANDE ELEC CO OP (LSE) AEP | 0027819531100
|  |  |  | RIO GRANDE ELECTRIC CO OP (LSE) TXU | 0027819531000
|  |  |  | SAN BERNARD ELECTRIC CO OP (LSE) | 0089453131000
|  |  |  | SECURE ENERGY LLC (LSE) | 8330898861000
|  |  |  | SHARYLAND UTILITIES LP BRADY (LSE) | 1052623361100
|  |  |  | SHARYLAND UTILITIES LP CELESTE (LSE) | 1052623361200
|  |  |  | SHELL ENERGY NORTH AMERICA (US) LP (LSE) | 9375172661100
|  |  |  | SOLARO ENERGY MARKETING CORPORATION (LSE) | 128849358
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) | 0038663321000
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) AEP | 0038663321100
|  |  |  | SOUTH TEXAS ELECTRIC COOPERATIVE (POLR) | 0038663321300
|  |  |  | SOUTHWEST TEXAS ELECTRIC CO OP INC (LSE) | 0084158951000
|  |  |  | SOUTHWESTERN ELECTRIC POWER COMPANY BLT (LSE) | 0069487641000
|  |  |  | SOUTHWESTERN PUBLIC SERVICE COMPANY (LSE) | 0073697131000
|  |  |  | SPARK ENERGY LP | 037597437
|  |  |  | SPARK ENERGY LP - DBA FIRE FLY POWERED BY SPARK ENERGY | 0375974371000
|  |  |  | STAR ELECTRICITY INC DBA STARTEX POWER (LSE) | 148055531
|  |  |  | STARLIGHT ENERGY LP | 181203170
|  |  |  | STATE POWER COMPANY INC (LSE) | 801220844
|  |  |  | STREAM GAS AND ELECTRIC LTD (LSE) | 159008395
|  |  |  | TARA ENERGY LLC (LSE) | 111950619
|  |  |  | TARA ENERGY LLC DBA SMART PREPAID ELECTRIC (LSE) | 1119506191000
|  |  |  | TAYLOR ELECTRIC CO OP INC (LSE) | 0079344251000
|  |  |  | TAYLOR ELECTRIC CO OP INC-ABILENE (LSE) | 0079344251100
|  |  |  | TELECOM CONSULTING AND SERVICES LLC DBA TCS ENERGY (LSE) | 8293064921000
|  |  |  | TENASKA POWER SERVICES CO (LSE) | 015016913
|  |  |  | TENASKA POWER SERVICES CO DBA TPS I | 0150169131000
|  |  |  | TENASKA POWER SERVICES CO DBA TPS II | 0150169131100
|  |  |  | TENASKA POWER SERVICES CO DBA TPS III | 0150169131200
|  |  |  | TENASKA POWER SERVICES CO DBA TPS4 | 0150169131300
|  |  |  | TENASKA TOPS REP LP | 109518444
|  |  |  | TENASKA TOPS REP LP DBA TOPS I | 1095184441000
|  |  |  | TENASKA TOPS REP LP DBA TPS5 | 1095184445000
|  |  |  | TENASKA TOPS REP LP DBA TPS6 | 1095184446000
|  |  |  | TENASKA TOPS REP LP DBA TPS7 | 1095184447000
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (BLT LSE) | 6091700301300
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (LSE) | 609170030
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS INC./TPS (LSE) | 6091700301100
|  |  |  | TEX-LA ELECTRIC COOPERATIVE OF TEXAS INC /AEP2 (LSE) | 6091700301200
|  |  |  | TEXAS POWER LP (LSE) | 614848005
|  |  |  | TEXAS POWER LP DBA PRE PAY POWER (LSE) | 6148480051000
|  |  |  | TEXAS RETAIL ENERGY LLC (LSE) | 124238432
|  |  |  | TEXPO POWER LP DBA YEP | 780061300
|  |  |  | TEXREP1 LLC DBA EPCOT ELECTRIC (LSE) | 788707912
|  |  |  | TEXREP3 LLC DBA MILAGRO ELECTRIC (LSE) | 8071239431000
|  |  |  | TEXREP5 LLC DBA ALLSTAR ENERGY LLC (LSE) | 8292945321000
|  |  |  | TEXREP6 LLC (LSE) | 8292945991000
|  |  |  | TEXREP7 LLC (LSE) | 8292946981000
|  |  |  | TGT ENERGY LLC | 006961700
|  |  |  | THE ROYAL BANK OF SCOTLAND PLC (LSE) | 229123146
|  |  |  | TPS POWER HOLDINGS LLC (LSE) | 8306796631000
|  |  |  | TRIEAGLE ENERGY LP (LSE) | 124769063
|  |  |  | TRIEAGLE ENERGY LP DBA EAGLE ENERGY | 1247690631100
|  |  |  | TRIEAGLE ENERGY LP DBA PILOT ENERGY | 1247690631200
|  |  |  | TRIEAGLE ENERGY LP DBA POWER HOUSE ENERGY | 1247690631300
|  |  |  | TRIEAGLE ENERGY LP DBA TRIEAGLE ENERGY SERVICES | 1247690631000
|  |  |  | TRUE ELECTRIC LLC | 793874822
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (LG NR POLR) | 1733370281300
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (RES POLR) | 1733370281100
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (SM NR POLR) | 1733370281200
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA TXU ENERGY | 1733370281000
|  |  |  | TXU SESCO CO (LSE) | 0079280961000
|  |  |  | TXU SESCO ENERGY SERVICES COMPANY (SUBLSE) | 1733370281400
|  |  |  | UG AND E TEXAS INC (LSE) | 243434292
|  |  |  | VETERAN ENERGY LLC (LSE) | 0102173951000
|  |  |  | WEATHERFORD MUNICIPAL UTILITY SYSTEM (LSE) | 0817196271000
|  |  |  | WEIR INVESTMENTS FUND LLC DBA APOLLO POWER AND LIGHT LLC (LSE) | 8282227731000
|  |  |  | WESTERN FARMERS ELECTRIC COOPERATIVE (LSE) | 072862407
|  |  |  | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (LSE) | 0079233111000
|  |  |  | WTU RETAIL ENERGY DBA 1300 | 0177412941300
|  |  |  | WTU RETAIL ENERGY DBA 1400 | 0177412941400
|  |  |  | WTU RETAIL ENERGY LP (LSE) | 017741294
|  |  |  | WTU RETAIL ENERGY LP 1100 | 0177412941100
|  |  |  | WTU RETAIL ENERGY LP DBA WTU | 0177412941200
|  |  |  | YOUNG ENERGY LLC DBA PAYLESS POWER (LSE) | 189069284
NOT LISTED

## Operational Parameters - NRRC
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource Operational Parameters for Renewable resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  | NORMAL RAMP RATE CURVE
Unit Name | Resource Name (Unit Code/Mnemonic) | MW Number | NRRC Code | NRRC MW | Upward Ramprate | Downward Ramprate
List | Automatic | List | Automatic | MW | MW/min | MW/min
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on C7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on E7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on F7: Enter Normal Rate at which resource can increase MW output in MW/minute for the given output level .
Note on G7: Enter Normal Rate at which resource can decrease MW output in MW/minute for the given output level .

## Operational Parameters - ERRC
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource Operational Parameters for Renewable resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  | EMERGENCY RAMP RATE CURVE
Unit Name | Resource Name (Unit Code/Mnemonic) | MW Number | ERRC Code | ERRC MW | Upward Ramprate | Downward Ramprate
List | Automatic | List | Automatic | MW | MW/min | MW/min
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on C7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on E7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on F7: Enter Emergency Rate at which resource can increase MW output in MW/minute for the given output level .
Note on G7: Enter Emergency Rate aat which resource can decrease MW output in MW/minute for the given output level .

## Private Network - Unit
ERCOT Confidential
Private Network - Unit Information
This worksheet tab applies to all Private Use Networks.
Must complete all cells in this section if this is a Private Network Site.
GENERATOR DETAILS |  |  | PRIVATE NETWORK - UNIT INFORMATION
Unit Name | SITE CODE | Resource Name (Unit Code/Mnemonic) | Average Amount Of Self-serve Private Load | Average Amount Of Self-serve Private Reactive Load | Expected Typical Private Network Net Interchange | Expected Typical Private Network Net Reactive Interchange | Private Network Gross Unit Capability | Private Network Gross Unit Reactive Capability | If Unit Trips, Does Load Trip? | If Yes, Approximate Percentage Of Load That Will Trip?
Automatic | Automatic | Automatic | MW | MVAR | MW | MVAR | MW | MVAR | Y/N
Note on C9: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## Reactive Capability - RENEWABLE
ERCOT Confidential
Reactive Capability
This worksheet tab provides reactive capability for Renewable generation resources.
Must complete all applicable cells in this section.
REACTIVE CAPABILITY CURVES
Resource Name (Unit Code/Mnemonic) | Reactive Capability Povided is Gross Values? | Reactive Capability Data Provided is from NDCRC Test Data? | If Reactive Capability Data Provided Is From NDCRC test Data Then Enter The Date On Which The Test Was Performed. | Mw1 | Lagging MVAR Limit Associated With Mw1 Output | Leading MVAR Limit Associated With Mw1 Output | Mw2 | Lagging MVAR Limit Associated With Mw2 Output | Leading MVAR Limit Associated With Mw2 Output | Mw3 | Lagging MVAR Limit Associated With Mw3 Output | Leading MVAR Limit Associated With Mw3 Output | Mw4 | Lagging MVAR Limit Associated With Mw4 Output | Leading MVAR Limit Associated With Mw4 Output | Mw5 - Unity Power Factor | Maximum Lagging Operating Capability (MVAR) | Maximum Leading Operating Capability (MVAR) | Manufacturer's Capability Curve Submitted?
List | List | Y/N | mm/dd/yyyy | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | MVAR | MVAR | Y/N
Note on A7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## Planning - Turbine (hidden)
ERCOT Confidential
Turbine Information |  | All this data will be loaded into a new table (WindTurbine). I suggest combining this tab with the Unit Info - Wind Turbine tab and then renaming it Turbine and Planning Details | [30 empty] | Delete language
This worksheet tab provides specific Wind Turbine parameters for each Wind Info - Wind turbine type used to aggregate into a WGR in the Planning - Wind tab. | [32 empty] | PSSE MODELS : THE FOLLOWING FILES ARE REQUIRED TO BE SUBMITTED IF NOT LISTED IN THE WIND TURBINE DYNAMIC MODELS AVAILABLE AT ERCOT OR IF ADDITIONAL EQUIPMENT HAS BEEN ADDED TO THE SITE REQUIRING MODEL UPDATES. PLEASE INCLUDE ALL PSSE FILES IN A ZIP OR COMPRESSED FOLDER IN THE DYNAMIC DATA TAB.
Must complete all applicable cells in this section. |  |  | Added fields to be used for individual Turbine Details
New field Added |  | New field and comment Added |  |  |  |  | Changed field name | [7 empty] | Changed field name | [7 empty] | New field Added
TURBINE DETAILS |  |  | PLANNING DETAILS | [20 empty] | TURBINE STEP-UP TRANSFORMER DATA
Turbine Manufacturer/Model | Group Code | Turbine Type | What Is The Mva Base That The Following Data Is Based On? | What Is The Kv Base That The Following Data Is Based On? | Direct Axis Subtransient Reactance, X"di (unsaturated) | Direct Axis Transient Reactance, X'di (unsaturated) | Positive Synchronous Z (unsaturated) |  | Negative Sequence Z (unsaturated) |  | Zero Sequence Z (unsaturated) |  | Direct Axis Subtransient Reactance, X"dv (saturated) | Direct Axis Transient Reactance, X'dv (saturated) | Positive Synchronous Z (saturated) |  | Negative Sequence Z (saturated) |  | Zero Sequence Z (saturated) |  | Zero Sequence Grounding Resistance For An Impedance Grounded Generator In P.U. (100 Mva Base) | Zero Sequence Grounding Reactance For An Impedance Grounded Generator In P.U. (100 Mva Base) | Controlled Fault Current Magnitude (% of full load current) for Turbine Types 3 & 4 | High Side Voltage Level (nominal) | Low Side Voltage Level (nominal) | High Side Voltage Connection | Low Side Voltage Connection | Impedance Z | X/R Ratio | Zero Sequence Z | Zero Sequence X/R Ratio | Base Mva For Transformer Data | PSSE Compatible Wind Generator Models | Dynamic Reactive Device Form
All Caps |  | 1, 2,3,4 | MVA | kV | p.u. | p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | p.u. | p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | p.u. | p.u. | % | kV | kV | List | List | p.u. |  | p.u. |  | MVA
VESTAS NM72 |  | 1
VESTAS V82 |  | 1
VESTAS V66 |  | 2
VESTAS V47 |  | 2
VESTAS V80 |  | 2
GAMESA G80 |  | 2
GE 1.5 |  | 3
GAMESA G83 |  | 3
GAMESA G87 |  | 3
Note on C7: Types of Wind Turbine Generator Type 1 - Conventional induction generator Type 2 - Variable Rotor-Resistance induction generator Type 3 - Doubly-Fed asynchronous generator Type 4 - Full-Converter unit

## Planning - RENEWABLE
ERCOT Confidential
Planning Information
This worksheet tab provides aggregated planning information for Renewable generation resources as listed in Unit Info - Renewable tab using turbine type and number from Unit Info - Renewable tab and parameters from Planning - Renewable tab for the particular generator.
Must complete all applicable cells in this section.
| GENERATOR AUXILIARY LOAD |  |  | GENERATION AUXILIARY LOAD CHARACTERISTICS FOR MW LOAD |  |  |  |  | GENERATION AUXILIARY LOAD CHARACTERISTICS FOR MVAR LOAD
Resource Name (Unit Code/Mnemonic) | Average Amount Of Auxiliary Real Power | Average Amount Of Auxiliary Reactive Power | Auxiliary Load Power Factor | Large Motor, Percent Of Total Mw Load | Small Motor, Percent Of Total Mw Load | Resistive (heating) Load, Percent Of Total Mw Load | Discharge Lighting, Percent Of Total Mw Load | Other, Percent Of Total Mw Load | Large Motor, Percent Of Total MVAR Load | Small Motor, Percent Of Total MVAR Load | Discharge Lighting, Percent Of Total MVAR Load | Other, Percent Of Total MVAR Load
List | MW | MVAR
Note on A7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on E6: Auxiliary Load Splits only required if Averagr Amount of Auxillary Real Power (MW) is greater than or equal to 1.0 MW.
Note on J6: Auxiliary Load Splits only required if Averagr Amount of Auxillary Real Power (MW) is greater than or equal to 1.0 MW.

## Protection - RENEWABLE
ERCOT Confidential
Protection Information
This worksheet tab provides protection information for Renewable generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | PLANT UNDERVOLTAGE PROTECTION | [18 empty] | PLANT OVERFREQUENCY PROTECTION | [17 empty] | TURBINE VRT CAPABILITY
Unit Name | Site Code | Resource Name (Unit Code/Mnemonic) | Breaker Interruption Time | Instantaneous Undervoltage Trip | Undervoltage 1 | Time 1 | Undervoltage 2 | Time 2 | Undervoltage 3 | Time 3 | Undervoltage 4 | Time 4 | Instantaneous Overvoltage Trip | Overvoltage 1 | Time 1 | Overvoltage 2 | Time 2 | Overvoltage 3 | Time 3 | Overvoltage 4 | Time 4 | Instantaneous Underfrequency Trip | Underfrequency 1 | Time 1 | Underfrequency 2 | Time 2 | Underfrequency 3 | Time 3 | Underfrequency 4 | Time 4 | Instantaneous Overfrequency Trip | Overfrequency 1 | Time 1 | Overfrequency 2 | Time 2 | Overfrequency 3 | Time 3 | Overfrequency 4 | Time 4 | Does the resource have the manufacturer's technical document / Simulation Results / Test Results, etc. describing the turbine technology & VRT optIons purchased with turbine, if any | Do Personnel (onsite Operator/engineer Etc.) Have Control To Enable/disable Or Change The Settings For Voltage Ride-through | Does the Resource use dynamic reactive devices (SVC/statcom, etc.) at the wind farm? - (note: capacitor/reactor banks used for conventional reactive support cannot be considered as dynamic reactive devices) - If yes, please provide supporting documentation. (manufacturer's technical document, PSS/E model etc.), submitted in the Dynamics Data Tab. | Does the Resource Have the Turbine Voltage & Frequency Protection Settings As Per Manufacturer - Technical Document And/or Spec Sheet | Does the Resource have plant voltage protection? If yes, please provide supporting documentation. | Does The Resource Have Feeder Voltage Protection? If Yes, Please Provide Supporting Documentation.
Automatic | Automatic | Automatic | cycles | p.u. | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | sec | Hz | Hz | sec | Hz | sec | Hz | sec | Hz | sec | Hz | Hz | sec | Hz | sec | Hz | sec | Hz | sec | Y/N | Y/N | Y/N | Y/N | Y/N | Y/N
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on AO7: To determine VRT capability.
Note on AP7: To determine VRT capability.
Note on AQ7: To determine VRT capability.
Note on AR7: To determine VRT capability.
Note on AS7: To determine VRT capability.
Note on AT7: To determine VRT capability.

## Collector System - RENEWABLE
ERCOT Confidential
Collector System
This worksheet tab provides collector system information for Renewable resources.
Must complete all applicable cells in this section. Also, complete the Collector System - Renewable Seg Data tab.
If the site includes multiple turbine/inverter types, the one-line diagram shall clearly identify the turbine/inverter type (manufacturer/model) connected at each location.
COLLECTION SYSTEM ONE LINE DIAGRAM (Embed a PDF One Line Diagram)
COLLECTION SYSTEM DETAILED MODEL (Embed a PSS/E Raw & Sequence model, or an ASPEN/Powerworld Model (to include both positive and zero sequence data)
GENERATOR DETAILS | COLLECTION SYSTEM DETAILED MODEL |  | POSITIVE SEQUENCE DATA |  |  | ZERO SEQUENCE DATA
Resource Name (Unit Code/Mnemonic) | Cable Type | Voltage Level kV | R/kft | X/kft | Charging Bc/kft | R0/kft | X0/kft
List |  | kV | (p.u. on 100 MVA base) | (p.u. on 100 MVA base) | (p.u. on 100 MVA base) | (p.u. on 100 MVA base) | (p.u. on 100 MVA base)
Note on A11: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## Collector System-Renew Seg Data
ERCOT Confidential
Collector System Segment Data
This worksheet tab provides collector system information for Renewable Segment Data.
Must complete all applicable cells in this section. Also, complete Collector System - Renewable tab.
GENERATOR DETAILS | Cable Type | RENEWABLE SEGMENT DETAILS
Resource Name (Unit Code/Mnemonic) | Cable Type | From | To | Circuit Number | Voltage Level | Cable Segment Length | Number of Turbines/Inverters On Cable Segment | UNIT_CABLE_FROM_TO_CIRCUIT
List | List | alpha/numeric | alpha/numeric | alpha/numeric | kV | in kft | Integer | Automatic
Note on A7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## PSCAD Model
ERCOT Confidential
Enter Date Last Updated
PSCAD Model (if applicable)
SSR/SSI Analysis

## Dynamic Data
ERCOT Confidential
Enter Date Last Updated
DYNAMIC DATA

## Inverter Efficency Curve
ERCOT Confidential
Enter Date Last Updated
Inverter Efficency Curve