## Instructions
ERCOT Confidential
RARF V 5.5
ERCOT Resource Asset Registration Form (RARF)
"Network Model / System Planning / Data Aggregation / Settlements - Asset Registration / Resource Data Form"
A RARF should be submitted for each Generation Resource site that contains all generation at the site.
The RARF has been provided for ERCOT Resource Entities to properly register and submit data needed to register the assets
of Generation Resources. The RARF is to also be completed for all active and mothballed generation resources inside ERCOT.
Your organization must have submitted a market participant application as a Resource Entity prior to submission of this form.
Please keep in mind the following as you complete this form:
1. Please submit a single RARF form for each 'Resource Site'. This form will accommodate Generation Resources located at a common site,
and will accommodate generation load splitting.
2. After completion of this form, please submit electronically attached to a SERVICE REQUEST through MARKET INFORMATION SYSTEM (MIS).
See explanation below for submitting form through MIS. See the MP User Security Administrator to obtain a digital certificate.
INSTRUCTIONS FOR SUBMITTING RARF THROUGH MARKET INFORMATION SYSTEM (MIS): |  | ERCOT MIS SECURE
1. ERCOT requests the Resource Entity attach the RARF to a Service Request through Market Information System (MIS) located at https://mis.ercot.com, by the Primary or Secondary
Authorized Representative of the Resource Entity.
2. Access to ERCOT MIS requires a user digital certificate with minimal role "MP_ASSETS" that allows access to "Create Service Request" on the
"APPLICATIONS" page. The "user digital certificate" is authorized by the Market Participant's User Security Administrator.
3. Upon accessing MIS go to the "APPLICATIONS" page and select "Create Service Request". Be advised that the Service Request
will display in a new window as a pop-up, which may be impacted by user's browser settings.
4. Complete the required fields on the "Service Request" screen (annotated by red asterisk).
The following Request Type and Sub-Type are essential to proper submittal.
Request Type: Select "MP Registration" from the drop-down list
Request Sub-Type: Select "Resource/Asset Registration" from the drop-down list
Short Description: Complete with a descriptive subject
Long Description: Complete with details regarding changes
Click "Submit" (you will add the RARF(XLS) or (ZIP) file on the next screen)
From the "Activities and Attachments" screen
Click "Add" under the Attachments heading of the Service Request
Select "Browse" icon and find the completed RARF file on your computer
Click "Submit" (comments are optional)
5. An alternate email signature document is available for those that have technical problems submitting via the TML portal.
This form in both a portable document format (pdf) and Microsoft Excel spreadsheet (xls) format as well as the one-line diagram
would then be emailed along with the signature document to:
MPAPPL@ERCOT.COM
NOTE: if you have PSSE model files they will need to be compressed (zipped) and added to the same service request as the RARF form.
If questions arise related to the completion of this form, please contact your designated ERCOT Account Manager or
email Wholesale Client Services at ClientServices@ercot.com with the subject "Resource Asset Registration Form".
PROTOCOL DISCLAIMER
This registration document describes ERCOT processes and is not intended to be a substitute for the ERCOT Nodal Protocols
(available at http://www.ercot.com/mktrules/nprotocols/ ), as amended from time to time.
If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.
Revisions to this document shall be approved by ERCOT.
cc
LINK

## Unit Info - TRAIN
ERCOT Confidential
Unit Information
This worksheet tab applies to all Combined Cycle Train generation resources.
Must complete all applicable cells in this section.
Resource Site Code:
CC TRAIN DETAILS | [5 empty] | SITE AND UNIT DATES |  | FUEL INFORMATION |  | POWER AUGMENTATION
Train Name | Train Code | Settlement Only Generator (SOG) | PUC Registration Number | NERC Number | Qualifying Facility? | Train Commercial Operations Date | Train Retirement Date | Fuel Transportation Type | Resource Category | Is Train Augmented With Duct Burner(s)? | Is Train Augmented With Evap Cooler(s)? | Is Train augmented with Chiller(s)? | Other Augmentation?
List | Automatic | Y/N |  |  | Y/N | mm/dd/yyyy | mm/dd/yyyy | List | List | Y/N | Y/N | Y/N | Y/N
Note on A5: Resource Site Code is a Required field.
Note on C7: Refer to ERCOT Protocol Section 2.1, Definitions, for the definition of a Settlement Only Generator (SOG).
Note on D7: P.U.C. Subst. R. 25.109, Registration of Power Generation Companies (PGCs) and Self-Generators
Note on E7: Enter NERC ID#.
Note on F7: A qualifying co-generation facility or qualifying small power production facility under regulatory qualification criteria as defined in PURPA, 16 USC §796(18)(B) and §796(17)(C).
Note on G7: Date available for dispatch and all testing is complete MM/DD/YYYY.
Note on H7: Retirement Date in YYYY format. Leave blank if unknown.
Note on I7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.
Note on J7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.

## Unit Info - CC
ERCOT Confidential
Unit Information
This worksheet tab provides generator Unit information for Combined Cycle resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  |  | SITE AND UNIT DATES |  |  |  |  | POINT OF INTERCONNECTION |  |  | FUEL INFORMATION |  | RATINGS AND DESIGNS
UNIT NAME | SITE_CODE | Resource Name (Unit Code/Mnemonic) | ERCOT Interconnection Project Number - Only New Units | Transmission Only MRD | Standard Generation Interconnection Agreement (SGIA) Signature Date | Unit Start Date (Model Ready Date) | Commercial Operations Date | Unit End Date | SubStation Code/SubStation Mnemonic | Voltage Level | PTI Bus Number | Primary Fuel Type | Secondary Fuel Type | Physical Unit Type | Name Plate Rating | Real Power Rating | Reactive Power Rating | Turbine Rating | Unit Generating Voltage | Governor Droop Setting | Governor Dead-band | Design Max Ambient Temperature | Design Min Ambient Temperature
all caps | Automatic | Automatic |  | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | mm/dd/yyyy | All Caps | kV | # | List | List | List | MVA | MW | MVAR | MW | kV |  | Hz | degree F | degree F
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on D7: INR #, Generation Interconnection Request - only needed for new interconnections
Note on E7: Point of Interconnection (POI) commissioning date (Back Feed Date) in MM/DD/YYYY. This field is used only for new Resource(s) connecting to the ERCOT Grid
Note on G7: Date Resource added to ERCOT Network Operation Model (MM/DD/YYYY).
Note on H7: Date available for dispatch and commissioning testing is complete MM/DD/YYYY.
Note on I7: Retirement Date in mm/dd/YYYY format. Leave blank if unknown.
Note on J7: Please consult your Standard Generation Interconnection Agreement (SGIA) to obtain your Point of Interconnection. If you need assistance in determining the corresponding ERCOT Substation Code\Substation Mnemonic, please work with your TSP or ERCOT.
Note on K7: If you need assistance in determining the corresponding Voltage Level, please work with your TSP or ERCOT.
Note on L7: If you need assistance in determining the corresponding PTI Bus Number, please work with your TSP or ERCOT.
Note on M7: Please select from the drop down list of values. Definitions can be found in the RARF Glossary.
Note on N7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.
Note on O7: Please select from the provided list of values. Definitions can be found in the RARF Glossary.
Note on P7: Name Plate MVA Rating of this unit at its rated Power Factor.
Note on Q7: Maximum rated MW at rated Power Factor.
Note on R7: Maximum MVAR at rated Power Factor
Note on S7: Maximum gross designed MW of the turbine
Note on U7: Meet Nodal protocols.
Note on V7: Meet Nodal protocols.
Note on W7: This is the plant design maximum (high) air temperature.
Note on X7: This is the plant design minimum (low) air temperature.

## Ownership - CC
ERCOT Confidential
Representation of Facility Output
This worksheet tab applies to all Combined Cycle Generation Resources. This tab identifies the Resource Entities that represent the output of the facility to ERCOT.
Each CC Train must have a single owner. Complete all applicable cells in this section.
GENERATOR DETAILS
Train Name | Train Code | Resource Entity Name | Resource DUNS Number | Fixed Ownership | Master Owner | Ownership Start Date | Ownership Stop Date
List | Automatic |  | 9-13 digits |  | Y/N | mm/dd/yyyy | mm/dd/yyyy
Note on G7: mm/dd/yyyy
Note on H7: mm/dd/yyyy

## Parameters - CC
ERCOT Confidential
Resource Parameters
This worksheet tab provides resource parameters for Combined Cycle generation resources.
Must complete parameters for all units.
GENERATOR DETAILS |  | REASONABILITY LIMITS |  |  |  | SEASONAL RATINGS - SPRING |  |  |  | SEASONAL RATINGS - SUMMER |  |  |  | SEASONAL RATINGS - FALL |  |  |  | SEASONAL RATINGS - WINTER
Unit Name | Resource Name (Unit Code/Mnemonic) | High Reasonability Limit | Low Reasonability Limit | High Reasonability Ramp Rate Limit | Low Reasonability Ramp Rate Limit | Seasonal Net Max Sustainable Rating - Spring | Seasonal Net Min Sustainable Rating - Spring | Seasonal Net Max Emergency Rating - Spring | Seasonal Net Min Emergency Rating - Spring | Seasonal Net Max Sustainable Rating - Summer | Seasonal Net Min Sustainable Rating - Summer | Seasonal Net Max Emergency Rating - Summer | Seasonal Net Min Emergency Rating - Summer | Seasonal Net Max Sustainable Rating - Fall | Seasonal Net Min Sustainable Rating - Fall | Seasonal Net Max Emergency Rating - Fall | Seasonal Net Min Emergency Rating - Fall | Seasonal Net Max Sustainable Rating - Winter | Seasonal Net Min Sustainable Rating - Winter | Seasonal Net Max Emergency Rating - Winter | Seasonal Net Min Emergency Rating - Winter
List | List | MW | MW | MW/min | MW/min | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW
Note on B7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on C7: Per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on D7: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data less than the value.
Note on E7: An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on F7: An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on G6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July and August ; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on K6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July and August ; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on O6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July and August ; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on S6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July and August ; Fall months are September, October, and November. These are not the HSL/LSL or HEL/LEL values.

## CC Configurations
ERCOT Confidential
Combined Cycle Configurations
This worksheet tab applies to all Combined Cycle Generation Resources. This tab defines the operating configurations.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | CONFIGURATION DETAILS
TRAIN CODE | SITE CODE | Resource Name (Unit Code/Mnemonic) | Configuration # | Configuration Code | Configuration Type
List | Automatic | List | # | Automatic | List
OFFLINE
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on D7: Each operational CCP configuration should be registered as a Logical CCP Resource. Physical CCU Resources that are online in that CCP configuration are primary. Offline Physical CCU Resources can be alternate, i.e. they can be treated as online units if an online unit in that CCP configuration is outaged. This means the CCP configuration should be defined as a set of primary and alternate Physical CCU Resources.

## CC Transitions
ERCOT Confidential
Combined Cycle Transitions
This worksheet tab applies to all Combined Cycle Generation Resources. This tab defines the operating transitions.
Must complete CC Configurations tab data before the transitions data can be applied.
GENERATOR DETAILS
Sitecode | Mnemonic for Combined Cycle Train | Configuration Code From | Configuration Code To
List | List | List | List
Note on C7: The transition in which this CCU Resource is started. "Transition from one configuaration to another configuration" (e.g. From OFFLINE, To CC1_1 or From CC1_1 to CC1_2)
Note on D7: Transition from one configuaration to another configuration until turned off. (e.g. From CC1_1 to OFFLINE or From CC1_2 to CC1_1)

## Parameters - CFG
ERCOT Confidential
Resource Parameters
This worksheet tab provides resource parameters for CC Configurations.
Must complete CC Configurations tab data before the parameters data can be applied.
GENERATOR DETAILS |  |  | REASONABILITY LIMITS |  |  |  | SEASONAL RATINGS - SPRING |  |  |  | SEASONAL RATINGS - SUMMER |  |  |  | SEASONAL RATINGS - FALL |  |  |  | SEASONAL RATINGS - WINTER
SITECODE | Train Code | Configuration Code | High Reasonability Limit | Low Reasonability Limit | High Reasonability Ramp Rate Limit | Low Reasonability Ramp Rate Limit | Seasonal Net Max Sustainable Rating - Spring | Seasonal Net Min Sustainable Rating - Spring | Seasonal Net Max Emergency Rating - Spring | Seasonal Net Min Emergency Rating - Spring | Seasonal Net Max Sustainable Rating - Summer | Seasonal Net Min Sustainable Rating - Summer | Seasonal Net Max Emergency Rating - Summer | Seasonal Net Min Emergency Rating - Summer | Seasonal Net Max Sustainable Rating - Fall | Seasonal Net Min Sustainable Rating - Fall | Seasonal Net Max Emergency Rating - Fall | Seasonal Net Min Emergency Rating - Fall | Seasonal Net Max Sustainable Rating - Winter | Seasonal Net Min Sustainable Rating - Winter | Seasonal Net Max Emergency Rating - Winter | Seasonal Net Min Emergency Rating - Winter
List | List | List | MW | MW | MW/min | MW/min | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on D7: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on E7: New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data less than the value..
Note on F7: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on G7: New Nodal field- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value.
Note on H6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, August and September; Fall months are October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on L6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, August and September; Fall months are October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on P6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, August and September; Fall months are October, and November. These are not the HSL/LSL or HEL/LEL values.
Note on T6: Seasonal - Spring, Summer, Fall, Winter; Used for Planning as well as Mitigated Offer Cap in calculating the capacity factor of the resource. Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, August and September; Fall months are October, and November. These are not the HSL/LSL or HEL/LEL values.

## Operational Parameters - CFG
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource parameters for CC Configurations.
Must complete CC Configurations tab data before the parameters data can be applied.
GENERATOR DETAILS |  |  | RESOURCE PARAMETERS
SITECODE | Train Code | Configuration Code | Minimum On Line Time | Minimum Off Line Time | Hot Start Time | Intermediate Start Time | Cold Start Time | Max Weekly Starts | Max On Line Time | Max Daily Starts | Max Weekly Energy | Hot-to-intermediate Time | Intermediate-to-cold Time
LIST | LIST | LIST | hours | hours | hours | hours | hours |  |  |  | MWh | hours | hours
Note on D7: The minimum number of consecutive hours the Resource must be On-Line before being shut down.
Note on E7: The minimum number of consecutive hours the Resource must be Off-Line before being restarted.
Note on F7: The time, in hours, from the ERCOT notice to LSL, for a Resource in its hot-temperature state. From Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on G7: The time interval, in hours, from the ERCOT notice to LSL, for a Resource in its intermediate temperature state. From Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on H7: The time interval, in hours, from the ERCOT notice to LSL, for a Resource in its cold-temperature state. New nodal value from Protocols 3.7.1- Resource Parameter Criteria Hot, Cold, Intermediate start times are not additive.
Note on I7: The maximum number of times a Resource can be started in seven consecutive days under normal operating conditions. From Protocols 3.7.1- Resource Parameter Criteria
Note on J7: The maximum number of consecutive hours a Resource can run before it needs to be shut down. From Protocols 3.7.1- Resource Parameter Criteria
Note on K7: The maximum number of times a Resource can be started in a 24 hour period under normal operating conditions. From Protocols 3.7.1- Resource Parameter Criteria
Note on L7: The maximum amount of energy, in MWh, a Resource can produce in seven consecutive days. From Protocols 3.7.1- Resource Parameter Criteria
Note on M7: The time, in hours, after shutdown that a hot-temperature-state Resource takes to cool down to intermediate-temperature state. From Protocols 3.7.1- Resource Parameter Criteria
Note on N7: The time, in hours, after shutdown that an intermediate-temperature-state Resource takes to cool down to cold-temperature state. From Protocols 3.7.1- Resource Parameter Criteria

## Operational Parameters - NRRC
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource parameters for CC Configurations.
Must complete CC Configurations tab data before the NRRC data can be applied.
NORMAL RAMP RATE CURVE
Train Code | Configuration Code | MW Number | NRRC Code | NRRC MW | Upward Ramprate | Downward Ramprate
List | List | List | Automatic | MW | MW/min | MW/min
Note on A7: Select Train Code from list for this Ramp Rate
Note on B7: Select Configuration Code from list (e.g. Offline, CC1_1, CC1_2, etc.) for this Ramp Rate
Note on C7: MW Number for Ramp Rate Curve
Note on E7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on F7: Enter Normal Rate at which resource can increase MW output in MW/minute for the given output level .
Note on G7: Enter Normal Rate at which resource can decrease MW output in MW/minute for the given output level .

## Operational Parameters - ERRC
ERCOT Confidential
Operational Resource Parameters Resource Entity authorizes QSE representing this Generation Resource to submit Resource Parameters on this page for operational purposes in accordance with Section 3.7.1 on behalf of Resource Entity.
This worksheet tab provides resource parameters for CC Configurations.
Must complete CC Configurations tab data before the ERRC data can be applied.
EMERGENCY RAMP RATE CURVE
Train Code | Configuration Code | MW Number | ERRC Code | ERRC MW | Upward Ramprate | Downward Ramprate
LIST | LIST | List | Automatic | MW | MW/min | MW/min
Note on A7: Select Train Code from list for this Ramp Rate
Note on B7: Select Configuration Code from list (e.g. Offline, CC1_1, CC1_2, etc.) for this Ramp Rate
Note on C7: MW Number for Ramp Rate Curve
Note on E7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on F7: Enter Emergency Rate at which resource can increase MW output in MW/minute for the given output level .
Note on G7: Enter Emergency Rate aat which resource can decrease MW output in MW/minute for the given output level .

## Private Network - Unit
ERCOT Confidential
Private Network - Unit Information
This worksheet tab applies to all Private Use Networks.
Must complete all cells in this section if this is a Private Network Site.
GENERATOR DETAILS |  |  | PRIVATE NETWORK - UNIT INFORMATION
Unit Name | SITE CODE | Resource Name (Unit Code/Mnemonic) | Average Amount Of Self-serve Private Load | Average Amount Of Self-serve Private Reactive Load | Expected Typical Private Network Net Interchange | Expected Typical Private Network Net Reactive Interchange | Private Network Gross Unit Capability | Private Network Gross Unit Reactive Capability | If Unit Trips, Does Load Trip? | If Yes, Approximate Percentage Of Load That Will Trip?
Automatic | Automatic | Automatic | MW | MVAR | MW | MVAR | MW | MVAR | Y/N
Note on C9: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## Reactive Capability - CC
ERCOT Confidential
Reactive Capability
This worksheet tab provides reactive capability for Combined Cycle generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | REACTIVE CAPABILITY CURVES DETAILS
Unit Name | SITE_CODE | Resource Name (Unit Code/mnemonic) | Reactive Capability Data Provided is Gross Value? | Reactive Capability Data Provided is from NDCRC Test Data? | If Reactive Capability Data Provided Is From NDCRC test Data Then Enter The Date On Which The Test Was Performed. | Mw1 | Lagging MVAR Limit Associated With Mw1 Output | Leading MVAR Limit Associated With Mw1 Output | Mw2 | Lagging MVAR Limit Associated With Mw2 Output | Leading MVAR Limit Associated With Mw2 Output | Mw3 | Lagging MVAR Limit Associated With Mw3 Output | Leading MVAR Limit Associated With Mw3 Output | Mw4 | Lagging MVAR Limit Associated With Mw4 Output | Leading MVAR Limit Associated With Mw4 Output | Mw5 - Unity Power Factor | If Hydrogen Cooled, Indicate Hydrogen Pressure (PSI) Associated With Your Reactive Curve Submitted For ERCOT Studies | Maximum Lagging Operating Capability | Maximum Leading Operating Capability | Manufacturer's Capability Curve Submitted?
List | Automatic | Automatic | List | Y/N | mm/dd/yyyy | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | MVAR | MVAR | MW | PSI | MVAR | MVAR | Y/N
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## Dropdowns (hidden)
Data Validations: | TSP | TDSPDUNS | RESCAAT | REP | REPDUNS |  | DESC | CONFIG TYPE
Yes No | AEP TEXAS CENTRAL COMPANY (TDSP) | 007924772 | Nuclear | 4CHANGE ENERGY COMPANY LLC (LSE) | 1733370281400 |  | ADD | A
| AEP TEXAS NORTH COMPANY (TDSP) | 007923311 | Hydro | ACCENT ENERGY TEXAS LP DBA IGS ENERGY (LSE) | 133305370 |  | CHANGE | X
CMZone | AEP TEXAS NORTH COMPANY SPP (TDSP) | 053693388 | Coal and Lignite | AGERA ENERGY LLC (LSE) | 0793345231000 |  | DELETE
| BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | Combined Cycle <= 90 MW* | ALLIANCE POWER COMPANY LLC (LSE) | 136249187
Unit Type | BARTLETT ELECTRIC CO OP INC (TDSP) | 002781813 | Combined Cycle > 90 MW* | AMBIT TEXAS LLC (LSE) | 604792791
| BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | Gas Steam - Supercritical Boiler | AMERICAN L AND P CO (LSE) | 800805835
FUELTYPE | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | Gas Steam - Reheat Boiler | AMERICAN L AND P CO DBA AMERICAN LIGHT AND POWER (LSE) | 8008058351000 | MM/DD/YYYY
| BIG COUNTRY ELECTRIC CO OP INC TXU (TDSP) | 0058630484100 | Gas Steam - Non-reheat or Boiler without air-preheater | AMERICAN L AND P CO DBA AMERICAN XP (LSE) | 8008058351100
TRANSPTYPE | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | Simple Cycle <= 90 MW | AMERICAN POWERNET MANAGEMENT LP (LSE) | 1410814681000
| BRAZOS ELECTRIC POWER CO OP INC (TDSP) | 0037722904000 | Simple Cycle > 90 MW | AMERIPOWER LLC (LSE) | 140780003
OFFSET | BROWNSVILLE PUBLIC UTILITIES BOARD (TDSP) | 6063470374000 | Reciprocating Engine | AP GAS AND ELECTRIC (TX) LLC DBA APG AND E (LSE) | 171841633
| BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | Wind Generation Resource | AP GAS AND ELECTRIC (TX) LLC DBA ZIP ENERGY (LSE) | 1718416331000
RESCAAT | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | Duration Limited Resources | APN STARFIRST LP (LSE) | 141081328
| CAP ROCK ENERGY (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | Solar | AXON POWER AND GAS LLC (LSE) | 0795045481000
WYE | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | Other | BANDERA ELECTRIC CO OP INC (LSE) | 0089451491000
| CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 |  | BIG COUNTRY ELECTRIC CO OP INC (LSE) | 0058630481000
TAPLOC | CHEROKEE COUNTY ELEC CO OP ASSOC (CORAL POWER AS QSE) | 0088626254000 |  | BLUEBONNET ELECTRIC CO OP INC (LSE) | 0524834351000
| CHEROKEE COUNTY ELEC CO OP ASSOC (TDSP) | 008862625 |  | BOUNCE ENERGY INC (LSE) | 8263032781000
SUBMITTAL | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 |  | BP ENERGY COMPANY (LSE) | 6252757551000
| CITY OF BARTLETT (TDSP) | 074618935 |  | BRAZOS ELECTRIC POWER CO OP INC (LSE) | 0037722901000
NWMODEL | CITY OF BASTROP (TDSP) | 0851553724000 |  | BRAZOS ELECTRIC POWER CO OP INC LCRA (LSE) | 0037722901100
| CITY OF BELLVILLE (TDSP) | 0935648704000 |  | BREEZE LLC (LSE) | 0785825301000
| CITY OF BOERNE (TDSP) | 0052470694000 |  | BREEZE LLC 1 (LSE) | 0785825301100
| CITY OF BOWIE (TDSP) | 8094182964000 |  | BRILLIANT ENERGY LLC (LSE) | 800312048
| CITY OF BRADY (TDSP) | 070804877 |  | BROOKLET ENERGY DISTRIBUTION LLC DBA ACACIA ENERGY (LSE) | 787476634
| CITY OF BRENHAM (TDSP) | 0741649224000 |  | BROOKLET ENERGY DISTRIBUTION LLC DBA NOW POWER (LSE) | 7874766341100
| CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 |  | BROOKLET ENERGY DISTRIBUTION LLC DBA SNAP ENERGY (LSE) | 7874766341200
| CITY OF BURNET (TDSP) | 0746121514000 |  | BROOKLET ENERGY DISTRIBUTION LLC DBA VITAL POWER (LSE) | 7874766341300
| CITY OF CASTROVILLE (TDSP) | 797816378 |  | BROWNSVILLE PUBLIC UTILITIES BOARD (LSE) | 6063470371000
| CITY OF COLEMAN (TDSP) | 1024920064000 |  | BRYAN TEXAS UTILITIES (LSE) | 0793907791000
| CITY OF COLLEGE STATION (TDSP) | 0403303004000 |  | CALPINE ENERGY SOLUTIONS LLC (LSE) | 968254276
| CITY OF CUERO (TDSP) | 0526842144000 |  | CALPINE POWER AMERICA LLC (LSE) | 1127108761000
| CITY OF FARMERSVILLE (TDSP) | 1903494984000 |  | CENTRAL TEXAS ELECTRIC CO OP INC (LSE) | 0079302741000
| CITY OF FLATONIA (TDSP) | 0626890134000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES (LSE) | 1599884061000
| CITY OF FLORESVILLE DBA FLORESVILLE ELEC LIGHT AND PWR (TDSP) | 008948374 |  | CHAMPION ENERGY INDUSTRIAL SERVICES I (LSE) | 1599884061100
| CITY OF FREDERICKSBURG (TDSP) | 0769243074000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES III (LSE) | 1599884061300
| CITY OF GARLAND (TDSP) | 6011012564000 |  | CHAMPION ENERGY SERVICES LLC (LSE) | 159988406
| CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 |  | CITY OF AUSTIN DBA AUSTIN ENERGY (LSE) | 8008717661000
| CITY OF GEORGETOWN (TDSP) | 0895923724000 |  | CITY OF BARTLETT (LSE) | 0746189351000
| CITY OF GIDDINGS (TDSP) | 0096899514000 |  | CITY OF BASTROP (LSE) | 0851553721000
| CITY OF GOLDSMITH (TDSP) | 0888946704000 |  | CITY OF BELLVILLE (LSE) | 0935648701000
| CITY OF GOLDTHWAITE (TDSP) | 1558252764000 |  | CITY OF BOERNE (LSE) | 0052470691000
| CITY OF GONZALES (TDSP) | 0937385404000 |  | CITY OF BOWIE (LSE) | 8094182961000
| CITY OF HALLETTSVILLE (TDSP) | 0090811834000 |  | CITY OF BRADY (LSE) | 0708048771000
| CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 |  | CITY OF BRENHAM (LSE) | 0741649221000
| CITY OF HEMPSTEAD (TDSP) | 1272175604000 |  | CITY OF BRIDGEPORT MUN ELEC SYS (LSE) | 0842801711000
| CITY OF HONDO (TDSP) | 091703843 |  | CITY OF BURNET (LSE) | 0746121511000
| CITY OF LA GRANGE (TDSP) | 0607085184000 |  | CITY OF COLEMAN (LSE) | 1024920061000
| CITY OF LAMPASAS (TDSP) | 0203311204000 |  | CITY OF COLLEGE STATION (LSE) | 0403303001000
| CITY OF LEXINGTON (TDSP) | 0081817324000 |  | CITY OF CUERO (LSE) | 0526842141000
| CITY OF LLANO (TDSP) | 0916952054000 |  | CITY OF FARMERSVILLE (LSE) | 1903494981000
| CITY OF LOCKHART (TDSP) | 0746168634000 |  | CITY OF FLATONIA (LSE) | 0626890131000
| CITY OF LULING (TDSP) | 0105539984000 |  | CITY OF FREDERICKSBURG (LSE) | 0769243071000
| CITY OF MASON (TDSP) | 1561267084000 |  | CITY OF GARLAND (LSE) | 6011012561000
| CITY OF MOULTON (TDSP) | 0091871544000 |  | CITY OF GEORGETOWN (LSE) | 0895923721000
| CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 |  | CITY OF GIDDINGS (LSE) | 0096899511000
| CITY OF SAN MARCOS (TDSP) | 0694628694000 |  | CITY OF GOLDSMITH (LSE) | 0888946701000
| CITY OF SAN SABA (TDSP) | 0248592254000 |  | CITY OF GOLDTHWAITE (LSE) | 1558252761000
| CITY OF SANGER | 058956020 |  | CITY OF GONZALES (LSE) | 0937385401000
| CITY OF SCHULENBURG (TDSP) | 0532950364000 |  | CITY OF HALLETTSVILLE (LSE) | 0090811831000
| CITY OF SEGUIN (TDSP) | 0862819794000 |  | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (LSE) | 0897458891000
| CITY OF SEYMOUR (TDSP) | 166319145 |  | CITY OF HEMPSTEAD (LSE) | 1272175601000
| CITY OF SHINER (TDSP) | 1504533714000 |  | CITY OF LA GRANGE (LSE) | 0607085181000
| CITY OF SMITHVILLE (TDSP) | 0916978134000 |  | CITY OF LAMPASAS (LSE) | 0203311201000
| CITY OF WAELDER (TDSP) | 0541779694000 |  | CITY OF LEXINGTON (LSE) | 0081817321000
| CITY OF WEIMAR (TDSP) | 0214974584000 |  | CITY OF LLANO (LSE) | 0916952051000
| CITY OF WHITESBORO (TDSP) | 134546522 |  | CITY OF LOCKHART (LSE) | 0746168631000
| CITY OF YOAKUM (TDSP) | 0694557724000 |  | CITY OF LULING (LSE) | 0105539981000
| COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 |  | CITY OF MASON (LSE) | 1561267081000
| COMANCHE ELECTRIC CO OP ASSOCIATION (TDSP) | 002889210 |  | CITY OF MOULTON (LSE) | 0091871541000
| COMISION FEDERAL (TDSP) | 8100082434000 |  | CITY OF ROBSTOWN UTILITY SYSTEM (LSE) | 9387911421000
| COMISION FEDERAL DE ELECTRICIDAD (EDSP) | 8100082434999 |  | CITY OF SAN MARCOS (LSE) | 0694628691000
| CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 |  | CITY OF SAN SABA (LSE) | 0248592251000
| CONCHO VALLEY ELECTRIC CO OP INC TXU (TDSP) | 0038666624100 |  | CITY OF SANGER TEXAS (LSE) | 0589560201000
| COOKE COUNTY ELECTRIC CO OP ASSOC INC (TDSP) | 008951808 |  | CITY OF SCHULENBURG (LSE) | 0532950361000
| CPS ENERGY (TDSP) | 0079360734000 |  | CITY OF SEGUIN (LSE) | 0862819791000
| CROSS TEXAS TRANSMISSION LLC (TSP) | 8296282914000 |  | CITY OF SEYMOUR (LSE) | 1663191451000
| DEAF SMITH ELECTRIC COOPERATIVE INC (EDSP) | 0079307464999 |  | CITY OF SHINER (LSE) | 1504533711000
| DEAF SMITH ELECTRIC COOPERATIVE INC (TDSP) | 0079307464000 |  | CITY OF SMITHVILLE (LSE) | 0916978131000
| DEEP EAST TEXAS ELECTRIC CO OP INC (BLT TDSP) | 0478456234000 |  | CITY OF WAELDER (LSE) | 0541779691000
| DEEP EAST TEXAS ELECTRIC CO OP INC (TDSP) | 047845623 |  | CITY OF WEIMAR (LSE) | 0214974581000
| DENTON COUNTY ELEC CO OP DBA COSERVE ELEC (TDSP) | 008947913 |  | CITY OF YOAKUM (LSE) | 0694557721000
| DENTON MUNICIPAL ELECTRIC (TDSP) | 0713801904000 |  | CLEARVIEW ELECTRIC INC (LSE) | 785129219
| DEWITT ELECTRIC CO OP INC (TDSP) | 0089461884000 |  | COLEMAN COUNTY ELECTRIC CO OP INC (LSE) | 0079246731000
| EAST TEXAS ELECTRIC CO OP (TDSP) | 948535265 |  | COMISION FEDERAL DE ELECTRICIDAD (ELSE) | 8100082431999
| ELECTRIC TRANSMISSION TEXAS LLC (TDSP) | 808160514 |  | COMISION FEDERAL DE ELECTRICIDAD (LSE) | 810008243
| ENTERGY GULF STATES INC (BLT TDSP) | 8274383834000 |  | CONCHO VALLEY ELECTRIC CO OP INC (LSE) | 0038666621000
| ENTERGY GULF STATES INC (TDSP) | 827438383 |  | CONOCOPHILLIPS COMPANY (LSE) | 001368265
| ENTERGY TEXAS INC (BLT TDSP) | 8012610534000 |  | CONOCOPHILLIPS COMPANY 3 (LSE) | 0013682651000
| ENTERGY TEXAS INC (EDSP) | 8012610534999 |  | CONSOLIDATED EDISON SOLUTIONS INC (LSE) | 809887904
| FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS (LSE) | 8098879041100
| FARMERS ELECTRIC CO OP INC ARCO (TDSP) | 0098442344200 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 1 (LSE) | 8098879041200
| FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 2 (LSE) | 8098879041300
| FARMERS ELECTRIC CO OP INC NPL (TDSP) | 0098442344100 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONEDISON SOLUTIONS (LSE) | 8098879041000
| FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 |  | CONSTELLATION NEWENERGY INC (LSE) | 8797234681000
| FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 |  | CONSTELLATION NEWENERGY INC DBA NEWENERGY (LSE) | 8797234681200
| GEUS (TDSP) | 8062449354000 |  | CONSTELLATION NEWENERGY INC DBA STARTEX POWER (LSE) | 148055531
| GLOBAL AIR SCIENCES INC (TDSP) | 8095219874000 |  | CONSTELLATION NEWENERGY INC DBA STARTEX POWER CSA (LSE) | 1480555311000
| GOLDEN SPREAD ELECTRIC COOPERATIVE INC (TSP) | 1864707794000 |  | CONSTELLATION NEWENERGY INC DBA STARTEX POWER SMB (LSE) | 1480555311100
| GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 |  | CPL RETAIL ENERGY LP (LSE) | 017740544
| GRAYSON COLLIN ELECTRIC CO OP INC (AEP AS QSE) | 0089538124000 |  | CPL RETAIL ENERGY LP 1100 (LSE) | 0177405441100
| GRAYSON COLLIN ELECTRIC CO OP INC (TDSP) | 008953812 |  | CPL RETAIL ENERGY LP 1300 (LSE) | 0177405441300
| GREENBELT ELECTRIC COOPERATIVE INC (DSP) | 0098338564000 |  | CPL RETAIL ENERGY LP 1400 (LSE) | 0177405441400
| GREENBELT ELECTRIC COOPERATIVE INC (EDSP) | 0098338564999 |  | CPL RETAIL ENERGY LP DBA CPL (LSE) | 0177405441200
| GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 |  | CPS ENERGY (LSE) | 0079360731000
| HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) (TDSP) | 008949216 |  | DEAF SMITH ELECTRIC COOPERATIVE INC (ELSE) | 0079307461999
| HAMILTON COUNTY ELECTRIC CO OP (LCRA) (TDSP) | 0089492164100 |  | DENTON MUNICIPAL ELECTRIC (LSE) | 0713801901000
| HEART OF TEXAS ELECTRIC COOPERATIVE INC (DSP) | 012074558 |  | DIRECT ENERGY BUSINESS LLC (LSE) | 800770810
| HILCO ELECTRIC CO OP INC (TDSP) | 008950545 |  | DIRECT ENERGY BUSINESS LLC 1 (LSE) | 8007708101100
| HOUSTON COUNTY ELEC COOP INC (TDSP) | 005777206 |  | DIRECT ENERGY BUSINESS LLC 2 (LSE) | 8007708101200
| HOUSTON COUNTY ELEC COOP INC TXU (TDSP) | 0057772064100 |  | DIRECT ENERGY BUSINESS LLC DBA EXPERT ENERGY (LSE) | 8007708101000
| J A C ELECTRIC CO OP INC (TDSP) | 003890795 |  | DIRECT ENERGY LP 1400 (LSE) | 0397133541400
| JACKSON ELECTRIC CO OP INC (TDSP) | 078423555 |  | DIRECT ENERGY LP DBA DIRECT ENERGY (LSE) | 039713354
| JASPER NEWTON ELECTRIC CO OP INC (TDSP) | 007933518 |  | DIRECT ENERGY LP DBA DIRECT ENERGY BUSINESS SERVICES (LSE) | 0397133541000
| KARNES ELECTRIC CO OP INC (TDSP) | 006824106 |  | DIRECT ENERGY LP DBA DIRECT ENERGY MULTI FAMILY (LSE) | 0397133541200
| KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 |  | DIRECT ENERGY LP DBA NEW LEAF ENERGY (LSE) | 0397133541300
| LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 |  | EDF ENERGY SERVICES LLC (LSE) | 788707847
| LAMAR COUNTY ELEC COOP DBA LEC RC HOUPL (TDSP) | 0048060974100 |  | EDF ENERGY SERVICES LLC DBA EDF ENERGY SERVICES I LLC (LSE) | 7887078471100
| LCRA TRANSMISSION SERVICES CORPORATION (TDSP) | 0432268854000 |  | EDF ENERGY SERVICES LLC DBA EDF ENERGY SERVICES II LLC (LSE) | 7887078471200
| LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 |  | EDF ENERGY SERVICES LLC DBA EDF ENERGY SERVICES III LLC (LSE) | 7887078471300
| LIGHTHOUSE ELECTRIC CO OP TXU (TDSP) | 0028252894100 |  | EDF ENERGY SERVICES LLC DBA EDF ENERGY SERVICES IV LLC (LSE) | 7887078471400
| LONE STAR TRANSMISSION LLC (TSP) | 8001203834000 |  | EDF ENERGY SERVICES LLC DBA EDF ENERGY SERVICES V LLC (LSE) | 7887078471500
| LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 |  | EIF CHANNELVIEW RETAIL ENERGY LLC (LSE) | 8269652091000
| MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 |  | ELECTRANET POWER LLC (LSE) | 0788199901000
| MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 |  | ENERGY TRANSFER RETAIL POWER LLC (LSE) | 8071242141000
| MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100 |  | ENERGY TRANSFER RETAIL POWER LLC 1 (LSE) | 8071242141100
| MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 |  | ENERGY TRANSFER RETAIL POWER LLC 2 (LSE) | 8071242141200
| MID SOUTH ELECTRIC CO OP ASSOC | 061278594 |  | ENERGY TRANSFER RETAIL POWER LLC 3 (LSE) | 8071242141300
| NAVARRO COUNTY ELECTRIC CO OP INC (TDSP) | 006770101 |  | ENERGY TRANSFER RETAIL POWER LLC 4 (LSE) | 8071242141400
| NAVASOTA VALLEY ELECTRIC CO OP INC (TDSP) | 046299913 |  | ENERTRADE ELECTRIC LLC DBA SHYNE ENERGY (LSE) | 8306908761100
| NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 |  | ENGIE RESOURCES LLC DBA GSERNA POLR (LSE) | 0996683322222
| NUECES ELECTRIC CO OP INC (TDSP) | 008828857 |  | ENGIE RESOURCES LLC (LSE) | 099668332
| NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 |  | ENGIE RESOURCES LLC 2 (LSE) | 0996683321000
| NUECES ELECTRIC COOP INC (TDSP) | 0088288574800 |  | ENGIE RETAIL LLC DBA THINK ENERGY (LSE) | 9680969871000
| ONCOR ELECTRIC DELIVERY COMPANY LLC (TDSP) | 1039940674000 |  | ENTERGY GULF STATES INC (BLT LSE) | 8274383831100
| PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 |  | ENTERGY TEXAS INC (BLT LSE) | 8012610531000
| PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 |  | ENTERGY TEXAS INC (ELSE) | 8012610531999
| PEDERNALES ELECTRIC COOPERATIVE INC | 0079241114300 |  | ENTRUST ENERGY INC (LSE) | 9640468611000
| PEDERNALES ELECTRIC COOPERATIVE, INC. | 0079241114200 |  | EVERYTHING ENERGY LLC DBA INDEPENDENCE ENERGY (LSE) | 8286294561000
| RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP) | 6243686014000 |  | EVERYTHING ENERGY LLC DBA INDEPENDENCE ENERGY 1 (LSE) | 8286294561100
| RIO GRANDE ELECTRIC COOPERATIVE INC (TDSP) 1C | 002781953 |  | FAYETTE ELECTRIC CO OP INC (LSE) | 0593309771000
| RIO GRANDE ELECTRIC COOPERATIVE INC (TDSP) 2A | 0027819534100 |  | FIRST CHOICE POWER LLC (LSE) | 008613791
| RIO GRANDE ELECTRIC COOPERATIVE INC (TDSP) 2C | 0027819534200 |  | FIRST CHOICE POWER LLC DBA FIRST CHOICE POWER POL (LSE) | 0086137911000
| RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 |  | FIRST CHOICE POWER LLC DBA FIRST CHOICE POWER-AMS (LSE) | 0086137911100
| RUSK COUNTY ELECTRIC CO OP MLSES (TDSP) | 0098444404100 |  | FRONTIER UTILITIES LLC (LSE) | 8094344211000
| RUSK COUNTY ELECTRIC COOPERATIVE INC AEP (EDSP) | 0098444404991 |  | FRONTIER UTILITIES LLC DBA RODEO ENERGY (LSE) | 8094344211100
| RUSK COUNTY ELECTRIC COOPERATIVE INC TSK (EDSP) | 0098444404999 |  | FRONTIER UTILITIES LLC DBA SOL ENERGY (LSE) | 8094344211200
| SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 |  | FULCRUM RETAIL ENERGY LLC DBA AMIGO ENERGY (LSE) | 141047543
| SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 |  | FULCRUM RETAIL ENERGY LLC DBA TARA ENERGY RESOURCES (LSE) | 1410475431000
| SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 |  | GERDAU AMERISTEEL ENERGY INC (LSE) | 0799639861000
| SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 |  | GEUS (LSE) | 8062449351000
| SHARYLAND UTILITIES LP (TDSP) | 1052623364500 |  | GEXA ENERGY LP (LSE) | 108114542
| SHARYLAND UTILITIES LP BRADY (TDSP) | 1052623364200 |  | GEXA ENERGY LP DBA GEXA ENERGY (LSE) | 1081145421000
| SHARYLAND UTILITIES LP CELESTE (TDSP) | 1052623364300 |  | GEXA ENERGY LP III (LSE) | 1081145421100
| SHARYLAND UTILITIES LP MCALLEN (TDSP) | 105262336 |  | GEXA ENERGY LP IV (LSE) | 1081145421200
| SHARYLAND UTILITIES LP STANTON (TDSP) | 1052623364400 |  | GEXA ENERGY LP V (LSE) | 1081145421300
| SHARYLAND UTILITIES NOIE (TDSP) | 1052623364100 |  | GEXA ENERGY LP VI (LSE) | 1081145421400
| SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 |  | GEXA ENERGY LP VII (LSE) | 1081145421500
| SOUTH TEXAS ELECTRIC CO OP INC (TDSP) | 0038663324000 |  | GEXA ENERGY LP VIII (LSE) | 1081145421600
| SOUTHWEST RURAL ELECTRIC ASSOCIATION INC (EDSP) | 0079071734999 |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC AEP AS QSE (LSE) | 1864707791000
| SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC TXU AS QSE (LSE) | 186470779
| SOUTHWESTERN ELECTRIC POWER COMPANY BLT (TDSP) | 0069487644000 |  | GRANBURY MUNICIPAL UTILITIES (LSE) | 0952141691000
| SOUTHWESTERN PUBLIC SERVICE COMPANY (TDSP) | 007369713 |  | GREEN MOUNTAIN ENERGY COMPANY (LSE) | 176871481
| SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 026763672 |  | GREEN MOUNTAIN ENERGY COMPANY - COMMERCIAL (LSE) | 1768714811200
| SWISHER ELECTRIC COOPERATIVE INC (EDSP) | 0098337734999 |  | GREEN MOUNTAIN ENERGY COMPANY RES 2 (LSE) | 1768714811400
| TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 |  | GREEN MOUNTAIN ENERGY COMPANY RES 3 (LSE) | 1768714811500
| TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 |  | GREEN MOUNTAIN ENERGY COMPANY-COM 2 (LSE) | 1768714811300
| TEXAS MUNICIPAL POWER AGENCY (TDSP) | 071374052 |  | GREEN MOUNTAIN ENERGY COMPANY-MULTIFAMILY (LSE) | 1768714811100
| TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 |  | GREENBELT ELECTRIC COOPERATIVE INC (ELSE) | 0098338561999
| TRI COUNTY ELECTRIC CO OP INC (TDSP) | 008945123 |  | GRIDDY ENERGY LLC (LSE) | 0803311751000
| TRINITY VALLEY ELEC CO OP (TDSP) | 009844564 |  | GUADALUPE VALLEY ELECTRIC CO OP INC (LSE) | 0079305891000
| TRINITY VALLEY ELECTRIC COOPERATIVE INC LPL (TDSP) | 0098445644000 |  | HINO ELECTRIC POWER COMPANY (LSE) | 026533844
| TXU SESCO CO (TDSP) | 0079280964000 |  | HUDSON ENERGY SERVICES LLC (LSE) | 121359595
| UNITED ELECTRIC CO OP SERVICES INC (TDSP) | 008945826 |  | ILUMINAR ENERGY LLC (LSE) | 8292445521000
| VICTORIA ELECTRIC CO OP INC (TDSP) | 008953861 |  | ILUMINAR ENERGY LLC DBA ALLTEX POWER AND LIGHT (LSE) | 8292445521100
| VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 |  | ILUMINAR ENERGY LLC DBA PREMIUM POWER AND LIGHT (LSE) | 8292445521200
| WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 |  | INFINITE ELECTRIC LLC (LSE) | 9636606881000
| WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 |  | INFUSE ENERGY LLC (LSE) | 0488835721000
| WHARTON COUNTY ELECTRIC CO OP INC (TDSP) | 118487958 |  | JADE ENERGY LLC I DBA BOSE POWER AND ELECTRIC (LSE) | 0801169611000
| WIND ENERGY TRANSMISSION TEXAS LLC (TSP) | 8306765114000 |  | JUST ENERGY TEXAS LP DBA JUST ENERGY (LSE) | 110569998
| WISE ELECTRIC CO OP (TDSP) | 041405408 |  | JUST ENERGY TEXAS LP DBA JUST ENERGY RGV (LSE) | 1105699981000
| WOOD COUNTY ELECTRIC COOPERATIVE INC (TDSP) | 008952491 |  | KERRVILLE PUBLIC UTILITY BOARD (LSE) | 1248248061000
| NOT LISTED |  |  | KOCH ENERGY SERVICES LLC (LSE) | 8327032971000
|  |  |  | LIBERTY POWER CORP (LSE) | 112361204
|  |  |  | LIBERTY POWER DELAWARE LLC (LSE) | 625111021
|  |  |  | LIGHTHOUSE ELECTRIC CO OP (LSE) | 0028252891000
|  |  |  | LOWER COLORADO RIVER AUTHORITY (LSE) | 0432268851000
|  |  |  | LOWER COLORADO RIVER AUTHORITY LCRA WSC ENERGY (LSE) | 0432268851100
|  |  |  | LPT LLC DBA LPT SP LLC | 6116339131000
|  |  |  | LUMINANT ET SERVICES COMPANY LLC (LSE) | 1733370281500
|  |  |  | LYNTEGAR ELECTRIC CO OP INC (LSE) | 0079371471000
|  |  |  | MAGIC VALLEY ELECTRIC CO OP INC (LSE) | 0089515011000
|  |  |  | MANSFIELD POWER AND GAS LLC (LSE) | 0790967731000
|  |  |  | MEGA ENERGY LP (LSE) | 801176327
|  |  |  | MEGA ENERGY LP DBA TEXANS ENERGY (LSE) | 8011763271000
|  |  |  | MERRILL LYNCH COMMODITIES INC (LSE) | 1603528651000
|  |  |  | MIDAMERICAN ENERGY COMPANY (LSE) | 8847187681000
|  |  |  | MIDAMERICAN ENERGY SERVICES LLC (LSE) | 0797495701000
|  |  |  | MP2 ENERGY TEXAS LLC (LSE) | 8281436311000
|  |  |  | MP2 ENERGY TEXAS LLC 1 (LSE) | 8281436311100
|  |  |  | MP2 ENERGY TEXAS LLC 2 (LSE) | 8281436311200
|  |  |  | MP2 ENERGY TEXAS LLC 3 (LSE) | 8281436311300
|  |  |  | MP2 ENERGY TEXAS LLC 4 (LSE) | 8281436311400
|  |  |  | MP2 ENERGY TEXAS LLC 5 (LSE) | 8281436311500
|  |  |  | NAPG LLC DBA NORTH AMERICAN POWER BUSINESS LLC (LSE) | 8324610861100
|  |  |  | NEUMIN PRODUCTION CO | 074606807
|  |  |  | NEW BRAUNFELS UTILITIES (LSE) | 0383461691000
|  |  |  | NEXTERA ENERGY MARKETING LLC (LSE) | 0544813411000
|  |  |  | NEXTERA RETAIL OF TEXAS LP (LSE) | 784382017
|  |  |  | NORTH AMERICAN POWER AND GAS LLC (LSE) | 8324610861000
|  |  |  | NUECES ELECTRIC COOPERATIVE INC DBA NEC COOP ENERGY (LSE) | 0088288571000
|  |  |  | OCCIDENTAL POWER MARKETING LP (LSE) | 052298721
|  |  |  | OUR ENERGY LLC (LSE) | 8273832461000
|  |  |  | PEDERNALES ELEC CO OP INC AEP (LSE) | 0079241111100
|  |  |  | PEDERNALES ELECTRIC CO OP INC (LSE) | 0079241111000
|  |  |  | PEGASUS ALLIANCE CORPORATION DBA ONPAC ENERGY (LSE) | 136387466
|  |  |  | PENSTAR POWER LLC (LSE) | 144991671
|  |  |  | PENSTAR POWER LLC 1 (LSE) | 1449916711000
|  |  |  | PIONEER POWER LLC DBA PIONEER ENERGY (LSE) | 0791187431000
|  |  |  | PRO POWER PROVIDERS LLC DBA CIRCULAR ENERGY (LSE) | 0788177871000
|  |  |  | QUEST DISTRIBUTORS LLC (LSE) | 0410997421000
|  |  |  | RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (LSE) | 6243686011000
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EPCO (LSE) | 6243686011200
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EXP (LSE) | 6243686011100
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC HOUPL (LSE) | 6243686011400
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC NPL (LSE) | 6243686011500
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC NWT (LSE) | 6243686011600
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC (LSE) | 799530915
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC DBA RELIANT ENERGY SOLUTIONS | 616498114
|  |  |  | RIO GRANDE ELECTRIC COOPERATIVE INC (LSE) 1A | 0027819531100
|  |  |  | RIO GRANDE ELECTRIC COOPERATIVE INC (LSE) 1B | 0027819531000
|  |  |  | RIO GRANDE ELECTRIC COOPERATIVE INC (LSE) 2B | 0027819531200
|  |  |  | RUSK COUNTY ELECTRIC COOPERATIVE INC AEP (ELSE) | 0098444401991
|  |  |  | RUSK COUNTY ELECTRIC COOPERATIVE INC TSK (ELSE) | 0098444401999
|  |  |  | SAN BERNARD ELECTRIC CO OP (LSE) | 0089453131000
|  |  |  | SHELL ENERGY NORTH AMERICA (US) LP (LSE) | 9375172661100
|  |  |  | SOURCE POWER AND GAS LLC (LSE) | 9690878111000
|  |  |  | SOURCE POWER AND GAS LLC DBA BEYOND POWER (LSE) | 9690878111300
|  |  |  | SOURCE POWER AND GAS LLC DBA SOURCE POWER AND GAS LLC RES (LSE) | 9690878111200
|  |  |  | SOURCE POWER AND GAS LLC DBA SOURCE POWER AND GAS LLC RT (LSE) | 9690878111100
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) | 0038663321000
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) AEP | 0038663321100
|  |  |  | SOUTH TEXAS ELECTRIC COOPERATIVE (POLR) | 0038663321300
|  |  |  | SOUTHWEST RURAL ELECTRIC ASSOCIATION INC (ELSE) | 0079071731999
|  |  |  | SOUTHWEST TEXAS ELECTRIC CO OP INC (LSE) | 0084158951000
|  |  |  | SOUTHWESTERN ELECTRIC POWER COMPANY BLT (LSE) | 0069487641000
|  |  |  | SPARK ENERGY LLC (LSE) | 037597437
|  |  |  | SPARK ENERGY LLC - DBA FIRE FLY POWERED BY SPARK ENERGY (LSE) | 0375974371000
|  |  |  | STREAM GAS AND ELECTRIC LTD (LSE) | 159008395
|  |  |  | STREAM SPE LTD DBA STREAM ENERGY (LSE) | 0522716251100
|  |  |  | SUMMER ENERGY LLC (LSE) | 9682331681000
|  |  |  | SUMMER ENERGY LLC DBA PRONTO POWER (LSE) | 9682331681100
|  |  |  | SWISHER ELECTRIC COOPERATIVE INC (ELSE) | 0098337731999
|  |  |  | TARA ENERGY LLC (LSE) | 111950619
|  |  |  | TARA ENERGY LLC DBA SMART PREPAID ELECTRIC (LSE) | 1119506191000
|  |  |  | TAYLOR ELECTRIC CO OP INC (LSE) | 0079344251000
|  |  |  | TAYLOR ELECTRIC CO OP INC-ABILENE (LSE) | 0079344251100
|  |  |  | TENASKA POWER SERVICES CO (LSE) | 015016913
|  |  |  | TENASKA POWER SERVICES CO DBA TPS I | 0150169131000
|  |  |  | TENASKA POWER SERVICES CO DBA TPS II (LSE) | 0150169131100
|  |  |  | TENASKA POWER SERVICES CO DBA TPS III (LSE) | 0150169131200
|  |  |  | TENASKA POWER SERVICES CO DBA TPS4 (LSE) | 0150169131300
|  |  |  | TENASKA TOPS REP LP (LSE) | 109518444
|  |  |  | TENASKA TOPS REP LP DBA TOPS I (LSE) | 1095184441000
|  |  |  | TERM POWER AND GAS LLC DBA ENCOA (LSE) | 9689653301000
|  |  |  | TERM POWER AND GAS LLC DBA ENCOA 1 (LSE) | 9689653301100
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (BLT LSE) | 6091700301300
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (LSE) | 609170030
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS INC./TPS (LSE) | 6091700301100
|  |  |  | TEX-LA ELECTRIC COOPERATIVE OF TEXAS INC /CONST (LSE) | 6091700301200
|  |  |  | TEXAS RETAIL ENERGY LLC (LSE) | 124238432
|  |  |  | TEXPO POWER LP DBA YEP (LSE) | 780061300
|  |  |  | TOTAL GAS AND POWER NORTH AMERICA INC (LSE) | 6200599801000
|  |  |  | TRIEAGLE ENERGY LP (LSE) | 124769063
|  |  |  | TRIEAGLE ENERGY LP DBA EAGLE ENERGY (LSE) | 1247690631100
|  |  |  | TRIEAGLE ENERGY LP DBA ENERGY REWARDS (LSE) | 1247690631200
|  |  |  | TRIEAGLE ENERGY LP DBA POWER HOUSE ENERGY (LSE) | 1247690631300
|  |  |  | TRIEAGLE ENERGY LP DBA VIRIDIAN ENERGY (LSE) | 1247690631000
|  |  |  | TXU ENERGY RETAIL COMPANY LLC 2 (LSE) | 1733370281600
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (LG NR POLR) | 1733370281300
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (RES POLR) | 1733370281100
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (SM NR POLR) | 1733370281200
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA TXU ENERGY (LSE) | 1733370281000
|  |  |  | US RETAILERS LLC (LSE) | 8286293161000
|  |  |  | V247 POWER CORPORATION (LSE) | 8331454231000
|  |  |  | VEH LLC DBA DISCOUNT POWER (LSE) | 8254301971000
|  |  |  | VEH LLC DBA POWER EXPRESS (LSE) | 8254301971100
|  |  |  | VEH LLC DBA VOLTERRA ENERGY (LSE) | 8254301971200
|  |  |  | VERDE ENERGY USA TEXAS LLC (LSE) | 809047512
|  |  |  | VERDE ENERGY USA TEXAS LLC PP (LSE) | 8090475121000
|  |  |  | VETERAN ENERGY LLC (LSE) | 0102173951000
|  |  |  | VOLT ELECTRICITY PROVIDER LP (LSE) | 0791209961000
|  |  |  | WEATHERFORD MUNICIPAL UTILITY SYSTEM (LSE) | 0817196271000
|  |  |  | WESTERN FARMERS ELECTRIC COOPERATIVE (LSE) | 072862407
|  |  |  | WOLVERINE ALTERNATIVE INVESTMENTS LLC DBA STAT ENERGY (LSE) | 9683020211000
|  |  |  | WTU RETAIL ENERGY 1300 (LSE) | 0177412941300
|  |  |  | WTU RETAIL ENERGY 1400 (LSE) | 0177412941400
|  |  |  | WTU RETAIL ENERGY LP (LSE) | 017741294
|  |  |  | WTU RETAIL ENERGY LP 1100 (LSE) | 0177412941100
|  |  |  | WTU RETAIL ENERGY LP DBA WTU (LSE) | 0177412941200
|  |  |  | XOOM ENERGY TEXAS LLC (LSE) | 9682901761000
|  |  |  | XOOM ENERGY TEXAS LLC 1 (LSE) | 9682901761100
|  |  |  | YOUNG ENERGY LLC DBA PAYLESS POWER (LSE) | 189069284
|  |  |  | YOUNG ENERGY LLC DBA PAYLESS POWER 1 (LSE) | 1890692841000
NOT LISTED

## Planning - CC
ERCOT Confidential
Planning Information
This worksheet tab provides reactive capability for Combined Cycle generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | PLANNING DETAILS | [20 empty] | GENERATOR AUXILIARY LOAD |  |  | Generation Auxiliary Load Characteristics For Mw Load |  |  |  |  | Generation Auxiliary Load Characteristics For MVAR Load |  |  |  | PSSE MODEL : THE FOLLOWING LIST OF FILES ARE REQUIRED TO BE SUBMITTED IF THIS IS AN INITIAL REGISTRATION OR IF THERE ARE CHANGES MODIFYING PREVIOUSLY SUBMITTED PSSE FILES. PLEASE INCLUDE ALL PSSE FILES IN A ZIP OR COMPRESSED FOLDER FILE EMBEDDED IN DYNAMIC DATA TAB.
Unit Name | SITE_CODE | Resource Name (Unit Code/mnemonic) | What Is The Mva Base That The Following Data Is Based On? | What Is The Kv Base That The Following Data Is Based On? | Direct Axis Subtransient Reactance, X"di (unsaturated) | Direct Axis Transient Reactance, X'di (unsaturated) | Positive Sequence (Synchronous) Z (unsaturated) |  | Negative Sequence Z (unsaturated) |  | Does Zero Sequence Z exist? | Zero Sequence Z (unsaturated) |  | Direct Axis Subtransient Reactance, X"dv (saturated) | Direct Axis Transient Reactance, X'dv (saturated) | Positive Sequence (Synchronous) Z (saturated) |  | Negative Sequence Z (saturated) |  | Zero Sequence Z (saturated) |  | Zero Sequence Grounding Resistance For An Impedance Grounded Generator In P.u. (100 Mva Base) | Zero Sequence Grounding Reactance For An Impedance Grounded Generator In P.u. (100 Mva Base) | Average Amount Of Auxiliary Real Power | Average Amount Of Auxiliary Reactive Power | Auxiliary Load Power Factor | Large Motor, Percent Of Total Mw Load | Small Motor, Percent Of Total Mw Load | Resistive (heating) Load, Percent Of Total Mw Load | Discharge Lighting, Percent Of Total Mw Load | Other, Percent Of Total Mw Load | Large Motor, Percent Of Total Mvar Load | Small Motor, Percent Of Total Mvar Load | Discharge Lighting, Percent Of Total Mvar Load | Other, Percent Of Total Mvar Load | Generator Form | Turbine-governor Form | Excitation Form | Power System Stabilizer Form (required If There Is A Power System Stabilizer) | Compensator Form (required If There Is A Compensator) | Over Excitation Limiter Form (required If There Is An Over Excitation Limiter) | Under Excitation Limiter Form (required If There Is An Under Excitation Limiter)
List | Automatic | Automatic | MVA | kV | pu | pu | R in p.u. | X in p.u. | R in p.u. | X in p.u. | Y/N | R in p.u. | X in p.u. | p.u. | p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | R in p.u. | X in p.u. | p.u. | p.u. | MW | MVAR
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls
Note on F7: Both saturated and unsaturated values are required as noted in the sheet.
Note on G7: Both saturated and unsaturated values are required as noted in the sheet.
Note on H7: Both saturated and unsaturated values are required as noted in the sheet.
Note on J7: Both saturated and unsaturated values are required as noted in the sheet.
Note on Q7: Both saturated and unsaturated values are required as noted in the sheet.
Note on S7: Both saturated and unsaturated values are required as noted in the sheet.

## Protection - CC
ERCOT Confidential
Protection Information
This worksheet tab provides reactive capability for Combined Cycle generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | PLANT VOLTAGE PROTECTION | [18 empty] | PLANT FREQUENCY PROTECTION
Unit Name | SITE_CODE | Resource Name (Unit Code/mnemonic) | Breaker Interruption Time | Instantaneous Undervoltage Trip | Undervoltage 1 | Time 1 | Undervoltage 2 | Time 2 | Undervoltage 3 | Time 3 | Undervoltage 4 | Time 4 | Instantaneous Overvoltage Trip | Overvoltage 1 | Time 1 | Overvoltage 2 | Time 2 | Overvoltage 3 | Time 3 | Overvoltage 4 | Time 4 | Instantaneous Underfrequency Trip | Underfrequency 1 | Time 1 | Underfrequency 2 | Time 2 | Underfrequency 3 | Time 3 | Underfrequency 4 | Time 4 | Instantaneous Overfrequency Trip | Overfrequency 1 | Time 1 | Overfrequency 2 | Time 2 | Overfrequency 3 | Time 3 | Overfrequency 4 | Time 4
List | Automatic | Automatic | cycles | p.u. | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | p.u. | sec | p.u. | sec | p.u. | sec | p.u. | sec | Hz | Hz | sec | Hz | sec | Hz | sec | Hz | sec | Hz | Hz | sec | Hz | sec | Hz | sec | Hz | sec
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## SubSync - CC
ERCOT Confidential
SubSync Information
This worksheet tab provides reactive capability for Combined Cycle generation resources.
Must complete all applicable cells in this section.
GENERATOR DETAILS |  |  | SUBSYNCHRONOUS RESONANCE
Unit Name | SITE_CODE | Resource Name (Unit Code/mnemonic) | Mass # | Mass Code | Mass Name | Mass Inertia | Inertia Units | Associated Damping | Damping Units | Stiffness Between Masses Previous And Current Mass | Stiffness Units
List | Automatic | Automatic | List | Automatic
Note on C7: Concatenated mnemonic of Resource Site Code and Unit name (e.g.. CBY_CBYG1) from http://www.ercot.com/gridinfo/generation/Resource_Site_Name_to_Mnemonic_Dictionary.xls

## PSCAD Model
ERCOT Confidential
Enter Date Last Updated
PSCAD Model (if applicable)
SSR/SSI Analysis

## Dynamic Data
ERCOT Confidential
Enter Date Last Updated
DYNAMIC DATA