## Instructions
ERCOT Confidential
RARF V 5.4
ERCOT Resource Asset Registration Form (RARF)
"Network Model / System Planning / Data Aggregation / Settlements - Asset Registration / Resource Data Form"
A RARF should be submitted for each Generation Resource site that contains all generation at the site.
The RARF has been provided for ERCOT Resource Entities to properly register and submit data needed to register the assets
of Generation Resources. The RARF is to also be completed for all active and mothballed generation resources inside ERCOT.
Your organization must have submitted a market participant application as a Resource Entity prior to submission of this form.
Please keep in mind the following as you complete this form:
1. Please submit a single RARF form for each 'Resource Site'. This form will accommodate Generation Resources located at a common site,
and will accommodate generation load splitting.
2. After completion of this form, please submit electronically attached to a SERVICE REQUEST through MARKET INFORMATION SYSTEM (MIS).
See explanation below for submitting form through MIS. See the MP User Security Administrator to obtain a digital certificate.
INSTRUCTIONS FOR SUBMITTING RARF THROUGH MARKET INFORMATION SYSTEM (MIS): |  | ERCOT MIS SECURE
1. ERCOT requests the Resource Entity attach the RARF to a Service Request through Market Information System (MIS) located at https://mis.ercot.com, by the Primary or Secondary
Authorized Representative of the Resource Entity.
2. Access to ERCOT MIS requires a user digital certificate with minimal role "MP_ASSETS" that allows access to "Create Service Request" on the
"APPLICATIONS" page. The "user digital certificate" is authorized by the Market Participant's User Security Administrator.
3. Upon accessing MIS go to the "APPLICATIONS" page and select "Create Service Request". Be advised that the Service Request
will display in a new window as a pop-up, which may be impacted by user's browser settings.
4. Complete the required fields on the "Service Request" screen (annotated by red asterisk).
The following Request Type and Sub-Type are essential to proper submittal.
Request Type: Select "MP Registration" from the drop-down list
Request Sub-Type: Select "Resource/Asset Registration" from the drop-down list
Short Description: Complete with a descriptive subject
Long Description: Complete with details regarding changes
Click "Submit" (you will add the RARF(XLS) file on the next screen)
From the "Activities and Attachments" screen
Click "Add" under the Attachments heading of the Service Request
Select "Browse" icon and find the completed RARF file on your computer
Click "Submit" (comments are optional)
NOTE: if you have PSSE model files they will need to be compressed (zipped) and added to the same service request as the RARF form.
If questions arise related to the completion of this form, please contact your designated ERCOT Account Manager or
email Wholesale Client Services at ClientServices@ercot.com with the subject "Resource Asset Registration Form".
PROTOCOL DISCLAIMER
This registration document describes ERCOT processes and is not intended to be a substitute for the ERCOT Nodal Protocols
(available at http://www.ercot.com/mktrules/nprotocols/ ), as amended from time to time.
If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.
Revisions to this document shall be approved by ERCOT.
LINK

## Genral Information - LAAR
ERCOT Confidential
General Information - All Resource Entities
This worksheet tab contains information on the Resource Entity responsible for submitting this form.
Please complete this section and select RETURN TO MAP
This submittal is for:
* Deletions are accepted as intentions. This form does not supersede the Notice of Suspension of Operations requirements.
Submittal Information
Date Form Completed:
Resource Entity Submitting Form:
Resource Entity DUNS #:
Resource Entity Authorized Representative (as registered with ERCOT) - NOT NEEDED
Signature: | NOT NEEDED
Printed Name: | NOT NEEDED
Title: | NOT NEEDED
Phone Number: | NOT NEEDED
E-mail Address: | NOT NEEDED
Fax Number: | NOT NEEDED
Primary Contact (name of person ERCOT can contact with questions regarding this form)
Printed Name:
Title:
Phone Number:
E-mail Address:
Fax Number:
Secondary Contact (if available)
Printed Name:
Title:
Phone Number:
E-mail Address:
Fax Number:
lar
General Information - ALL
Site Information - GEN CC WIND
Unit Info - GEN
Unit Info - CC
Unit Info - WIND
Resource Parameters - GEN
Resource Parameters - CC
Resource Parameters - CC CFG
Resource Parameters - WIND
Operational Resource Parameters - GEN
Operational Resource Parameters - CC CFG
Operational Resource Parameters - WIND
Reactive Capability - GEN
Reactive Capability - CC
Reactive Capability - WIND
Ownership - GEN
Ownership - CC
Ownership - WIND
Configurations - CC1
Transitions - CC1
Configurations - CC2
Transitions - CC2
Configurations - CC3
Transitions - CC3
Planning - GEN
Planning - CC
Planning - WIND
Protection - GEN
Protection - CC
Protection - WIND
Subsynchronous Resonance - GEN
Subsynchronous Resonance - CC
Private Network - PUN
Line Data
Breaker_Switch Data
Capacitor and Reactor Data
Transformer Data
Static_Var_Compensator Data
Series Device Data
Load Data
PUN_LOAD
One Line
Note on A11: This is the registered name of the Resource Entity registered with ERCOT.

## Load Resource Information
ERCOT Confidential
Load Resource Parameters
This worksheet tab provides information for Load Resources.
Must complete all applicable cells in this section.
UNIT DETAILS
Common Name for Load Resource | Dispatch Asset Code (provided by ERCOT) | Physical Street Address for Point of Delivery (POD) | Name of City for Point of Delivery (POD) | Is Load Netted From Generation at ERCOT Read Gensite? | Is Load Behind a NOIE Settlement Meter Point? | Load Resource Type (CLR/UFR/Interruptible) | If CLR, will CLR be Dynamically Scheduling? | If CLR, ability to operate as a UFR type Resource? | Load Resource Effective Date | Load Resource Expiration Date | Substation Name for POD | Substation Code for POD | Transmission Bus POD (PTI Bus No) | Transmission Station Voltage | Transmission Station Load Name in Network Operations Model | Meter Reading Entity (TDSP) | Meter Reading Entity Duns Number | ESI-ID assigned to meter | Wholesale Delivery Point? | Load Resource Control Device | ERCOT Load Zone | Maximum POD Total Load | Maximum Interruptible Load MW | High Reasonability Limit | Low Reasonability Limit | CLR High Reasonability Ramp Rate Limit | CLR Low Reasonability Ramp Rate Limit | Private Use Network?
All Caps | All Caps |  |  | Y/N | Y/N | List | Y/N | Y/N | mm/dd/yyyy | mm/dd/yyyy | all caps | all caps |  | KV | all caps | List |  |  | Y/N | List | List | MW | MW | MW | MW | MW/min | MW/min | Y/N

## Load Resource Parameters
ERCOT Confidential
Load Resource Parameters
This worksheet tab provides information for Load Resources. Resource Parameters - Initial submittal by RE, updated by QSE via MMS (Protocol 3.7.1)
Dispatch Asset Code | Non-CLR Resource Parameters | [6 empty] | CLR Resource Parameters
| Minimum Interruption Time | Minimum Restoration Time | Max WEEKLY Deployments | Max Interruption Time | Max DAILY Deployments | Max Weekly Energy | Minimum Notice Time | Max Deployment Time | Max Weekly Energy
| hours | hours |  | hours |  | MWh | minutes | hours | MWh

## CLR - NRRC
ERCOT Confidential
Load Resource Parameters
This worksheet tab provides information for Load Resources. Resource Parameters - Initial submittal by RE, updated by QSE via MMS (Protocol 3.7.1)
Dispatch Asset Code | NORMAL RAMP RATE CURVE
| NRRC MW | MW Rating NRRC | Upward Ramprate | Downward Ramprate
List | List | MW | MW/min | MW/min
Note on B7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on D7: Enter Normal Rate at which resource can increase MW output in MW/minute for the given output level .
Note on E7: Enter Normal Rate at which resource can decrease MW output in MW/minute for the given output level .

## CLR - ERRC
ERCOT Confidential
Load Resource Parameters
This worksheet tab provides information for Load Resources. Resource Parameters - Initial submittal by RE, updated by QSE via MMS (Protocol 3.7.1)
Dispatch Asset Code | EMERGENCY RAMP RATE CURVE
| ERRC MW | MW Rating ERRC | Upward Ramprate | Downward Ramprate
List | List | MW | MW/min | MW/min
Note on B7: Ramp Rate curve is a pairing (MW Output vs. Ramp Rate). Enter MW value here
Note on D7: Enter Normal Rate at which resource can increase MW output in MW/minute for the given output level .
Note on E7: Enter Normal Rate at which resource can decrease MW output in MW/minute for the given output level .

## Dropdowns (hidden)
Data Validations: | TSP | TDSPDUNS | RESCAAT | REP | REPDUNS |  | DESC | CONFIG TYPE
Yes No | AEP TEXAS CENTRAL COMPANY | 007924772 | Nuclear | 10K ENERGY LLC (LSE) | 8305623801100 |  | ADD | A
| AEP TEXAS NORTH COMPANY | 007923311 | Hydro | 10K ENERGY LLC DBA MISSION POWER (LSE) | 8305623801000 |  | CHANGE | X
CMZone | AEP TEXAS NORTH COMPANY SPP | 053693388 | Coal and Lignite | ACACIA ENERGY LLC (LSE) | 787476634 |  | DELETE
| BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | Combined Cycle <= 90 MW* | ACCENT ENERGY TEXAS LP DBA DYNOWATT POWERED BY ACCENT ENERGY | 133305370
Unit Type | BARTLETT ELECTRIC CO OP INC | 002781813 | Combined Cycle > 90 MW* | AEP TEXAS COMMERCIAL INDUSTRIAL RETAIL LP (LSE) | 038738451
| BIG COUNTRY ELECTRIC CO OP INC TXU (TDSP) | 0058630484100 | Gas Steam - Supercritical Boiler | AEP TEXAS COMMERCIAL INDUSTRIAL RETAIL LP DBA AEP RETAIL ENERGY | 0387384511000
FUELTYPE | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | Gas Steam - Reheat Boiler | AFFORDABLE POWER LP (LSE) | 171841633 | MM/DD/YYYY
| BRAZOS ELECTRIC POWER CO OP INC (TDSP) | 0037722904000 | Gas Steam - Non-reheat or Boiler without air-preheater | ALLIANCE POWER COMPANY LLC | 136249187
TRANSPTYPE | BROWNSVILLE PUBLIC UTILITIES BOARD (TDSP) | 6063470374000 | Simple Cycle <= 90 MW | AMBIT ENERGY LP (LSE) | 604792791
| BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | Simple Cycle > 90 MW | AMBIT TEXAS LLC (LSE) | 8290437071000
OFFSET | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | Reciprocating Engine | AMERIPOWER LLC | 140780003
| CAP ROCK ENERGY (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | Wind Generation Resource | ANDELER CORPORATION DBA ANDELER POWER (LSE) | 039471953
RESCAAT | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | Duration Limited Resources | ANDELER CORPORATION DBA ANDELER RETAIL | 0394719531000
| CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | Solar | APN STARFIRST LP | 141081328
WYE | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | Other | APNA HOLDINGS LLC | 784260866
| CHEROKEE COUNTY ELEC CO OP ASSOC (CORAL POWER AS QSE) | 0088626254000 |  | BANDERA ELECTRIC CO OP INC (LSE) | 0089451491000
TAPLOC | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 |  | BIG COUNTRY ELECTRIC CO OP INC (LSE) | 0058630481000
| CITY OF BARTLETT (TDSP) | 074618935 |  | BLU POWER OF TEXAS LLC | 604182134
SUBMITTAL | CITY OF BASTROP (TDSP) | 0851553724000 |  | BLUEBONNET ELECTRIC CO OP INC (LSE) | 0524834351000
| CITY OF BELLVILLE (TDSP) | 0935648704000 |  | BLUESTAR ENERGY SERVICES INC DBA BLUESTAR ENERGY SOLUTIONS (LSE) | 0777789541000
NWMODEL | CITY OF BOERNE (TDSP) | 0052470694000 |  | BOUNCE ENERGY INC (LSE) | 8263032781000
| CITY OF BOWIE (TDSP) | 8094182964000 |  | BP ENERGY COMPANY (LSE) | 6252757551000
| CITY OF BRADY (TDSP) | 070804877 |  | BP ENERGY COMPANY (SUB-LSE-CNE) | 8797234681100
| CITY OF BRENHAM (TDSP) | 0741649224000 |  | BRAZOS ELECTRIC POWER CO OP INC (LSE) | 0037722901000
| CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 |  | BRAZOS ELECTRIC POWER CO OP INC LCRA | 0037722901100
| CITY OF BURNET (TDSP) | 0746121514000 |  | BRAZOS ELECTRIC POWER CO OP INC-OAK GROVE | 0037722901200
| CITY OF CASTROVILLE (TDSP) | 797816378 |  | BRILLIANT ENERGY LLC | 800312048
| CITY OF COLEMAN (TDSP) | 1024920064000 |  | BROWNSVILLE PUBLIC UTILITIES BOARD (LSE) | 6063470371000
| CITY OF COLLEGE Station (TDSP) | 0403303004000 |  | BRYAN TEXAS UTILITIES (LSE) | 0793907791000
| CITY OF CUERO (TDSP) | 0526842144000 |  | CALPINE POWER AMERICA LP | 1127108761000
| CITY OF FARMERSVILLE (TDSP) | 1903494984000 |  | CAP ROCK ENERGY (HUNT COLLIN DIVISION) (LSE) | 0079370971100
| CITY OF FLATONIA (TDSP) | 0626890134000 |  | CAP ROCK ENERGY (MCCULLOCH DIVISION) (LSE) | 0079370971000
| CITY OF FLORESVILLE DBA FLORESVILLE ELEC LIGHT AND PWR | 008948374 |  | CENTRAL TEXAS ELECTRIC CO OP INC (LSE) | 0079302741000
| CITY OF FREDERICKSBURG (TDSP) | 0769243074000 |  | CHAIN LAKES POWER LP DBA SIMPLE POWER (LSE) | 806949835
| CITY OF GARLAND (TDSP) | 6011012564000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES (LSE) | 1599884061000
| CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 |  | CHAMPION ENERGY INDUSTRIAL SERVICES I (LSE) | 1599884061100
| CITY OF GEORGETOWN (TDSP) | 0895923724000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES II (LSE) | 1599884061200
| CITY OF GIDDINGS (TDSP) | 0096899514000 |  | CHAMPION ENERGY INDUSTRIAL SERVICES III (LSE) | 1599884061300
| CITY OF GOLDSMITH (TDSP) | 0888946704000 |  | CHAMPION ENERGY SERVICES LLC | 159988406
| CITY OF GOLDTHWAITE (TDSP) | 1558252764000 |  | CIRRO GROUP INC | 034441449
| CITY OF GONZALES (TDSP) | 0937385404000 |  | CITY OF AUSTIN DBA AUSTIN ENERGY (LSE) | 8008717661000
| CITY OF HALLETTSVILLE (TDSP) | 0090811834000 |  | CITY OF BASTROP (LSE) | 0851553721000
| CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 |  | CITY OF BELLVILLE (LSE) | 0935648701000
| CITY OF HEMPSTEAD (TDSP) | 1272175604000 |  | CITY OF BOERNE (LSE) | 0052470691000
| CITY OF HONDO (TDSP) | 091703843 |  | CITY OF BOWIE (LSE) | 8094182961000
| CITY OF LA GRANGE (TDSP) | 0607085184000 |  | CITY OF BRADY (LSE) | 0708048771000
| CITY OF LAMPASAS (TDSP) | 0203311204000 |  | CITY OF BRENHAM (LSE) | 0741649221000
| CITY OF LEXINGTON (TDSP) | 0081817324000 |  | CITY OF BRIDGEPORT MUN ELEC SYS (LSE) | 0842801711000
| CITY OF LLANO (TDSP) | 0916952054000 |  | CITY OF BURNET (LSE) | 0746121511000
| CITY OF LOCKHART (TDSP) | 0746168634000 |  | CITY OF COLEMAN (LSE) | 1024920061000
| CITY OF LULING (TDSP) | 0105539984000 |  | CITY OF COLLEGE Station (LSE) | 0403303001000
| CITY OF MASON (TDSP) | 1561267084000 |  | CITY OF CUERO (LSE) | 0526842141000
| CITY OF MOULTON (TDSP) | 0091871544000 |  | CITY OF FARMERSVILLE (LSE) | 1903494981000
| CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 |  | CITY OF FLATONIA (LSE) | 0626890131000
| CITY OF SAN MARCOS (TDSP) | 0694628694000 |  | CITY OF FREDERICKSBURG (LSE) | 0769243071000
| CITY OF SAN SABA (TDSP) | 0248592254000 |  | CITY OF GARLAND (LSE) | 6011012561000
| CITY OF SANGER | 058956020 |  | CITY OF GEORGETOWN (LSE) | 0895923721000
| CITY OF SCHULENBURG (TDSP) | 0532950364000 |  | CITY OF GIDDINGS (LSE) | 0096899511000
| CITY OF SEGUIN (TDSP) | 0862819794000 |  | CITY OF GOLDSMITH (LSE) | 0888946701000
| CITY OF SEYMOUR | 166319145 |  | CITY OF GOLDTHWAITE (LSE) | 1558252761000
| CITY OF SHINER (TDSP) | 1504533714000 |  | CITY OF GONZALES (LSE) | 0937385401000
| CITY OF SMITHVILLE (TDSP) | 0916978134000 |  | CITY OF HALLETTSVILLE (LSE) | 0090811831000
| CITY OF WAELDER (TDSP) | 0541779694000 |  | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (LSE) | 0897458891000
| CITY OF WEIMAR (TDSP) | 0214974584000 |  | CITY OF HEMPSTEAD (LSE) | 1272175601000
| CITY OF WHITESBORO | 134546522 |  | CITY OF LA GRANGE (LSE) | 0607085181000
| CITY OF YOAKUM (TDSP) | 0694557724000 |  | CITY OF LAMPASAS (LSE) | 0203311201000
| COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 |  | CITY OF LEXINGTON (LSE) | 0081817321000
| COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 |  | CITY OF LLANO (LSE) | 0916952051000
| COMISION FEDERAL | 8100082434000 |  | CITY OF LOCKHART (LSE) | 0746168631000
| CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 |  | CITY OF LULING (LSE) | 0105539981000
| CONCHO VALLEY ELECTRIC CO OP INC TXU (TDSP) | 0038666624100 |  | CITY OF MASON (LSE) | 1561267081000
| COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 |  | CITY OF MOULTON (LSE) | 0091871541000
| CPS ENERGY (TDSP) | 0079360734000 |  | CITY OF ROBSTOWN UTILITY SYSTEM (LSE) | 9387911421000
| CROSS TEXAS TRANSMISSION LLC (TSP) | 8296282914000 |  | CITY OF SAN MARCOS (LSE) | 0694628691000
| DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 |  | CITY OF SAN SABA (LSE) | 0248592251000
| DEEP EAST TEXAS ELECTRIC CO OP INC (BLT TDSP) | 0478456234000 |  | CITY OF SANGER TEXAS (LSE) | 0589560201000
| DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 |  | CITY OF SCHULENBURG (LSE) | 0532950361000
| DENTON MUNICIPAL ELECTRIC (TDSP) | 0713801904000 |  | CITY OF SEGUIN (LSE) | 0862819791000
| EAST TEXAS ELECTRIC CO OP (TDSP) | 948535265 |  | CITY OF SEYMOUR (LSE) | 1663191451000
| ELECTRIC TRANSMISSION TEXAS LLC (TDSP) | 808160514 |  | CITY OF SHINER (LSE) | 1504533711000
| FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 |  | CITY OF SMITHVILLE (LSE) | 0916978131000
| FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 |  | CITY OF WAELDER (LSE) | 0541779691000
| FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 |  | CITY OF WEIMAR (LSE) | 0214974581000
| FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 |  | CITY OF YOAKUM (LSE) | 0694557721000
| GEUS (TDSP) | 8062449354000 |  | CLEARVIEW ELECTRIC INC | 785129219
| GOLDEN SPREAD ELECTRIC COOPERATIVE INC (TSP) | 1864707794000 |  | COLEMAN COUNTY ELECTRIC CO OP INC (LSE) | 0079246731000
| GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 |  | COMISION FEDERAL DE ELECTRICIDAD | 810008243
| GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 |  | CONCHO VALLEY ELECTRIC CO OP INC (LSE) | 0038666621000
| GRAYSON COLLIN ELECTRIC CO OP INC (AEP AS QSE) | 0089538124000 |  | CONOCOPHILLIPS COMPANY (LSE) | 001368265
| GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 |  | CONSOLIDATED EDISON SOLUTIONS INC | 809887904
| HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS (LSE) | 8098879041100
| HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 1 (LSE) | 8098879041200
| HEART OF TEXAS ELECTRIC COOPERATIVE INC (DSP) | 012074558 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONED SOLUTIONS 2 (LSE) | 8098879041300
| HILCO ELECTRIC CO OP INC (TDSP) | 008950545 |  | CONSOLIDATED EDISON SOLUTIONS INC DBA CONEDISON SOLUTIONS (LSE) | 8098879041000
| HOUSTON COUNTY ELEC COOP INC (TDSP) | 005777206 |  | CONSTELLATION NEWENERGY INC (LSE) | 8797234681000
| HOUSTON COUNTY ELEC COOP INC TXU (TDSP) | 0057772064100 |  | CONSTELLATION NEWENERGY INC DBA NEWENERGY (LSE) | 8797234681200
| J A C ELECTRIC CO OP INC | 003890795 |  | CPL RETAIL ENERGY DBA 1300 | 0177405441300
| JACKSON ELECTRIC CO OP INC | 078423555 |  | CPL RETAIL ENERGY DBA 1400 | 0177405441400
| JASPER NEWTON ELECTRIC CO OP INC | 007933518 |  | CPL RETAIL ENERGY LP (LSE) | 017740544
| KARNES ELECTRIC CO OP INC | 006824106 |  | CPL RETAIL ENERGY LP 1100 | 0177405441100
| KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 |  | CPL RETAIL ENERGY LP DBA CPL | 0177405441200
| LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 |  | CPS ENERGY (LSE) | 0079360731000
| LAMAR COUNTY ELEC COOP DBA LEC RC HOUPL (TDSP) | 0048060974100 |  | DENTON MUNICIPAL ELECTRIC (LSE) | 0713801901000
| LCRA TRANSMISSION SERVICES CORPORATION | 0432268854000 |  | DEVONSHIRE ENERGY LLC (LSE) | 9624939901000
| LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 |  | DIRECT ENERGY BUSINESS LLC (LSE) | 800770810
| LIGHTHOUSE ELECTRIC CO OP TXU (TDSP) | 0028252894100 |  | DIRECT ENERGY BUSINESS LLC 1 (LSE) | 8007708101100
| LONE STAR TRANSMISSION LLC (TSP) | 8001203834000 |  | DIRECT ENERGY BUSINESS LLC 2 (LSE) | 8007708101200
| LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 |  | DIRECT ENERGY BUSINESS LLC DBA EXPERT ENERGY (LSE) | 8007708101000
| MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 |  | DIRECT ENERGY DBA 1300 | 0397133541300
| MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100 |  | DIRECT ENERGY DBA 1400 | 0397133541400
| MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 |  | DIRECT ENERGY LP DBA DIRECT ENERGY | 039713354
| MID SOUTH ELECTRIC CO OP ASSOC | 061278594 |  | DIRECT ENERGY LP DBA DIRECT ENERGY BUSINESS SERVICES | 0397133541000
| NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 |  | DIRECT ENERGY LP DBA DIRECT ENERGY MULTI FAMILY | 0397133541200
| NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 |  | DPI ENERGY LLC (LSE) | 785092292
| NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 |  | DTE ENERGY TRADING INC (LSE) | 383323526
| NUECES ELECTRIC CO OP INC | 008828857 |  | EDF INDUSTRIAL POWER SERVICES (TX) I LLC (LSE) | 7887078471100
| NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 |  | EDF INDUSTRIAL POWER SERVICES (TX) II LLC (LSE) | 7887078471200
| NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 |  | EDF INDUSTRIAL POWER SERVICES (TX) III LLC (LSE) | 7887078471300
| ONCOR ELECTRIC DELIVERY COMPANY LLC (TDSP) | 1039940674000 |  | EDF INDUSTRIAL POWER SERVICES (TX) LLC (LSE) | 788707847
| PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 |  | EDF INDUSTRIAL POWER SERVICES (TX) V LLC (LSE) | 7887078471500
| PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 |  | EDF INDUSTRIAL POWER SERVICES TX IV LLC (LSE) | 7887078471400
| RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP) | 6243686014000 |  | EN TOUCH SYSTEMS INC (LSE) | 155807808
| RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 |  | ENERGY PLUS HOLDINGS LLC | 8048918491000
| RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 |  | ENERGY TRANSFER RETAIL POWER LLC (LSE) | 8071242141000
| RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 |  | ENOW LP (LSE) | 144817595
| SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 |  | ENTERGY GULF STATES INC (BLT LSE) | 8274383831100
| SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 |  | ENTERGY TEXAS INC (LSE) | 8012610531000
| SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 |  | ENTRUST ENERGY INC (LSE) | 9640468611000
| SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 |  | ERCOT TEST LSE ACCOUNT 07212010 (LSE) | 8524567531000
| SHARYLAND UTILITIES LP (TDSP) | 105262336 |  | ERCOT TEST LSE ACCOUNT 07212010 PAST DATE (LSE) | 9639639631000
| SHARYLAND UTILITIES LP BRADY (TDSP) | 1052623364200 |  | ERCOTTEST_LSE_1 | 111111111
| SHARYLAND UTILITIES LP CELESTE (TDSP) | 1052623364300 |  | ERCOTTEST_LSE_2 | 111111112
| SHARYLAND UTILITIES NOIE (TDSP) | 1052623364100 |  | ERCOTTEST_LSE_2_POLR | 1111111121000
| SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 |  | ERCOTTEST_LSE_3 | 111111113
| SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 |  | ERCOTTEST_LSE_4 | 111111114
| SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 |  | ERCOTTEST_LSE_5 | 111111115
| SOUTHWESTERN ELECTRIC POWER COMPANY BLT (TDSP) | 0069487644000 |  | ESCO1 LLC (LSE) | 791327153
| SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 026763672 |  | EXTEX RETAIL SERVICES COMPANY LLC | 131494440
| TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 |  | FAYETTE ELECTRIC CO OP INC (LSE) | 0593309771000
| TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 |  | FIRST CHOICE POWER SPECIAL PURPOSE LIMITED PARTNERSHIP | 008613791
| TEXAS MUNICIPAL POWER AGENCY | 071374052 |  | FIRST CHOICE POWER SPECIAL PURPOSE LP DBA FIRST CHOICE POWER POL | 0086137911000
| TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 |  | FIRST CHOICE POWER SPECIAL PURPOSE LP DBA FIRST CHOICE POWER-AMS | 0086137911100
| TRI COUNTY ELECTRIC CO OP INC | 008945123 |  | FRONTIER UTILITIES INC (LSE) | 8094344211000
| TRINITY VALLEY ELEC CO OP | 009844564 |  | FRONTIER UTILITIES INC DBA RODEO ENERGY (LSE) | 8094344211100
| TRINITY VALLEY ELEC CO OP (AEP AS QSE) | 0098445644000 |  | FRONTIER UTILITIES INC DBA SOL ENERGY (LSE) | 8094344211200
| UNITED ELECTRIC CO OP SERVICES INC | 008945826 |  | FULCRUM RETAIL ENERGY LLC DBA AMIGO ENERGY (LSE) | 141047543
| VICTORIA ELECTRIC CO OP INC | 008953861 |  | FULCRUM RETAIL ENERGY LLC DBA TARA ENERGY RESOURCES (LSE) | 1410475431000
| VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 |  | GATEWAY ENERGY SERVICES CORP DBA GATEWAY POWER SERVICES (LSE) | 013876508
| WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 |  | GDF SUEZ ENERGY MARKETING NA INC (LSE) | 9689097391000
| WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 |  | GDF SUEZ ENERGY RESOURCES NA INC (LSE) | 099668332
| WHARTON COUNTY ELECTRIC CO OP INC | 118487958 |  | GDF SUEZ ENERGY RESOURCES NA INC DBA GSERNA POLR (LSE) | 0996683322222
| WIND ENERGY TRANSMISSION TEXAS LLC (TSP) | 8306765114000 |  | GEUS (LSE) | 8062449351000
| WISE ELECTRIC CO OP | 041405408 |  | GEXA ENERGY LP (LSE) | 108114542
| WOOD COUNTY ELECTRIC COOPERATIVE INC (TDSP) | 008952491 |  | GEXA ENERGY LP DBA GEXA ENERGY (LSE) | 1081145421000
| NOT LISTED |  |  | GEXA ENERGY LP III (LSE) | 1081145421100
|  |  |  | GEXA ENERGY LP IV (LSE) | 1081145421200
|  |  |  | GIM RETAIL ENERGY LLC (LSE) | 8269652091000
|  |  |  | GLACIAL ENERGY OF TEXAS INC | 605515472
|  |  |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC AEP AS QSE (LSE) | 1864707791000
|  |  |  | GOLDEN SPREAD ELECTRIC COOPERATIVE INC TXU AS QSE (LSE) | 186470779
|  |  |  | GRANBURY MUNICIPAL UTILITIES (LSE) | 0952141691000
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY (LSE) | 176871481
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY - COMMERCIAL | 1768714811200
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY CSA (LSE) | 1768714811500
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY RES 2 (LSE) | 1768714811400
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY-MULTIFAMILY (LSE) | 1768714811100
|  |  |  | GREEN MOUNTAIN ENERGY COMPANY-POLR (LSE) | 1768714811300
|  |  |  | GUADALUPE VALLEY ELECTRIC CO OP INC (LSE) | 0079305891000
|  |  |  | HINO ELECTRIC POWER COMPANY (LSE) | 026533844
|  |  |  | HUDSON ENERGY JV LLC (LSE) | 8029612891000
|  |  |  | HUDSON ENERGY SERVICES LLC (LSE) | 121359595
|  |  |  | ILUMINAR ENERGY LLC (LSE) | 8292445521000
|  |  |  | ILUMINAR ENERGY LLC DBA ALLTEX POWER AND LIGHT (LSE) | 8292445521100
|  |  |  | ILUMINAR ENERGY LLC DBA PREMIUM POWER AND LIGHT (LSE) | 8292445521200
|  |  |  | INFINITE ELECTRIC LLC (LSE) | 9636606881000
|  |  |  | INFINITE ENERGY INC (LSE) | 9687867491000
|  |  |  | JPMORGAN VENTURES ENERGY CORPORATION (LSE) | 6026672011000
|  |  |  | JUST ENERGY TEXAS LP DBA JUST ENERGY (LSE) | 110569998
|  |  |  | JUST ENERGY TEXAS LP DBA JUST ENERGY TEXAS RGV | 1105699981000
|  |  |  | KERRVILLE PUBLIC UTILITY BOARD (LSE) | 1248248061000
|  |  |  | KINETIC ENERGY LLC | 792535846
|  |  |  | LEHMAN POWER SERVICES LLC (LSE) | 8263033511000
|  |  |  | LIBERTY POWER CORP. | 112361204
|  |  |  | LIBERTY POWER DELAWARE LLC | 625111021
|  |  |  | LIBERTY POWER HOLDINGS LLC | 784087293
|  |  |  | LIBERTY POWER TEXAS LLC | 785076246
|  |  |  | LIGHTHOUSE ELECTRIC CO OP (LSE) | 0028252891000
|  |  |  | LOWER COLORADO RIVER AUTHORITY (LSE) | 0432268851000
|  |  |  | LPT LLC DBA LPT SP LLC | 6116339131000
|  |  |  | LUMINANT ET SERVICES COMPANY (LSE) | 1733370281500
|  |  |  | LYNTEGAR ELECTRIC CO OP INC (LSE) | 0079371471000
|  |  |  | MAGIC VALLEY ELECTRIC CO OP INC (LSE) | 0089515011000
|  |  |  | MEGA ENERGY LP | 801176327
|  |  |  | MIDAMERICan ENERGY COMPANY (LSE) | 8847187681000
|  |  |  | MONONGAHELA COMMUNICATIONS LLC (LSE) | 8307007661000
|  |  |  | MP2 ENERGY TEXAS LLC (LSE) | 8281436311000
|  |  |  | MXENERGY ELECTRIC INC II (LSE) | 1480623541000
|  |  |  | MXENERGY ELECTRIC LSE | 148062354
|  |  |  | NATIONS POWER LLC (LSE) | 807179234
|  |  |  | NEUMIN PRODUCTION CO | 074606807
|  |  |  | NEW BRAUNFELS UTILITIES (LSE) | 0383461691000
|  |  |  | NEW MEXICO NATURAL GAS LP DBA TEXAS POWER | 807025689
|  |  |  | NEXTERA ENERGY POWER MARKETING LLC (LSE) | 0544813411000
|  |  |  | NEXTERA RETAIL OF TEXAS LP (LSE) | 784382017
|  |  |  | NOBLE AMERICAS ENERGY SOLUTIONS LLC (LSE) | 968254276
|  |  |  | NOORUDDIN INVESTMENTS LLC DBA DISCOUNT POWER (LSE) | 8254301971000
|  |  |  | NOVA POWER LLC (LSE) | 8306908761000
|  |  |  | NUECES ELECTRIC COOPERATIVE INC RETAIL DIVISION (NEC RD) | 0088288571000
|  |  |  | OCCIDENTAL POWER MARKETING LP (LSE) | 052298721
|  |  |  | OCCIDENTAL POWER SERVICES INC (LSE) | 1118490501000
|  |  |  | OUR ENERGY LLC (LSE) | 8273832461000
|  |  |  | PEDERNALES ELEC CO OP INC AEP (LSE) | 0079241111100
|  |  |  | PEDERNALES ELECTRIC CO OP INC (LSE) | 0079241111000
|  |  |  | PEGASUS ALLIANCE CORPORATION DBA ONPAC ENERGY (LSE) | 136387466
|  |  |  | PENNYWISE POWER LLC (LSE) | 8286293161000
|  |  |  | PENSTAR POWER LLC (LSE) | 144991671
|  |  |  | PENSTAR POWER LLC 1 (LSE) | 1449916711000
|  |  |  | PEPCO ENERGY SERVICES INC (LSE) | 106173672
|  |  |  | PILOT POWER GROUP INC. | 930453365
|  |  |  | POTENTIA ENERGY LLC (LSE) | 809047512
|  |  |  | PRELECTRIC ENERGY SERVICES LLC (LSE) | 159059315
|  |  |  | PREMIER POWER LLC (LSE) | 8330896621000
|  |  |  | PRIER ENERGY INC | 800805835
|  |  |  | PRIER ENERGY INC DBA BUBBA POWER (LSE) | 8008058351200
|  |  |  | PRIER ENERGY INC DBA GENERAL POWER AND LIGHT (LSE) | 8008058351000
|  |  |  | PRIER ENERGY INC DBA TODAYS ENERGY (LSE) | 8008058351100
|  |  |  | PROTON ENERGY INC (LSE) | 8305909511000
|  |  |  | PULSE ELECTRIC INC (LSE) | 8282993751000
|  |  |  | RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (LSE) | 6243686011000
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EPCO (LSE) | 6243686011200
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC EXP (LSE) | 6243686011100
|  |  |  | RAYBURN COUNTRY ELECTRIC COOPERATIVE INC HOUPL (LSE) | 6243686011400
|  |  |  | REACH ENERGY LLC | 791894152
|  |  |  | RELIABLE POWER LLC (LSE) | 8330897461000
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC | 799530915
|  |  |  | RELIANT ENERGY RETAIL SERVICES LLC DBA RELIANT ENERGY SOLUTIONS | 616498114
|  |  |  | RELIANT ENERGY TEXAS RETAIL LLC (LSE) | 8286294561000
|  |  |  | REPUBLIC POWER DBA ENERGY AMERICA II (TEST) | 0397133541100
|  |  |  | RIO GRANDE ELEC CO OP (LSE) AEP | 0027819531100
|  |  |  | RIO GRANDE ELECTRIC CO OP (LSE) TXU | 0027819531000
|  |  |  | SAN BERNARD ELECTRIC CO OP (LSE) | 0089453131000
|  |  |  | SECURE ENERGY LLC (LSE) | 8330898861000
|  |  |  | SHARYLAND UTILITIES LP BRADY (LSE) | 1052623361100
|  |  |  | SHARYLAND UTILITIES LP CELESTE (LSE) | 1052623361200
|  |  |  | SHELL ENERGY NORTH AMERICA (US) LP (LSE) | 9375172661100
|  |  |  | SOLARO ENERGY MARKETING CORPORATION (LSE) | 128849358
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) | 0038663321000
|  |  |  | SOUTH TEXAS ELECTRIC CO OP INC (LSE) AEP | 0038663321100
|  |  |  | SOUTH TEXAS ELECTRIC COOPERATIVE (POLR) | 0038663321300
|  |  |  | SOUTHWEST TEXAS ELECTRIC CO OP INC (LSE) | 0084158951000
|  |  |  | SOUTHWESTERN ELECTRIC POWER COMPANY BLT (LSE) | 0069487641000
|  |  |  | SOUTHWESTERN PUBLIC SERVICE COMPANY (LSE) | 0073697131000
|  |  |  | SPARK ENERGY LP | 037597437
|  |  |  | SPARK ENERGY LP - DBA FIRE FLY POWERED BY SPARK ENERGY | 0375974371000
|  |  |  | STAR ELECTRICITY INC DBA STARTEX POWER (LSE) | 148055531
|  |  |  | STARLIGHT ENERGY LP | 181203170
|  |  |  | STATE POWER COMPANY INC (LSE) | 801220844
|  |  |  | STREAM GAS AND ELECTRIC LTD (LSE) | 159008395
|  |  |  | TARA ENERGY LLC (LSE) | 111950619
|  |  |  | TARA ENERGY LLC DBA SMART PREPAID ELECTRIC (LSE) | 1119506191000
|  |  |  | TAYLOR ELECTRIC CO OP INC (LSE) | 0079344251000
|  |  |  | TAYLOR ELECTRIC CO OP INC-ABILENE (LSE) | 0079344251100
|  |  |  | TELECOM CONSULTING AND SERVICES LLC DBA TCS ENERGY (LSE) | 8293064921000
|  |  |  | TENASKA POWER SERVICES CO (LSE) | 015016913
|  |  |  | TENASKA POWER SERVICES CO DBA TPS I | 0150169131000
|  |  |  | TENASKA POWER SERVICES CO DBA TPS II | 0150169131100
|  |  |  | TENASKA POWER SERVICES CO DBA TPS III | 0150169131200
|  |  |  | TENASKA POWER SERVICES CO DBA TPS4 | 0150169131300
|  |  |  | TENASKA TOPS REP LP | 109518444
|  |  |  | TENASKA TOPS REP LP DBA TOPS I | 1095184441000
|  |  |  | TENASKA TOPS REP LP DBA TPS5 | 1095184445000
|  |  |  | TENASKA TOPS REP LP DBA TPS6 | 1095184446000
|  |  |  | TENASKA TOPS REP LP DBA TPS7 | 1095184447000
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (BLT LSE) | 6091700301300
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS (LSE) | 609170030
|  |  |  | TEX-LA ELECTRIC CO OP OF TEXAS INC./TPS (LSE) | 6091700301100
|  |  |  | TEX-LA ELECTRIC COOPERATIVE OF TEXAS INC /AEP2 (LSE) | 6091700301200
|  |  |  | TEXAS POWER LP (LSE) | 614848005
|  |  |  | TEXAS POWER LP DBA PRE PAY POWER (LSE) | 6148480051000
|  |  |  | TEXAS RETAIL ENERGY LLC (LSE) | 124238432
|  |  |  | TEXPO POWER LP DBA YEP | 780061300
|  |  |  | TEXREP1 LLC DBA EPCOT ELECTRIC (LSE) | 788707912
|  |  |  | TEXREP3 LLC DBA MILAGRO ELECTRIC (LSE) | 8071239431000
|  |  |  | TEXREP5 LLC DBA ALLSTAR ENERGY LLC (LSE) | 8292945321000
|  |  |  | TEXREP6 LLC (LSE) | 8292945991000
|  |  |  | TEXREP7 LLC (LSE) | 8292946981000
|  |  |  | TGT ENERGY LLC | 006961700
|  |  |  | THE ROYAL BANK OF SCOTLAND PLC (LSE) | 229123146
|  |  |  | TPS POWER HOLDINGS LLC (LSE) | 8306796631000
|  |  |  | TRIEAGLE ENERGY LP (LSE) | 124769063
|  |  |  | TRIEAGLE ENERGY LP DBA EAGLE ENERGY | 1247690631100
|  |  |  | TRIEAGLE ENERGY LP DBA PILOT ENERGY | 1247690631200
|  |  |  | TRIEAGLE ENERGY LP DBA POWER HOUSE ENERGY | 1247690631300
|  |  |  | TRIEAGLE ENERGY LP DBA TRIEAGLE ENERGY SERVICES | 1247690631000
|  |  |  | TRUE ELECTRIC LLC | 793874822
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (LG NR POLR) | 1733370281300
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (RES POLR) | 1733370281100
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA ASSURANCE ENERGY (SM NR POLR) | 1733370281200
|  |  |  | TXU ENERGY RETAIL COMPANY LLC DBA TXU ENERGY | 1733370281000
|  |  |  | TXU SESCO CO (LSE) | 0079280961000
|  |  |  | TXU SESCO ENERGY SERVICES COMPANY (SUBLSE) | 1733370281400
|  |  |  | UG AND E TEXAS INC (LSE) | 243434292
|  |  |  | VETERAN ENERGY LLC (LSE) | 0102173951000
|  |  |  | WEATHERFORD MUNICIPAL UTILITY SYSTEM (LSE) | 0817196271000
|  |  |  | WEIR INVESTMENTS FUND LLC DBA APOLLO POWER AND LIGHT LLC (LSE) | 8282227731000
|  |  |  | WESTERN FARMERS ELECTRIC COOPERATIVE (LSE) | 072862407
|  |  |  | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (LSE) | 0079233111000
|  |  |  | WTU RETAIL ENERGY DBA 1300 | 0177412941300
|  |  |  | WTU RETAIL ENERGY DBA 1400 | 0177412941400
|  |  |  | WTU RETAIL ENERGY LP (LSE) | 017741294
|  |  |  | WTU RETAIL ENERGY LP 1100 | 0177412941100
|  |  |  | WTU RETAIL ENERGY LP DBA WTU | 0177412941200
|  |  |  | YOUNG ENERGY LLC DBA PAYLESS POWER (LSE) | 189069284
NOT LISTED