## Slide 1
MSWG
Update to WMS
November 6, 2019

## Slide 2: Q3 Settlement Stability Report
http://www.ercot.com/calendar/2019/10/22/174617-MSWG

## Slide 3: CRRBAFBBAL at $10MM through October 2019
Chart: CRR Balancing Account Beginning Balance
| 42522 | 42552 | 42583 | 42614 | 42644 | 42675 | 42705 | 42736 | 42767 | 42795 | 42826 | 42856 | 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070 | 43101 | 43132 | 43160 | 43191 | 43221 | 43252 | 43282 | 43313 | 43344 | 43374 | 43405 | 43435 | 43466 | 43497 | 43525 | 43556 | 43586 | 43617 | 43647 | 43678 | 43709 | 43739
 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 4294673.94 | 5056687.29 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 10000000 | 2752584.89 | 0 | 10000000 | 10000000 | 10000000 | 6702841.93 | 7765622.79 | 7442131.68 | 10000000 | 9916499.51 | 10000000 | 10000000 | 9999999.99 | 10000000 | 10000000 | 10000000

## Slide 4: M-A100119-01 Settlements: Issue Affecting Real-Time Ancillary Service Imbalance Payment or Charge
In calculating RTOLHSL for RTASIAMT, when TWTG <95% of Average LSL there is a capacity exclusion flag.
The Market Notice explained that both the EMS (every 4 seconds) and the Settlement System (15 minutes) were performing this evaluation. The logic was removed on the EMS side.
MSWG appreciates this approach, as it allows data to flow unchanged to Settlement and then have calculations applied.

## Slide 5: Assignment: NPRR947 Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Outcome: MSWG Endorses
MSWG agrees with the purpose and use of telemetry for evaluating AS provided and our discussions centered on data sufficiency:
1. Determinants for Responsibility by Service Type
2. Determinants for Responsibility before and after all operator adjustments, similar to other “Adjustment” cuts (eg. RTMG/RTMG_A)
3. Telemetered Resource data (actual provided AS by Resource, by Service Type)
4. Desire for Resource data to come unchanged from EMS so that calculations could occur in Data Aggregation or ERCOT Settlement Systems such that verification and shadow could be performed at the Resource level.

## Slide 6: Assignment: NPRR947
Conclusions:
Data needs are not specific to NPRR947 alone
Code freezes and RTC initiative make data upgrades too expensive and time-consuming near-term
RTC’s intensive use of telemetry with Resource identifiable attributes may provide a far better opportunity to implement such data transparency upgrades
Extra time to identify other charge types that would benefit

## Slide 7: Market Communications
Market Notice – A Protocol-specified communication under which ERCOT must notify all Market Participants via a Market Notice
The format of a Market Notice is defined in a Business Practice Manual, titled: ERCOT Market Notice Communication Process. The BPM does not define the types of content.
All other “market notices” are discretionary and may be sent to mailing lists or individual email addresses. These may or may not be resident/searchable on ERCOT.com. The format of a Market Notice may be used for these communications.
Bottom Line: If the market desires consistent communication on a specific topic, it needs to be made explicit in Protocol.

## Slide 8: Dispute Timelines: What is a “Timely” Dispute?
RT - no limits other than blackout 20 days prior to issuance of True-up. Disputes are not deemed late and rejected, however ERCOT may have to resettle after Final
The purpose of the “Dispute” date in the Settlement Calendar Extract is to tell you when an Initial RT must be disputed in order to be resettled on Final.
ERCOT staff confirmed the Dispute Tool will not reject based on time except for the 20-day blackout prior to True-up.

## Slide 9: Status of Action Items
On hold and/or following only:
NPRR850 Market Restart
NPRR855 RMR Alternatives
RTC
Energy Storage Issues
  Definitions
  WSL treatment

## Slide 10: MSWG 2020
All action items are complete or awaiting further development and implementation.
Our November meeting is cancelled
Next MSWG meeting will be on December 23, 2019 at 9:30am
WebEx only -- to discuss new leadership