## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
11/07/2019

## Slide 2: NOGRR183 - Remedial Action Scheme (RAS) Submittal and Review Requirements
NOGRR183 - This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guides with North American Electric Reliability Corporation (NERC) Reliability Standard PRC-012-2 - Remedial Action Schemes.
  Tabled – ERCOT will be filing additional comments for consideration.
NPRR955 – Limited RAS definition
  Remains tabled at this time.

## Slide 3: RRGRR012, NOGRR195 and NOGRR190
RRGRR021 Dynamic Model Requirement for TSAT
  Tabled at OWG pending additional ERCOT comments
NOGRR195 Generator Voltage Control Tolerance Band
  Item was tabled after discussion pending additional information on unit control capabilities