## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
November 07, 2019
Aster Amahatsion
2019 PGDTF Chair
<number>
Notes: <number>

## Slide 2: PGDTF Meeting
Business meeting was held on October 8th , 2019
Discussed GIC flow for 2019 GIC cases status
    ERCOT released the preliminary transformer Geomagnetically-Induced Current (GIC) flows and the power flow cases on October 18, 2019 on MIS and gave two weeks window for commenting. The commenting period was due November 1, 2019.
    Based on the report, there is no transformer above 75A GIC flow for the GMD Benchmark Event and one transformer above 85A for the Supplemental GMD Event.
Discussed GMD Vulnerability Assessment activities
  Status of GMD Event outages submissions
    64% of TSPs and 25% of REs responded to the ERCOT market notice for providing equipment outage due to GMD harmonics. ERCOT will send email reminder.
  Vulnerability Assessment Study approach for benchmark GMD Event
    ERCOT presented on the benchmark GMD vulnerability assessment approach. This approach will apply the transformer reactive VAR losses, equipment outages due to harmonics and transformer thermal assessment results and will assess the system response.
Next PGDTF meeting: November 15, 2019 at the Met Center (WebEx available)
<number>
11/07/2019 ROS Meeting
Notes: <number>

## Slide 3: Questions
<number>
11/07/2019 ROS Meeting
Notes: <number>