| VCMRR Number | 025 | VCMRR Title | Related to NPRR957, RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements |
| --- | --- | --- | --- |
| Date of Decision |  | October 2, 2019 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Verifiable Cost Manual Sections Requiring Revision |  | Appendix 10: Procedure for Evaluating Costs and Caps for Energy Storage Resources |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Nodal Protocol Revision Request (NPRR) 957, RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements |  |
| Revision Description |  | This Verifiable Cost Manual Revision Request (VCMRR) removes language that defines “Energy Storage Resources” and requires these Resources to register under the Resource Category “Other,” and aligns the Verifiable Cost Manual with Protocol changes proposed by NPRR957. This VCMRR also revises the Mitigated Offer Cap calculation for Energy Storage Resources to comport with Protocols Section 4.4.9.4.1, Mitigated Offer Cap. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This VCMRR maintains consistency between the Verifiable Cost Manual and the Protocols. NPRR957 formalizes the definition of “Energy Storage Resource,” which is different from the one currently described in the Verifiable Cost Manual. Furthermore, NPRR957 requires each Resource Entity representing an Energy Storage Resource to register the device as such, while the Verifiable Cost Manual requires registration of these Resources under the Resource Category, “Other.” Hence, removing the definition from the Verifiable Cost Manual allows future changes to the definition of Energy Storage Resources without having to make changes to the Verifiable Cost Manual. |  |
| WMS Decision |  | On 10/2/19, WMS voted via email to recommend approval of VCMRR025 as submitted. There was one abstention from the Consumer (Nucor) Market Segment. All Market Segments were present for the vote. |  |
| Summary of WMS Discussion |  | On 10/2/19, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Ino González, Magie Shanks |
| E-mail Address | Ino.gonzalez@ercot.com; Magie.Shanks@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3954; 512-248-6472 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | Cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

Proposed Verifiable Cost Manual Language Revision

- Appendix 10: Procedure for Evaluating Costs and Caps for Energy Storage Resources

Description

Energy Storage Resources will receive the generic offer caps as described in this appendix. ERCOT will calculate these caps on a monthly basis.

Standard O&M Costs

For Energy Storage Resources that choose to submit actual verifiable costs, these Resources may elect to utilize the standard costs for O&M as listed in the table below.

| Resource Type | Cold Startup ($/Start) | Intermediate Startup ($/Start) | Hot Startup ($/Start) | Variable O&M ($/MWh) |
| --- | --- | --- | --- | --- |
| Natural gas driven Compressed Air Energy Storage Resource | 5,000 | 5,000 | 5,000 | 3.15 |
| Non-natural gas driven Compressed Air Energy Storage Resource | 5,000 | 5,000 | 5,000 | 3.15 |
| All other Energy Storage Resources | 0 | 0 | 0 | 0 |

Startup Offer Generic Cap for Energy Storage Resources:

Energy Storage Resources will receive the following O&M Costs:

| Resource Type | O&M Costs ($) |
| --- | --- |
| Natural gas driven Compressed Air Energy Storage Resource | 5,000 |
| Non-natural gas driven Compressed Air Energy Storage Resource | 5,000 |
| All other Energy Storage Resources | 0 |

Minimum-Energy Generic Cap for Energy Storage Resources:

The Minimum-Energy Generic Cap for Energy Storage Resources represents a threshold limit. These Resources, however, may submit offers that exceed this limit. For Resources that receive RUC instructions without a Minimum Energy Offer, ERCOT will calculate the Minimum Energy Price per paragraph (3) of Protocol Section 5.7.1.4, Revenue Less Cost During QSE Clawback Intervals, utilizing the data from the formula shown below.

Minimum-Energy Generic Cap = a1 * (Previous month first 15-day DAM average of corresponding WSL Resource Node Settlement Point Price) + b * FIP + c

Where:

For Natural Gas Driven Compressed Air Energy Storage Resources:

a1 = 1.2

b = 6 MMBtu/MWh

c = $15/MWh

For Non-Natural Gas Driven Compressed Air Energy Storage Resources:

a1 = 1.45

b = 0 MMBtu/MWh

c = $35/MWh

For All Other Energy Storage Resources:

a1 = 1.25

b = 0 MMBtu/MWh

c = $35/MWh

Mitigated Offer Cap (MOC) for Energy Storage Resources:

MOC = [a2 * (Previous month first 15-day DAM average of corresponding WSL Resource Node Settlement Point Price) + b * FIP + c] * multiplier

In order to manually implement the Mitigated Offer Cap for Energy Storage Resources, ERCOT will utilize the standard MOC format as follows:

Let O&M = a2 * (Previous month first 15-day DAM average of corresponding WSL Resource Node Settlement Point Price) + c

Let IHR = b

Where:

For Natural Gas Driven Compressed Air Energy Storage Resources:

a2 = 1.5

b = 6 MMBtu/MWh

c = $15/MWh

For Non-Natural Gas Driven Compressed Air Energy Storage Resources:

a2 = 1.75

b = 0 MMBtu/MWh

c = $35/MWh

For All Other Energy Storage Resources:

a2 = 1.75

b = 0 MMBtu/MWh

c = $35/MWh

IHR= 6MMBtu/MWh