## Slide 1
Resource Cost Working Group
Nov 6, 2019
WMS Update
1

## Slide 2: NPRR 964 Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement
<number>
Background
ERCOT filed NPRR964 to remove the term Synchronous Condenser Unit from the Protocols, including the Synchronous Condenser Agreement.
WMS members were concerned that RMR Units would not be able to provide voltage support if converted into a Synchronous Condenser Unit.
Assigned to RCWG for further review.

## Slide 3: NPRR964 on September 23rd RCWG meeting
<number>
RCWG members discussed the following:
  The existing Standard Form RMR Agreement allows ERCOT to contract with a retiring unit found to be necessary for voltage support by contracting for real energy and reactive power.
  However, the current RMR Agreement and Protocol language do not appear to expressly contemplate that ERCOT would contract with a retiring generation unit to provide only reactive power (e.g. current language refers to capacity in MW, not MVAr).
  Converting an existing generator to a Synchronous Condenser may be faster than building transmission.

## Slide 4: NPRR964 on September 23rd RCWG meeting
<number>
RCWG members discussed the following (continue):
  Modify existing RMR Agreement to allow for a Synchronous Condenser only (cutting the shaft of generator):
    Utilize standby payments to pay for conversion of generator to synchronous condenser.
    Include MVAr as parameter to measure the service.
    Define methodology to determine O&M.
    Define methodology to measure performance.
    Next Steps
  Recommend that WMS vote on the Sep 24, 2019 ERCOT comments.
  ERCOT will work with Market Participants to create an NPRR that addresses remaining issues described above (a-d).

## Slide 5
Questions?
<number>