## Slide 1: Congestion Management Working Group
September 9 and 30, and October 29, 2019

## Slide 2: Load Distribution Factor Review
  Calvin Opheim Reviewed the Error Corrections that do and don’t take weather into account.
  Discussion around prioritizing locations, time the forecast is available, and use of State Estimator values.
  ERCOT continues to evaluate optimum use of error correction, and provide daily monitoring of LDFs.
  ERCOT is providing new LDFs to Market Operations team for evaluation.
  Need to develop process to pass new LDFs into the EMS system.
  Need to update the LDF OBD and Protocols.

## Slide 3: Locational Adder - Update
  ERCOT is evaluating how settlement would work for different proposals.
  With changes from system-wide adders to locational adders, there are a lot of settlement implications.
  ERCOT is working on analysis for the proposals and will come back to CMWG when it’s completed.

## Slide 4: DC Tie Issues
ERCOT continues to provide routine updates on DC Tie Curtailments Please refer to the CMWG meeting sites for these updates.

## Slide 5: ETT Outage Updates
Kip Fox provided another update on the ETT outages. The Tesla – Edith Clark line went off line on Monday October 28. They will update the holiday schedule for that outage on their outage website. The current schedule has the line back in service in mid-February, however ETT is hoping (weather permitting) to have it on line sooner.

## Slide 6: CRR Transaction Limits
ERCOT is rethinking some of the issues with limits.
Times of Use are optimized together in one auction for monthly but Long-Term Auction Sequences are run as three optimizations.
ERCOT could use extra LTAS capacity would be to give the CRR operatory to not open a 2nd round, even if total transactions exceed the limit IF the software limitation is not actually exceeded within the TOU.
ERCOT filed NPRR972 to implement this.
DC Energy drafted an SCR to increase the limit to 400,000, there may be some downstream implications.
DC Energy drafted another SCR. It would make the TOU a system change and CRRs would be submitted by TOU in the auction and ERCOT systems would have to change.

## Slide 7: CRR Software Release Update
ERCOT has some post-framework changes with PST optimization piece coming up.
ERCOT anticipates this update will occur in Q12020, at the earliest.

## Slide 8: CRR Transaction Adjustment Period
ERCOT had to have a transaction adjustment period in the CRR Auction where the results were posted on October 31.
This is the first since 2011.
ERCOT explained the parameters of the transaction adjustment period.
It is triggered when the total transactions submitted into an auction plus the number of grouped baseload transactions exceed 300,000.
During a transaction adjustment period, after the close of initial auction bid window, any CRR Account Holder who submitted more total transactions then the calculated transaction adjustment period bid limit has all the submittals removed, they must reduce and resubmit transactions. If you did not exceed the transaction adjustment period no need to resubmit.
Carrie Bivens is here to answer questions.

## Slide 9: Open Action Items Review
Sent update to WMS Chair