## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Julia Harvey
November 6, 2019
From October 21 WMWG Meeting

## Slide 2: NPRR963 Creation of Generation and Controllable Load Resource Group (GCLR Group)
ERCOT presented their comments to the NPRR
NPRR is in a ready state for project implementation
WMWG in general agreement with the NPRR and ERCOT comments
WMS can vote on endorsement

## Slide 3: Review of 2020 Ancillary Service Methodology
ERCOT presented the methodology stating no changes
  Regulation quantities calculated for hourly values
  Responsive Reserve quantities for 2020 will be computed using an updated Resource Contingency Criteria (RCC) of 2805 MW
Question on when ERCOT will use solar forecasts in the NSRS calculations
  When more solar is installed
  General discussion on NSRS methodology with no action items
WMWG is in agreement with these proposals

## Slide 4: Examination of ERCOT telemetry validation rules
ERCOT has developed 5 suggestions for reasonability limits to be used in the validation
ERCOT will seek WMS endorsement

## Slide 5: Selection of load forecast for seven days out up to Real Time
ERCOT presented on their analysis of load forecast models and the forecast selected by Operations
Market concern that smaller reps use the ERCOT forecasts for hedging decisions
  The models A3 and A6 commonly over forecast
  Can cause over hedging
ERCOT presentation shows the selected forecast to be reasonably accurate - A3 and A6 not usually selected
NPRR 975 not specifically reviewed
  ERCOT is preparing comments
  ERCOT stated the requirement for posting explanations is prohibitive
No follow up or action items

## Slide 6: NPRR970, Reliability Unit Commitment (RUC) Fuel Dispute Process Clarification
RUC close to Real Time may leave units without fuel
ERCOT explained the revisions
Not assigned to WMWG yet by WMS
  No comments by WMWG
  May be assigned to other groups as well

## Slide 7: NPRR971, Changing Energy Offer Curve Caps for Make-Whole Calculation Purposes and Replacing the Real-Time Average Incremental Energy Cost
This NPRR simplifies Real-Time settlements by replacing the Average Incremental Energy Cost (AIEC) with cost caps
ERCOT explained the revisions and presented the method for developing the proposed cost caps
WMWG in agreement with the AIEC change however many comments expressed concerning the changes to the cost caps
  The coal cap should not be indexed to gas FIP
  The cap for energy storage should remain at SWCAP
  ERCOT stated WMS can make desk edits to the values
  Participants recommended splitting the NPRR so the AIEC change can move forward

## Slide 8: Other Business
Market participants would like ERCOT to present a price analysis of the August EEA events
  Include PRC
  Values added to GTBD
  Evaluation of the 10 hour ramp on ERS return
Questions on the ERCOT public web page “Today’s Outlook” display
  Many days show Demand exceeding the Capacity
    This could be misleading information to the market
    Often a step change in the Capacity occurs mid-day
  WMWG requests a review of the data used for the display
    Data sources
    Is the COP resource status consistency a contributing factor?

## Slide 9: Next meeting
WMWG meets November 18
Any questions?