## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for October 2019

## Slide 2: Non-IRR GREDP < 85% – October 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 317 | 4 | 36 | 1.19 | 11.11

## Slide 3: IRR Summary – October 2019
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 89.58 | 78.89 | 83.52
GREDP Median (%) | 95.89 | 86.54 | 87.51
Average MW Error | 3.36 | 3.46 | 3.66
Median MW Error | 3.15 | 3.14 | 3.22
Total Intervals Scored | 87,762 | 38,674 | 38,085
100+ Intervals Scored | 98 | 117 | 50
Total Intervals Scored Average | 408.20 | 537.14 | 761.70

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 2,347 | 2,414 | 2.07 | 97.22
Unit 4 | 2,212 | 2,226 | 1.85 | 99.37
Unit 5 | 2,175 | 2,185 | 2.75 | 99.54
Unit 6 | 2,079 | 2,083 | 2.84 | 99.81
Unit 7 | 2,059 | 2,078 | 3.07 | 99.09
Unit 8 | 2,038 | 2,053 | 2.37 | 99.27
Unit 9 | 2,020 | 2,021 | 3.61 | 99.95
Unit 10 | 1,917 | 2,006 | 5.14 | 95.56
Unit 11 | 1,894 | 1,906 | 4.14 | 99.37
Unit 12 | 1,871 | 1,900 | 4.70 | 98.47
Unit 15 | 1,662 | 1,684 | 3.71 | 98.69
Unit 16 | 1,618 | 1,621 | 4.34 | 99.81
Unit 18 | 1,529 | 1,533 | 3.78 | 99.74
Unit 19 | 1,393 | 1,446 | 1.76 | 96.33
Unit 26 | 1,112 | 1,163 | 5.41 | 95.61
Unit 27 | 1,016 | 1,023 | 1.28 | 99.32
Unit 28 | 975 | 981 | 6.42 | 99.39

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 29 | 966 | 966 | 3.29 | 100.00
Unit 31 | 948 | 955 | 4.29 | 99.27
Unit 34 | 903 | 916 | 2.03 | 98.58
Unit 35 | 886 | 912 | 5.77 | 97.15
Unit 36 | 883 | 885 | 4.34 | 99.77
Unit 38 | 824 | 852 | 6.06 | 96.71
Unit 40 | 810 | 840 | 1.70 | 96.43
Unit 41 | 831 | 832 | 1.14 | 99.88
Unit 42 | 813 | 831 | 3.08 | 97.83
Unit 43 | 807 | 819 | 3.88 | 98.53
Unit 44 | 783 | 817 | 3.94 | 95.84
Unit 45 | 793 | 814 | 3.19 | 97.42
Unit 46 | 779 | 812 | 3.41 | 95.94
Unit 53 | 673 | 697 | 3.79 | 96.56
Unit 56 | 635 | 644 | 4.05 | 98.60
Unit 58 | 627 | 634 | 1.78 | 98.90
Unit 62 | 584 | 584 | 0.60 | 100.00

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 63 | 528 | 531 | 3.15 | 99.44
Unit 67 | 427 | 427 | 0.00 | 100.00
Unit 71 | 379 | 396 | 2.15 | 95.71
Unit 74 | 333 | 349 | 3.60 | 95.42
Unit 75 | 344 | 347 | 3.20 | 99.14
Unit 79 | 299 | 310 | 3.51 | 96.45
Unit 80 | 300 | 309 | 3.04 | 97.09
Unit 81 | 293 | 305 | 1.86 | 96.07
Unit 82 | 301 | 304 | 1.46 | 99.01
Unit 83 | 283 | 296 | 3.10 | 95.61
Unit 85 | 254 | 259 | 2.46 | 98.07
Unit 86 | 251 | 257 | 2.68 | 97.67
Unit 90 | 189 | 192 | 2.52 | 98.44
Unit 94 | 146 | 146 | 2.64 | 100.00

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,025 | 3,401 | 4.05 | 88.94
Unit 2 | 2,669 | 2,835 | 5.28 | 94.14
Unit 13 | 1,542 | 1,725 | 2.98 | 89.39
Unit 14 | 1,534 | 1,688 | 2.43 | 90.88
Unit 17 | 1,215 | 1,584 | 6.05 | 76.70
Unit 20 | 1,173 | 1,321 | 4.01 | 88.80
Unit 21 | 1,129 | 1,290 | 3.57 | 87.52
Unit 22 | 1,075 | 1,256 | 5.77 | 85.59
Unit 23 | 1,090 | 1,255 | 3.91 | 86.85
Unit 24 | 1,052 | 1,228 | 7.78 | 85.66
Unit 25 | 1,075 | 1,192 | 5.71 | 90.18
Unit 30 | 878 | 959 | 1.26 | 91.55
Unit 32 | 790 | 926 | 2.97 | 85.31
Unit 33 | 712 | 925 | 5.33 | 76.97
Unit 37 | 577 | 858 | 2.04 | 67.25
Unit 39 | 752 | 843 | 3.78 | 89.21
Unit 47 | 676 | 784 | 5.07 | 86.22

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 48 | 677 | 776 | 1.21 | 87.24
Unit 49 | 672 | 749 | 3.96 | 89.72
Unit 50 | 695 | 747 | 2.71 | 93.04
Unit 51 | 674 | 747 | 2.53 | 90.23
Unit 52 | 692 | 740 | 3.09 | 93.51
Unit 54 | 619 | 670 | 4.81 | 92.39
Unit 55 | 566 | 670 | 6.30 | 84.48
Unit 57 | 602 | 643 | 3.95 | 93.62
Unit 59 | 538 | 619 | 4.28 | 86.91
Unit 60 | 507 | 610 | 2.25 | 83.11
Unit 61 | 533 | 610 | 2.53 | 87.38
Unit 64 | 489 | 520 | 3.95 | 94.04
Unit 65 | 483 | 510 | 4.42 | 94.71
Unit 66 | 309 | 488 | 8.32 | 63.32
Unit 68 | 393 | 426 | 1.78 | 92.25
Unit 69 | 335 | 415 | 2.19 | 80.72
Unit 70 | 326 | 396 | 1.29 | 82.32

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 72 | 341 | 387 | 3.30 | 88.11
Unit 73 | 327 | 365 | 3.15 | 89.59
Unit 76 | 308 | 342 | 3.13 | 90.06
Unit 77 | 225 | 327 | 3.95 | 68.80
Unit 78 | 294 | 327 | 3.31 | 89.91
Unit 84 | 267 | 284 | 3.03 | 94.01
Unit 87 | 189 | 233 | 1.53 | 81.12
Unit 88 | 182 | 208 | 1.88 | 87.50
Unit 89 | 182 | 208 | 1.75 | 87.50
Unit 91 | 154 | 184 | 3.10 | 83.70
Unit 92 | 167 | 179 | 2.43 | 93.30
Unit 93 | 118 | 163 | 9.63 | 72.39
Unit 95 | 124 | 138 | 2.59 | 89.86
Unit 96 | 79 | 117 | 4.16 | 67.52
Unit 97 | 26 | 109 | 2.35 | 23.85
Unit 98 | 20 | 108 | 2.27 | 18.52