## Slide 1
ERCOT Frequency Control Report
October 2019
ERCOT
Operations Planning
PDCWG | November 14th, 2019

## Slide 2: Summary of October 2019
CPS1: 176.37%
Current CPS1 12-Month Rolling Average: 174.51%
0 BAAL Exceedance
0 hourly CPS1 score below 100%
BAAL-003 Events have updated through 2018
2018 BAAL-003 FRM Performance: -843.17
2019 RMS1 Statistics
  Mean: 14.57 mHz
  Min: 12.00 mHz
  Max: 15.94 mHz
Energy Statistics
  Total Energy: 30,644,755 MWh
  Wind Energy: 6,861,270 MWh
  Percent Energy from Wind: 22.39%
  Solar Energy: 332,354
  Percent Energy from Solar: 1.08%
Minimum System Inertia
  Mean: 199,564
  Max: 285,307 on Oct 4th
  Min: 160,679 on Oct 24th

## Slide 3: Frequency Control
CPS1, BAAL, & RMS1

## Slide 4: Hourly CPS1 by Day
Oct-19 CPS1 (%): 176.37

## Slide 5: BAAL Exceedances & Violations
There was 0 BAAL exceedances in Oct

## Slide 6: 15-Minute Average CPS1%
Oct-19 CPS1 (%): 176.37

## Slide 7: 12-Month Rolling Average CPS1
Current 12-Month Rolling Average: 174.51%

## Slide 8: Daily RMS1 of ERCOT Frequency by Year
Notes: Mean is 15.19 mHz

## Slide 9: Daily RMS1 of ERCOT Frequency by Month

## Slide 10: Daily RMS1 of ERCOT Frequency by Month
Notes: Mean: 14.57 mHz
Min: 12.00 mHz
Max: 15.94 mHz

## Slide 11: Frequency Profile Comparison

## Slide 12: Frequency Profile Comparison

## Slide 13: Frequency Profile Comparison

## Slide 14: Time Error Correction

## Slide 15: ERCOT Daily Time Error

## Slide 16: Time Error Corrections Log Summary
There have been no time error corrections since December 2016

## Slide 17: BAL-003 Performance

## Slide 18: Op. Year 2018 BAL-003 Selected Events – Update
Notes: BAL-003

## Slide 19: Op. Year 2018 BAL-003 FRM Performance - Update

## Slide 20: ERCOT Energy Statistics

## Slide 21: Total Energy
Notes: 30,644,755 MWh

## Slide 22: Total Energy from Wind Generation
Notes: 6,861,270 MWh

## Slide 23: % Energy from Wind Generation
Notes: 22.639%

## Slide 24: Total Energy From Solar Generation
Notes: 332,354 MWh

## Slide 25: % Energy from Solar Generation
Notes: 1.08%

## Slide 26: ERCOT System Inertia

## Slide 27: Daily Minimum System Inertia
Notes: Minimum Inertia = 128,759 MW*s on 11/3/2018.
Previous Minimum was 130,014 MW*s on 10/27/2017. This was also our record wind day.
Data:
Mean: 199,564
Max: 285,307 on Oct 4th
Min: 160,679 on Oct 28th

## Slide 28: Questions?
Thank you!