## Slide 1
AS Trades in RTC
Carrie Bivens
November 19, 2019

## Slide 2: RECAP: Issue with the self-provision cap
AS trade quantities for Load Resources providing RRS or ECRS will be used to determine the self-provision cap per QSE.
  Self-provision cap:
      1 Self-Arranged AS is limited by AS obligation and any constraints on sub-types.
      2 DAM AS Awards are also constrained by the sub-type constraints.
This process might result in a case where one QSE’s excess trade volume results in pro-rations for all QSEs in RTC.
  Only applies to AS types with self-provision caps.
  This proration would lead to an AS imbalance for the QSEs, equal to the prorated amount.
Self-Arranged AS1
DAM AS Awards2
AS Trades as Seller
Against
AS Trades as Buyer

## Slide 3: Options
Previously-presented ERCOT proposal (notify the QSE that overbought, give time to fix, if don’t fix then cancel trade) with the addition that all trades in the daisy chain would be affected.
Modified ERCOT proposal that would essentially charge the QSE that overbought, and pay the QSE(s) that had to reduce their RT provision, the DAM MCPC for the overbought MWs (see appendix).
Original design (prorate in RT when necessary) plus create a behavioral rule that no QSE should have net trade MW greater than their DAM self-arrangement. Notify any QSEs individually that they are over as of 1430 day-ahead, as well as publish in a report.
Option 3 but don’t pro-rate in RT. Monitor after RTC implementation and if ERCOT is concerned about continual overprovision in RT, implement one of the other options at that time. This option is subject to feasibility of constraint formulation, under review.

## Slide 4: Appendix

## Slide 5: Option 2 Approach
1. Deadline for NCLR AS Trades will be 1430 in the day-ahead.
2. Run a process on all confirmed trades to determine the net buy amount for each QSE.
a. Compare net buy MWs with DAM self-arrangement MWs.
3. If a QSE net trade > self-arrangement, then allocate that overage amount proportionally to each selling counterparty with that QSE.
a. This serves to remove the “overbought” quantity for this purpose only. No trade will actually be modified or rejected by ERCOT.
4. Check net buy amounts again using the reduced amounts output from step 3, and reduce that counterparty’s sales proportionally as well.
5. Continue iterating until the reductions are finally allocated to the QSE that will be providing the physical AS (e.g., the end of the chain).
6. Output this amount (the reduced MWs) to the QSEs.
a. This becomes the input to the real-time self-provision cap that is calculated by ERCOT.
b. This also will be used in the RT AS imbalance calculation, RUC short, etc..
8. Each QSE that with an overage is charged the overage amount MW x DAM MCPC.
9. Each QSE that is proportionally reduced is paid the reduction MW x DAM MCPC.

## Slide 6: Option 2 Example
Assume RRS limit from NCLR = 60%. QSE A has an AS Obligation of 50 MW, therefore self-arranged NCLR is limited to 30 MW.
QSE A self-arranges 30 MW of NCLR.
QSE A trades/buys 40 MW from QSE B.
QSE B trades/buys 20 MW from QSE C and another 20 MW from QSE D. QSEs C & D have load resources and intend to provide the 20 MW each in RT to cover the trade.
At 1430 day-ahead, ERCOT runs the process.
In step 1, QSE A is identified to have over-bought 10 MWs.
  QSE B net sale amount is reduced to 30 MWs.
  QSE A pays 10 MW * DA MCPC and QSE B receives 10 MW * DA MCPC.
In step 2, QSE B is now 10 MW over.
  QSE C and QSE D net sale amount is reduced to 15 MWs each, from 20 MWs each.
  QSE B pays 10 MW * DA MCPC, QSE C receives 5 MW * DA MCPC, QSE D receives 5 MW * DA MCPC.
QSE C and D self-provision caps will now be 15 MW each.
They were compensated for the missing 5 MWs.
The QSE in the middle, QSE B, is net zero dollars.
QSE A has to pay due to the overage.
The system-wide cap is not violated going into real-time, nor will any QSE be short RT Imbalance or in any RUC due to this process.