| Key Topic Concept (KTC) Number | 1 | KTC Title | Enegry Storage Resource (ESR) Registration |
| --- | --- | --- | --- |
| Date Posted |  | November 6, 2019 |  |
| Executive Summary |  | This KTC recommends that an inverter-based ESR should be registered as an Energy Storage Resource rather than a Generation Resource and a Controllable Load Resoruce. Additionally, ERCOT proposes a restriction on ESRs from registering as a Split Generation Resource. |  |
| Recommendation Description |  | Registering and developing RIOO/RARF forms will allow Resource Entities representing ESRs to provide pertinent operational information to ERCOT. Until the 2024 EMS upgrade and RTC go-live, ERCOT’s downstream systems will continue the combination modeling approach. |  |
| BESTF Discussion |  | On 11/04/19, ERCOT staff presented this proposal to register energy storage resouces as Energy Storage Resources rather than a Generation Resoruce and a Controllable Load Resource. |  |
| TAC Action Requested |  | None. |  |
| TAC Action Summary |  |  |  |

Proposed KTC Recommendation Language

# Key Topic/Concept recommendation Language for TAC Approval

None

# Key Topic/Concept recommendation Language Previously approved by tac

None

# Key Topic/Concept recommendation Language IN DISCUSSION AT BESTF

- ERCOT proposes that a Resource Entity shall register an inverter-based Energy Storage System that desires to participate in SCED and Ancillary Services markets as an Energy Storage Resource

- Similar to Combined Cycle Resources, ERCOT proposes that an ESR may not be registered in ERCOT as a Split Generation Resource

# Future Decision Points and Issues for Developing Key topic/Concept recommendation Language

None.

| Applicable Protocol Section(s) |  |
| --- | --- |
| Impacted System(s) / Application(s) |  |