## Slide 1
Energy Storage Resource Charging During Emergency Conditions
Under BESTF Key Topic/Concept 3
Paul Wattles
ERCOT Staff
BESTFORCE
Nov. 4, 2019

## Slide 2: Background: PUC Subst. R. 25.501 (m)
(m) Energy Storage.
For a storage facility that has more than one delivery point, ERCOT shall net the impact of those delivery points on the ERCOT system for settlement purposes.
Wholesale storage occurs when electricity is used to charge a storage facility; the storage facility is separately metered from all other facilities including auxiliary facilities; and energy from the electricity is stored in the storage facility and subsequently re-generated and sold at wholesale as energy or ancillary services. Wholesale storage is wholesale load and ERCOT shall settle it accordingly, except that ERCOT shall settle wholesale storage using the nodal energy price at the electrical bus that connects the storage facility to the transmission system, or if the storage facility is connected at distribution voltage, the nodal price of the nearest electrical bus that connects to the transmission system. Wholesale storage is not subject to retail tariffs, rates, and charges or fees assessed in conjunction with the retail purchase of electricity. Wholesale storage shall not be subject to ERCOT charges and credits associated with ancillary service obligations, or other load ratio share or per megawatt-hour based charges and allocations. The owner or operator of electric storage equipment or facilities shall not make purchases of electricity for storage during a system emergency declared by ERCOT unless ERCOT directs that such purchases occur.

## Slide 3: ERCOT’s proposal: system-wide capacity insufficiency
ERCOT recommends adding language to Energy Emergency Alert (EEA) Level 1 procedures:
  ERCOT may instruct QSEs representing Energy Storage Resources (ESRs) to suspend charging until the EEA has been recalled or until released by ERCOT.
(Note: Market prices should be a strong incentive for ESRs to stop charging during an EEA)

## Slide 4: ERCOT’s proposal: local emergencies
In this scenario, ERCOT declares a transmission emergency related to a local constraint, and one or more ESRs are at a location where a Load reduction could help mitigate the constraint
  (Again, nodal market prices should provide a strong incentive to the ESR to stop charging)
ERCOT proposes adding the following provision to its procedures for transmission emergencies:
  ERCOT may issue Resource-specific instructions to QSEs representing ESRs to suspend charging until ERCOT issues a notification that the emergency condition has been resolved
  This could be a QSE hotline call if there are multiple ESRs represented by multiple QSEs in the constrained area

## Slide 5
Questions?