## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
12/05/2019

## Slide 2: NOGRR183 and NPRR955 Remedial Action Scheme (RAS) Submittal and Review Requirements, and Limited RAS Definition
NOGRR183 - This Nodal Operating Guide Revision Request (NOGRR) aligns the Nodal Operating Guides with North American Electric Reliability Corporation (NERC) Reliability Standard PRC-012-2 - Remedial Action Schemes.
  OWG supports final comments submitted by ERCOT.
NPRR955 – Limited RAS definition
  OWG supports final comments submitted by ERCOT.

## Slide 3: NPRR973 and NOGRR196
NPRR973 Add Definition for Generator Step-Up and Main Power Transformers.
  OWG supports final comments submitted by ERCOT.
NOGRR196, Related to NPRR973, Add Definitions Generator Step-Up and Main Power Transformer
  OWG supports final comments submitted by ERCOT.

## Slide 4: RRGRR012, NOGRR195 and NOGRR190
RRGRR021 Dynamic Model Requirement for TSAT
  Tabled at OWG pending additional ERCOT comments
NOGRR195 Generator Voltage Control Tolerance Band
  Tabled at OWG
  Reach a consensus on timelines of 15 minutes and 30 minutes for notification of not being able to comply with request
  OWG participants wanted to review tolerance band internally and discuss at next OWG.