## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Julia Harvey
December 4, 2019
From November 18 WMWG Meeting

## Slide 2: Examination of ERCOT telemetry validation rules
Draft SCR, Changes to external Telemetry validations in Resource Limit Calculator presented
ERCOT will submit after additional internal review

## Slide 3: Review of load forecast from March 2019 Day Ahead
Forecast models selected and error were reviewed for the purpose of giving input to the author of NPRR975
Discussion on whether ERCOT can provide an explanation to the market when it selects an outlier forecast, or whether certain forecasts should be removed from consideration.
Author will submit comments

## Slide 4: Action Item Update
Review NPRR850 and the restart mechanics and pricing impacts
  Open
Constraint Definitions
  ERCOT contingency builder at CMWG
Review concept of establishing a minimum threshold to post Total Wholesale Storage Load (WSL), utilization of Real-Time telemetry, and Resource disclosures
  Open
Deep Dive of potential issues in the Low System-Wide Offer Cap (LCAP) Methodology if cumulative Peaker Net Margin (PNM) exceeds $315,000/Megawatts (MW) year and there are insufficient Ancillary Service offers in the Day-Ahead Market (DAM)
  Open

## Slide 5: Action Item Update
TAC Assignment: Review the commercial impacts of DC Tie Curtailments
  Moved to CMWG
Market Issues related to compensation for Reliability Unit Commitment (RUC) Switchable Generation Resources
  Summer issues list
Review price formation impacts from ERCOT out-of-market actions related to DC Ties, including the Operating Reserve Demand Curve (ORDC) price adders and the impacts on Locational Marginal Prices (LMPs) from the Real-Time On-Line Reliability Deployment Price Adder
  NPRR904 and CMWG
Review the mitigation issues and cost impacts and provide a recommendation
  Discussing with IMM
  To be on December agenda

## Slide 6: Action Item Update
TAC Assignment: Review of Protocols in relation to use of “Emergency Condition”
  Will be on December agenda
Look at actual loss factors compared to calculated losses in modeling
  Open
Evaluate moving the deadline for revising energy offer curves closer to Real-Time operations
  Waiting on ERCOT draft language
Review market impacts from Tech Refresh project
  PRS Project updates
External Telemetry & Price Corrections issues related to May 30, 2019 Event
  SCR to be submitted

## Slide 7: Next meeting
WMWG meets December 16 – joint meeting with CMWG
Any questions?