| NOGRR Number | 200 | NOGRR Title | Delete Remaining Grey-Boxed Language Associated with NOGRR025, Monitoring Programs for QSEs, TSPs, and ERCOT |
| --- | --- | --- | --- |
| Date of Decision |  | December 5, 2019 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Operating Guide Sections Requiring Revision |  | 9.1.1, Testing (delete) 9.1.2, Reactive Testing for Generation Resources (delete) 9.1.3, Real-Time Data 9.1.5, Resource Facilities Network Operations Model Update Implementation Monitor (delete) 9.1.7, Backup Control for Resource Energy Deployment (delete) 9.1.8, Qualified Staffing Requirement (delete) 9.1.9, Automatic Voltage Regulator (AVR) (delete) 9.1.10, Current Operating Plan Metrics for QSEs 9.2.2, Real-Time Data Monitor 9.2.4, Transmission Service Provider (TSP) Network Operations Model Update Implementation Monitor (delete) 9.2.5, Backup Control for TSPs (delete) 9.3.1, Transmission Control 9.3.2, System and Resource Control 9.3.3, Forecasting (delete) 9.3.4, System Operating Constraints (delete) 9.3.5, Network Operations Model Update Implementation Statistics (delete) 9.3.7, ERCOT Black Start Plan (delete) 9.3.8, Computer and Communication Systems Real-Time Availability and Systems Security 9.3.9, Voltage and Reactive Control Performance Monitoring (delete) 9.4.2, Annual Black Start Plan Receipt Confirmation Report (delete) 9.4.4, Constant Frequency Control (delete) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | NPRR983, Delete Remaining Grey-Boxed Language Associated with NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) deletes all remaining grey-boxed language associated with NOGRR025. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Removal of duplicative or otherwise unnecessary requirements. (please select all that apply) |  |
| Business Case |  | Background NOGRR025 was posted on February 6, 2009. The intent of NOGRR025 was to incorporate metrics to be monitored and reported on for Qualified Scheduling Entities (QSEs), Resources, Transmission Service Providers (TSPs), and ERCOT by ERCOT. Over several months, NOGRR025 was discussed at numerous subcommittee and working group meetings and workshops, and received input from numerous Market Participants as well as staff from both the Public Utility Commission of Texas (PUCT) and Reliability Monitor. Following these discussions and several recommended revisions, on June 30, 2009, ROS recommended approval of NOGRR025. As recommended by ROS, NOGRR025 called for creation of a total of 54 reports. As the Texas Nodal Market Implementation Date (TNMID) approached, it became apparent that full implementation of NOGRR025 would be a significant risk to the Nodal Program schedule. Accordingly, on July 30, 2009, ERCOT posted a Revised Impact Analysis and Revised ERCOT CEO Revision Request Review that recommended that certain key reports be implemented prior to the TNMID, and the remaining non-critical reports be delayed until after the TNMID. The ERCOT Board approved NOGRR025 on September 15, 2009. During discussions, PUCT and Reliability Monitor Staff provided feedback on which items were critical to have in place prior to the TNMID. ERCOT also agreed to produce certain reports for PUCT, Reliability Monitor or Independent Market Monitor (IMM) Staff on an as-needed basis rather than regularly until the regular reports were implemented, and committed to having the data available for any report needed should emergency analysis be directed. On December 1, 2010, the TNMID, language relating to approximately 16 reports went into effect, and the remaining NOGRR025 language, relating to approximately 38 reports, was grey-boxed. Shortly before the TNMID, the ERCOT Board also approved Nodal Protocol Revision Request (NPRR) 257, which moved several portions of Protocol Section 8, Performance Monitoring, to grey-boxes, consistent with NOGRR025. While no full Impact Analyses have been completed regarding the remaining NOGRR025 and NPRR257 grey-boxed items, based on prior analysis and discussions with ERCOT Portfolio Management Staff, implementation cost would likely be significant. Recommendation Nearly nine years after the TNMID, most of the grey-boxed portions of the Nodal Operating Guide associated with NOGRR025 remain grey-boxed. Between NOGRR025 and NPRR257, language relating to approximately 50 reports remain grey-boxed (some of these reports are tied to both Nodal Operating Guide and Protocol language). Despite the language for these reports continuing to be grey-boxed, ERCOT thoroughly monitors and reports on grid and market activities. In addition to the numerous reports already required by the Protocols and Nodal Operating Guide, ERCOT also produces regular quarterly reports for PUCT and Reliability Monitor staff, several quarterly or annual reports required pursuant to PUCT Substantive Rules, and regular monthly or quarterly reports for the ERCOT Board, Human Resources and Governance (HR&G) Committee, ROS, RMS, and the Performance Disturbance Compliance Working Group (PDCWG). Several developments since the TNMID mitigate the need for the remaining grey-boxed reports. Most importantly, the ERCOT System and markets have operated reliably; the risks that underlie the reports that remain grey-boxed have not materially impacted the reliability of grid or market operations. Also, in the case of many of the grey-boxed reports, there are existing reports that already sufficiently cover the subject in question. In addition, numerous control room, systems, and process improvements that mitigate or eliminate risks that were perceived prior to the TNMID have been added or enhanced, such as new monitoring tools, testing requirements, or reports outside of those required by NOGRR025 or NPRR257; North American Electric Reliability Corporation (NERC) Reliability Standards have been expanded and refined, and roles and expectations have become well-defined; and multiple forums exist for discussion of information and data disclosure and compliance-related issues, including monitoring and reporting. ERCOT analyzed each remaining grey-boxed provision relating to NOGRR025 or NPRR257, and whether there would be material value added to produce the related report. For each provision, ERCOT concluded the report would not add material value for one or often more of the reasons noted above. ERCOT reviewed its analysis and conclusion with PUCT and Reliability Monitor Staff, who expressed support for ERCOT’s conclusion. In addition, in accordance with direction from the PUCT, ERCOT and other interested parties have begun to develop the necessary policy principles to implement a Real-Time Co-Optimization (RTC) design in the ERCOT market that aligns with PUCT Project No. 48540, Review of Real-Time Co-Optimization in the ERCOT Market. As part of these efforts, ERCOT intends to analyze and develop appropriate reporting for the redesigned Real-Time Market (RTM). ERCOT also believes it would be more beneficial to remove the remaining NOGRR025 and NPRR257 grey-boxes and reports to allow focus on developing the reporting program necessary for RTC, rather than to commit resources to implementing the remaining NOGRR025 and NPRR257 reports, which would not add material value, could become obsolete in part following implementation of RTC, and without which the system and market have been operating reliably for nearly ten years. Given these considerations, ERCOT recommends that the remaining grey-boxed language relating to NOGRR025 and NPRR257 be deleted. |  |
| ROS Decision |  | On 12/5/19, ROS voted unanimously to table NOGRR200. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 12/5/19, participants requested information regarding how currently available reports correspond to grey-boxed reports proposed for removal. |  |

| Sponsor |  |
| --- | --- |
| Name | Jonathan Levine; Matt Mereness; Colleen Frosch |
| E-mail Address | Jonathan.Levine@ercot.com; Matt.Mereness@ercot.com; Colleen.Frosch@ercot.com |
| Company | ERCOT |
| Phone Number | 512-225-7017; 512-248-3089; 512-248-4219 |
| Cell Number |  |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-636-1852 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

Please note that the following NOGRR(s) also propose revisions to the following section(s):

- NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

  - Section 9.1.3

  - Section 9.2.2

  - Section 9.3.1

Proposed Guide Language Revision

9.1.1	[RESERVED]

9.1.2	[RESERVED]

[Placeholder]

9.1.3	Real-Time Data

(1)	ERCOT shall produce reports describing Real-Time data performance of QSEs in the following areas.  ERCOT shall post the summary report on the MIS Secure Area.

(a)	Telemetry performance:

(i)	ERCOT shall produce quarterly reports describing telemetry performance as defined in the Protocols and the Telemetry Standards.

9.1.5	[RESERVED]

[Placeholder]

9.1.7	[RESERVED]

[Placeholder]

9.1.8	[RESERVED]

[Placeholder]

9.1.9	[RESERVED]

[Placeholder]

9.1.10	Current Operating Plan Metrics for QSEs

(1)	ERCOT shall report in the Day-Ahead when the reserved capacity of a QSE’s Resources in the Operating Day Current Operating Plan (COP) at 1430 is not sufficient to supply Ancillary Service requirements for the upcoming Operating Day.  ERCOT shall provide a monthly summary of the total days failed and total hours analyzed when the Resource’s reserves are insufficient for any hours during an Operating Day pursuant to paragraph (2) of Protocol Section 8.1.2, Current Operating Plan (COP) Performance Requirements, and not excused due to exemptions contained in the Protocols.

9.2.2	Real-Time Data Monitor

(1)	ERCOT shall produce reports describing Real-Time data performance of Transmission Service Providers (TSPs) in the following areas.  ERCOT shall post the summary report on the Market Information System (MIS) Secure Area.

(a)	Telemetry performance:

(i)	ERCOT shall produce quarterly reports describing telemetry performance as defined in the Protocols and the Telemetry Standards.

[NOGRR177: Replace Section 9.2.2 above with the following upon system implementation of NPRR857:] 9.2.2 Real-Time Data Monitor (1) ERCOT shall produce reports describing Real-Time data performance of Transmission Service Providers (TSPs) and Direct Current Tie Operators (DCTOs) in the following areas. ERCOT shall post the summary report on the Market Information System (MIS) Secure Area. (a) Telemetry performance: (i) ERCOT shall produce quarterly reports describing telemetry performance as defined in the Protocols and the Telemetry Standards.

9.2.4	[RESERVED]

9.2.5	 [RESERVED]

[Placeholder]

9.3.1	Transmission Control

(1)	ERCOT shall report State Estimator (SE) performance in accordance with the Protocols and the Technical Advisory Committee (TAC)-approved State Estimator Standards and post such report on the Market Information System (MIS) Secure Area.

(a)	ERCOT shall produce monthly reports describing SE convergence and valid SE solution rates as described in Protocol Section 3.10.9.2, Telemetry and State Estimator Performance Monitoring.

(b)	ERCOT shall produce monthly reports describing the MW differences between SE results and power flow results for identified congested Transmission Elements as approved by TAC.

(c)	ERCOT shall produce monthly reports describing the MW differences between the SE results and telemetry for identified congested Transmission Elements as approved by TAC.

(d)	ERCOT shall produce monthly reports describing the voltage differences between the SE results and telemetry for the most important voltage busses identified in accordance with the State Estimator Standards.

(e)	ERCOT shall produce monthly reports describing the MW differences as defined in the State Estimator Standards.

(f)	ERCOT shall produce monthly reports identifying the sum of MW flows around telemetered SE Busses as described in paragraph (5) of Protocol Section 3.10.7.5.2, Continuous Telemetry of the Real-Time Measurements of Bus Load, Voltages, Tap Position, and Flows.

:

9.3.2	System and Resource Control

(1)	The following reports shall be posted on the MIS Secure Area:

(a)	Resource control metrics:

(i)	Total Regulation Up Service (Reg-Up) and Regulation Down Service (Reg-Down) per interval - ERCOT shall develop a monthly report detailing the total amount of Reg-Up energy deployed in the Settlement Interval and by hour and the total amount of Reg-Down energy deployed for each Settlement Interval and by hour of the Operating Day.

(b)	Reliability Unit Commitments (RUCs) and deployments:

(i)	For each month, ERCOT shall report, Generation Resources committed in each RUC process, the reason for the commitment, Resource name and intervals deployed, and the hours committed for Voltage Support Service (VSS).

(c)	Reversal of Base Point instructions to Generation Resources from interval to interval:

(i)	ERCOT shall record and report, on a monthly basis, instances of Dispatch Instructions to Resources not providing Regulation Service in which there is a directional change in Base Point instructions for four consecutive Security-Constrained Economic Dispatch (SCED) intervals for validation and review.

9.3.3	[RESERVED]

[Placeholder]

9.3.4	[RESERVED]

[Placeholder]

9.3.5	[RESERVED]

[Placeholder]

9.3.7	[RESERVED]

[Placeholder]

9.3.8	Computer and Communication Systems Real-Time Availability and Systems Security

(1)	ERCOT shall report each month the number of times a SCED run was requested but failed to provide a valid result in less time than normal SCED interval.

9.3.9	[RESERVED]

[Placeholder]

9.4.2	[RESERVED]

9.4.4	[RESERVED]

[Placeholder]