## Summary
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, WINTER PEAK SEASON
SOLARPEAKPCT Values *
Winter Peak Ave. Solar Capacity Percentages |  | Winter
Winter Season |  | 12.05%
Year | Annual
2018/2019 | 9.185%
2017/2018 | 9.861%
2016/2017 | 17.1% | * The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03_030116_Nodal.doc
2015/2016 | 7.557%
2014/2015 | 4.637%
2013/2014 | 2.83%
2012/2013 | 8.902%

## Graphs
HISTORICAL SOLAR CAPACITY CONTRIBUTION - WINTER PEAK SEASON
Capacity Factors | High | Low | Average
Winter 2012/2013-2017/2018 | 88.1% | 0% | 8.251%
Winter 2012/2013 | 88.1% | 0% | 8.902%
Winter 2013/2014 | 29.2% | 0% | 2.83%
Winter 2014/2015 | 40.1% | 0% | 4.637%
Winter 2015/2016 | 49.9% | 0% | 7.557%
Winter 2016/2017 | 70.2% | 0% | 17.1%
Winter 2017/2018 | 88.1% | 0% | 8.481%
Winter 2018/2019 | 35.34% | 0% | 9.185%

## W2017-2018
HOUR | 2018-12-10 HE8 | 2018-1-2 HE18 | 2019-1-2 HE19 | 2019-1-2 HE20 | 2019-1-23 HE8 | 2019-1-24 HE7 | 2019-1-24 HE8 | 2019-1-24 HE9 | 2019-1-29 HE8 | 2019-2-8 HE7 | 2019-2-8 HE8 | 2019-2-8 HE9 | 2019-2-8 HE10 | 2019-2-8 HE11 | 2019-2-8 HE12 | 2019-2-8 HE13 | 2019-2-8 HE18 | 2019-2-8 HE19 | 2019-2-8 HE20 | 2019-2-8 HE21
ERCOT LOAD (MW) | 51934 | 52743 | 53300 | 52327 | 51825 | 53667 | 54694 | 51883 | 51793 | 51650 | 53731 | 53581 | 53724 | 53044 | 52413 | 51611 | 52476 | 53645 | 53315 | 52495
TOTAL HSL (MW) | 5.0823 | 5.3427 | 0 | 0 | 0.8391 | 0 | 2.3593 | 300.2816 | 3.1147 | 0 | 2.598 | 147.6507 | 496.2319 | 411.7895 | 427.7208 | 494.2336 | 258.794 | 23.0063 | 0 | 0
TOTAL CAPACITY (MW) | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404 | 1404
CAPACITY FACTOR | 0.362% | 0.3805% | 0% | 0% | 0.05977% | 0% | 0.168% | 21.39% | 0.2218% | 0% | 0.185% | 10.52% | 35.34% | 29.33% | 30.46% | 35.2% | 18.43% | 1.639% | 0% | 0%
CAPACITY FACTOR AVG | 9.185%
SEASON | WINTER 2018/2019
FUEL | SOLAR