## Slide 1
DGR Workshop II PGRR Review
Clayton Stice
Megan Miller
Dec 11, 2019

## Slide 2: Key DGR Items to be addressed in the PGRR
Implement a new Interconnection process
DGRs will need to be registered and tracked
  Register using the RARF/RIOO process(future)
  Will have a tracking number assigned
  Timeline defined so that ERCOT has adequate time to add to the model.
DGRs will need to provide attestation of DSP interconnection studies and any limitations identified (i.e. ramp rate, etc.)
  ERCOT reserves right to request copies of studies
  Does NOT require Planning Guide Section 5 studies (e.g. FIS Studies, Screening Studies, QSA)

## Slide 3: PGRR New Section
Interconnection or Change Request Process for Distribution Generation Resources (DGRs)
1 Interconnection or Change Request Application for DGRs
2 Distribution Generation Interconnection or Change Request Submission Requirements
3 Modifications
4 Study Processes and Procedures
4.1 DSP Analysis
5 Provisions for Municipally Owned Utilities and Cooperatives
6 Interconnection Data, Fees, and Timetables
7 Inactive Status
8 Cancellation of a Project

## Slide 4: Additional Items Identified
ERCOT may choose to perform additional studies if threshold triggered for “clusters”
  Thresholds TBD
  Would insert in section 4 language to define, if needed
SSWG Procedure Manual, DWG Procedure Manual, etc. may need to be updated to include DGR in Planning models
Follow-up PGRR for SODG
  Register using the RARF/RIOO process
  Will have a tracking number assigned
  Timeline defined
Follow-up PGRR for SOTG and TGR<10 MW
  Register using the RARF/RIOO process
  Will have a tracking number assigned
  Reevaluate adequacy of 10 MW threshold
  Timeline defined
Concerns if 75 MVA of SODG/DGR/UDG at a single transmission bus
  Understand impact under NERC rules
“Interim process” Follow-up PGRR for RIOO early 2021

## Slide 5: Questions?