## Slide 1
Managing Constraints in SCED
Chad Thompson
Congestion Management Working Group
December 16, 2019

## Slide 2: Redundant Constraints
In Series
  Contingency A overloads Lines 1 and 2, which are in series with each other
Same Element
  Contingencies A and B both overload Line 1
Redundant
  Contingency A is loss of transformer, overloads line 1
  Contingency B is loss of line, overloads line 1
  From a modeling perspective, the line and transformer are in series with each other
Typically activate the most heavily overloaded, or whichever constraint shows up in RTCA first

## Slide 3: Redundant Constraints
Procedure language
* “Nearly identical shift factors”

## Slide 4: Shift Factor Cut-Off
Where did the 2 % come from?
  Artifact from Zonal, where units with shift factors less than 2 % were not dispatched by RTB
  Software limitations initially prevented activation of more than ~30 constraints, so this also helped to create some criteria to distinguish between constraints
When did we start considering the 2 %?
  Likely since Nodal Go-Live
  On July 20, 2011, Operator Procedure changes were made to clarify the use of the 2 % shift factor cut-off in real-time

## Slide 5: Shift Factor Cut-Off
Procedure language

## Slide 6: Shift Factor Cut-Off
Procedure language

## Slide 7: Shift Factor Cut-Off
Inclusions
  Units on Outage
  Private Use Network Units
  Renewables, regardless of “fuel” availability
  Seasonal Mothballed Units
Exclusions
  Generators in the Network Operations Model, but not participating in SCED
    Non-Seasonal Mothballed Units
    Settlement-Only Generators
    *DC Tie “Generators”
    *Synchronous Condensers