APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, October 3, 2019 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Barnes, Bill | Reliant |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Energy Services |  |
| Clairborn-Pinto, Shawnee | OPUC |  |
| Downey, Marty | Electranet Power |  |
| Hall, Tim | Southern Power Co. |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Moore, John | South Texas Electric Cooperative |  |
| Nashawati, Eithar | Oncor |  |
| Reid, Mike | Air Liquide |  |
| Reed, Cyrus | Sierra Club |  |
| Smith, Caitlin | Invenergy |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |
| Zhang, Jianhui | Austin Energy | Alt. Rep. for Reza Ebrahimian |

- The following proxy was assigned:

- Clayton Greer to Kevin Bunch

| - Guests: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Ainspan, Malcolm |  | NRG |  | Via Teleconference |  |
| Aldridge, Ryan |  | AB Power Advisors |  | Via Teleconference |  |
| Alford, Anthony |  | CenterPoint Energy |  | Via Teleconference |  |
| Amahatsion, Aster |  | AEP Service Corporation |  | Via Teleconference |  |
| Benson, Mariah |  | PUCT |  | Via Teleconference |  |
| Bohan, Michael |  | Tenaska Power Services |  | Via Teleconference |  |
| Bruce, Mark |  | Cratylus Advisors |  | Via Teleconference |  |
| Carter, Matt |  | Garland Power and Light |  |  |  |
| Chilton, Tamme |  | CenterPoint Energy |  | Via Teleconference |  |
| Cochran, Seth |  | DC Energy |  | Via Teleconference |  |
| Cook, Tim |  | CTT |  |  |  |
| Crews, Curtis |  | Texas Reliability Entity |  | Via Teleconference |  |
| Egunjobi, Ransome |  | LCRA |  | Via Teleconference |  |
| Gross, Blake |  | AEP Service Corporation |  |  |  |
| Hasan, Prusha |  | AEE |  | Via Teleconference |  |
| Hayden, Mario |  | Enel Green Power |  | Via Teleconference |  |
| Henderson, Norris |  | FERC |  | Via Teleconference |  |
| Henry, Mark |  | Texas Reliability Entity |  |  |  |
| Henson, Martha |  | Oncor |  |  |  |
| Hithersay, Brian |  | Brazos Electric Cooperative |  | Via Teleconference |  |
| Jablonski, Ward |  | CNP |  | Via Teleconference |  |
| Jackson, Jimmy |  | CPS Energy |  |  |  |
| Jewell, Michael |  | Jewell and Associates |  | Via Teleconference |  |
| Juricek, Mike |  | Oncor |  | Via Teleconference |  |
| Kremling, Barry |  | GVEC |  |  |  |
| Li, Jun |  | CenterPoint Energy |  | Via Teleconference |  |
| Liu, Meng |  | Tenaska Power Services |  | Via Teleconference |  |
| Loyferman, Larisa |  | CenterPoint Energy |  | Via Teleconference |  |
| Marr, Daniel |  | LCRA |  |  |  |
| McClellan, Suzi |  | Good Company Associates |  |  |  |
| Mercado, David |  | CenterPoint Energy |  | Via Teleconference |  |
| Mulholland, Chad |  | NRG |  | Via Teleconference |  |
| Musher, Danny |  | Key Capture Energy |  |  |  |
| Natti, Satish |  | Grid Intel |  | Via Teleconference |  |
| Penney, David |  | Texas Reliability Entity |  |  |  |
| Powell, Christian |  | PEC |  |  |  |
| Rainwater, Kim |  | Environmental Defense Fund |  |  |  |
| Ravulapati, Bharath |  | CTT |  | Via Teleconference |  |
| Reid, Walter |  | Advanced Power Alliance |  |  |  |
| Rich, Katie |  | Golden Spread Electric Cooperative |  |  |  |
| Ryall, Jean |  | APA/AWEA |  |  |  |
| Sams, Bryan |  | Calpine Corporation |  |  |  |
| Santos, Juan |  | Garland Power and Light |  | Via Teleconference |  |
| Shaw, Marka |  | Exelon |  | Via Teleconference |  |
| Siddiqi, Shams |  | Crescent Power Inc. |  |  |  |
| Smith, Chase |  | Southern Power Company |  | Via Teleconference |  |
| Varnell, John |  | Tenaska Power Services |  | Via Teleconference |  |
| White, Lauri |  | AEP Texas |  |  |  |
| Whittington, Pam |  | Jewell and Associates |  | Via Teleconference |  |
| Wittmeyer, Bob |  | Denton Municipal Electric |  |  |  |
| Woods, Brad |  | Texas Reliability Entity |  | Via Teleconference |  |
| Younger, Joseph |  | Texas Reliability Entity |  | Via Teleconference |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  | Via Teleconference |
| Bezzam, Joseph |  | Via Teleconference |
| Bracy, Phil |  |  |
| Clifton, Suzy |  |  |
| Du, Pengwei |  | Via Teleconference |
| Elhabr, Tony |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Huang, Fred |  |  |
| Hughes, Lindsey |  | Via Teleconference |
| Kadel, Nemica |  | Via Teleconference |
| Kane, Erika |  | Via Teleconference |
| Kang, Sun Wook |  |  |
| Jowlabar, Nicholas |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Mago, Nitika |  |  |
| Manning, Brian |  | Via Teleconference |
| Matevosjana, Julia |  | Via Teleconference |
| Phillips, Cory |  |  |
| Solis, Stephen |  |  |
| Stice, Clayton |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Troublefield, Jordan |  | Via Teleconference |
| Wang, Shawn |  | Via Teleconference |
| Weatherly, Joe |  | Via Teleconference |
| Williams, Leslie |  |  |
| Woodfin, Dan |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Kevin Bunch called the October 3, 2019 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bunch directed attention to the Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the order of the agenda.

- Approval of Meeting Minutes (see Key Documents)

- August 8, 2019

- September 5, 2019

Dennis Kunkel moved to approve the August 8, 2019 and September 5, 2019 ROS meeting minutes as submitted.  Tony Kroskey seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update and Assignments

Mr. Bunch reviewed the disposition of items considered at the September 25, 2019 TAC meeting, including Real-Time Co-Optimization (RTC) Key Principle 1.1 subsections 1, 3, and 4: Ancillary Service Demand Curves and Current Market Price Adders, and Key Principle 1.2 subsections 1 and 2: System-Wide Offer Cap and Power Balance Penalty Price.  Mr. Bunch noted that at the October 23, 2019 TAC meeting Market Participants will consider removing the ROS action item, review Under-Frequency Load Shedding (UFLS) results as Nodal Operating Guide (NOGRR) 178, Clarification of Automatic Under-Frequency Load Shed Requirement was implemented and the 2019 UFLS Survey Results were presented.

- ERCOT Reports (see Key Documents)

Operations Report

Freddy Garcia reviewed the Operations Report for August 2019.

System Planning Report

Fred Huang presented the August 2019 System Planning Report.

Inverter-Based Resources Update

Mr. Huang noted updates to the inverter-based Resources assignments and stated the draft Planning Guide Revision Request (PGRR), Dynamic Model Quality Test Requirement is still being developed.

Energy Storage Workshop Update

Mr. Huang summarized the energy storage integration issues, stated TAC approved the creation of the Battery Energy Storage Task Force (BESTF), and encouraged Market Participants to attend the October 18, 2019 meeting.

New Protocol Revision Subcommittee (PRS) Referrals

There were no referrals made to ROS at the September 12, 2019 PRS Meeting.

Revision Requests Tabled at PRS, Referred to ROS

Nodal Protocol Revision Request (NPRR) 955, Define Limited Impact Remedial Action Scheme

ROS took no action on this item.

Urgency Vote

Urgent Status

NOGRR 197, Align Responsive Reserve (RRS) Manual Deployment Requirements with Current Practice

Ian Haley moved to waive notice to consider NOGRR197.  Cyrus Reed seconded the motion.  The motion carried unanimously.

Dan Woodfin requested urgent status so NOGRR197 could be considered at the October 23, 2019 TAC meeting.

Mr. Reed moved to grant NOGRR197 Urgent Status.  Marty Downey seconded the motion.  The motion carried unanimously.

Mr. Woodfin reviewed NOGRR197, summarized recent events wherein ERCOT found that manually deploying RRS in increments smaller than 500 megawatts (MWs) helped maintain system reliability and address declining frequency, and stated that ERCOT needed discretion in the amount of RRS that is released to Security-Constrained Economic Dispatch (SCED) during scarcity conditions.

Mr. Haley moved to recommend approval of NOGRR197 as submitted with a recommended effective date of upon TAC approval; and to forward to TAC NOGRR197 and the Impact Analysis.  Bill Barnes seconded the motion.  The motion carried unanimously.

Review of Revision Request Language & Impact Analyses

Language Review

Resource Registration Glossary Revision Request (RRGRR) 021, Dynamic Model Requirement for TSAT

Prabhu Gnanam summarized RRGRR021, noted the benefits for ERCOT Real-Time operations, and reviewed the implementation timeline.  Market Participants discussed the dynamic model requirements for the Transient Security Assessment Tool (TSAT) and the appropriate forum for discussing the issues, and requested additional review by the Dynamics Working Group (DWG) and Operations Working Group (OWG).

Eithar Nashawati moved to table RRGRR021 and refer the issues to DWG and OWG.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR183, Remedial Action Scheme (RAS) Submittal and Review Requirements

NOGRR190, Related to NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment

ROS took no action on these items.

NOGRR195, Generator Voltage Control Tolerance Band

Mr. Garcia presented analysis to support implementing NOGRR195 to comply with the Texas Reliability Entity (TRE) audit recommendations for notification requirements for Voltage Set Point deviations.  Market Participants expressed concern for proposed response timelines and switching the basis of the generator voltage control tolerance band to an explicit kilovolts (kV) level instead of the current percentage, and requested additional review of the issues by the Voltage Profile Working Group (VPWG) and OWG.

Mr. Barnes moved to table NOGRR195 and refer the issue to VPWG and OWG.  Mr. Nashawati seconded the motion.  The motion carried unanimously.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

NPRR963, Creation of Generation and Controllable Load Resource Group (GCLR Group)

ROS took no action on this item.

Methodology to Calculate RRS Limits

ERCOT Staff reviewed administrative edits.

Mr. Barnes moved to endorse the Methodology for Calculating RRS Limits for Individual Resources as submitted.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Planning Working Group (PLWG) (see Key Documents)

Tim Cook reviewed PLWG activities.

NPRR964, Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement

Market Participants reviewed NPRR964 and the 9/24/19 ERCOT comments.

Mr. Barnes moved to endorse NPRR964 as amended by the 9/24/19 ERCOT comments.  Wes Woitt seconded the motion.  The motion carried unanimously.

PGRR071, Update Interconnection Process Timetables to Align with NPRR926

Mr. Cook summarized discussion at the September 18, 2019 PLWG meeting.  Market participants offered additional clarifications.

Mr. Woitt moved to recommend approval of PGRR071 as revised by ROS.  Kenneth Bowen seconded the motion.  The motion carried unanimously.

Steady State Working Group (SSWG)

NPRR953, Addition of Relay Loadability Rating Definition

Brian Hithersay reviewed recent SSWG activities, including discussions on NPRR953 and stated SSWG reached consensus in recommending ROS endorse it.  Market Participants noted the System Protection Working Group (SPWG) is reviewing the issues.  ERCOT Staff noted the timeline to incorporate compliance changes to the operations network model and requested ROS consider NPRR953 at the November 7, 2019 ROS meeting.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

PGDTF Scope

Aster Amahatsion reviewed recent PGDTF activities and presented proposed revisions to the PGDTF Scope.  Market Participants and ERCOT Staff discussed vetting of issues within the scope of PGDTF in the appropriate forum in consideration of protected information, ERCOT Non-Disclosure Agreements (NDAs), and potential impacts from implementation of NPRR902, ERCOT Critical Energy Infrastructure Information

Mr. Kunkel moved to approve the PGDTF Scope as submitted.  Mr. Woitt seconded the motion.  The motion carried with two abstentions from the Independent Power Marketer (IPM) Market Segment (EDF Energy) and Municipal (CPS Energy) Market Segments.

Other Business

NERC and FERC Report

Mark Henry announced that North American Electric Reliability Corporation (NERC) and Federal Energy Regulatory Commission (FERC) representatives would present Lessons Learned on January 2018 Operational issues in the Midcontinent Independent System Operator (MISO) South at the November 7, 2019 ROS meeting.

2020 ERCOT Membership/Segment Representative Elections

ERCOT Staff reminded Market Participants that the membership date of record is Friday, November 8, 2019 and stated that 2020 Segment Representative Elections would begin on Monday, November 11, 2019.

Review of Open Action Items

Market Participants reviewed the Open Action Items list and removed the following completed items:

- BAL-001-TRE Standard Workshop Items (PDCWG)

- Include Solar in monthly report (PDCWG)

- Review ramp rate of DC ties in GTBD calculation (PDCWG)

No Report

- Black Start Working Group (BSWG)

- DWG

- Network Data Support Working Group (NDSWG)

- Operations Training Working Group (OTWG)

- OWG

- SPWG

- VPWG

Adjournment

Mr. Bunch adjourned the October 3, 2019 ROS meeting 12:36 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2019/10/3/165207-ROS