## Slide 1
Summer 2019 Lessons Learned Discussion Topics
Kenan Ӧgelman
November 6, 2019

## Slide 2: Summer 2019 Lessons Learned Discussion Topics
ERCOT items for discussion :
Switchable Generation Resources (SWGRs): WMS/ROS
  Make sure settlement, operator interaction and offers align with the intent of the Protocols and intended market design.
  If necessary, propose changes to the Protocols
Emergency Response Service (ERS): WMS/ROS
  Reliability deployment price adder ramp.
  Crossover between procurement time periods and calculation of the adder.
  Self-deployment of ERS.
  Communicating ERS Deployment
Credit/Collateral for QSE representing Resource only. CWG/MCWG
  The potential default of a QSE representing a Resource instead of a trader only or Customer Load has raised some potential gaps/policy considerations for improvement. (e.g. should a generator be taken out of markets during tight conditions?)

## Slide 3: Summer 2019 Lessons Learned Discussion Topics
Revert to previous usage of Operating Condition Notices (OCNs) for projected reserve capacity shortage being issued when there is a projected shortage of available capacity, rather than committed capacity, for a future hour. WMS
  A NPRR is not needed, although this change is addressed in NPRR 974, as endorsed by PRS.
Continue improvement on gas pipeline/gas generator coordination. GEWG
  Draft NPRR in development to document good faith coordination for Summer preparedness.
Evaluate current TCEQ enforcement discretion process and look for improvements with managing potential emission limitation issues. WMS

## Slide 4: Summer 2019 Lessons Learned Discussion Topics
Process for Summer demand response study. RMS, ROS and WMS
  Continue work with stakeholders to get the best available information to the PUCT in a more timely manner as part of the Summer assessment. Currently the timing of data limits the October analysis to an approximation based on the preceding year.
Non-Frequency Responsive Capacity (NFRC) versus Physical Responsive Capability (PRC) reserves when Gen RRS is released. ROS
  Accessing capacity by system-value has had some challenges relative to the current market design.

## Slide 5: Summer 2019 Lessons Learned Discussion Topics
EEE
Exelon items for discussion : Part of Item 1 – WMS/ROS
What operational and reliability information was relied upon to request the 09/06 switch?
  Will the method be the same going forward?
Why did we receive a VDI instead of RUC?
  What is the expectation going forward?
  Any system changes needed on ERCOT’s end?
Please explain the settlement treatment for Frontier on 09/06 including how adders were applied to each unit and why?
  We would like to discuss best dispute path going forward given this unique and first-time situation.
Due to the time required to physically switch and the need to ramp Frontier down to accommodate the switch, are changes needed to ensure the 530 MW units operating in ERCOT are held harmless when a switch request is initiated?
  E.G., a Make Whole formula designed to “compensate QSEs representing SWGRs that grid-switch pursuant to an ERCOT instruction” to account for lost opportunity costs in addition to operational costs?

## Slide 6: Summer 2019 Lessons Learned Discussion Topics
EEE
Calpine item for discussion:
Review of Resource Adequacy forecasts and development of a Net Load forecast. SAWG/WMS