## Slide 1: PLWG report to ROS January 9, 2020
Report based on PLWG Dec 17, 2019 meeting

## Slide 2: NPRR973/NOGRR196/PGRR074/RRGRR022
  NPRR973 Add Definitions for Generator Step-Up and Main Power
  NOGRR196 (Related to NPRR973) Add Definitions Generator Step-Up and Main Power Transformer
  PGRR074 (Related to NPRR973) Add Definitions Generator Step-Up and Main Power Transformer
  RRGRR022 (Related to NPRR973) Add Definitions Generator Step-Up and Main Power Transformer
  In regards to NPRR973, PLWG reviewed TIEC filed comments. PLWG agreed with the edits and further added some other clarifying edits. (see the December 17, 2019 PLWG Meeting’s Key Documents for TIEC/PLWG edits to 973NPRR-03)
  PLWG also made clarifying edits to NOGRR196. (see the December 17, 2019 PLWG Meeting’s Key Documents for PLWG edits to 196NOGRR)
  PLWG recommends that ROS votes to endorse the revision requests listed with the edits.

## Slide 3: PGRR075
  PGRR075 Dynamic Model Quality Requirement
  At the December meeting the PLWG discussed the timing of when dynamic model data is needed in the interconnection study process
  All agreed that dynamic model data deadline should not holdup the steady state and short circuit studies.
  ERCOT plans to address the model data timing in RIOO
  PLWG recommends that ROS votes to endorse the PGRR

## Slide 4: PGRR076
  PGRR076 Improvements to Generation Resource Interconnection or Change Request (GINR) Process
  At the December meeting the PLWG discussed the PGRR and agreed to add the following language (PG 5.4.8(1):
    Coincident with the posting of the final FIS study element reports to the MIS, the TSP shall submit the reports to the IE. (see the December 17, 2019 PLWG Meeting’s Key Documents for PLWG edits to 076PGRR)
  PLWG recommends that ROS votes to endorse the PGRR with the edits

## Slide 5: DC Ties Planning assumptions
  ERCOT presented a review of the assumptions related to DC Tie flows when performing transmission planning analysis
  There was good discussion in regards to whether transmission improvements should or should not be planned for assumed DC Tie flow
  No consensus reached
  ERCOT plans to submit a PGRR to address this early this year

## Slide 6: 2020 PLWG Leadership
  PLWG Leadership Nominees:
  Chair: Tim Cook (Cross Texas Transmission)
  Vice Chair: Charles DeWitt (Pedernales Electric Cooperative)