## Slide 1
DGR Workshop III: PGRR Update
January 16, 2020

## Slide 2: PGRR Purpose
Create the concept of large and small generators
  Large generators are 10 MW or greater
  Small generators are greater than 1 MW, but less than 10 MW
Maintain the existing interconnection process for large generators
Create a tracking process for small generators, regardless of interconnection location
Streamline and reorganize the existing PG Section 5 language in order to better incorporate new language

## Slide 3: Proposed Additions to PG Section 5
A new subsection was added to create a tracking process for small generators
  Interconnection Procedures for Small Generators
    Application
    Timeline
    Tracking Fees
Several existing subsections, such as those related to applicability and interconnection status, were modified to include small generators

## Slide 4: Proposed Deletions to PG Section 5
A few subsections were deleted due to redundancy and to prevent confusion
Existing Sub-section | Existing Subsection Name | Reason for Deletion
5.1.1 | Applicability: Paragraph (2) | unnecessary
5.1.2 | Responsibilities | redundant
5.2 | Generation Interconnection Process: Paragraph (1) | unnecessary
5.2.2 | Generation Interconnection or Change Request Submission Requirements: Paragraph (1), (3) | redundant
5.3 | Full Interconnection Study Request: Paragraph (2), (3), (4) | unnecessary/redundant
5.7.2 | Interconnection Study Fees: Paragraph (1) | unnecessary
5.7.3 | Generation Interconnection and Full Interconnection Study Application Fees: Paragraph (2)(c) | unnecessary
5.8.1 | Other Standards | unnecessary

## Slide 5: Proposed Relocations in PG Section 5
A few existing subsections were relocated within PG Section 5 to improve flow
Existing Subsection | Existing Subsection Name
5.2.1 | Generation Interconnection or Change Request Application: Paragraph (7), (8), (9)
5.2.2 | Generation Interconnection or Change Request Submission Requirements: Paragraph (2)
5.3 | Full Interconnection Study Request
5.4.9 | Proof of Site Control
5.7.2 | Interconnection Study Fees: Paragraph (2)
5.7.3 | Generation Interconnection and Full Interconnection Study Application Fees
5.7.5 | Interconnection Process Timetables
5.9 | Quarterly Stability Assessment

## Slide 6: Proposed Renaming in PG Section 5
PG Section 5 and a few subsections were renamed to better describe content
Existing Subsection | Existing Subsection Name | New Subsection Name
5 | Generation Interconnection or Change Request | Generation Interconnection Process
5.2 | Generation Interconnection Process | Initiation of the Generation Interconnection or Change Request Process
5.3.2 | Modifications to Request Declarations of Resource Data Accuracy | Duty to Update Project Information and Respond to ERCOT and TSP Requests
5.4 | Study Processes and Procedures | Interconnection Study Procedures for Large Generators
5.4.2.1 | Full Interconnection Study Process Overview | Full Interconnection Study Scoping Process
5.4.2.2 | Full Interconnection Study Elements | Full Interconnection Study Procedure

## Slide 7: Questions?