## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for December 2019

## Slide 2: Non-IRR GREDP < 85% – December 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 244 | 3 | 4 | 0.68 | 75.00
Unit 247 | 0 | 1 | 1.10 | 0.00
Unit 248 | 0 | 1 | 0.95 | 0.00

## Slide 3: IRR Summary – December 2019
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.16 | 75.04 | 80.80
GREDP Median (%) | 96.98 | 81.62 | 88.62
Average MW Error | 3.04 | 2.98 | 2.88
Median MW Error | 2.79 | 2.40 | 2.59
Total Intervals Scored | 28,060 | 10,180 | 8,748
100+ Intervals Scored | 46 | 173 | 23
Total Intervals Scored Average | 128.13 | 181.79 | 380.35

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,398 | 2,402 | 3.96 | 99.83
Unit 3 | 2,019 | 2,077 | 3.87 | 97.21
Unit 4 | 1,652 | 1,681 | 3.32 | 98.27
Unit 5 | 1,313 | 1,378 | 2.65 | 95.28
Unit 6 | 1,340 | 1,370 | 2.63 | 97.81
Unit 7 | 934 | 943 | 3.10 | 99.05
Unit 8 | 911 | 912 | 3.66 | 99.89
Unit 9 | 848 | 857 | 1.95 | 98.95
Unit 10 | 778 | 799 | 4.46 | 97.37
Unit 14 | 544 | 554 | 2.04 | 98.19
Unit 15 | 525 | 530 | 1.20 | 99.06
Unit 17 | 464 | 468 | 2.79 | 99.15
Unit 18 | 410 | 424 | 2.44 | 96.70
Unit 21 | 381 | 383 | 4.03 | 99.48
Unit 22 | 356 | 356 | 2.54 | 100.00
Unit 23 | 341 | 341 | 4.31 | 100.00
Unit 27 | 254 | 257 | 4.03 | 98.83

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 28 | 248 | 250 | 3.31 | 99.20
Unit 30 | 240 | 245 | 4.36 | 97.96
Unit 36 | 140 | 140 | 2.71 | 100.00
Unit 38 | 125 | 125 | 2.56 | 100.00
Unit 40 | 121 | 121 | 2.46 | 100.00
Unit 45 | 102 | 103 | 1.65 | 99.03

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – Nov. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,507 | 2,618 | 4.64 | 57.56
Unit 11 | 729 | 781 | 2.13 | 93.34
Unit 12 | 615 | 663 | 3.25 | 92.76
Unit 13 | 553 | 614 | 2.23 | 90.07
Unit 16 | 466 | 505 | 6.51 | 92.28
Unit 19 | 391 | 421 | 2.13 | 92.87
Unit 20 | 356 | 410 | 2.10 | 86.83
Unit 24 | 284 | 326 | 2.59 | 87.12
Unit 25 | 235 | 311 | 3.79 | 75.56
Unit 26 | 269 | 293 | 1.14 | 91.81
Unit 29 | 166 | 248 | 3.56 | 66.94
Unit 31 | 127 | 159 | 4.16 | 79.87
Unit 32 | 138 | 154 | 2.88 | 89.61
Unit 33 | 137 | 149 | 1.83 | 91.95
Unit 34 | 132 | 148 | 2.68 | 89.19
Unit 35 | 138 | 148 | 2.38 | 93.24
Unit 37 | 95 | 125 | 1.81 | 76.00

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – Nov. 2019
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 39 | 109 | 123 | 2.18 | 88.62
Unit 41 | 49 | 117 | 2.40 | 41.88
Unit 42 | 63 | 117 | 3.57 | 53.85
Unit 43 | 101 | 112 | 3.10 | 90.18
Unit 44 | 70 | 105 | 4.00 | 66.67
Unit 46 | 71 | 101 | 1.17 | 70.30