## Slide 1
Real-Time Co-optimization Task Force (RTCTF) Update to TAC
Matt Mereness
January 29, 2020

## Slide 2: Outline of RTCTF Update
RTCTF Charter Scope- Phase I
TAC Voting Items for Key Principles (KPs)
  Note there is a non-consensus item for KP6 – Market-Facing Reports
Consolidated Key Principles for Board consideration
RTCTF Charter Scope- Phase II
RTCTF Revision Request development
Next Steps

## Slide 3: RTCTF Charter Scope- Phase I
Phase I:
RTCTF shall establish the key policy principles for implementing RTC, and identify policy issues that are beyond the scope of the RTC project. RTCTF shall present key RTC policy principles, along with policy issues beyond the scope of the RTC project, to TAC for ultimate consideration by the ERCOT Board of Directors (ERCOT Board). The ERCOT Board will instruct ERCOT staff to develop the Nodal Protocol Revision Requests (NPRRs) and applicable Other Binding Documents (OBDs) based upon the recommended key RTC policy principles.

## Slide 4: TAC Key Principles for Endorsement
TAC is being asked to consider endorsement of the following Key Principle (KP) Sections:
  KP1.1, Sections (2), (6), (7) & (8) - Ancillary Service Demand Curves and Current Market Price Adders
  KP1.2, Section (3) - System-Wide Offer Cap and Power Balance Penalty Price
  KP1.3, Sections (11) & (14) - Offering and Awarding Ancillary Services in Real-Time
  KP1.4, Sections (3) & (4) - Systems/Applications that Provide Input into the Real-Time Optimization Engine
  KP1.5, Sections (14) - (16) - Process for Deploying Ancillary Services
  KP1.6, Section (5) - Ancillary Service Imbalance Settlement
  KP3, Sections (13) - (20) - Reliability Unit Commitment
  KP5, Sections (2)(a), (7)(b) & (7)(j) - Day-Ahead Market
  KP7 - Performance Monitoring
  KP8 - Out of Scope and Post-RTC Review Items
  KP6 - Market-Facing Reports (non-consensus item)

## Slide 5: Key Principle 1.1: Ancillary Service Demand Curves and Current Market Price Adders
KP 1.1 The pricing of reserves and energy with Real-Time Co-optimization (RTC) will reflect the use of Ancillary Service Demand Curves (ASDCs) based on the Operating Reserve Demand Curve (ORDC) while continuing to adjust for defined out-of-market actions taken by ERCOT to maintain reliability.
Sections (summarized)
  The existing process of having a pricing run to capture the effects of reliability deployments will continue, as will the existing reliability deployment triggers for executing that process. However, the pricing run will be modified to also co-optimize energy and Ancillary Services (AS).
    AS offers from Reliability Unit Commitment (RUC) instructed Resources, including Reliability Must-Run (RMR) Resources, will be removed for the pricing run.
    Energy Offers for RUC-instructed Resources, including RMR Resources, will be administratively set to $11,000/MWh for pricing run. This Energy Offer cap is subject to mitigation for non-competitive constraints.
  The Real-Time On-Line Reliability Deployment Price Adder process will apply to both energy and AS; the adder for each AS product will be the positive increase in Market Clearing Price for Capacity (MCPC) between the dispatch and pricing run.

## Slide 6: Key Principle 1.1: Ancillary Service Demand Curves and Current Market Price Adders
Sections (summarized)
  For Reg-Down, the ASDC will be a constant value equal to Value of Lost Load (VOLL).
  ERCOT will work with stakeholders prior to RTC go-live to develop a framework and reporting to periodically review RTC pricing outcomes relative to pricing outcomes that would have been realized through the ORDC for a reasonable period of time.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 11/19/19, 12/3/19, 12/19/19
  Consensus on (2), (6), (7) on 12/3/19
  Consensus on (8) on 12/19/19

## Slide 7: Key Principle 1.2: System-Wide Offer Cap and Power Balance Penalty Price
KP 1.2 The values of and interaction between System-Wide Offer Cap (SWOC), VOLL, and Power Balance Penalty Price (PBPP) must be evaluated as part of implementation of RTC. This Key Principle identifies which values are changing and which one are remaining the same.
Sections (summarized)
  For the DAM, the SWOC will be equal to VOLL
Meeting/Discussion & Consensus:
  Meeting/Discussion on 10/30/19 & 11/19/19
  Consensus on (3) on 11/19/19

## Slide 8: Key Principle 1.3: Offering and Awarding Ancillary Services in Real-Time
KP 1.3 Defines offers and awards of AS in Real-Time by outlining the key mechanisms and timelines for submitted AS Offers, as well as the AS considered and awarded under RTC.
Sections(summarized)
  QSEs will have the ability to continuously update their AS Offers. SCED will use the most recently available AS Offer. [Note- This changed previously approved TAC language reflecting AS Offer would align with Energy Offer Curve (EOC) submissions]
  A behavioral rule will be created that QSEs shall not submit confirmed trades for AS sub-types in excess of their DAM self-arrangement quantity (including “0” or “null”).
    QSEs will be notified by 1430 in the Day-Ahead if they have an overage.
    If an overage is not resolved by the end of the Adjustment Period, QSEs with any overage will be charged the Real-Time MCPC for those quantities.
    If ERCOT exceeds the AS sub-type limits system-wide in Real-Time, no awards will be prorated.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 11/19/19, 12/3/19, 12/19/19
  Consensus on (11) on 12/3/19, and on (14) on 12/19/19

## Slide 9: Key Principle 1.4: Systems/Applications that Provide Input into the Real-Time Optimization Engine
KP 1.4 Current ERCOT systems that provide input for the Real-Time market (RTM) optimization engine are not designed to accommodate RTC and awards of AS in Real-Time. This Key Principle addresses the necessary modifications to those systems and applications.
Sections (summarized)
  For each Resource, QSEs will continue to send up and down Normal Ramp Rates that represent the 5-minute ramping capability of the Resource. In addition, there will be new telemetry to be submitted by QSEs to inform ERCOT of the current physical capability of a qualified Resource to provide AS. These telemetry points will be will be used as additional limits on AS awards given the Resource’s other constraints such as High Sustained Limit (HSL), Low Sustained Limit (LSL), High Dispatch Limit (HDL), and Low Dispatch Limit (LDL).
  Changes will be made to Resource Status provided by QSEs.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 10/30/19, 11/19/19, and 12/3/19
  Consensus on (3) and (4) on 12/3/19

## Slide 10: Key Principle 1.5: Process for Deploying Ancillary Services
KP 1.5 To implement RTC, certain processes for deploying AS will need to be modified to accommodate the awarding of AS in Real-Time. This Key Principle looks at the ERCOT systems, ERCOT to QSE communications, QSE to ERCOT communications, and other processes in place that play a role in the sending of Dispatch Instructions and deployment of AS.
Sections (summarized)
  For Emergency Base Points, RTC systems will consider AS awards from the most recent SCED execution. Non-AS awarded capacity will be utilized ahead of AS awarded capacity and, if necessary, Non-Spinning Reserve (Non-Spin) capacity will be utilized before ERCOT Contingency Reserve Service (ECRS), and ECRS will be utilized before Regulation Service and RRS capacity.
  No new Settlement calculations will be needed to address a SCED failure.
  Fast Responding Regulation Service (FRRS) will not be needed as a subset of Regulation Ancillary Service and will be removed. Energy Storage Resources (ESRs) will be required to qualify and provide the same Regulation Service as other Resources providing Regulation Service.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 10/30/19, 11/19/19, and 12/3/19
  Consensus on (14) - (16) on 12/3/19

## Slide 11: Key Principle 1.6: Process for Deploying Ancillary Services
KP 1.6 With RTC, the AS imbalance Settlement process needs to be modified since AS will be awarded in Real-Time.
Sections (summarized)
  Under RTC, the following credit exposure calculations will be revised to account for RTC AS activity:
    Updates will be made to the Real-Time Liability Completed and Not Settled (RTLCNS) component of Estimated Aggregate Liability (EAL) calculation to include RTC AS activity.
    Updates will be made to the Real-Time Liability Estimates (RTL) component of the EAL to include RTC AS activity (these components will flow into RTLCNS).
    Updates will be made to the Minimum Current Exposure (MCE) component of Total Potential Exposure (TPE) calculation to include RTC AS activity.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 11/19/19 and 12/3/19
  Consensus on (5) on 12/3/19

## Slide 12: Key Principle 3: Reliability Unit Commitment (RUC)
KP 3 Since RTC will co-optimize the clearing of energy and AS, RUC will review Resources scheduled to be available, and consider moving AS among qualified Resources to meet the forecasted conditions for Real-Time.
Sections (summarized)
  The RUC engine will use the same proxy methodology for AS as used for Real-Time.
  The RUC engine will use the same scaling for AS offers as used for energy offers.
  RUC will use new information contained in the Current Operating Plan (COP) to determine how much capability for each AS product each Resource will be capable of providing.
  The energy offer floor for RUC-instructed Resources that have not opted out of RUC Settlement will be $1,500/MWh for a dispatch run.
  All RUC-instructed Resources will have their EOC administratively set to a value just below the PBPP (i.e., $11,000/MWh) in the pricing run only. This EOC is subject to mitigation for non-competitive constraints.
  The AS Offer Floors for RUC-instructed Resources which have not opted out of RUC Settlement will be $1,500/MWh for a dispatch run.
  AS Offers for RUC-instructed Resources that have not opted out of RUC Settlement will be removed for the pricing run.
  RTC will not affect the ability for QSEs to opt out of RUC Settlement.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 10/9/19, 10/30/19, 11/19/19 and 12/3/19
  Consensus on (13)-(20) on 12/3/19

## Slide 13: Key Principle 5: Day-Ahead Market
KP 5 Identifies necessary changes for the DAM to bring Day-Ahead AS procurement into alignment with implementation of RTC.
Sections (summarized)
  The same ASDCs that are used in Real-Time will be used in DAM.
    In some cases, negative self-arranged quantities may necessitate shifting the DAM ASDC to the right, as they are treated by DAM as bids at the highest price on each corresponding ASDC.
  AS Virtual Offers
    If awarded, the QSE will be paid the DAM price for the capacity times the quantity awarded. The awarded QSE will pay the Real-Time price times the quantity awarded, via the AS Imbalance calculation. [Change to previously approved TAC KP]
    The default uplift Invoice process will include virtual AS awards to the QSE when calculating the maximum MWh activity for the Counter-Party that represents the QSE.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 10/30/19, 12/3/19, and 12/19/19
  Consensus on (7)(j) on 12/3/19 and (2)(a) and (7)(b) on 12/19/19

## Slide 14: Key Principle 7: Performance Monitoring
KP 7 Identifies changes to performance monitoring that will be necessary to reflect the implementation of RTC.
KP 7 (summarized)
  Generation Resource Energy Deployment Performance (GREDP) and Controllable Load Resource Energy Deployment Performance (CLREDP) calculations will updated to account changes made to deployments instructions from ERCOT. The “ABP” and “ARI” components of the GREDP and CLREDP will be replaced with an Average Set Point (ASP) component, where ASP is equal to the time-weighted average of the Updated Desired Set Point (UDSP), which is sum of a linearly ramped Base Point (Base Ramp) and Regulation Service instruction that the Resource should have produced during a five-minute clock interval.
  With RTC, the concept of an AS Obligation based on DAM awards, AS self-arrangement, and AS trades is no longer relevant. As such, related compliance requirements and associated reporting will be removed.
  With RTC, the updating of AS Schedules following a deployment instruction for the purpose of adjusting High Ancillary Service Limits (HASLs) is no longer relevant; accordingly, the compliance requirement and associated reporting will be removed.
  With the changes for GREDP and CLREDP, the Aggregate Adjusted Base Point (AABP) used in the Base Point Deviation (BPD) Settlement will replace the sum of the Average Base Point (AVGBP) and the Average Regulation Instruction (AVGREG) with the ASP component.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 10/30/19, 11/19/19, 12/3/19
  Consensus on 12/19/19

## Slide 15: Key Principle 8: RTC Out of Scope and Post-RTC Review Items
KP 8 Captures design concepts that were considered during the development of RTC Principles, but deemed to be outside the scope of the implementation of RTC.
KP 8 (summarized)
  DAM enhancement to introduce willing buyer, willing seller concept
    PUCT decision related to KP5
  Maintaining participation factors for Regulation Service deployments
    TAC decision related to KP 1.5
  Price Adjustments for Reg-Up, RRS, ECRS, and Non-Spin
    RTCTF decision related to KP 1.2
  EOC updates in Real-Time and make-whole considerations for Resources
    RTCTF decision related to KPs 1.3 and 4(c)&(d)
  AS substitution for SCED to substitute higher value AS having lower offer for lower value AS
    RTCTF decision related to KP 1.3
Meeting/Discussion:
  Numerous meeting discussions through RTC process

## Slide 16: Key Principle 6: Market-Facing Reports
KP 6 Identifies changes to market-facing reports that will be necessary for the market for implementation of RTC.
KP 6 (summarized)
  As necessary, existing market-facing reports and user interfaces will be removed or modified, and new market-facing reports and user interfaces will be created to implement RTC and achieve Key Principles.
  The list of reports and user interfaces contained in the appendix of this document will be used to guide the development of Protocol language for RTC.
Meeting/Discussion & Consensus:
  Meeting/Discussion on 11/19/19, 12/3/19 and 12/19/19
  Consensus on (1) and (2) on 12/19/19
Re: KP 6 Appendix, List of Reports - There was a proposed addition of 2 reports without consensus (see next two slides)

## Slide 17: TAC Consideration of KP6: Two Additional Reports
With the adoption of real-time AS Offers in Real-Time came the proposal of two new 60-day disclosure reports, as reflected in the Appendix:
  New: 60-Day SCED Disclosure Report - Generation Resource updates to Offer Curves for AS (and if later approved, Energy Offers)
  New: 60-Day SCED Disclosure Report - Load Resource updates to Offer Curves for AS (and if later approved, Energy Bids)
    New reports to be included which indicate the number of times for each AS for each Operating Hour the Resource has changed any of its AS Offer Curves within the Operating Period. Separately, and if applicable, include number of changes made to EOCs.
For perspective on current reporting scope, ERCOT has identified the following counts of reporting changes related to RTC:
  16 new reports
  15 retired reports
  50 modified reports

## Slide 18: TAC Voting Items for Key Principles
  Consensus Items
    KP1.1, Sections (2), (6), (7) & (8) - Ancillary Service Demand Curves and Current Market Price Adders
    KP1.2, Section (3) - System-Wide Offer Cap and Power Balance Penalty Price
    KP1.3, Sections (11) & (14) - Offering and Awarding Ancillary Services in Real-Time
    KP1.4, Sections (3) & (4) - Systems/Applications that Provide Input into the Real-Time Optimization Engine
    KP1.5, Sections (14) - (16) - Process for Deploying Ancillary Services
    KP 1.6, Section (5) - Ancillary Service Imbalance Settlement
    KP3, Sections (13) - (20) - Reliability Unit Commitment
    KP5, Sections (2)(a), (7)(b) & (7)(j) - Day-Ahead Market
    KP7 - Performance Monitoring
    KP8 - Out of Scope and Post-RTC Review Items
  Non-Consensus Item
    KP6 – Market-Facing Reports
      KP6, as originally proposed by ERCOT, without proposed two additional reports
      KP6, as proposed by [Market Participant], with proposed two additional reports
  Potential motion: TAC votes to endorse…

## Slide 19: Consolidated Key Principles for Board Consideration
For Board consideration, ERCOT has consolidated the Key Principles into a single document with an executive summary and table of contents.
  The draft consolidated version of Key Principles (“single book”) was posted with TAC materials for courtesy review.
  With TAC’s approval today of the remaining Key Principles, the consolidated version will be updated and provided to the Board of Directors as the single artifact for consideration at the February 11, 2020 meeting.

## Slide 20: RTCTF Charter Scope - Phase II
Phase II:
Following ERCOT Board consideration of key RTC policy principles, ERCOT will draft the necessary RRs, and present the proposed RRs to RTCTF for consideration. ERCOT staff shall sponsor and submit the RRs in accordance with Section 21, Revision Request Process, of the ERCOT Protocols, or other applicable RR process.

## Slide 21: RTCTF Protocol/OBD Development
In March 2020, ERCOT plans to file a set of NPRRs and a single Impact Analysis for RTC implementation in accordance with Section 21 of Protocols.
  NPRR development already underway at ERCOT to align protocols with RTC Key Principles.
  RTC NPRRs will likely be released by Protocol section (estimate 10 NPRRs, one for each of the following sections: 1-6, 8, 9, 16, 25)
  ERCOT is also evaluating potential Operating Guide and other OBD revisions
While following the process under the Protocols for Revision Requests, ERCOT will recommend that PRS designate RTCTF to serve as the clearinghouse to address language changes and comments from April 8 through October 21 (10 meetings).
Prior to the November 11, 2020, PRS meeting, ERCOT will submit all consolidated comments from RTCTF to PRS for consideration, and subsequently, to TAC on November18, 2020, and the Board on December 8, 2020.

## Slide 22: Next Steps
ERCOT plans to provide a schedule for RTCTF review of Revision Requests to help ensure an orderly process for navigating through relevant language changes associated with the Key Principles.
For the next two months, RTCTF meetings will remain on the calendar to discuss procedural details and/or new issues with respect to development of RRs.
Summary of RTCTF schedule:
  Feb. 24, 2020 - RTCTF Meeting
  Mar. 11, 2020 - RTCTF Meeting
  March 2020 – ERCOT to release of RTC NPRRs and IA
  Apr. 8, 2020 - RTCTF will begin reviewing RTC NPRRs
    + 8 RTCTF meetings
  Oct. 21, 2020 - Complete RTCTF review for Nov 11, 2020, PRS meeting
Any comments or questions?