## R1 - February 2020
Change ID | Market Notice Description | Systems and Processes Impacted
ITCM-169525 | Additional Branch Limit for Relays | Energy Management System - EMS
ITCM-182996 ITCM-190836 ITCM-202809 NPRR863/NPRR960 | It is anticipated that phase 1 of NPRR 863/NPRR960 will be effective on Mach 1, 2020. In preparation for this implementation, the following changes will be made. (ITCM-182996) New data fields will be included in the QSE Ancillary Services Capacity Monitor (EMIL ID: NP8-143-CD, Report Type ID: 11025). (a) RRS Capacity from Resources capable of Fast Frequency Response (FFR) (b) Ancillary Service Resource Responsibility for RRS Resources capable of FFR (ITCM-190836) Two new fields to be added to the System Ancillary Service Capacity Monitor display (a) RRS Capacity from Resources capable of Fast Frequency Response (FFR) (b) Ancillary Service Resource Responsibility for RRS Resources capable of FFR (ITCM-202809) Get/System Parameters EWS operation has been updated to include the following fields (a) RRS Capacity from Resources capable of Fast Frequency Response (FFR) (b) Ancillary Service Resource Responsibility for RRS Resources capable of FFR | (ITCM-182996) Data and Information Products - Current Day Reports (ITCM-190836) Data and Information Products - Public Dashboards (ITCM-202809) External Web Services
SCR797 | New Certified MIS report link in support of SCR 797 - Provide IRR Current Operating Plan (COP) to TSPs: Current Operating Plan For Next 168 Hours (EMIL ID: NP1-303-CD, Report Type ID: 16543) on Reports > Compliance and Disclosure > Compliance Reports - TSP | Web Communications - MIS Portal Data and Information Products
NPRR873 | New Public MIS reports links in support of NPRR873 - Intra-Hour Wind Power and Load Forecast: 1) Intra-Hour Wind Power Forecast By Geographical Region (EMIL ID: NP4-751-CD, Report Type ID: 16554) on Grid > Generation > Portlet: Public Generation Information 2) Intra-Hour Load Forecast by Weather Zone (EMIL ID: NP3-562-CD, Report Type ID: 16553) on Grid > Forecasts Portlet: > Short-Term System Adequacy | Web Communications - MIS Portal Data and Information Products
ITCM-203688 | New Secure planning link on the MIS Grid > Regional Planning page in the Current Regional Planning Group Projects portlet: 1) GPL McCree Substation Upgrades Project (EMIL ID: PG3-1746-M, Report Type ID: 19235) | Web Communications - MIS Portal
ITCM-207650 | Change the timing logic for Forecasted Temperature Adjusted Dynamic Ratings Report (EMIL ID: NP3-217-CD, Report Type ID: 12346) | Data and Information Products