Date:	January 29, 2020

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs and SCRs recommended for approval by PRS: - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR955, Define Limited Impact Remedial Action Scheme (RAS) [ERCOT] - NPRR963, Base Point Deviation Settlement and Deployment Performance Metrics for Energy Storage Resources (Combo Model) [Tenaska Power Services] - NPRR964, Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement [ERCOT] - NPRR967, Remove the 10 MW Limit from the Definition of Limited Duration Resource (LDR) [Advanced Power Alliance] - NPRR970, Reliability Unit Commitment (RUC) Fuel Dispute Process Clarification [ERCOT] - NPRR971, Replacing the Real-Time Average Incremental Energy Cost [ERCOT] - NPRR974, Capacity Insufficiency Operating Condition Notice (OCN) Transparency [TCPA] - NPRR977, Create MIS Posting for RUC Cancellations [ERCOT] - NPRR978, Alignment with Amendments to PUCT Substantive Rule 25.505 [ERCOT] - NPRR980, Accounting for NSO Forced Outages and GINR Inactive Projects in the Report on the Capacity, Demand and Reserves in the ERCOT Region [ERCOT] - NPRR982, Alignment of Block Load Transfer (BLT) Requirements Between Protocols and Nodal Operating Guide [ERCOT] - NPRR985, Modify Forward Adjustment Factors to Include Pricing for the Current Operating Day [ERCOT] - NPRR986, BESTF-2 Energy Storage Resource Energy Offer Curves, Pricing, Dispatch, and Mitigation - URGENT [ERCOT] - NPRR988, Correction to Conditions for DAM Award Eligibility for PTP Obligations with Links to an Option – URGENT [ERCOT] - SCR806, Adding QSE and DME Information to Disclosure Reports [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2970 ERCOT Impact Analysis: Between $100k and $200k; no impacts to ERCOT staffing; impacts Market Management System (MMS), Data and Information Products (DAIP), External Public, and Data Access & Transparency; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR creates a new process for determining the Mitigated Offer Cap (MOC) for Reliability Must-Run (RMR) Resources. PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR826 as amended by the 11/12/19 Joint comments. The Independent Power Marketer (IPM) Market Segment was not present for the vote. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR826 with a recommended priority of 2020 and rank of 2970. - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] Proposed Effective Date: March 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR includes the following revisions to improve the effectiveness of the RMR process: (1) deletes the requirement for an RMR Unit to submit O&M estimates as described in paragraph (12) of Section 5.6.1, Verifiable Costs, given that the RMR Resource Entity is obligated to submit this data as described in paragraph (4)(iv) of Section 3.14.1.11, Budgeting Eligible Costs; and (2) cancels the requirement for RMR Resources to submit quarterly O&M updates. PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR838 as amended by the 10/2/19 ERCOT comments. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR838. - NPRR955, Define Limited Impact Remedial Action Scheme (RAS) [ERCOT] Proposed Effective Date: October 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR defines a Limited Impact Remedial Action Scheme (RAS) to accommodate North American Reliability Corporation (NERC) Reliability Standard PRC-012-2, Remedial Action Schemes. PRS Decision: On 12/12/19, PRS unanimously voted to recommend approval of NPRR955 as amended by the 12/3/19 ERCOT comments. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR955, with a recommended effective date of October 1, 2020. - NPRR963, Base Point Deviation Settlement and Deployment Performance Metrics for Energy Storage Resources (Combo Model) [Tenaska Power Services] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2815 ERCOT Impact Analysis: Between $150k and $200k; no impacts to ERCOT staffing; impacts DAIP, Market Settlements (S&B), Energy Management System (EMS), BI & Data Analytics, and Integration; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR allows for the two components of an Energy Storage Resource (ESR) to be considered in aggregate for the purposes of Generation Resource Energy Deployment Performance (GREDP) scoring, Controllable Load Resource Energy Deployment Performance (CLREDP) scoring, and Settlement of Base Point Deviation Charges. PRS Decision: On 11/13/19, PRS voted to recommend approval of NPRR963 as amended by the 10/11/19 ERCOT comments. There were two abstentions from the Independent Generator (Luminant) and Consumer (Occidental) Market Segments. The IPM Market Segment was not present for the vote. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report as amended by the 12/4/19 ERCOT comments and the Impact Analysis for NPRR963 with a recommended priority of 2020 and rank of 2815. - NPRR964, Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Data Access & Transparency; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR improves the RMR process and removes the term Synchronous Condenser Unit and its related Agreement. PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR964 as amended by the 9/24/19 ERCOT comments. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR964. - NPRR967, Remove the 10 MW Limit from the Definition of Limited Duration Resource (LDR) [Advanced Power Alliance] Proposed Effective Date: March 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the definition of Limited Duration Resource (LDR) to remove the 10 MW limit. PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR967 as amended by the 10/2/19 APA comments. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report as amended by the 12/4/19 Broad Reach Power comments and Impact Analysis for NPRR967. - NPRR970, Reliability Unit Commitment (RUC) Fuel Dispute Process Clarification [ERCOT] Proposed Effective Date: March 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR and the related Verifiable Cost Manual Revision Request (VCMRR) 026, Related to NPRR970, Reliability Unit Commitment (RUC) Fuel Dispute Process Clarification, update and clarify language between the Protocols and the Verifiable Cost Manual related to the fuel dispute process. PRS Decision: On 12/12/19, PRS unanimously voted to recommend approval of NPRR970 as submitted. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR970. - NPRR971, Replacing the Real-Time Average Incremental Energy Cost [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2950 ERCOT Impact Analysis: Between $60k and $90k; no impacts to ERCOT staffing; impacts to S&B; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR replaces the Average Incremental Energy Cost (AIEC) used in Real-Time Settlements with the Energy Offer Curve cost caps. PRS Decision: On 11/13/19, PRS voted to recommend approval of NPRR971 as amended by the 11/12/19 Luminant comments. There was one abstention from the Consumer (OPUC) Market Segment. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR971 with a recommended priority of 2020 and rank of 2950. - NPRR974, Capacity Insufficiency Operating Condition Notice (OCN) Transparency [TCPA] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2980 ERCOT Impact Analysis: Between $50k and $80k; no impacts to ERCOT staffing; impacts to DAIP, MMS, and External Public; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to include additional data about the amount of the projected capacity available in the Short-Term System Adequacy Report. PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR974 as amended by the 11/11/19 ERCOT comments. The IPM Market Segment was not present for the vote. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR974 with a recommended priority of 2020 and rank of 2980. - NPRR977, Create MIS Posting for RUC Cancellations [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2960 ERCOT Impact Analysis: Between $20k and $40k; no impacts to ERCOT staffing; impacts to DAIP, MMS, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR will post to the Market Information System (MIS) a report to communicate RUCs that have been cancelled by the ERCOT Operator. PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR977 as submitted. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR977 with a recommended priority of 2020 and a rank of 2960. - NPRR978, Alignment with Amendments to PUCT Substantive Rule 25.505 [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 240 ERCOT Impact Analysis: Between $65k and $95k; no impacts to ERCOT staffing; impacts to DAIP, Data Access & Transparency, MMS, EMS, and External Public; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR incorporates a number of revisions to address recent changes made to P.U.C. Subst. R. 25.505, Reporting Requirements and the Scarcity Pricing Mechanism in the Electric Reliability Council of Texas Power Region, in Public Utility Commission of Texas (PUCT) Project No. 48721, Rulemaking Proceeding To Amend 16 TAC 25.505, Relating to Resource Adequacy in the Electric Reliability Council of Texas Power Region and to Repeal 16 TAC 25.508, Relating to the High System-Wide Offer Cap in the Electric Reliability Council of Texas Power Region. PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR978 as submitted. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR978 with a recommended priority of 2020 and rank of 240. - NPRR980, Accounting for NSO Forced Outages and GINR Inactive Projects in the Report on the Capacity, Demand and Reserves in the ERCOT Region [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR makes two changes to the Report on the Capacity, Demand and Reserves in the ERCOT Region (“CDR”). First, it clarifies that Forced Outages greater than 180 days, submitted through a Notification of Suspension of Operations (NSO), should be excluded from the CDR capacity estimates for the expected duration of the Forced Outages. Second, Planning Guide Revision Request (PGRR) 066, Interconnection Request Cancellation and Creation of Inactive Status, which was approved by the ERCOT Board in December 2018, creates a new “Inactive” status for Generation Interconnection and Change Request (GINR) projects. This NPRR addresses the resulting reporting gap by specifying how “Inactive” GINR projects, as well as “Cancelled” projects, are to be treated in the CDR. PRS Decision: On 12/12/19, PRS voted to recommend approval of NPRR980 as amended by the 11/11/19 WMS comments. There was one abstention from the Consumer (Occidental) Market Segment. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR980. - NPRR982, Alignment of Block Load Transfer (BLT) Requirements Between Protocols and Nodal Operating Guide [ERCOT] Proposed Effective Date: March 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides clarity to Market Participants and to ERCOT Staff by clarifying Block Load Transfer (BLT) treatment and by eliminating conflicting language in the Protocols and the Nodal Operating Guide, ensuring that a deployment of a BLT will be appropriately compensated. PRS Decision: On 12/12/19, PRS unanimously voted to recommend approval of NPRR982 as submitted. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and the Impact Analysis for NPRR982. - NPRR985, Modify Forward Adjustment Factors to Include Pricing for the Current Operating Day [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2760 ERCOT Impact Analysis: Less than $10k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management (CMM); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the time period used to compute the forward adjustment factor components of the Total Potential Exposure (TPE) calculation to clarify that the three forward weeks commence on the applicable Operating Day, rather than following the Operating Day. PRS Decision: On 12/12/19, PRS unanimously voted to recommend approval of NPRR985 as submitted. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR985 with a recommended priority of 2020 and rank of 2760. Credit WG Review: See 1/15/20 Credit WG comments - NPRR986, BESTF-2 Energy Storage Resource Energy Offer Curves, Pricing, Dispatch, and Mitigation - URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2950 ERCOT Impact Analysis: Between $200k and $300k; no impacts to ERCOT staffing; impacts to S&B, MMS, EMS, DAIP, and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR codifies concepts described in two Battery Energy Storage Task Force (BESTF) Key Topics and Concepts (KTCs), which received consensus support at BESTF and were approved by the Technical Advisory Committee (TAC) at its November 20, 2019, meeting related to ESR Energy Offer Curves, pricing, Dispatch, and mitigation. PRS Decision: On 1/16/20, PRS unanimously voted to grant NPRR986 Urgent status. PRS then unanimously voted to recommend approval of NPRR986 as amended by the 1/9/20 WMS comments as revised by PRS; and to forward NPRR986 and the Impact Analysis to TAC with a recommended priority of 2020 and rank of 2765. - NPRR988, Correction to Conditions for DAM Award Eligibility for PTP Obligations with Links to an Option - URGENT [ERCOT] Proposed Effective Date: March 1, 2020 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR allows for the correct and intended implementation of NPRR929, PTP Obligations with Links to an Option DAM Award Eligibility, by replacing the word “or” with “and” in paragraph (1)(b)(i) of Section 4.4.6.3, PTP Obligations with Links to an Option DAM Award Eligibility, to clarify that both conditions in paragraphs (1)(b)(i) and (1)(b)(ii) of Section 4.4.6.3 are necessary for determining whether a Point-to-Point (PTP) Obligation with Links to an Option bid is eligible to be awarded. PRS Decision: On 12/12/19, PRS unanimously voted to grant NPRR988 Urgent status. PRS then unanimously voted to recommend approval of NPRR988 as submitted, and to forward NPRR988 and the Impact Analysis to TAC. - SCR806, Adding QSE and DME Information to Disclosure Reports [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2020; Rank 250 ERCOT Impact Analysis: Between $65k and $95k; no impacts to ERCOT staffing; impacts to DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR adds the Qualified Scheduling Entity (QSE) and Decision Making Entity (DME) columns to each individual disclosure report with Resource-specific offer information as specified by P.U.C. Subst. R. 25.505, Reporting Requirements and the Scarcity Pricing Mechanism in the Electric Reliability Council of Texas Power Region. PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of SCR806 as submitted. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and the Impact Analysis for SCR806 with a recommended priority of 2020 and rank of 250. Revision Requests Rejected None Revision Requests Withdrawn - NPRR938, Distribution Voltage Level Block Load Transfer (BLT) Compensation [GSEC] - NPRR946, Allow TDSPs to Use 814_28, Complete Un-executable Transactions for 814_03 Switch Transactions Involved In A Mass Transition Event [TX SET WG] - NPRR976, Provisions for Resource Entities to Act as a Virtual QSE or Emergency QSE [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the February 13, 2020 PRS Meeting - NPRR903, Day-Ahead Market Timing Deviations [ERCOT] - NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer [ERCOT] - NPRR990, Relocation of Combined Cycle Train to Resource Attribute [ERCOT] - SCR807, Increase CRR Transaction Capability [DC Energy] - SCR808, Congestion Revenue Right Time Of Use Transaction Limits in Long-Term Auction Sequence Auctions [DC Energy] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR933, Reporting of Demand Response by Retail Electric Providers and Non-Opt-In Entities [ERCOT] - NPRR945, Net Metering Requirements [TIEC] - NPRR947, Clarification to Ancillary Service Supply Responsibility Definition and Improvements to Determining and Charging for Ancillary Service Failed Quantities [ERCOT] - NPRR953, Addition of Relay Loadability Rating Definition [ERCOT] - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR966, Changes to Support Reactive Power Coordination Tool [ERCOT] - NPRR975, Load Forecast Model Transparency - NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR983, Delete Remaining Grey-Boxed Language Associated with NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs and Changes to Posting Requirements of Documents Considered CEII [ERCOT] - NPRR984, Change ERS Standard Contract Terms [ERCOT] - NPRR987, BESTF-3 Energy Storage Resource Contribution to Physical Responsive Capability and Real-Time On-Line Reserve Capacity Calculations [ERCOT] - NPRR989, BESTF-1 Energy Storage Resource Technical Requirements [ERCOT] New Revision Requests Scheduled for Consideration at the February 13, 2020 PRS Meeting - SCR809, Changes to External Telemetry Validations in Resource Limit Calculator [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr