## Slide 1
Item 8: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
January 29, 2020

## Slide 2: Summary of PRS Update
2020 PRS Leadership
Chair: Martha Henson, Oncor
Vice Chair: Melissa Trevino, Occidental Chemical
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR838, Updated O&M Cost for RMR Resources [ERCOT]*
NPRR955, Define Limited Impact Remedial Action Scheme (RAS) [ERCOT]*
NPRR967, Remove the 10 MW Limit from the Definition of Limited Duration Resource (LDR) [Advanced Power Alliance]*
NPRR970, Reliability Unit Commitment (RUC) Fuel Dispute Process Clarification [ERCOT]*
NPRR982, Alignment of Block Load Transfer (BLT) Requirements Between Protocols and Nodal Operating Guide [ERCOT]*
NPRR988, Correction to Conditions for DAM Award Eligibility for PTP Obligations with Links to an Option - URGENT [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup]
  IA: Between $100k and $200k Priority 2020; Rank 2970
NPRR963, Base Point Deviation Settlement and Deployment Performance Metrics for Energy Storage Resources (Combo Model) [Tenaska Power Services]
  IA: Between $150k and $200k Priority 2020; Rank 2815
NPRR964, Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement [ERCOT]
  IA: Less than $5k (O&M) Priority n/a; Rank n/a
NPRR971, Replacing the Real-Time Average Incremental Energy Cost [ERCOT]
  IA: Between $60k and $90k Priority 2020; Rank 2950

## Slide 4: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR974, Capacity Insufficiency Operating Condition Notice (OCN) Transparency [TCPA]
  IA: Between $50k and $80k Priority 2020; Rank 2980
NPRR977, Create MIS Posting for RUC Cancellations [ERCOT]
  IA: Between $20k and $40k Priority 2020; Rank 2960
NPRR978, Alignment with Amendments to PUCT Substantive Rule 25.505 [ERCOT]
  IA: Between $65k and $95k Priority 2020; Rank 240
NPRR980, Accounting for NSO Forced Outages and GINR Inactive Projects in the Report on the Capacity, Demand and Reserves in the ERCOT Region [ERCOT]
  IA: Less than $5k (O&M) Priority n/a; Rank n/a

## Slide 5: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR985, Modify Forward Adjustment Factors to Include Pricing for the Current Operating Day [ERCOT]
  IA: Less than $10k Priority 2020; Rank 2760
NPRR986, BESTF-2 Energy Storage Resource Energy Offer Curves, Pricing, Dispatch, and Mitigation - URGENT [ERCOT]
  IA: Between $200k and $300k Priority 2020; Rank 2950
SCR806, Adding QSE and DME Information to Disclosure Reports [ERCOT]
  IA: Between $65k and $95k Priority 2020; Rank 250

## Slide 6: Appendix

## Slide 7: NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2970
ERCOT Impact Analysis: Between $100k and $200k; no impacts to ERCOT staffing; impacts Market Management System (MMS), Data and Information Products (DAIP), External Public, and Data Access & Transparency; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR creates a new process for determining the Mitigated Offer Cap (MOC) for Reliability Must-Run (RMR) Resources.
PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR826 as amended by the 11/12/19 Joint comments. The Independent Power Marketer (IPM) Market Segment was not present for the vote. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR826 with a recommended priority of 2020 and rank of 2970.

## Slide 8: NPRR838, Updated O&M Cost for RMR Resources [ERCOT]
Proposed Effective Date: March 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR includes the following revisions to improve the effectiveness of the RMR process: (1) deletes the requirement for an RMR Unit to submit O&M estimates as described in paragraph (12) of Section 5.6.1, Verifiable Costs, given that the RMR Resource Entity is obligated to submit this data as described in paragraph (4)(iv) of Section 3.14.1.11, Budgeting Eligible Costs; and (2) cancels the requirement for RMR Resources to submit quarterly O&M updates.
PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR838 as amended by the 10/2/19 ERCOT comments. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR838.

## Slide 9: NPRR955, Define Limited Impact Remedial Action Scheme (RAS) [ERCOT]
Proposed Effective Date: October 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR defines a Limited Impact Remedial Action Scheme (RAS) to accommodate North American Reliability Corporation (NERC) Reliability Standard PRC-012-2, Remedial Action Schemes.
PRS Decision: On 12/12/19, PRS unanimously voted to recommend approval of NPRR955 as amended by the 12/3/19 ERCOT comments. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR955, with a recommended effective date of October 1, 2020.

## Slide 10: NPRR963, Base Point Deviation Settlement and Deployment Performance Metrics for Energy Storage Resources (Combo Model) [Tenaska Power Services]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2815
ERCOT Impact Analysis: Between $150k and $200k; no impacts to ERCOT staffing; impacts DAIP, Market Settlements (S&B), Energy Management System (EMS), BI & Data Analytics, and Integration; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR allows for the two components of an Energy Storage Resource (ESR) to be considered in aggregate for the purposes of Generation Resource Energy Deployment Performance (GREDP) scoring, Controllable Load Resource Energy Deployment Performance (CLREDP) scoring, and Settlement of Base Point Deviation Charges.
PRS Decision: On 11/13/19, PRS voted to recommend approval of NPRR963 as amended by the 10/11/19 ERCOT comments. There were two abstentions from the Independent Generator (Luminant) and Consumer (Occidental) Market Segments. The IPM Market Segment was not present for the vote. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report as amended by the 12/4/19 ERCOT comments and the Impact Analysis for NPRR963 with a recommended priority of 2020 and rank of 2815.

## Slide 11: NPRR964, Improvement of RMR Process and Removal of Synchronous Condenser Unit and Agreement [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Data Access & Transparency; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR improves the RMR process and removes the term Synchronous Condenser Unit and its related Agreement.
PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR964 as amended by the 9/24/19 ERCOT comments. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR964.

## Slide 12: NPRR967, Remove the 10 MW Limit from the Definition of Limited Duration Resource (LDR) [Advanced Power Alliance]
Proposed Effective Date: March 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR modifies the definition of Limited Duration Resource (LDR) to remove the 10 MW limit.
PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR967 as amended by the 10/2/19 APA comments. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report as amended by the 12/4/19 Broad Reach Power comments and Impact Analysis for NPRR967.

## Slide 13: NPRR970, Reliability Unit Commitment (RUC) Fuel Dispute Process Clarification [ERCOT]
Proposed Effective Date: March 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR and the related Verifiable Cost Manual Revision Request (VCMRR) 026, Related to NPRR970, Reliability Unit Commitment (RUC) Fuel Dispute Process Clarification, update and clarify language between the Protocols and the Verifiable Cost Manual related to the fuel dispute process.
PRS Decision: On 12/12/19, PRS unanimously voted to recommend approval of NPRR970 as submitted. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR970.

## Slide 14: NPRR971, Replacing the Real-Time Average Incremental Energy Cost [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2950
ERCOT Impact Analysis: Between $60k and $90k; no impacts to ERCOT staffing; impacts to S&B; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR replaces the Average Incremental Energy Cost (AIEC) used in Real-Time Settlements with the Energy Offer Curve cost caps.
PRS Decision: On 11/13/19, PRS voted to recommend approval of NPRR971 as amended by the 11/12/19 Luminant comments. There was one abstention from the Consumer (OPUC) Market Segment. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR971 with a recommended priority of 2020 and rank of 2950.

## Slide 15: NPRR974, Capacity Insufficiency Operating Condition Notice (OCN) Transparency [TCPA]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2980
ERCOT Impact Analysis: Between $50k and $80k; no impacts to ERCOT staffing; impacts to DAIP, MMS, and External Public; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR requires ERCOT to include additional data about the amount of the projected capacity available in the Short-Term System Adequacy Report.
PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR974 as amended by the 11/11/19 ERCOT comments. The IPM Market Segment was not present for the vote. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR974 with a recommended priority of 2020 and rank of 2980.

## Slide 16: NPRR977, Create MIS Posting for RUC Cancellations [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2960
ERCOT Impact Analysis: Between $20k and $40k; no impacts to ERCOT staffing; impacts to DAIP, MMS, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR will post to the Market Information System (MIS) a report to communicate RUCs that have been cancelled by the ERCOT Operator.
PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR977 as submitted. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR977 with a recommended priority of 2020 and a rank of 2960.

## Slide 17: NPRR978, Alignment with Amendments to PUCT Substantive Rule 25.505 [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 240
ERCOT Impact Analysis: Between $65k and $95k; no impacts to ERCOT staffing; impacts to DAIP, Data Access & Transparency, MMS, EMS, and External Public; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR incorporates a number of revisions to address recent changes made to P.U.C. Subst. R. 25.505, Reporting Requirements and the Scarcity Pricing Mechanism in the Electric Reliability Council of Texas Power Region, in Public Utility Commission of Texas (PUCT) Project No. 48721, Rulemaking Proceeding To Amend 16 TAC 25.505, Relating to Resource Adequacy in the Electric Reliability Council of Texas Power Region and to Repeal 16 TAC 25.508, Relating to the High System-Wide Offer Cap in the Electric Reliability Council of Texas Power Region.
PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of NPRR978 as submitted. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and Impact Analysis for NPRR978 with a recommended priority of 2020 and rank of 240.

## Slide 18: NPRR980, Accounting for NSO Forced Outages and GINR Inactive Projects in the Report on the Capacity, Demand and Reserves in the ERCOT Region [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR makes two changes to the Report on the Capacity, Demand and Reserves in the ERCOT Region (“CDR”). First, it clarifies that Forced Outages greater than 180 days, submitted through a Notification of Suspension of Operations (NSO), should be excluded from the CDR capacity estimates for the expected duration of the Forced Outages. Second, Planning Guide Revision Request (PGRR) 066, Interconnection Request Cancellation and Creation of Inactive Status, which was approved by the ERCOT Board in December 2018, creates a new “Inactive” status for Generation Interconnection and Change Request (GINR) projects. This NPRR addresses the resulting reporting gap by specifying how “Inactive” GINR projects, as well as “Cancelled” projects, are to be treated in the CDR.
PRS Decision: On 12/12/19, PRS voted to recommend approval of NPRR980 as amended by the 11/11/19 WMS comments. There was one abstention from the Consumer (Occidental) Market Segment. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR980.

## Slide 19: NPRR982, Alignment of Block Load Transfer (BLT) Requirements Between Protocols and Nodal Operating Guide [ERCOT]
Proposed Effective Date: March 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR provides clarity to Market Participants and to ERCOT Staff by clarifying Block Load Transfer (BLT) treatment and by eliminating conflicting language in the Protocols and the Nodal Operating Guide, ensuring that a deployment of a BLT will be appropriately compensated.
PRS Decision: On 12/12/19, PRS unanimously voted to recommend approval of NPRR982 as submitted. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and the Impact Analysis for NPRR982.

## Slide 20: NPRR985, Modify Forward Adjustment Factors to Include Pricing for the Current Operating Day [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2760
ERCOT Impact Analysis: Less than $10k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management (CMM); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR modifies the time period used to compute the forward adjustment factor components of the Total Potential Exposure (TPE) calculation to clarify that the three forward weeks commence on the applicable Operating Day, rather than following the Operating Day.
PRS Decision: On 12/12/19, PRS unanimously voted to recommend approval of NPRR985 as submitted. On 1/16/20, PRS unanimously voted to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR985 with a recommended priority of 2020 and rank of 2760.
Credit WG Review: See 1/15/20 Credit WG comments

## Slide 21: NPRR986, BESTF-2 Energy Storage Resource Energy Offer Curves, Pricing, Dispatch, and Mitigation - URGENT [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 2950
ERCOT Impact Analysis: Between $200k and $300k; no impacts to ERCOT staffing; impacts to S&B, MMS, EMS, DAIP, and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR codifies concepts described in two Battery Energy Storage Task Force (BESTF) Key Topics and Concepts (KTCs), which received consensus support at BESTF and were approved by the Technical Advisory Committee (TAC) at its November 20, 2019, meeting related to ESR Energy Offer Curves, pricing, Dispatch, and mitigation.
PRS Decision: On 1/16/20, PRS unanimously voted to grant NPRR986 Urgent status. PRS then unanimously voted to recommend approval of NPRR986 as amended by the 1/9/20 WMS comments as revised by PRS; and to forward NPRR986 and the Impact Analysis to TAC with a recommended priority of 2020 and rank of 2765.

## Slide 22: NPRR988, Correction to Conditions for DAM Award Eligibility for PTP Obligations with Links to an Option - URGENT [ERCOT]
Proposed Effective Date: March 1, 2020
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR allows for the correct and intended implementation of NPRR929, PTP Obligations with Links to an Option DAM Award Eligibility, by replacing the word “or” with “and” in paragraph (1)(b)(i) of Section 4.4.6.3, PTP Obligations with Links to an Option DAM Award Eligibility, to clarify that both conditions in paragraphs (1)(b)(i) and (1)(b)(ii) of Section 4.4.6.3 are necessary for determining whether a Point-to-Point (PTP) Obligation with Links to an Option bid is eligible to be awarded.
PRS Decision: On 12/12/19, PRS unanimously voted to grant NPRR988 Urgent status. PRS then unanimously voted to recommend approval of NPRR988 as submitted, and to forward NPRR988 and the Impact Analysis to TAC.

## Slide 23: SCR806, Adding QSE and DME Information to Disclosure Reports [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2020; Rank 250
ERCOT Impact Analysis: Between $65k and $95k; no impacts to ERCOT staffing; impacts to DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR adds the Qualified Scheduling Entity (QSE) and Decision Making Entity (DME) columns to each individual disclosure report with Resource-specific offer information as specified by P.U.C. Subst. R. 25.505, Reporting Requirements and the Scarcity Pricing Mechanism in the Electric Reliability Council of Texas Power Region.
PRS Decision: On 11/13/19, PRS unanimously voted to recommend approval of SCR806 as submitted. The IPM Market Segment was not present for the vote. On 12/12/19, PRS unanimously voted to endorse and forward to TAC the 11/13/19 PRS Report and the Impact Analysis for SCR806 with a recommended priority of 2020 and rank of 250.

## Slide 24: 2019 Releases – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/5 – 2/7 | April 4/2 – 4/4 | May 5/28 – 5/30 | August 8/6 – 8/8 | October 10/15 – 10/17 | December 12/10 – 12/12
NPRR842 NPRR858 NPRR878 SCR794 PGRR057(b) OBDRR011 RMGRR156 PGRR062 NPRR916(a) | NPRR809(b) NPRR817 NPRR833(a/b) NPRR845 NPRR847 NPRR865 NPRR866 NPRR880 VCMRR021 RRGRR017 VCMRR022 NPRR877 Ph1 NPRR833(c) NPRR749 | NPRR901 NPRR910 NPRR912 NPRR916(b) NOGRR174 OBDRR010 NPRR909 NPRR519 NPRR620 NPRR741 NPRR755 NOGRR154 | NPRR925 SCR793 SCR796 SCR798 OBDRR003 OBDRR014 NPRR821 PGRR066 NPRR899 | NPRR895 NPRR914 NPRR923 OBDRR007 PGRR061 PGRR070(a) RR917(a) NPRR889 RMGRR155 RRGRR018 NPRR921 NOGRR185 PGRR069 | NPRR911 NPRR952 NPRR972 PGRR072 NPRR920
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
NPRR809(b) – Reporting/posting system changes
NPRR833(a/b) – DAM/SCED system changes
NPRR833(c) – CRR system changes
NPRR916(a) – Mitigated Offer Floor to $0/MWh
NPRR916(b) – Mitigated Offer Floor to -$20/MWh
PGRR057(b) – List of GMD event contingencies
PGRR070(a) – Sect. 3.1.8, paragraphs (1) and (2)
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
7/1
6/2
ü
ü
CMM Release 1b
5/1
1/22
3/26
ü
ü
ü
ü
ü
ü
ü
TBD Items | 2017 | 2018 | 2019
 | NPRR702, NPRR829 | NPRR825(b), NPRR867, NPRR841 | NPRR887,NPRR904,OBDRR009,NPRR905,NPRR936,NPRR939,NPRR951, PGRR066,SCR804
3/1
3/5
5/6 – 5/7
12/9
RARF (SCR781)
Testing/Training of View/Update
(Go-Live in April 2020)
ü
R1
R2
R3
R4
R5
R6
ü
4/10
ü
ü
6/15
ü
ü
ü
ü
ü
ü
ü
ü
ü
6/1
9/1
ü
ü
ü
ü
ü
ü
ü
ü
ü
8/1
ü
10/18
11/1
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
12/16
ü
ü
ü
ü
ü

## Slide 25: 2020 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/4 – 2/6 | April 3/31 – 4/2 | May 5/26 – 5/28 | August 8/4 – 8/6 | October 10/13 – 10/15 | December 12/8 – 12/10
NPRR873 SCR797 NPRR877 Ph2 NPRR968 NPRR873 SCR797 NPRR943 NPRR863 Ph1 OBDRR011 | SCR802 NPRR929 SCR781(a) RRGRR016 RRGRR019 | NPRR856 NPRR884 NPRR935 OBDRR006 SCR803 | NPRR902 NPRR905 NPRR951 SCR804 | NPRR936 MMS/OS Refresh | SCR799 NPRR857 NPRR863 Ph2 NPRR885 NPRR917 PGRR070(b) SCR781(b)
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
NS
R1
R2
R3
R4
R5
R6
3/1
NPRR863 Ph1 – FFR portion
NPRR863 Ph2 – ECRS portion
PGRR070(b) – Remaining PGRR language
SCR781(a) – View / Edit capability
SCR781(b) – Add capability
MMS/OS Upgrade “Chill”
MMS/OS Upgrade “Freeze”
April
RARF Go-Live for View/Update
E
P
E
E
E
E
E
E
P
P
P
P
NS
November
Off-Cycle
1/1
Future Year Go-Live Targets
2021
2022
NS
NS
NS
I
NS
E
E
September
Off-Cycle
NS
NS
NS
I
1/9 1/19
E
ü
ü