## Sheet1
AMS vs IDR Meter applications |  | Oncor | CNP | AEP | TNMP
1 | Where applicable, what is the current meter asset being utilized for BUSIDRRQ premises? | AMS | IDR | IDR | AMS
2 | Where applicable, does the TDSP have any plans to replace tranditional IDR meters with AMS technology? | N/A |  |  | N/A
3 | Under what circumstances will a traditional IDR meter remain as the TDSP asset of choice for premises > 700 kW?
Upon approval and effectuation of base rate cases - Dockets # 49421 (CNP) and #49494 (AEP)... All TDSPs should no longer determine the applicability of 4CP billing with the load profile (B
3 | Will 4CP billing be determined by the load profile (BUSIDRRQ) for NEW premises once historical data is available?
4 | Will 4CP billing be determined by the load profile (BUSIDRRQ) for EXISTING premises that do not meet the 700 kW threshold?
5 | Will 4CP billing be determined by the load profile (BUSIDRRQ) for EXISTING premises that meet the 700 kW threshold?
For NEW premises
5 | Where applicable, will the TDSPs continue with the installation of an IDR meter/BUSIDRRQ profile if the threshold > 700 kW is expected?
6 | If applicable, does the customer have the option to establish an AMS meter with a BUS profile if expected to exceed 700 kW?
For EXISTING premises
7 | For those premises who are grandfathered on the BUSIDRRQ profile w/ threshold below 700 kW, may they request AMS meters and remain under 4CP billing ?
8 | If a premise has exceeded the 700 kW threshold and requested to remain on an BUSHI/MED/LO profile and a MVO is issued, will the premise return to a BUSIDRRQ profile upon the MVI of another customer?
9 | Where applicable , if a premise currently has a traditional IDR meter and the customer requests an AMS meter, will the TDSP replace the IDR meter with an AMS meter (assuming factors in Q3 doe not apply)?
10 | Current number of BUSIDRRQ profiles in ERCOT | 7058 | 4611 | 1104 | 352
DISCUSSION ITEMS:
1 | Current number of true IDR meters in ERCOT
2 | Considerations if AMS metering became the default meter installation:
a) | - ERCOT's ability to 'quickly poll' peak demands of larger customers
b) | - TDSP system compatibility
c) | - availability of 4CP for customer request (customers < 700 kW)
d) | - settlement data available for initial settlement
e) | -transparency of customer DG (updating of profiles)
f) | -any impacts on RIDs?
4 | Estimated number of installations that would remain as true IDR meters