| NPRR Number | 955 | NPRR Title | Define Limited Impact Remedial Action Scheme (RAS) |
| --- | --- | --- | --- |
| Date of Decision |  | January 29, 2020 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | October 1, 2020 |  |
| Priority and Rank Assigned |  | Not Applicable |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Nodal Operating Guide Revision Request (NOGRR) 183, Remedial Action Scheme (RAS) Submittal and Review Requirements |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) defines a Limited Impact RAS to accommodate North American Reliability Corporation (NERC) Reliability Standard PRC-012-2, Remedial Action Schemes. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The initial submission of NOGRR183 did not provide for consideration of a RAS designated as a Limited Impact RAS, as defined by NERC Reliability Standard PRC-012-2. This NPRR defines Limited Impact RAS for use in the Nodal Operating Guides. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR955 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 7/17/19, PRS voted unanimously to table NPRR955 and refer the issue to ROS. All Market Segments were present for the vote. On 12/12/19, PRS voted unanimously to recommend approval of NPRR955 as amended by the 12/3/19 ERCOT comments. All Market Segments were present for the vote. On 1/16/20, PRS voted unanimously to endorse and forward to TAC the 12/12/19 PRS Report and Impact Analysis for NPRR955, with a recommended effective date of October 1, 2020. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 7/17/19, participants requested NPRR955 be reviewed with NOGRR183 at ROS. On 12/12/19, participants discussed an effective date of October 1, 2020 for NPRR955 as proposed by the 12/9/19 ROS comments. On 1/16/20, there was no discussion. |  |
| TAC Decision |  | On 1/29/20, TAC voted unanimously to recommend approval of NPRR955 as recommended by PRS in the 1/16/20 PRS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 1/29/20, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR955. |  |

| Sponsor |  |
| --- | --- |
| Name | Freddy Garcia |
| E-mail Address | Freddy.Garcia@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4245 |
| Cell Number |  |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 080919 | Requested PRS continue to table NPRR955 to allow for further review by the Operations Working Group (OWG) and Planning Working Group (PLWG) |
| ERCOT 120319 | Proposed clarifications to the definition of RAS and proposed new defined term RAS Entity |
| ROS 120919 | Endorsed NPRR955 as amended by the 12/3/19 ERCOT comments; proposed effective date of October 1, 2020 |

Market Rules Notes

Please note that administrative changes to the language were made and authored as “ERCOT Market Rules.”

Proposed Protocol Language Revision

## 2.1	DEFINITIONS

Limited Impact Remedial Action Scheme (RAS) (see Remedial Action Scheme (RAS))

- Remedial Action Scheme (RAS)

A scheme designed to detect predetermined ERCOT System conditions and automatically take corrective actions on areas of the ERCOT System that are part of the Bulk Electric System, as that term is defined in the North American Electric Reliability Corporation (NERC) Glossary of Terms Used in NERC Reliability Standards.  These corrective actions include, but are not limited to, adjusting or tripping generation (MW and MVAr), tripping Load, or reconfiguring a System(s) to maintain a secure system.  RASs do not include under-frequency or under voltage Load shedding, the isolation of fault conditions, or out-of-step relaying (not designed as an integral part of an RAS).  RASs shall not be implemented on Interconnection Reliability Operating Limits (IROLs).  Additional criteria that are excluded from being classified as RAS are outlined in the Operating Guides.

Limited Impact Remedial Action Scheme (RAS)

A RAS that by inadvertent operation or failure to operate does not cause or contribute to ERCOT System cascading, uncontrolled separation, angular instability, voltage instability, voltage collapse, or unacceptably damped oscillations.

Remedial Action Scheme (RAS) Entity

Any Market Participant that owns Facilities that are included in a RAS.