## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: Jimmy Jackson, CPS
ROS
February 6th, 2020

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    1 FME in the month of December
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 1/14/2020
  Southern Cross DC Tie – Directive 3, DC Tie Ramping Limits
    Discuss Protocol Changes (ERCOT White Paper)
  NPRR 863 (Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve) Update from ERCOT
    Methodology to Calculate RRS Limits Procedure (Approved August 2019 PDCWG)
    NPRR 863 takes effect March 1, 2020
    ERCOT Webex on January 28, 2020
  Proposal: Limiting Generator RRS Bids/Offers Based on Inertia Forecast (Update from November 2019)
  BAL-001-TRE: SAR-12
  Regulation & Frequency Control Reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 1 FME in December
  12/29/2019 22:27:23
    Loss of 458 MW
    Interconnection Frequency Response: 1056 MW/0.1 Hz
    6 of 36 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    5 of 36 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 918.14 MW/0.1Hz
Frequency Response Obligation (FRO): 381 MW/0.1 Hz

## Slide 7: Frequency Control Report
November 2019

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15: ERCOT Total Energy from Solar Generation

## Slide 16: ERCOT % Energy from Solar Generation

## Slide 17
Questions?