## Slide 1
Unregistered Distributed Generation Report:
2019.Q4 Update
Resource Adequacy
2/5/2020

## Slide 2: 2019 Q4 Unregistered Distributed Generation Report
Load Zone | 2019.Q4 Distributed Generation Installed Capacity in MW (AC) |  |  |  |  |  |  |  |  |  | 
 | SOLAR |  | WIND |  | OTHER RENEWABLE |  | OTHER NON-RENEWABLE |  | TOTAL |  | 
 | < 50 kW | ≥ 50 kW | < 50 kW | ≥ 50 kW | < 50 kW | ≥ 50 kW | < 50 kW | ≥ 50 kW | < 50 kW | ≥ 50 kW | Combined
LZ_AEN | 55.19 | 22.59 | - | - | - | - | - | - | 55.19 | 22.59 | 77.78
LZ_CPS | 126.40 | 29.41 | - | - | 0.82 | - | - | 8.06 | 127.22 | 37.47 | 164.69
LZ_HOUSTON | 40.90 | 19.45 | 0.37 | - | - | 0.11 | 0.05 | 4.30 | 41.32 | 23.86 | 65.17
LZ_LCRA | 39.71 | 13.69 | 0.19 | - | - | - | 0.08 | - | 39.98 | 13.69 | 53.67
LZ_NORTH | 159.76 | 33.15 | 1.82 | 1.01 | - | - | - | 0.63 | 161.58 | 34.78 | 196.36
LZ_RAYBN | 6.25 | 1.90 | 0.11 | 0.05 | - | - | - | - | 6.36 | 1.95 | 8.31
LZ_SOUTH | 40.06 | 14.89 | 0.65 | 0.25 | - | - | - | - | 40.71 | 15.14 | 55.85
LZ_WEST | 11.50 | 3.45 | 0.52 | 0.25 | - | - | - | 0.34 | 12.02 | 4.04 | 16.06
TOTAL | 479.76 | 138.52 | 3.67 | 1.56 | 0.82 | 0.11 | 0.13 | 13.32 | 484.38 | 153.51 | 637.89

## Slide 3: Unregistered DG Growth: 2016-Q2* to 2019-Q4
Chart: Reported Unregistered Distributed Generation Capacity
| 2016-Q2 | 2016-Q3 | 2016-Q4 | 2017-Q1 | 2017-Q2 | 2017-Q3 | 2017-Q4 | 2018-Q1 | 2018-Q2 | 2018-Q3 | 2018-Q4 | 2019-Q1 | 2019-Q2 | 2019-Q3 | 2019-Q4
Solar | 87.3396 | 103.7788 | 115.3681 | 130.5694 | 142.7763 | 149.5851 | 157.0284 | 171.2139 | 181.7648 | 200.8108 | 227.1697 | 247.9543 | 296.0503 | 556.2075 | 618.2882
Wind | 3.14 | 3.2231 | 3.543 | 3.448 | 3.5205 | 3.5198 | 4.6427 | 4.5879 | 4.5879 | 4.5841 | 4.5897 | 4.5993 | 4.8744 | 5.1579 | 5.2224
Other Renewable | 0.225 | 0.337 | 0.337 | 0.337 | 0.337 | 0.937 | 0.937 | 0.937 | 0.937 | 0.337 | 0.337 | 0.337 | 0.337 | 0.112 | 0.932
Other Non-Renewable | 4.9509 | 4.9509 | 5.2839 | 5.2201 | 5.3879 | 5.3879 | 5.3879 | 5.3879 | 5.3879 | 5.3879 | 5.3879 | 5.3879 | 5.3879 | 5.4249 | 13.4499
* 2016-Q2 was the first report published after implementation of report changes per NPRR794/COPMGR044
** 2019-Q3 was the first report published after implementation of report changes per NPRR891
Large increase due to reporting requirement change**