## Slide 1: Congestion Management Working Group
February 5, 2020

## Slide 2: 2020 Leadership
Chair: Katie Rich, GSEC
Vice Chair, Sandy Morris, Direct Energy

## Slide 3: 2% Rule Discussion Continued
  CMWG continued its discussions of the 2% rule at its January and February meetings
  ERCOT presented an analysis of why certain constraints were not activated and the congestion rent that would have been associated with activating them
  A market participant proposal would remove the 2% rule from the Transmission and Security Desk Operating procedures
  There was also a concern expressed about DC ties and the need to pass constraints impacting DC ties on to SCED
    To address this issue, an SCR will be filed
  Additional analysis from ERCOT will be discussed at the April meeting
  CMWG will likely be coming to the May or June WMS with more specific feedback

## Slide 4: Pick-up Shift Factor Calculation with Generation Ramping-Back RAS
ERCOT proposed a change to remove the resource with the ramping back action from the pick-up shift factor calculation
It will only impact the calculation on the contingency-disconnected resources when generation ramping back action is triggered in the EMS post-contingency analysis
The pick-up shift factors are also used to calculate real-time (RT) settlement point prices (SPPs) of the physical resource nodes when both resources nodes and resources are disconnected by the contingency and/or Remedial Action Scheme (RAS) action.
This change would be included in the next EMS software release in April

## Slide 5: Open Action Items Review
Southern Cross Directive #7 was discussed by TAC at the January meeting so this assignment is complete at CMWG
With the draft of the Load Distribution Factors (LDF) NPRR, the related items are also complete
    CMWG would, however, like to revise the open action item to include a review of the outcome of the LDFs in the 2021 timeframe