## Slide 1
Reporting on Statistics for
EPS Meter Activity
Feb 12, 2020

## Slide 2: Notices issued August through October 2019
 | August | September | October
Total Notices Issued | 388 | 376 | 345
Total 6 Hours issued | 112 | 126 | 55
Total 12 Hours issued | 128 | 81 | 162
Total 5 days issued | 148 | 169 | 128
Total Notices Issued for IP | 8 | 53 | 61
Total Notices Issued for Phone Line | 380 | 323 | 284
*Indicates sorted by this column in lowest to highest order
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR AUGUST | % OF TOTAL NOTICES ISSUED FOR SEPTEMBER | % OF TOTAL NOTICES ISSUED FOR OCTOBER *
TDSP A | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP B | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP C | 0% | 100% | 0.00% | 0.27% | 0.00%
TDSP L | 100% | 0% | 0.00% | 0.27% | 0.00%
TDSP S | 100% | 0% | 0.00% | 0.27% | 0.00%
TDSP T | 0% | 100% | 0.00% | 0.00% | 0.00%
TDSP U | 0% | 100% | 0.00% | 11.97% | 0.00%
TDSP O | 0% | 100% | 0.26% | 3.19% | 0.00%
TDSP K | 64% | 36% | 1.55% | 0.53% | 0.00%
TDSP M | 100% | 0% | 2.32% | 0.27% | 0.00%
TDSP J | 100% | 0% | 0.00% | 0.00% | 0.87%
TDSP D | 47% | 53% | 2.58% | 0.00% | 0.87%
TDSP H | 100% | 0% | 3.09% | 0.00% | 1.16%
TDSP F | 0% | 100% | 0.00% | 0.27% | 3.19%
TDSP I | 53% | 47% | 2.84% | 8.24% | 4.64%
TDSP R | 85% | 15% | 4.64% | 5.32% | 4.64%
TDSP V | 0% | 100% | 0.00% | 2.93% | 4.93%
TDSP P | 67% | 33% | 6.96% | 5.32% | 11.59%
TDSP E | 100% | 0% | 46.39% | 34.57% | 16.23%
TDSP N | 59% | 41% | 11.86% | 18.09% | 19.42%
TDSP Q | 92% | 8% | 17.53% | 8.51% | 32.46%

## Slide 3: Notices issued November through December 2019
 | November | December
Total Notices Issued | 285 | 349
Total 6 Hours issued | 22 | 91
Total 12 Hours issued | 81 | 127
Total 5 days issued | 182 | 131
Total Notices Issued for IP | 30 | 42
Total Notices Issued for Phone Line | 255 | 307
*Indicates sorted by this column in lowest to highest order
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR NOVEMBER | % OF TOTAL NOTICES ISSUED FOR DECEMBER *
TDSP A | 0% | 100% | 0.00% | 0.00%
TDSP C | 0% | 100% | 0.00% | 0.00%
TDSP J | 100% | 0% | 0.00% | 0.00%
TDSP L | 100% | 0% | 0.00% | 0.00%
TDSP O | 0% | 100% | 0.00% | 0.00%
TDSP S | 100% | 0% | 0.00% | 0.00%
TDSP T | 0% | 100% | 0.35% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00%
TDSP V | 0% | 100% | 0.00% | 0.00%
TDSP I | 53% | 47% | 1.75% | 0.29%
TDSP K | 64% | 36% | 0.00% | 0.29%
TDSP H | 100% | 0% | 1.05% | 0.57%
TDSP D | 47% | 53% | 0.35% | 0.86%
TDSP F | 0% | 100% | 1.75% | 1.15%
TDSP M | 100% | 0% | 3.51% | 1.15%
TDSP B | 0% | 100% | 5.96% | 5.73%
TDSP Q | 92% | 8% | 22.46% | 7.45%
TDSP N | 59% | 41% | 9.12% | 8.88%
TDSP R | 85% | 15% | 15.79% | 10.89%
TDSP P | 67% | 33% | 27.37% | 18.62%
TDSP E | 100% | 0% | 10.53% | 44.13%

## Slide 4: 2019 Notices – Total and Overdue
Overdue timeframes: 6-hour = Open over 12 hours; 12-hour = Open over 48 hours; 5-day = Open over 10 days
 |  | Issued | Overdue | % Overdue
January | 6-hour | 44 | 37 | 84.09%
 | 12-hour | 149 | 76 | 51.01%
 | 5-day | 93 | 16 | 17.20%
 | Total | 286 | 129 | 45.10%
February | 6-hour | 40 | 27 | 67.50%
 | 12-hour | 86 | 15 | 17.44%
 | 5-day | 42 | 5 | 11.90%
 | Total | 168 | 47 | 27.98%
March | 6-hour | 83 | 56 | 67.47%
 | 12-hour | 94 | 31 | 32.98%
 | 5-day | 60 | 3 | 5.00%
 | Total | 237 | 90 | 37.97%
April | 6-hour | 77 | 68 | 88.31%
 | 12-hour | 125 | 45 | 36.00%
 | 5-day | 77 | 2 | 2.60%
 | Total | 279 | 115 | 41.22%
May | 6-hour | 79 | 48 | 60.76%
 | 12-hour | 143 | 33 | 23.08%
 | 5-day | 161 | 22 | 13.66%
 | Total | 383 | 103 | 26.89%
June | 6-hour | 69 | 58 | 84.06%
 | 12-hour | 97 | 40 | 41.24%
 | 5-day | 148 | 18 | 12.16%
 | Total | 314 | 116 | 36.94%
July | 6-hour | 72 | 62 | 86.11%
 | 12-hour | 149 | 30 | 20.13%
 | 5-day | 178 | 19 | 10.67%
 | Total | 399 | 111 | 27.82%
 |  | Issued | Overdue | % Overdue
August | 6-hour | 112 | 88 | 78.57%
 | 12-hour | 128 | 23 | 17.97%
 | 5-day | 148 | 7 | 4.73%
 | Total | 388 | 118 | 30.41%
September | 6-hour | 126 | 81 | 64.29%
 | 12-hour | 81 | 19 | 23.46%
 | 5-day | 169 | 3 | 1.78%
 | Total | 376 | 103 | 27.39%
October | 6-hour | 55 | 37 | 67.27%
 | 12-hour | 162 | 79 | 48.77%
 | 5-day | 128 | 13 | 10.16%
 | Total | 345 | 129 | 37.39%
November | 6-hour | 22 | 12 | 54.55%
 | 12-hour | 81 | 31 | 38.27%
 | 5-day | 182 | 19 | 10.44%
 | Total | 285 | 62 | 21.75%
December | 6-hour | 91 | 65 | 71.43%
 | 12-hour | 127 | 58 | 45.67%
 | 5-day | 131 | 18 | 13.74%
 | Total | 349 | 141 | 40.40%
2019 Totals | 6-hour | 870 | 639 | 73.45%
 | 12-hour | 1422 | 480 | 33.76%
 | 5-day | 1517 | 145 | 9.56%
 | Total | 3809 | 1264 | 33.18%

## Slide 5: 2018 and 2019 Monthly Averages – Issued and Overdue
Chart: 
| 6-hour | 12-hour | 5-day | Total | 6-hour | 12-hour | 5-day | Total | 2018 Monthly Average | 2019 Monthly Average
Issued | 77 | 140 | 130 | 346 | 72.5 | 118.5 | 126.4167 | 317.4167
Overdue | 57 | 46 | 9 | 112 | 53.25 | 40 | 12.0833 | 105.3333

## Slide 6: Notices issued January 2020
*Indicates sorted by this column in lowest to highest order
TDSP | % OF TOTAL NOTICES ISSUED FOR JANUARY* | # OF NOTICES ISSUED FOR JANUARY | # OF NOTICES CANCELED WITHIN NOTICE TIMEFRAME | # OF NOTICES ISSUED 2 OR 3 TIMES | # OF NOTICES ISSUED 4 OR MORE TIMES
TDSP O | 0.00% | 0 | 0 | 0 | 0
TDSP S | 0.00% | 0 | 0 | 0 | 0
TDSP L | 0.00% | 0 | 0 | 0 | 0
TDSP A | 0.00% | 0 | 0 | 0 | 0
TDSP V | 0.00% | 0 | 0 | 0 | 0
TDSP U | 0.00% | 0 | 0 | 0 | 0
TDSP T | 0.00% | 0 | 0 | 0 | 0
TDSP C | 0.00% | 0 | 0 | 0 | 0
TDSP J | 0.00% | 0 | 0 | 0 | 0
TDSP K | 0.91% | 3 | 1 | 1 | 0
TDSP D | 0.91% | 3 | 3 | 0 | 0
TDSP F | 1.52% | 5 | 5 | 0 | 0
TDSP M | 1.82% | 6 | 6 | 0 | 0
TDSP I | 2.42% | 8 | 6 | 1 | 0
TDSP H | 4.55% | 15 | 11 | 2 | 0
TDSP B | 6.06% | 20 | 0 | 0 | 1
TDSP N | 8.79% | 29 | 18 | 4 | 0
TDSP Q | 13.03% | 43 | 36 | 0 | 1
TDSP R | 13.03% | 43 | 20 | 8 | 1
TDSP E | 20.91% | 69 | 30 | 9 | 2
TDSP P | 26.06% | 86 | 72 | 2 | 1
Total |  | 330 | 208 | 27 | 6

## Slide 7: Temporary Exemptions Received 2015 through 2020
Count of Average Exemption Duration from problem identified through resolution (months) (Does not include exemptions for delayed cutovers) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 2015-2018 Average |  |  |  |  | 2019 |  |  |  |  | 2020 |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6* | 6-9 | 9-12 | >12
TDSP S | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP L | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 9.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 1.25 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP G | 1.75 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP V | 15.5 | 1.75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP C | 2 | 0 | 0.25 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP F | 1.75 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 2 | 0 | 0 | 0 | 0.25 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP N | 5.5 | 6.25 | 1.5 | 1.75 | 13.5 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP H | 2 | 0.75 | 2.5 | 2 | 2.25 | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP M | 1.75 | 0.25 | 0 | 0 | 1.5 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP P | 12.25 | 2.75 | 0.25 | 1.25 | 1 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP R | 11.5 | 1.5 | 0 | 0 | 0 | 17 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP D | 10 | 5.75 | 0 | 0 | 1 | 10 | 9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP I | 4.75 | 0 | 0.75 | 0.25 | 6.25 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
TDSP B | 1.5 | 1.75 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP O | 5 | 0 | 0 | 0.5 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP E | 11.25 | 7.75 | 2 | 0 | 0.25 | 16 | 11 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
Totals | 106.5 | 28.5 | 7.25 | 5.75 | 26.5 | 72 | 32 | 3 | 0 | 1 | 3 | 0 | 0 | 0 | 0
*Indicates sorted by this column in lowest to highest order
Table indicates when a temporary exemption was received and the length of time it was open. Duration was as of 2/4/2020 therefore counts can move to the right in future tables.

## Slide 8: Temporary Exemption Currently Open as of 2/4/2020
Duration count of currently open Temporary Exemptions (months) |  |  |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24+*
TDSP I | 0 | 0 | 0 | 0 | 0 | 0
TDSP L | 0 | 0 | 0 | 0 | 0 | 0
TDSP V | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 0 | 0 | 0 | 0 | 0 | 0
TDSP C | 0 | 0 | 0 | 0 | 0 | 0
TDSP D | 0 | 0 | 0 | 0 | 0 | 0
TDSP F | 0 | 0 | 0 | 0 | 0 | 0
TDSP G | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 0 | 0 | 0 | 0 | 0 | 0
TDSP S | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0 | 0 | 0 | 0 | 0 | 0
TDSP O | 1 | 0 | 0 | 0 | 0 | 0
TDSP E | 1 | 0 | 0 | 0 | 0 | 0
TDSP H | 1 | 0 | 0 | 0 | 0 | 0
TDSP B | 1 | 0 | 0 | 0 | 0 | 0
TDSP T | 3 | 0 | 0 | 0 | 0 | 0
TDSP R | 2 | 1 | 1 | 0 | 0 | 0
TDSP P | 0 | 0 | 1 | 0 | 1 | 0
TDSP N | 0 | 1 | 0 | 0 | 0 | 1
TDSP M | 0 | 0 | 0 | 0 | 0 | 4
Current Totals | 9 | 2 | 2 | 0 | 1 | 5
*Indicates sorted by this column in lowest to highest order
Current Totals versus Previous Totals |  |  |  |  |  | 
 | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24+
Current 2/4/20 | 9 | 2 | 2 | 0 | 1 | 5
Previous 8/21/19 | 21 | 0 | 4 | 1 | 43 | 5

## Slide 9: Annual Meter Test/Meter Reprogram – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2017 Average |  | 2018 |  | 2019 | 
TDSP | 2015-2017 Average | 2018 | 2019 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP C | 6 | 1 | 3 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP S | 1 | 1 | 2 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP B | 1 | 2 | 0 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP J | 3 | 1 | 4 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 15 | 3 | 1 | 70.3% | 29.7% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 28 | 7 | 6 | 66.7% | 33.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP U | 15 | 9 | 7 | 38.9% | 61.1% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP L | 2 | 2 | 1 | 98.4% | 1.6% | 95.7% | 4.3% | 100.0% | 0.0%
TDSP I | 13 | 5 | 4 | 88.6% | 11.4% | 93.8% | 6.3% | 100.0% | 0.0%
TDSP P | 19 | 6 | 5 | 52.3% | 47.7% | 96.7% | 3.3% | 99.2% | 0.8%
TDSP N | 3 | 2 | 3 | 98.2% | 1.8% | 96.3% | 3.8% | 97.7% | 2.3%
TDSP M | 10 | 9 | 7 | 79.9% | 20.1% | 83.3% | 16.7% | 97.1% | 2.9%
TDSP V | 6 | 1 | 3 | 83.3% | 16.7% | 100.0% | 0.0% | 94.9% | 5.1%
TDSP O | 4 | 3 | 5 | 92.2% | 7.8% | 100.0% | 0.0% | 94.3% | 5.7%
TDSP R | 8 | 8 | 7 | 94.5% | 5.5% | 93.4% | 6.6% | 92.5% | 7.5%
Average | 14 | 7 | 9 | 68.0% | 32.0% | 88.4% | 11.6% | 87.3% | 12.7%
TDSP H | 31 | 2 | 13 | 11.8% | 88.2% | 100.0% | 0.0% | 85.7% | 14.3%
TDSP T | 14 | 13 | 12 | 64.8% | 35.2% | 64.0% | 36.0% | 84.6% | 15.4%
TDSP G | 18 | 13 | 8 | 57.7% | 42.3% | 75.0% | 25.0% | 83.3% | 16.7%
TDSP K | 32 | 13 | 12 | 13.2% | 86.8% | 61.1% | 38.9% | 76.5% | 23.5%
TDSP F | 20 | 9 | 47 | 35.0% | 65.0% | 100.0% | 0.0% | 50.0% | 50.0%
TDSP E | 24 | 28 | 19 | 29.3% | 70.7% | 17.1% | 82.9% | 37.4% | 62.6%
TDSP D | 35 | 13 | 28 | 20.0% | 80.0% | 68.8% | 31.3% | 26.7% | 73.3%
*Indicates sorted by this column in lowest to highest order

## Slide 10: Annual Meter Test/Meter Reprogram – Resubmittals
Average Days to Receive |  |  |  | Percentage of document resubmittals within a 14 day timeline |  |  |  |  | 
 |  |  |  | 2015-2017 Average |  | 2018 |  | 2019 | 
TDSP | 2015-2017 Average | 2018 | 2019 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP B | N/A | 16 | N/A | N/A | N/A | 100.0% | 0.0% | N/A | N/A
TDSP S | N/A | 18 | 0 | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP J | N/A | 5 | N/A | 84.6% | 15.4% | 100.0% | 0.0% | N/A | N/A
TDSP F | 89 | 73 | 1 | N/A | N/A | 0.0% | 100.0% | N/A | N/A
TDSP I | 73 | 36 | 18 | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP H | 43 | N/A | 1 | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP E | 41 | 40 | 44 | 27.3% | 72.7% | N/A | N/A | 100.0% | 0.0%
TDSP D | 50 | 23 | 7 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP P | 29 | 5 | 12 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP V | 16 | 7 | 3 | 89.5% | 10.5% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 31 | 6 | 15 | 75.0% | 25.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP N | 33 | 13 | 6 | 62.5% | 37.5% | 95.5% | 4.5% | 100.0% | 0.0%
Average | 25 | 18 | 8 | 34.6% | 65.4% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP O | 10 | 1 | 2 | 84.4% | 15.6% | 47.6% | 52.4% | 100.0% | 0.0%
TDSP R | 14 | 38 | 2 | N/A | N/A | 0.0% | 100.0% | 100.0% | 0.0%
TDSP C | 11 | 1 | N/A | 0.0% | 100.0% | 0.0% | 100.0% | 100.0% | 0.0%
TDSP T | 10 | 47 | 17 | 66.7% | 33.3% | 66.6% | 33.4% | 87.4% | 12.6%
TDSP L | 19 | 2 | 6 | 65.2% | 34.8% | 83.3% | 16.7% | 83.3% | 16.7%
TDSP U | 4 | N/A | 3 | 50.0% | 50.0% | 80.0% | 20.0% | 80.0% | 20.0%
TDSP A | 1 | N/A | 2 | 64.3% | 35.7% | 100.0% | 0.0% | 75.0% | 25.0%
TDSP G | 1 | 0 | N/A | 85.7% | 14.3% | 25.0% | 75.0% | 66.7% | 33.3%
TDSP M | 4 | 2 | 1 | 15.4% | 84.6% | 55.6% | 44.4% | 50.0% | 50.0%
TDSP K | 0 | 7 | 0 | 29.5% | 70.5% | 12.5% | 87.5% | 17.9% | 82.1%
*Indicates sorted by this column in lowest to highest order

## Slide 11: Site Certifications – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2017 Average |  | 2018 |  | 2019 | 
TDSP | 2015-2017 Average | 2018 | 2019 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP U | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP S | 6 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP J | 105 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP B | 17 | 12 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP A | 111 | 6 | N/A | 0.0% | 100.0% | 100.0% | 0.0% | N/A | N/A
TDSP F | 42 | N/A | 1 | 66.7% | 33.3% | N/A | N/A | 100.0% | 0.0%
TDSP T | 17 | 49 | 42 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 86 | 4 | 12 | 55.6% | 44.4% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP E | 39 | 36 | 24 | 86.4% | 13.6% | 86.5% | 13.5% | 100.0% | 0.0%
TDSP C | 10 | 17 | 13 | 100.0% | 0.0% | 83.3% | 16.7% | 100.0% | 0.0%
TDSP G | 14 | 27 | 9 | 100.0% | 0.0% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP H | 93 | 47 | 32 | 46.2% | 53.8% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP L | 10 | 46 | 4 | 100.0% | 0.0% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP I | 136 | 41 | 11 | 50.0% | 50.0% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP K | 112 | 125 | 12 | 70.0% | 30.0% | 0.0% | 100.0% | 100.0% | 0.0%
TDSP M | 35 | 33 | 16 | 93.9% | 6.1% | 66.7% | 33.3% | 93.8% | 6.3%
TDSP O | 11 | 35 | 24 | 100.0% | 0.0% | 80.0% | 20.0% | 92.9% | 7.1%
Average | 51 | 36 | 21 | 72.9% | 27.1% | 77.2% | 22.8% | 92.2% | 7.8%
TDSP R | 46 | 93 | 28 | 87.0% | 13.0% | 71.4% | 28.6% | 91.7% | 8.3%
TDSP P | 50 | 25 | 27 | 72.9% | 27.1% | 96.9% | 3.1% | 86.8% | 13.2%
TDSP N | 57 | 17 | 23 | 63.8% | 36.2% | 93.3% | 6.7% | 77.8% | 22.2%
TDSP D | 37 | 15 | 48 | 74.2% | 25.8% | 100.0% | 0.0% | 66.7% | 33.3%
TDSP V | 43 | 26 | 39 | 64.5% | 35.5% | 77.8% | 22.2% | 57.1% | 42.9%
*Indicates sorted by this column in lowest to highest order

## Slide 12: Site Certifications – Resubmittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2017 Average |  | 2018 |  | 2019 | 
TDSP | 2015-2017 Average | 2018 | 2019 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP U | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP S | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP J | 40 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP F | 86 | N/A | N/A | 50.0% | 50.0% | N/A | N/A | N/A | N/A
TDSP A | 40 | 2 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP B | 35 | 25 | N/A | 77.8% | 22.2% | 100.0% | 0.0% | N/A | N/A
TDSP I | 138 | 23 | N/A | 55.6% | 44.4% | 83.3% | 16.7% | N/A | N/A
TDSP T | 2 | N/A | 12 | 100.0% | 0.0% | N/A | N/A | 100.0% | 0.0%
TDSP O | 20 | 10 | 1 | 90.0% | 10.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 23 | 7 | 15 | 81.8% | 18.2% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP D | 31 | 23 | 13 | 77.8% | 22.2% | 87.5% | 12.5% | 100.0% | 0.0%
TDSP V | 34 | 37 | 5 | 83.3% | 16.7% | 82.4% | 17.6% | 100.0% | 0.0%
TDSP P | 40 | 32 | 14 | 88.9% | 11.1% | 81.3% | 18.8% | 100.0% | 0.0%
TDSP K | 28 | 20 | 0 | 85.7% | 14.3% | 80.0% | 20.0% | 100.0% | 0.0%
TDSP L | 6 | 30 | 4 | 100.0% | 0.0% | 75.0% | 25.0% | 100.0% | 0.0%
TDSP G | 7 | 39 | 51 | 100.0% | 0.0% | 50.0% | 50.0% | 100.0% | 0.0%
Average | 36 | 26 | 25 | 85.4% | 14.6% | 85.0% | 15.0% | 86.6% | 13.4%
TDSP R | 23 | 31 | 34 | 95.5% | 4.5% | 83.3% | 16.7% | 80.0% | 20.0%
TDSP E | 54 | 49 | 43 | 74.2% | 25.8% | 77.8% | 22.2% | 80.0% | 20.0%
TDSP M | 37 | 4 | 56 | 81.8% | 18.2% | 100.0% | 0.0% | 75.0% | 25.0%
TDSP H | 43 | 78 | 47 | 77.8% | 22.2% | 52.9% | 47.1% | 64.3% | 35.7%
TDSP C | 5 | 13 | 39 | 100.0% | 0.0% | 100.0% | 0.0% | 50.0% | 50.0%
TDSP N | 35 | 17 | 35 | 87.8% | 12.2% | 92.3% | 7.7% | 50.0% | 50.0%
*Indicates sorted by this column in lowest to highest order