| NOGRR Number | 202 | NOGRR Title | Align Nodal Operating Guide with the Posting Timeline in Other Binding Document Procedure for Calculating Responsive Reserve (RRS) Limits for Individual Resources |
| --- | --- | --- | --- |
| Date of Decision |  | February 6, 2020 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | March 1, 2020 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Operating Guide Sections Requiring Revision |  | 2.3.1.2.1, Limit on Generation Resources and Controllable Load Resources Providing RRS |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) removes language regarding the posting timeline for MW limits for Resources providing Responsive Reserve (RRS) from the Nodal Operating Guide, as this requirement is now outlined in the Other Binding Document (“OBD”) Procedure for Calculating Responsive Reserve (RRS) Limits for Individual Resources. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | NOGRR187, Related to NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve, added Section 2.3.1.2.1. Paragraph (5) in this section requires ERCOT to post RRS limits applicable for Generation Resources and Controllable Load Resources on the 20th day of each quarter (to be effective in the following quarter). In the OBD, Section 6, Timeline to Establish RRS MW Limits, requires ERCOT to post RRS limits applicable for Generation Resources and Controllable Load Resources on the 10th day of each month (to be effective two months after posting). This NOGRR removes paragraph (5) from Section 2.3.1.2.1 and proposes that the OBD be used to maintain the posting timeline requirements for the report. |  |
| ROS Decision |  | On 1/9/20, ROS unanimously voted to recommend approval of NOGRR202 as submitted. All Market Segments were present for the vote. On 2/6/20, ROS unanimously voted to endorse and forward to TAC the 1/9/20 ROS Report and the Impact Analysis for NOGRR202. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 1/9/20, the sponsor provided an overview of changes proposed in NOGRR202. On 2/6/20, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Clif Lange |
| E-mail Address | clif@stec.org |
| Company | South Texas Electric Cooperative (STEC) |
| Phone Number | 361-485-6206 |
| Cell Number | 361-894-3465 |
| Market Segment | Cooperative |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.Bracy@ercot.com |
| Phone Number | 512-248-6917 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

[NOGRR187: Insert Section 2.3.1.2.1 below upon system implementation of NPRR863:] 2.3.1.2.1 Limit on Generation Resources and Controllable Load Resources Providing RRS (1) ERCOT shall establish MW limits on individual Resource’s ability to provide RRS using Primary Frequency Response. The MW limit shall be based on Generating Resource and Controllable Load Resource performance during Frequency Measurable Events (FME). (2) ERCOT shall develop a Technical Advisory Committee (TAC)-approved procedure that describes the methodology to calculate the MW limit on individual Resources using the Resource’s actual performance during FMEs. (3) The default maximum MW limit of Primary Frequency Response shall be set to 20% of its High Sustained Limit (HSL) for any newly RRS-qualified Generation Resource or Generation Resource not yet evaluated per the TAC-approved methodology for measuring actual performance. (4) A Private Use Network with a registered Resource may use the gross HSL for qualification and establishing a limit on the amount of RRS capacity that the Resource within the Private Use Network can provide.