## Slide 1
ERCOT Proposals for Distributed Generation in the CDR
Supply Analysis Working Group
Connor Anderson
Resource Adequacy
February 20, 2020

## Slide 2: Background
SAWG and ERCOT are working to close existing gaps identified at Sept 2019 meeting in the reporting of DG in Resource Adequacy reports
  http://www.ercot.com/content/wcm/key_documents_lists/172731/4_DG_table.docx
This effort is focused on the next 1-2 years; processes may need to change beyond that
Currently, the CDR only explicitly lists Distribution Generation Resources (DGRs) and non-fossil fuel Settlement Only Distribution Generators (SODGs)
The proposals in this presentation are not final; we want your feedback!

## Slide 3: Key
Lines with a check mark (✔) are the current practice which we propose to keep
Text in red are new proposals

## Slide 4: Distribution Generation Resources (DGR)
Operational
  List all units in the “Capacities” tab ✔
Planned
  List all units in the “Capacities” tab ✔
    New small generator interconnection process being developed at DGR Workshops which should provide limited visibility into the future
    http://www.ercot.com/content/wcm/key_documents_lists/196941/DGR_Workshop_3_PGRR_summary.pptx
Retirements
  Remove units according to regular NSO process ✔
Capacity contribution
  Assign capacity contributions based on fuel, same as Transmission GRs ✔
    Note: Currently all batteries

## Slide 5: Settlement Only Distribution Generators (SODG)
Operational
  List all solar, hydro, landfill/biomass, and energy storage units in the “Capacities” tabs ✔
  List all fossil units in the “Capacities” tabs
Planned
  New small generator interconnection process being developed at DGR Workshops which should provide limited visibility into the future
    http://www.ercot.com/content/wcm/key_documents_lists/196941/DGR_Workshop_3_PGRR_summary.pptx
  Develop long-term projections for fossil (natural gas) and utility-scale solar growth
    Hydro and landfill/biomass are not growing significantly
    Utilize S-curve analysis
Retirements
  Remove units when they are removed from the settlements system ✔
    Note – NSO process does not apply to SODG
Capacity contribution
  Solar, hydro, landfill/biomass, energy storage
    Assign capacity contributions based on fuel, same as TGRs ✔
  Fossil
    Assign capacity contribution of 0% for now
    Identify the amount of ERS provided by SODGs as a line item in the “Summary” tabs

## Slide 6: Capacity Contribution for Fossil Fuel SODGs
Fossil fuel SODG production is a purely economic decision made on a unit-specific basis
  SODG Units are not ERCOT dispatchable
  Nodal pricing will encourage response, but high prices do not correlate well historically with Peak Load periods.
Unit is typically either on or off (100% or 0% output)
  Fundamentally do not lend themselves to our capacity contribution calculation methodology (example – solar output at peak summer hours)
Capacity contribution must avoid double counting with ERS
Proposal is to identify the total capacity that is potentially available
  Clarify the capacity that is already included in the ERS Capacity Value
  Publish on Separate “Scenario” Tab.

## Slide 7: Unregistered Distributed Generation
Operational
  Develop a process to explicitly include operational unregistered DG capacity (currently embedded in the load forecast)
Planned
  Solar
    For now, incorporate future growth projection scenarios agreed on by SAWG 12/20
      http://www.ercot.com/content/wcm/key_documents_lists/172749/SAWG__Meeting_12-13-2019_Solar_PV_Forecast_Discussion.pptx
    Develop a process to project future capacity (in progress by Load Forecasting department)
      Potentially include results from NREL’s dGen tool when it is completed
  Wind, Other Renewable, Other Non-Renewable
    Currently not enough growth to warrant a detailed process for projections

## Slide 8: CDR Mock-Ups
http://www.ercot.com/calendar/2020/2/20/199688-SAWG