## Slide 1
Review of ERS Restoration Period
TAC Information Session
February 26, 2019

## Slide 2: Review of ERS Restoration Period
One of the four ERS related issues that came out of the Summer 2019 Lessons Learned
  Reliability deployment price adder ramp

## Slide 3: Reliability deployment price adder ramp
Current protocol language added through NPRR626
6.5.7.3.1 Determination of Real-Time On-Line Reliability Deployment Price Adder
(e) Add the deployed MW from ERS to GTBD. The amount of deployed MW is determined from the XML messages and ERS contracts. After recall, an approximation of the amount of un-restored ERS shall be used. After ERCOT recalls each group, GTBD shall be adjusted to reflect the restoration of load using a linear curve over the ten hour restoration period. The restoration period shall be reviewed by TAC at least annually, and ERCOT may recommend a new restoration period to reflect observed historical restoration patterns.

## Slide 4: August 13 ERS deployment
Chart: 
| 0.63541666666666663 | 0.64583333333333337 | 0.65625 | 0.66666666666666663 | 0.67708333333333337 | 0.6875 | 0.69791666666666663 | 0.70833333333333337 | 0.71875 | 0.72916666666666663 | 0.73958333333333337 | 0.75 | 0.76041666666666663 | 0.77083333333333337 | 0.78125 | 0.79166666666666663 | 0.80208333333333337 | 0.8125 | 0.82291666666666663 | 0.83333333333333337 | 0.84375 | 0.85416666666666663 | 0.86458333333333337 | 0.875 | 0.88541666666666663 | 0.89583333333333337 | 0.90625 | 0.91666666666666663 | 0.92708333333333337 | 0.9375 | 0.94791666666666663 | 0.95833333333333337 | 0.96875 | 0.97916666666666663 | 0.98958333333333337 | 1
 | 317.2883 | 371.2267 | 644.1519 | 784.9013 | 803.023 | 744.106 | 605.1857 | 543.5415 | 496.2086 | 452.5787 | 390.5493 | 198.9342 | 176.9331 | 91.888 | 43.2357 | 18.4691 | 0 | 0 | 7.1795 | 0 | 0 | 0.36781 | 0 | 0 | 0 | 0 | 0 | 0 | 47.1881 | 0 | 0 | 0 | 76.0832 | 56.4987 | 32.6901 | 0
Total Response (MWs)
Reliability deployment price adder ramp

## Slide 5: August 15 ERS Deployment
Chart: 
| 0.67708333333333337 | 0.6875 | 0.69791666666666663 | 0.70833333333333337 | 0.71875 | 0.72916666666666663 | 0.73958333333333337 | 0.75 | 0.76041666666666663 | 0.77083333333333337 | 0.78125 | 0.79166666666666663 | 0.80208333333333337 | 0.8125 | 0.82291666666666663 | 0.83333333333333337 | 0.84375 | 0.85416666666666663 | 0.86458333333333337 | 0.875 | 0.88541666666666663 | 0.89583333333333337 | 0.90625 | 0.91666666666666663 | 0.92708333333333337 | 0.9375 | 0.94791666666666663 | 0.95833333333333337 | 0.96875 | 0.97916666666666663 | 0.98958333333333337 | 1
 | 910.8383 | 907.9107 | 904.3605 | 885.1903 | 715.58 | 622.7766 | 589.7913 | 529.4655 | 313.8441 | 245.0976 | 183.1257 | 162.0588 | 115.1657 | 76.4829 | 39.902 | 64.1814 | 37.7914 | 0 | 24.4477 | 0.31228 | 37.6336 | 89.4137 | 32.8951 | 4.3371 | 0 | 68.0772 | 0 | 0 | 98.5994 | 0 | 0 | 27.9136
Total Response (MWs)
Reliability deployment price adder ramp

## Slide 6: August 15th, 2019 ERS Fleet Deployment (NWS-30, WS-30)
Deployment Instruction
Recall Instruction
Start Sustained
Response Period

## Slide 7: Event on Aug 13th, 2019 (ERS Load vs ERS Gen)
Event
10 hour recovery period

## Slide 8: Event on Aug 15th, 2019 (ERS Load vs ERS Gen)
Event
10 hour recovery period

## Slide 9
Reliability deployment price adder ramp
January 6, 2014 ERS Deployment

## Slide 10: Review of ERS Restoration Period
Item assigned by WMS to WMWG & DSWG
  Discussion at January 26, 2020 WMWG/DSWG joint meeting
  No recommendation
Observations from the three previous deployments show 10 hour restoration period should be revised
Look to TAC for further instructions on this issue