APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, January 9, 2020 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Bunch, Kevin | EDF Trading North America |  |
| Carter, Matt | Garland Power and Light | Alt. Rep. for B. Lee |
| Claiborn-Pinto, Shawnee | OPUC | Via Teleconference |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Goff, Eric | OPUC | Alt. Rep. for S. Clairborn-Pinto |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Hudson, Tony | TNMP |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marr, Daniel | LCRA |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy | Via Teleconference |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| - Guests: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Aldridge, Ryan |  | AB Power Advisors |  | Via Teleconference |  |
| Alford, Anthony |  | CenterPoint Energy |  | Via Teleconference |  |
| Benson, Mariah |  | PUCT |  | Via Teleconference |  |
| Bruce, Mark |  | Cratylus Advisors |  | Via Teleconference |  |
| Chhajed, Pushkar |  | LCRA |  |  |  |
| Checkley, Jim |  | CTT |  |  |  |
| Chilton, Tamme |  | CenterPoint Energy |  | Via Teleconference |  |
| Cochran, Seth |  | DC Energy |  | Via Teleconference |  |
| Cook, Tim |  | CTT |  |  |  |
| Davis, Micheal |  | CenterPoint Energy |  | Via Teleconference |  |
| Downey, Marty |  | Viridity |  |  |  |
| Davis, Micheal |  | CenterPoint Energy |  |  |  |
| Dreyfus, Mark |  | MD Energy Consulting |  | Via Teleconference |  |
| Egunjobi, Ransome |  | LCRA |  | Via Teleconference |  |
| Floyd, Rickey |  | Oncor |  |  |  |
| Freiberg, Tim |  | AMSC |  | Via Teleconference |  |
| Galindo, Alfonso |  | EPE Consulting |  | Via Teleconference |  |
| Gross, Blake |  | AEPSC |  |  |  |
| Hayden, Mario |  | Enel |  | Via Teleconference |  |
| Henry, Mark |  | Texas Reliability Entity |  |  |  |
| Henson, Martha |  | Oncor |  | Via Teleconference |  |
| Hinds, David |  | LCRA |  | Via Teleconference |  |
| Hithersay, Brian |  | Brazos Electric Cooperative |  | Via Teleconference |  |
| Jablonski, Ward |  | CenterPoint Energy |  | Via Teleconference |  |
| Jackson, Jimmy |  | CPS Energy |  | Via Teleconference |  |
| Jewell, Michael |  | Jewell and Associates |  | Via Teleconference |  |
| Kandah, Amjed |  | Oncor |  | Via Teleconference |  |
| Kee, David |  | CPS Energy |  |  |  |
| Khayat, Maribel |  | CenterPoint Energy |  | Via Teleconference |  |
| Kremling, Barry |  | GVEC |  |  |  |
| Lange, Clif |  | STEC |  | Via Teleconference |  |
| Mathew, Biju |  | LCRA |  | Via Teleconference |  |
| Minchew, Christina |  | Wind Energy of Texas |  |  |  |
| Mulholland, Chad |  | NRG |  | Via Teleconference |  |
| Naik, Harsh |  | Oncor |  | Via Teleconference |  |
| Pappu, Ajay |  | Invenergy |  |  |  |
| Peters, Patrick |  | CenterPoint Energy |  | Via Teleconference |  |
| Preas, Dylan |  | LCRA |  | Via Teleconference |  |
| Rainwater, Kim |  | Environmental Defense Fund |  |  |  |
| Reader, Raborn |  | Enterprise Products |  |  |  |
| Reid, Walter |  | APA |  | Via Teleconference |  |
| Rutka, Anthony |  | EPE Consulting |  | Via Teleconference |  |
| Siddiqi, Shams |  | Crescent Power Inc. |  |  |  |
| Sithuraj, Murali |  | Austin Energy |  | Via Teleconference |  |
| Smith, Caitlin |  | AB Power Advisors |  |  |  |
| Smith, Chris |  | Austin Energy |  | Via Teleconference |  |
| Taylor, Zachary |  | GVEC |  | Via Teleconference |  |
| White, Lauri |  | AEP Texas |  |  |  |
| Williams, Wes |  | BTU |  |  |  |
| Wittmeyer, Bob |  | Longhorn Power |  |  |  |
| Woods, Brad |  | Texas Reliability Entity |  | Via Teleconference |  |
| Younger, Joseph |  | Texas Reliability Entity |  | Via Teleconference |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Bernecker, John |  |  |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Bracy, Phil |  |  |
| Clifton, Suzy |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Hanson, Kevin |  | Via Teleconference |
| Kane, Erika |  | Via Teleconference |
| Levine, Jonathan |  |  |
| Mago, Nitika |  | Via Teleconference |
| Matevosjana, Julia |  | Via Teleconference |
| Miller, Magen |  |  |
| Phillips, Cory |  |  |
| Richmond, Tone |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Sharma, Sandip |  |  |
| Sills, Alex |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Lori |  | Via Teleconference |
| Troublefield, Jordan |  | Via Teleconference |
| Williams, Leslie |  |  |
| Wolf, Craig |  | Via Teleconference |
| Xiao, Hong |  | Via Teleconference |
| Yan, Ping |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

Suzy Clifton called the January 9, 2020 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Clifton directed attention to the Antitrust Admonition, which was displayed.

Election to 2020 ROS Chair and Vice Chair

Ms. Clifton reviewed the leadership election process codified in the Technical Advisory Committee Procedures and opened the floor for nominations.

Ian Haley nominated Kevin Bunch for 2020 ROS Chair.  Mr. Bunch accepted the nomination.  Mr. Bunch was named 2020 ROS Chair by acclamation.

Mr. Bunch nominated Jennifer Ayers-Brasher for 2020 ROS Vice Chair.  Ms. Ayers-Brasher accepted the nomination.  Ms. Ayers-Brasher was named 2020 ROS Vice Chair by acclamation.

Agenda Review

Mr. Bunch reviewed items scheduled for a vote and noted changes to the order of the agenda.

- Approval of Meeting Minutes (see Key Documents)

- November 7, 2019

- December 5, 2019

Clayton Greer moved to approve the November 7, 2019 and December 5, 2019 ROS meeting minutes as submitted.  Bill Valagura seconded the motion.  The motion carried unanimously.

- Technical Advisory Committee (TAC) Update and Assignments

Mr. Bunch noted that TAC did not meet in December 2019.

- ERCOT Reports (see Key Documents)

Operations Report

Freddy Garcia reviewed the November Operations Report.

System Planning Report

Jeff Billo presented the November System Planning Report and responded to questions and comments from Market Participants.

Inverter-Based Resources Update

Mr. Billo noted there was no update to provide.  There were no questions or comments from Market Participants.

New Protocol Revision Subcommittee (PRS) Referrals

There were no referrals made to ROS at the December 12, 2019 PRS Meeting.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents)

Nodal Protocol Revision Request (NPRR) 953, Addition of Relay Loadability Rating Definition

Either Nashawati summarized NPRR953, discussion at the January 6, 2020 NPRR953 Workshop, and 1/8/20 Oncor comments.  ROS took no action on this item.

NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on this item.

Review of ROS Revision Requests (see Key Documents)

Impact Analysis

Nodal Operating Guide Revision Request (NOGRR) 183, Remedial Action Scheme (RAS) Submittal and Review Requirements

Market Participants reviewed the Revised Impact Analysis for NOGRR183.

Cyrus Reed moved to endorse and forward to TAC the 12/5/19 ROS Report and Revised Impact Analysis for NOGRR183.  Mr. Greer seconded the motion.  The motion carried unanimously.

Language Review

NOGRR202, Align Nodal Operating Guide with the Posting Timeline in Procedure for Calculating Responsive Reserve (RRS) Limits for Individual Resources

Clif Lange summarized NOGRR202.

Mr. Greer moved to recommend approval of NOGRR202 as submitted.  Doug Evans seconded the motion.  The motion carried unanimously.

NOGRR204, Related to NPRR989, BESTF-1 Energy Storage Resource Technical Requirements

Sandip Sharma summarized NOGRR204.  Market Participants requested review of the issues by the Operations Working Group (OWG) and the Performance, Disturbance, Compliance Working Group (PDCWG).

Mr. Greer moved to table NOGRR204 and refer the issue to OWG and PDCWG.  Mr. Haley seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR199, Related to NPRR979, Incorporate State Estimator Standards and Telemetry Standards into Protocols

ROS took no action on these items.

NOGRR200, Delete Remaining Grey-Boxed Language Associated with NOGRR025, Monitoring Programs for QSEs, TSPs, and ERCOT

ERCOT Staff summarized NOGRR200 and reviewed the Revision Request timeline.  Mr. Bunch noted NOGRR200 would be considered at the February 6, 2020 ROS meeting.  ROS took no action on this item.

Notice of Withdrawal

Mr. Bunch noted the withdrawal of NOGRR190, Related to NPRR937, Distribution Voltage Level Block Load Transfer (BLT) Deployment.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

NOGRR195, Generator Voltage Control Tolerance Band

ROS took no action on this item.

Resource Registration Glossary Revision Request (RRGRR) 021, Dynamic Model Requirement for TSAT

Prabhu Gnanam summarized RRGRR021 and discussions at OWG and Dynamics Working Group (DWG) meetings.  Christina Minchew summarized the 1/8/20 DWG comments.  Some Market Participants requested additional time to review RRGRR021.  ROS took no action on this item.

Planning Working Group (PLWG) (see Key Documents)

Tim Cook reviewed PLWG activities.

NPRR973, Add Definitions for Generator Step-Up and Main Power

Market Participants offered clarifications to NPRR973.

Mr. Greer moved to endorse NPRR973 as amended by the October 10, 2019 TIEC comments as revised by ROS.  Eric Goff seconded the motion.  The motion carried unanimously.

NOGRR196, Related to NPRR973, Add Definitions Generator Step-Up and Main Power Transformer

Market Participants offered clarifications to NOGRR196.

Mr. Greer moved to recommend approval of NOGRR196 as revised by ROS.  Mr. Goff seconded the motion.  The motion carried unanimously.

PGRR074, Related to NPRR973, Add Definitions Generator Step-Up and Main Power Transformer

RRGRR022, Related to NPRR973, Add Definitions Generator Step-Up and Main Power Transformer

Mr. Greer moved to recommend approval of PGRR074 and RRGRR022 as submitted.  Mr. Goff seconded the motion.  The motion carried unanimously.

PGRR075, Dynamic Model Quality Requirement

Mr. Cook summarized PGRR075 and discussions at PLWG and DWG meetings.

Wes Woitt moved to recommend approval of PGRR075 as amended by the 11/22/19 ERCOT comments.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

PGRR076, Improvements to Generation Resource Interconnection or Change Request (GINR) Process

Market Participants and ERCOT Staff discussed PGRR076, previous OWG and PLWG discussions and the 1/9/20 LCRA comments.  Mr. Bunch requested PLWG review the issues in the current GINR process and PGRR076, and provide their recommendation to ROS.  ROS took no action on these items.

Steady State Working Group (SSWG) (see Key Documents)

Brian Hithersay reviewed SSWG activities.

SSWG Procedure Manual

Tone Richmond presented proposed administrative revisions to the SSWG Procedure Manual.

Mr. Greer moved to approve the SSWG Procedure Manual as submitted.  Mr. Woitt seconded the motion.  The motion carried unanimously.

PDCWG (see Key Documents)

Chad Mulholland reviewed PDCWG activities, including the ERCOT Interconnection Inertia Analysis.  Market Participants requested ERCOT present the analysis at the February 6, 2020 ROS meeting.

DWG

Ms. Minchew reviewed DWG activities.

Black Start Working Group (BSWG)

Tony Kroskey reviewed BSWG activities.

System Protection Working Group (SPWG)

Micheal Davis reviewed SPWG activities and responded to Market Participant questions regarding the Protection System Misoperations 2019 Q2 analysis.  Mr. Bunch requested that SPWG review the issues in their March 4 and 5, 2020 meetings, and provide a presentation on the reporting process for protective system misoperations at the February 6, 2020 ROS meeting.

Other Business

Distribution Generation Resources (DGR) Workshops

Bill Blevins summarized discussions at previous DGR Workshops and encouraged Market Participants to attend the January 16, 2020 DGR Workshop III.

Reactive Power Coordination (RPC) Workshop

There was no discussion on this item.

Review of Open Action Items

Market Participants reviewed the Open Action Items list.

2020 ROS Goals

Mr. Bunch requested Market Participants review the 2019 ROS Goals and provide input for developing 2020 ROS Goals to be considered at the March 5, 2020 ROS Meeting.

2020 ROS Working Group/Task Force Leadership

Mr. Bunch expressed appreciation for Market Participants willing to serve in ROS Working Group and Task Force leadership roles and noted 2020 leadership would be considered at the February 6, 2020 ROS meeting.

No Report

- Black Start Working Group (BSWG)

- Network Data Support Working Group (NDSWG)

- Operations Training Working Group (OTWG)

- Planning Geomagnetic Disturbance Task Force (PGDTF)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Bunch adjourned the January 9, 2020 ROS meeting 11:38 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2020/1/9/189367-ROS