## Slide 1
DGR Interim Solution
Testing
Mario Alberto de la Garza
2/27/2020

## Slide 2: DGR Interim Solution Testing
Background
Test Roadmap
Findings
Next Steps

## Slide 3: Background
Stuff
DGR
CIM Load
Transmission Network
Transmission Network
Distribution Network
In The Past
Now

## Slide 4: Background, Con’t
Pros Current Approach:
  Can participate in ERCOT Market
Cons Current Approach:
  TSPs modeling distribution network adds complexity for the State Estimator
  Data quality of distribution networks is questionable (more complexity to the State Estimator)
  TSPs may not be able to provide telemetry on the distribution network (bad visibility)
  Hard for downstream systems to distinguish between GRs and DGRs

## Slide 5: DGR Interim Solution Testing
Background
Test Roadmap
Findings
Next Steps

## Slide 6: Testing Roadmap
Objective: Find an interim solution to accommodate the increase of DGR requests to integrate to ERCOT without impacting State Estimator
Phase 5
Document System Impacts and Changes
Phase 4A
EMS ITEST Testing
Phase 4B
MMS ITEST Testing
Phase 3B
Loading CIM to MMS ITEST
Phase 3A
Loading CIM to EMS ITEST
Phase 2
Model Building
Phase 1
Define
Interim Modeling Approach

## Slide 7: Phase 1 – Define Interim Modeling Approach
Satisfy multiple requirements from multiple departments
Total of 4 meetings prior to Phase 2
Groups that collaborated:
  Network Modeling
  EMMS Production Support
  Operations
  Grid Application Support
  CRR
  Day Ahead Market
  Market Validation
  EPS Metering

## Slide 8: Phase 1, Con’t
Total of 6 options discussed
Two options picked, both DESR

## Slide 9: Phase 2
Model Maintenance created the model changes
  Possibility to re-use them for additional testing
  Model Files were available on 1/31/2020
Model Administration build a Feb 11th model with the model changes
  Model was available on 2/4/2020

## Slide 10: Phase 3
Started loading the CIM Model on 2/10/2020 to ERCOT ITEST environments
CIM Model Load completed on 2/11/2020
Issues were identified initially when loading the model but were corrected
No showstoppers to interim solution were identified

## Slide 11: Phase 4
Business Owners notified to begin testing on 2/11/2020
Business Owners tested from 2/11/2020 through 2/21/2020
Testing included:
  Energy Management System, Network Stability and Security Analysis Applications
  Market Management System, Network Stability and Market Applications Verifications

## Slide 12: DGR Interim Solution Testing
Background
Test Roadmap
Findings
Next Steps

## Slide 13: Findings
What has been determined:
  New Interim Modeling Requirements for Downstream System consumption
  System changes for the Energy Management System
  System changes for the Market Management System
  Possible RARF changes
DESR
DGR

## Slide 14: DGR Interim Solution Testing
Background
Test Roadmap
Findings
Next Steps

## Slide 15: Next Steps
Develop IA for implementing this interim solution
  Complete IA by mid March
NPRR and NOGRR posting will utilize the IA for this Interim Solution

## Slide 16: Q & A
QUESTIONS?