| NPRR Number |  | NPRR Title |  |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution |  | Normal or Urgent, and justification for Urgent status |  |
| Nodal Protocol Sections Requiring Revision |  | Include Section No. and Title |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Include title of document to be revised (i.e. Operating Guide, Telemetry Standards, etc.) or related Revision Request number and title. |  |
| Revision Description |  | Describe the basic function of the Revision Request. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Describe qualitative benefits (Examples: satisfies regulatory requirements, data transparency enhancement, etc.), quantitative benefits (benefit calculations), impacts to market segments and other information relating to the impacts or benefits of the NPRR. |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Protocol Language Revision

## 2.1	DEFINITIONS

Definitions are supplied for terms used in more than one Section of the Protocols.  If a term is used in only one Section, it is defined there at its earliest usage.

Interval Data Recorder (IDR) Mandatory Installation Requirements

The kW (kVA) level at which the installation of an IDR is required for Settlement purposes as set forth in Section 18.6.1, Interval Data Recorder Mandatory Installation Requirements.

- 18.6	Installation and Use of Interval Data Recorders

- 18.6.1	Interval Data Recorder Mandatory Installation Requirements

(1)	Interval Data Recorders (IDRs) are required and shall be installed and utilized for Settlement of Premises having either:

(a)	A peak Demand greater than 700 kW (or 700 kVA in CenterPoint Energy’s service territory); or

(b)	Service provided at transmission voltage (above 60 kV).

(2)	All non-metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Mandatory Installation Requirements.  These Loads shall be settled using Load Profiles.

(3)	Municipally Owned Utilities (MOUs) and Electric Cooperatives (ECs) that opt-in to Customer Choice must install IDRs at all Premises subject to the IDR Mandatory Installation Requirements prior to the effective date of their participation in the testing and integration requirements of ERCOT systems for Customer Choice.

- 18.7	Transition of Interval Data Recorder Meter to AMS Profile Type

(1)	For IDR Meter Premises that desire to switch to an AMS Profile Type, at a TDSP’s discretion, or upon a Customer’s request and TDSP’s approval, a TDSP shall:

(a)	Utilize a provisioned Advanced Meter or similarly functional meter for Customer’s Premise;

(b)	Assign the appropriate Load Profile, other than one with a BUSIDRRQ Profile Type Code, to Premise’s Electric Service Identifier (ESI ID);

(c)	Submit Settlement Quality Meter Data, which will be used for Settlement, using the ERCOT specified file format for the interval data only in accordance with Retail Market Guide Section 7.15, Advanced Meter Interval Data File Format and Submission;

(d)	Assign the appropriate weather sensitivity code.  NWS shall be assigned if the premise is subject to the IDR Mandatory Installation Requirements.  All others shall be assigned a WS weather sensitivity code; and

(e)	At least 45 days prior to the effective date that the Load Profile will change, submit a MarkeTrak issue to notify the CR of the date the Load Profile will change.

- *** ERCOT IS NOT SURE IF 18.8 IS NECESSARY ***

- 18.8	Transition of Interval Data Recorder Meter to NIDR Profile Type

- For IDR Meter Premises that desire to switch to an NIDR Profile Type, at a TDSP’s discretion, or upon a Customer’s request and TDSP’s approval, a TDSP shall:

(a)	Assign the appropriate NIDR Profile Type Code to Premise’s Electric Service Identifier (ESI ID);

(b)	Submit Settlement Quality Meter Data, which will be used for Settlement, via a Texas Standard Electronic Transaction (TX SET);

(c)	At least 45 days prior to the effective date that the Load Profile will change, submit a MarkeTrak issue to notify the CR of the date the Load Profile will change.