TAC Report


	RRGRR Number
	021
	RRGRR Title
	Dynamic Model Requirement for TSAT

	Date of Decision
	February 28, 2020

	Action
	Approved

	Timeline 
	Urgent

	Effective Date
	August 1, 2020

	Priority and Rank Assigned
	Not applicable

	Resource Registration Glossary Sections Requiring Revision 
	Section 2, Resource Registration Glossary — Protection

Section 2, Resource Registration Glossary — Miscellaneous

	Related Documents Requiring Revision/Related Revision Requests
	Dynamics Working Group Procedure Manual

	Revision Description
	This Resource Registration Glossary Revision Request (RRGRR) adds new data requirements to the Resource Registration Glossary to account for submittal requirement fields for dynamic models required by the Transient Security Assessment Tool (TSAT) that could be implemented for ERCOT Real-Time operations. 

	Reason for Revision
	[image: image1.wmf]

X

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

  Market efficiencies or enhancements

[image: image4.wmf]

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)

(please select all that apply)

	Business Case
	The TSAT data submittal requirements are currently described in item (4)(b)(v) of Planning Guide Section 5.7.1, All-Inclusive Generation Resource Data Requirements.  The inclusion of this information into the Resource asset registration process will allow ERCOT to implement the TSAT (Powertech DSA Tool) in Real-Time operations.  TSAT will calculate dynamic stability related Generic Transmission Limits (GTLs) in Real-Time and help the operators to maintain system reliability and also effectively manage the Generic Transmission Constraints (GTCs) for changing system conditions. 

The current process for GTL calculation involves off-line studies that are based on system condition (snapshot) that represent a worst case scenario.  The recent increase in the renewable generation penetration has increased the number and the complexity of the GTCs and it is becoming difficult to manage using the current off-line study process.   

	ROS Decision
	On 10/3/19, ROS voted unanimously to table RRGRR021 and refer the issue to the Dynamics Working Group (DWG) and Operations Working Group (OWG).  All Market Segments were present for the vote.

On 2/6/20, ROS voted unanimously to grant RRGRR021 Urgent status.  ROS then voted to recommend approval of RRGRR021 as amended by the 1/8/20 DWG comments; and to forward RRGRR021 and the Impact Analysis to TAC with a recommended effective date of August 1, 2020.  There was one abstention from the Independent Generator (Luminant) Market Segment.  All Market Segments were present for both votes. 

	Summary of ROS Discussion
	On 10/3/19, participants requested further discussion regarding the effort to implement RRGRR021, and language to provide clear guidance regarding data for models. 

On 2/6/20, participants reviewed RRGRR021’s language, its Impact Analysis, and the 1/8/20 DWG comments; discussed ERCOT’s requests for urgency and August 1, 2020 effective date in the interest of impacting the model; and addressed ERCOT’s plans for acquiring relevant Market Participant data moving forward.  

	TAC Decision
	On 2/28/20, TAC voted unanimously via email to approve RRGRR021 as recommended by ROS in the 2/6/20 ROS Report.  All Market Segments were present for the vote.

	Summary of TAC Discussion
	On 2/28/20, there was no discussion.


	Sponsor

	Name
	Prabhu Gnanam

	E-mail Address
	ggnanam@ercot.com

	Company
	ERCOT

	Phone Number
	512-248-3146

	Cell Number
	

	Market Segment
	Not applicable


	Market Rules Staff Contact

	Name
	Jordan Troublefield

	E-Mail Address
	Jordan.troublefield@ercot.com 

	Phone Number
	512-248-6521


	Comments Received

	Comment Author
	Comment Summary

	DWG 010820
	Aligned RRGRR021 with DWG’s proposed changes to the DWG Procedure Manual, specifically to incorporate the details of the dynamic model requirement for the TSAT


	Market Rules Notes


Please note that the following RRGRR(s) also propose revisions to the following sections:

· RRGRR022, Related to NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer
· Section 2, Resource Registration Glossary – Protection
· RRGRR023, Related to NPRR1002, BESTF-5 Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions
· Section 2, Resource Registration Glossary – Protection

· Section 2, Resource Registration Glossary – Miscellaneous

· RRGRR024, Related to NPRR1003, Elimination of References to Resource Asset Registration Form
· Section 2, Resource Registration Glossary – Protection

· Section 2, Resource Registration Glossary ​– Miscellaneous 

	Proposed Guide Language Revision


	RARF Tab
	Wind
	Solar Photovoltaic (PV)
	Conventional Generation (Gen)
	Combined Cycle (CC)
	Load  Resources
	Distributed Generation
	Notes
	Field Name
	Definition / Detailed Description
	Screening Study (SS) 
(R, C, O, A)
	Full Interconnect Study (FIS) 
(R, C, O, A)
	Planning Model
(R, C, O, A) 
	Full Registration 
(R, C, O, A) 
	 

	Protection


	Protection
	X
	X
	X
	X
	 
	 
	List
	Unit Name
	Unit Code as provided on the Unit Info tab.
	 
	R
	R
	R
	 

	Protection
	X
	 
	 
	X
	 
	 
	Automatic
	SITE_CODE
	Site Code as provided on the General and Site Information tab.
	 
	 
	 
	A
	 

	Protection
	X
	X
	X
	X
	 
	 
	Automatic
	Resource Name (Unit Code/Mnemonic)
	Concatenated mnemonic of Resource Site Code and Unit name (e.g. CBY_CBYG1).
	 
	 
	A
	A
	 

	Protection
	X
	X
	X
	X
	 
	 
	cycles
	Breaker Interruption Time
	Time taken (in cycles) between the breaker receiving the trip signal, and the breaker contacts opening to interrupt the flow of current.
	 
	R
	R
	R
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Instantaneous Undervoltage Trip
	The per unit value (below nominal) of the undervoltage relay instantaneous set point.
	 
	O
	O
	O
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Undervoltage 1
	Enter the first level undervoltage relay set point in per unit.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 1
	Enter the first level undervoltage time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Undervoltage 2
	Enter the second level undervoltage relay set point in per unit.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 2
	Enter the second level undervoltage time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Undervoltage 3
	Enter the third level undervoltage relay set point in per unit.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 3
	Enter the third level undervoltage time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Undervoltage 4
	Enter the fourth level undervoltage relay set point in per unit.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 4
	Enter the fourth level undervoltage time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Instantaneous Overvoltage Trip
	The per unit value (above nominal) of the overvoltage relay instantaneous set point.
	 
	O
	O
	O
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Overvoltage 1
	Enter the first level overvoltage relay set point in per unit.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 1
	Enter the first level overvoltage relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Overvoltage 2
	Enter the second level overvoltage relay set point in per unit.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 2
	Enter the second level overvoltage relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Ovrvoltage 3
	Enter the third level overvoltage relay set point in per unit.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 3
	Enter the third level overvoltage relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	p.u.
	Overvoltage 4
	Enter the fourth level overvoltage relay set point in per unit.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 4
	Enter the fourth level overvoltage relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Instantaneous Underfrequency Trip
	The per unit value (below 60Hz) of the underfrequency relay instantaneous set point.
	 
	O
	O
	O
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Underfrequency 1
	Enter the first level underfrequency relay set point in Hz.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 1
	Enter the first level underfrequency relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Underfrequency 2
	Enter the second level underfrequency relay set point in Hz.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 2
	Enter the second level underfrequency relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Underfrequency 3
	Enter the third level underfrequency relay set point in Hz.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 3
	Enter the third level underfrequency relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Underfrequency 4
	Enter the fourth level underfrequency relay set point in Hz.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 4
	Enter the fourth level underfrequency relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Instantaneous Overfrequency Trip
	The per unit value (above 60Hz) of the overfrequency relay instantaneous set point.
	 
	O
	O
	O
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Overfrequency 1
	Enter the first level overfrequency relay set point in Hz.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 1
	Enter the first level overfrequency relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Overfrequency 2
	Enter the second level overfrequency relay set point in Hz.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 2
	Enter the second level overfrequency relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Overfrequency 3
	Enter the third level overfrequency relay set point in Hz.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 3
	Enter the third level overfrequency relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	Hz
	Overfrequency 4
	Enter the fourth level overfrequency relay set point in Hz.
	 
	C
	C
	C
	 

	Protection
	X
	X
	X
	X
	 
	 
	sec
	Time 4
	Enter the fourth level overfrequency relay time delay set point. 
	 
	C
	C
	C
	 

	Protection
	X
	 
	 
	 
	 
	 
	Y/N
	Does the resource have the manufacturer's technical document / Simulation Results / Test Results, etc. describing the turbine technology & VRT optIons purchased with turbine, if any
	TURBINE VRT CAPABILITY:  Ensure that VRT capability is included as part of the normal dynamic model data submitted. If yes, provide the following: (1) the PSS/E dynamic model including the settings, (2) the TSAT dynamic model including the settings and (3) technical manufacturer’s documents describing the VRT capabilities of the purchased packages.  Models and documents are to be embedded in the RARF Dynamic Data tab or included in the zip file.
	 
	R
	R
	R
	 

	Protection
	X
	 
	 
	 
	 
	 
	Y/N
	Does the Resource use dynamic reactive devices (SVC/statcom, etc.) at the wind farm?  - (note: capacitor/reactor banks used for conventional reactive support cannot be considered as dynamic reactive devices) - If yes, please provide supporting documentation. (manufacturer's technical document, PSS/E model, TSAT model etc.), submitted in the Dynamics Data Tab.
	TURBINE VRT CAPABILITY:  If yes, provide the following (1) the PSS/E dynamic model for the Dynamic Reactive Device (SVC,DVAR,STATCOM), including the settings, (2) the TSAT dynamic model for the Dynamic Reactive Device (SVC, DVAR, STATCOM), including the settings, and (3) a manufacturer's technical document describing the dynamic device and model. Models and documents are to be embedded in the RARF Dynamic Data tab or included in the zip file.
	 
	R
	R
	R
	 

	Protection
	X
	 
	 
	 
	 
	 
	Y/N
	Does the Resource have plant voltage protection? If yes, please provide supporting documentation.
	TURBINE VRT CAPABILITY:  Plant voltage protection is substation main power transformer and equipment protection,  If yes, provide a technical description of the protection scheme and voltage settings.  The documents are to be embedded in the RARF Dynamic Data tab or included in the zip file.
	 
	R
	R
	R
	 

	Protection
	X
	 
	 
	 
	 
	 
	Y/N
	Does The Resource Have Feeder Voltage Protection? If Yes, Please Provide Supporting Documentation.
	TURBINE VRT CAPABILITY:  Feeder voltage protection is protection on the feeder breakers, If yes, provide a technical description of the protection scheme and voltage settings.  The documents are to be embedded in the RARF Dynamic Data tab or included in the zip file.
	 
	R
	R
	R
	 


	Miscellaneous


	One Line
	X
	X
	X
	X
	X
	X
	 
	Embed a PDF or CAD One Line Diagram
	Include a PDF or CAD One Line Diagram of the site
	 
	R
	R
	R
	 

	One Line
	X
	X
	X
	X
	X
	X
	 
	Date One-Line Diagram last Updated
	Date One-Line Diagram last Updated
	 
	R
	R
	R
	 

	Transformer Test Data
	X
	X
	X
	X
	 
	X
	 
	Transformer Test Data
	Include the Transformer Test Data Report attached to the service request for the submission of this RARF, stating positive and zero sequence resistance and reactance data, winding voltages, tap information, on-load tap changing capability, ratings and winding DC resistance in Ohms per phase.
	 
	 
	 
	R
	 

	Transformer Test Data
	X
	X
	X
	X
	 
	X
	 
	Date transformer test Data last Updated
	Date transformer test Data last Updated
	 
	 
	 
	R
	 

	PSCAD Model
	X
	X
	X
	X
	 
	 
	 
	Embed a PSCAD Model (if applicable)
	PSCAD Model for SSO studies as may be required by ERCOT.
	 
	C
	C
	C
	 

	PSCAD Model
	X
	X
	X
	X
	 
	 
	 
	Date PSCAD Model last Updated
	Date PSCAD Model last Updated
	 
	C
	C
	C
	 

	Dynamic Data
	X
	X
	X
	X
	 
	 
	 
	Embed Dynamic Data 
	Model data (in current PSS/E format utilized by the DWG), with appropriate values provided for all model parameters, test reports that support the model data based on field/commissioning tests (if available), model libraries in .dll or .obj file format (if using user defined models not included in the PSS/E standard model library), and model documentation/user guides (if using user defined models not included in the PSS/E standard model library).  Refer to DWG Procedure Manual for requirements.
	 
	R
	R
	R
	 

	Dynamic Data
	X
	X
	X
	X
	 
	 
	 
	Date Dynamic Data last Updated
	Date Dynamic Data last Updated
	 
	R
	R
	R
	 

	Dynamic Data
	X
	X
	X
	X
	 
	 
	 
	Embed TSAT Dynamic Data 
	Model data (in current standard PSS/E library model format utilized by the DWG and supported by TSAT), with appropriate values provided for all model parameters, test reports that support the model data based on field/commissioning tests (if available), model libraries in TSAT UDM or .dll file format if using user defined models not included in the TSAT standard model library - the TSAT UDM or .dll shall be able to read the PSS/E format data, and model documentation/user guides if using user defined models not included in the TSAT standard model library.  
	 
	
	R
	R
	

	Dynamic Data
	X
	X
	X
	X
	 
	 
	 
	Date TSAT Dynamic Data last Updated
	Date TSAT Dynamic Data last Updated
	 
	
	R
	R
	 


�Please note RRGRR022, 023, and 024 also propose revisions to this section.


�Please note RRGRR023 and 024 also propose revisions to this section.





PRR_Template.doc
Page 2 of 2
PRR_Template.doc
Page 2 of 2
021RRGRR-07 TAC Report 022820
Page 4 of 11
PUBLIC

_1644747439.unknown

_1644747440.unknown

_1644747437.unknown

_1644747438.unknown

_1644747436.unknown

_1644747435.unknown

