## Slide 1: PLWG report to ROS March 5, 2020
Report based on PLWG Feb 18th, 2020 meeting

## Slide 2: PGRR076
  PGRR076 Improvements to Generation Resource Interconnection or Change Request (GINR) Process
  One issue was the minimum number of months for COD that a IE could enter in RIOO. Jay Teixeira presented a thorough overview for the rational for the 15 months. Also, ERCOT and ONCOR proposed some additional minor revisions in Section 5.4.5.(2).
  PLWG recommends that ROS votes to endorse the PGRR with the edits made on 02/18/2020.

## Slide 3: PGRR077
  PGRR077 DC Tie Planning Assumptions
  ERCOT had intended to capture the status quo with the PGRR:
  Assumed Direct Current Tie (DC Tie) imports and exports will be curtailed as necessary to meet reliability studies criteria in planning.

## Slide 4: PGRR077 - continue
  REMC and Sharyland filed comments that were discussed. Concern was that no transmission capacity will be planned to ensure the full capacity of the DC Tie. PLWG ended up with the following language:
  Assumed Direct Current Tie (DC Tie) imports will be curtailed as necessary to meet reliability criteria in reliability planning studies. Assumed DC Tie Load will be treated as Load in planning studies.
  REMC filed additional comments given that this is a policy shift from the status quo. PLWG reached consensus with the changed language.