## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Julia Harvey
March 4, 2020
From February 17 WMWG Meeting

## Slide 2: NPRR987 BESTF-3 Energy Storage Resource Contribution to Physical Responsive Capability and Real-Time On-Line Reserve Capacity Calculations
ERCOT discussed comments that they were preparing to issue
Comments will be reviewed at BESTF, 2/25
Comments were issued on 2/21/2020
While no concerns were voiced, WMWG not able to make a recommendation
NPRR ready for WMS vote without further review by WMWG

## Slide 3: NPRR 863 & 960 Phase 1 Implementation Details
Noted that batteries can be configured for PFR
  Battery RRS can displace inertia
  MP’s request documentation on battery RRS qualification
Appears to be an issue with Self Arranged FFR
  How will that be deducted from the 450 MW total FFR
  Could result in more than 450 MW of FFR
MP’s request Business Practice Models be updated for offers of FFR

## Slide 4: Ensuring FFR Participation
WMWG reviewed a presentation that concludes there is little incentive to provide FFR
  Batteries would provide RRS Gen if qualified
  Proposed changes to offer floors
ERCOT conformed there is no minimum FFR requirement
No changes recommended at this time
  WMWG can monitor the participation in FFR and impact on inertia
  Problem may depend on rate of battery growth

## Slide 5: Resources with EMR status
It was noted that more resources may use the EMR status due to emissions issues
  Low gas prices driving higher capacity factors
  Trying to preserve emissions limits for summer season
Does the use of EMR status need further definition and criteria?
Noted that NPRR672 clarified the use of EMR
  A QSE representing a Resource may only use the Resource Status code of EMR for a Resource whose operation would have impacts that cannot be monetized and reflected through the Resource’s Energy Offer Curve or recovered through the RUC make-whole process. If ERCOT chooses to commit an Off-Line unit with EMR Resource Status, the QSE shall change its Resource Status to ONEMR.
The IMM commented - Requested ERCOT revise the “Current Operating Plan Practices by Qualified Scheduling Entities” Business Practice Document upon adoption of NPRR672 to include examples of acceptable uses of EMR status.

## Slide 6: Current Operating Plan Practices by Qualified Scheduling Entities
The BP was not updated for this NPRR
Resource Status Expectation for EMR
  Examples of Resources that may use this Resource Status includes:
  Hydro facilities that can operate around water limiting conditions for some period of time.
  Facilities that have fully exhausted environmental emissions limits but could operate under a regulatory exemption. Alternately, without a Regulatory, exemption the QSE could report Resource Status of OUT.
Should this BP have more criteria added?
What will be the burden of proof for resources?
Is this an issue that needs further attention?

## Slide 7: TDSP Load Management Programs
Can the effect of ERCOT’s request for load reduction during EEA2 per Protocol Section 6.5.9.4.2 be quantified for inclusion in RTRDPA calculations?
Commercial Load Management programs
  Verbal deployment
  Response cannot be measured or estimated
  CDR shows: less: TDSP Standard Offer Load Management Programs -257
Voltage Reduction impact may be calculated based on voltage telemetry from the substations
  Based on report from Voltage Reduction Task Force to ROS September 2014
  A 0.6-1% reduction in system demand for every 1% voltage reduction
These impacts could be added to RTRDPA
  In EEA2, price should be at the cap with LMP and ORDC adder
  The impact after recall may be significant
Next steps

## Slide 8: Switchable Generation Resources (SWGRs)
WMWG reviewed comments by SWGR owners to a draft NPRR that will automate the EOC floor entries and clarify the compensation
WMWG did not reach consensus around these comments
ERCOT should issue the NPRR as drafted
Market Participants should file comments in the usual manner

## Slide 9: Next meeting
WMWG meets March 23
WMWG will look to cancel some of the summer meetings to allow participants to concentrate on RTC NPRR’s
Any questions?