## Summary
Registered Entity: |  |  | *Relay data(i.e. buss information, location, and relay ID numbers) is necessary for this Survey. Please enter information on the "RELAY information" tab.
Date/Time of Survey: | 5/14/2020, 11:00 AM
Size and location of customer load, or percentage of connected load to be interrupted. |  | Frequency Set Points | [7 empty] | Any other schemes that are part of or impact the UFLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, and Special Protection Systems. Please indicate any other ERCOT-registered Transmission/Distribution Service Providers (TDSPs) whose load is represented by your company in this survey.
|  | 59.3 Hz |  | 58.9 Hz |  |  | 58.5 Hz
|  | At least 5% of TO Load |  | Total of at least 15% of TO Load |  |  | Total of at least 25% of TO Load
Load Area | Total Area Load (MW) | Load Dropped (MW) | % Load Dropped | Load Dropped (MW) | % Load Dropped | Cumulative Total | Load Dropped (MW) | % Load Dropped | Cumulative Total | Comments
Total TO Load Submitted | 0 | 0 | 0% | 0 | 0% | 0% | 0 | 0% | 0%

## RELAY information
|  |  | Block 1 | Block 2 | Block 3
|  |  | 59.3 Hz | 58.9 Hz | 58.5 Hz
Location/Load Area | Circuit Designation | Load (MW) | Load Dropped for Block 1 (MW) | Load Dropped for Block 2 (MW) | Load Dropped for Block 3 (MW)
Example:
Substation #1 | CKT #2a | 4.2 | 4.2
Substation #2 | CKT #3b | 1.8 |  | 1.8
Substation #2 | CKT #3c |  |  |  | 2.6
Total |  | 6 | 4.2 | 1.8 | 2.6