## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for February 2020

## Slide 2: Non-IRR GREDP < 85% – February 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 279 | 21 | 25 | 0.97 | 84.00
Unit 282 | 10 | 12 | 0.95 | 83.33
Unit 283 | 1 | 5 | 0.68 | 20.00

## Slide 3: IRR Summary – February 2020
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.65 | 79.04 | 82.41
GREDP Median (%) | 94.76 | 85.25 | 86.94
Average MW Error | 3.66 | 3.62 | 3.45
Median MW Error | 3.54 | 3.45 | 3.28
Total Intervals Scored | 70,318 | 38,158 | 36,945
100+ Intervals Scored | 100 | 129 | 61
Total Intervals Scored Average | 307.07 | 428.74 | 605.66

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 2,372 | 2,391 | 1.52 | 99.21
Unit 6 | 1,859 | 1,926 | 2.15 | 96.52
Unit 7 | 1,802 | 1,815 | 4.62 | 99.28
Unit 8 | 1,643 | 1,663 | 3.60 | 98.80
Unit 9 | 1,473 | 1,519 | 4.03 | 96.97
Unit 10 | 1,481 | 1,485 | 3.22 | 99.73
Unit 11 | 1,473 | 1,475 | 3.45 | 99.86
Unit 12 | 1,455 | 1,468 | 4.10 | 99.11
Unit 13 | 1,456 | 1,458 | 4.51 | 99.86
Unit 14 | 1,365 | 1,400 | 5.28 | 97.50
Unit 16 | 1,267 | 1,271 | 2.84 | 99.69
Unit 18 | 1,088 | 1,112 | 3.48 | 97.84
Unit 26 | 821 | 833 | 7.55 | 98.56
Unit 31 | 739 | 741 | 4.66 | 99.73
Unit 34 | 700 | 723 | 2.45 | 96.82
Unit 35 | 709 | 709 | 3.30 | 100.00
Unit 37 | 683 | 686 | 2.61 | 99.56

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 40 | 604 | 635 | 5.71 | 95.12
Unit 41 | 614 | 622 | 1.22 | 98.71
Unit 42 | 587 | 610 | 2.71 | 96.23
Unit 44 | 583 | 583 | 2.35 | 100.00
Unit 48 | 526 | 532 | 2.76 | 98.87
Unit 50 | 507 | 518 | 5.30 | 97.88
Unit 51 | 501 | 518 | 2.47 | 96.72
Unit 52 | 496 | 497 | 0.98 | 99.80
Unit 53 | 492 | 496 | 0.79 | 99.19
Unit 55 | 457 | 475 | 4.86 | 96.21
Unit 57 | 449 | 471 | 4.12 | 95.33
Unit 61 | 379 | 389 | 5.01 | 97.43
Unit 62 | 368 | 383 | 3.67 | 96.08
Unit 63 | 358 | 373 | 2.61 | 95.98
Unit 64 | 334 | 338 | 3.78 | 98.82
Unit 68 | 268 | 272 | 2.96 | 98.53
Unit 69 | 257 | 268 | 5.39 | 95.90

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 73 | 232 | 242 | 3.79 | 95.87
Unit 76 | 204 | 212 | 1.45 | 96.23
Unit 82 | 164 | 168 | 2.69 | 97.62
Unit 88 | 140 | 144 | 5.22 | 97.22
Unit 100 | 96 | 101 | 0.37 | 95.05

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 92 | 30 | 131 | 1.96 | 22.90
Unit 90 | 52 | 138 | 2.93 | 37.68
Unit 97 | 43 | 108 | 2.59 | 39.81
Unit 91 | 57 | 135 | 2.74 | 42.22
Unit 84 | 78 | 164 | 4.44 | 47.56
Unit 99 | 50 | 101 | 1.02 | 49.50
Unit 36 | 481 | 707 | 8.93 | 68.03
Unit 49 | 369 | 527 | 2.84 | 70.02
Unit 38 | 459 | 648 | 3.23 | 70.83
Unit 59 | 338 | 455 | 4.21 | 74.29
Unit 86 | 113 | 152 | 4.97 | 74.34
Unit 66 | 232 | 312 | 2.87 | 74.36
Unit 74 | 173 | 219 | 3.04 | 79.00
Unit 29 | 645 | 797 | 5.40 | 80.93
Unit 46 | 456 | 557 | 4.45 | 81.87
Unit 4 | 1,847 | 2,242 | 5.14 | 82.38
Unit 83 | 140 | 168 | 4.35 | 83.33

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 65 | 261 | 313 | 2.75 | 83.39
Unit 71 | 207 | 248 | 2.01 | 83.47
Unit 33 | 605 | 724 | 3.54 | 83.56
Unit 24 | 748 | 894 | 1.26 | 83.67
Unit 58 | 386 | 459 | 4.51 | 84.10
Unit 47 | 461 | 545 | 3.89 | 84.59
Unit 89 | 122 | 144 | 1.71 | 84.72
Unit 21 | 849 | 1,002 | 3.45 | 84.73
Unit 78 | 159 | 187 | 2.83 | 85.03
Unit 79 | 156 | 183 | 2.78 | 85.25
Unit 93 | 111 | 130 | 4.08 | 85.38
Unit 19 | 921 | 1,070 | 1.20 | 86.07
Unit 23 | 784 | 906 | 1.35 | 86.53
Unit 72 | 213 | 245 | 5.24 | 86.94
Unit 28 | 700 | 801 | 0.76 | 87.39
Unit 20 | 897 | 1,025 | 5.94 | 87.51
Unit 81 | 150 | 171 | 4.35 | 87.72

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 15 | 1,157 | 1,310 | 3.29 | 88.32
Unit 94 | 112 | 126 | 2.28 | 88.89
Unit 22 | 849 | 951 | 7.03 | 89.27
Unit 39 | 578 | 647 | 3.55 | 89.34
Unit 75 | 192 | 213 | 1.77 | 90.14
Unit 60 | 406 | 449 | 1.76 | 90.42
Unit 77 | 172 | 189 | 4.63 | 91.01
Unit 87 | 132 | 145 | 3.53 | 91.03
Unit 54 | 452 | 496 | 2.53 | 91.13
Unit 5 | 2,061 | 2,241 | 5.26 | 91.97
Unit 43 | 538 | 584 | 4.32 | 92.12
Unit 98 | 93 | 106 | 0.56 | 92.53
Unit 32 | 687 | 738 | 2.89 | 93.09
Unit 27 | 749 | 803 | 1.92 | 93.28
Unit 56 | 441 | 472 | 1.96 | 93.43
Unit 85 | 147 | 157 | 5.47 | 93.63
Unit 25 | 827 | 883 | 6.44 | 93.66

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2020
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 67 | 273 | 291 | 5.65 | 93.81
Unit 45 | 525 | 558 | 0.92 | 94.09
Unit 70 | 240 | 255 | 5.21 | 94.12
Unit 80 | 169 | 179 | 2.50 | 94.41
Unit 96 | 103 | 109 | 2.71 | 94.50
Unit 95 | 107 | 113 | 3.28 | 94.69
Unit 30 | 732 | 773 | 1.56 | 94.70
Unit 17 | 1,176 | 1,241 | 4.25 | 94.76
Unit 1 | 3,211 | 3,388 | 5.37 | 94.78
Unit 2 | 2,772 | 2,920 | 3.34 | 94.93